On 12 October 2016 at 17:23, Steve Simmons <S.Simmons@hull.ac.uk> wrote:

ADCP600 kHz BIN 12/10/2016
UTC at reading: 15:55:00
ADCP time: 15:57:01

ADCP300 kHz BIN 12/10/2016
UTC at reading: 16:33:00
ADCP time: 16:34:23

On 12 October 2016 at 17:18, Steve Simmons <S.Simmons@hull.ac.uk> wrote:
Dan, Charlie,

The 300kHz BIN ADCP stopped acquiring on 13th August so didn't capture the event

The 600kHz BIN ADCP stopped acquiring on 17th September so did capture the event

Steve

1200 KHz Clock drift
On Oct 11, 2016, at 5:23 PM, Mark Chaffey <chma@mbari.org> wrote:
Serial #20662 ISI ID 1827

ADCP time 10/11/16 22:10:24
Check time 10/11/16 22:10:00

ADCP was +24 seconds fast.

CCE BIN MMC recovery clock offsets
From Mark Chaffey Oct 13, 2016

Actual UTC time 10/13/2016 19:23:00

BIN MMC ricohRTC reading time:
System time:  Thu Oct 13 19:26:35 2016
RTC Time:  13/10/2016  07:23:05 PM

MMC RTC time is fast by 5 seconds from UTC.

Mark Chaffey