## Sheet1
DR896_PSC_EXTRUDED CORE SAMPLES
Sample Name | Sample source type | Sample bulk lot ref | SOP Name | Operator name | Measurement date and time | Analysis date and time | Particle name | Particle refractive index | Particle absorption index | Dispersant name | Dispersant refractive index | Accessory name | Analysis model | Start result channel size | Last result channel size | Result emulation | Obscuration | Residual | Concentration | Span | Result transform type | D [4, 3] - Volume weighted mean | Uniformity | Specific surface area | D [3, 2] - Surface weighted mean | d (0.1) | d (0.5) | d (0.9) | Result Between User Sizes (Sizes in um) | [100 empty] | Operator Notes
[29 empty] | 0.01 | 0.011482 | 0.013183 | 0.015136 | 0.017378 | 0.019953 | 0.022909 | 0.026303 | 0.0302 | 0.034674 | 0.039811 | 0.045709 | 0.052481 | 0.060256 | 0.069183 | 0.079433 | 0.091201 | 0.10471 | 0.12023 | 0.13804 | 0.15849 | 0.18197 | 0.20893 | 0.23988 | 0.27542 | 0.31623 | 0.36308 | 0.41687 | 0.47863 | 0.54954 | 0.63096 | 0.72444 | 0.83176 | 0.95499 | 1.0965 | 1.2589 | 1.4454 | 1.6596 | 1.9055 | 2.1878 | 2.5119 | 2.884 | 3.3113 | 3.8019 | 4.3652 | 5.0119 | 5.7544 | 6.6069 | 7.5858 | 8.7096 | 10 | 11.4815 | 13.1826 | 15.1356 | 17.378 | 19.9526 | 22.9087 | 26.3027 | 30.1995 | 34.6737 | 39.8107 | 45.7088 | 52.4807 | 60.256 | 69.1831 | 79.4328 | 91.2011 | 104.7129 | 120.2264 | 138.0384 | 158.4893 | 181.9701 | 208.9296 | 239.8833 | 275.4229 | 316.2278 | 363.0781 | 416.8694 | 478.6301 | 549.5409 | 630.9573 | 724.436 | 831.7638 | 954.9926 | 1096.4782 | 1258.9254 | 1445.4398 | 1659.5869 | 1905.4607 | 2187.7616 | 2511.8864 | 2884.0315 | 3311.3112 | 3801.894 | 4365.1583 | 5011.8723 | 5754.3994 | 6606.9345 | 7585.7757 | 8709.6359 | 10000
DR896_PSC41_EXTRUDED CORE SAMPLE_SAND | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 10:57 | 2017-09-19 10:57 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 8.87 | 6.076 | 0.2606 | 0.963 | Volume | 224.039 | 0.297 | 0.0304 | 197.636 | 129.728 | 213.712 | 335.474 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.44816 | 2.0769 | 4.1276 | 6.6735 | 9.3486 | 11.7003 | 13.3527 | 13.9063 | 13.1904 | 11.2652 | 8.2158 | 5.0425 | 0.65195 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC41_EXTRUDED CORE SAMPLE_SAND | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 10:59 | 2017-09-19 10:59 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 8.65 | 6.079 | 0.2534 | 0.965 | Volume | 223.9 | 0.298 | 0.0304 | 197.42 | 129.487 | 213.521 | 335.543 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.45975 | 2.1086 | 4.1594 | 6.7009 | 9.3626 | 11.6974 | 13.3333 | 13.8755 | 13.1553 | 11.2351 | 8.1978 | 5.0573 | 0.65712 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC41_EXTRUDED CORE SAMPLE_SAND | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 11:00 | 2017-09-19 11:00 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 8.73 | 6.083 | 0.2561 | 0.964 | Volume | 223.997 | 0.298 | 0.0304 | 197.576 | 129.675 | 213.621 | 335.547 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.447 | 2.08 | 4.1386 | 6.6864 | 9.3602 | 11.7071 | 13.3523 | 13.8973 | 13.1729 | 11.2442 | 8.1986 | 5.0579 | 0.65748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC41_EXTRUDED CORE SAMPLE_SAND - Average | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 10:57 | 2017-09-19 10:57 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 8.75 | 6.079 | 0.2567 | 0.964 | Volume | 223.979 | 0.298 | 0.0304 | 197.544 | 129.63 | 213.618 | 335.521 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.45164 | 2.0885 | 4.1418 | 6.6869 | 9.3571 | 11.7016 | 13.3461 | 13.8931 | 13.1729 | 11.2482 | 8.204 | 5.0526 | 0.65552 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC41_EXTRUDED CORE SAMPLE_CLAY+WOOD AT BASE | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 11:11 | 2017-09-19 11:11 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.27 | 1.628 | 0.0284 | 6.409 | Volume | 231.975 | 1.83 | 0.31 | 19.354 | 7.052 | 106.418 | 689.072 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.050203 | 0.10888 | 0.13911 | 0.17496 | 0.22653 | 0.29661 | 0.38643 | 0.48952 | 0.59813 | 0.70575 | 0.80908 | 0.907 | 0.99867 | 1.0853 | 1.1662 | 1.2444 | 1.3205 | 1.398 | 1.4758 | 1.5553 | 1.6311 | 1.7009 | 1.7569 | 1.7942 | 1.8076 | 1.7971 | 1.7691 | 1.7386 | 1.7291 | 1.7709 | 1.8949 | 2.1255 | 2.4744 | 2.9272 | 3.4541 | 3.9911 | 4.4785 | 4.8381 | 5.0226 | 4.9951 | 4.748 | 4.307 | 3.699 | 2.9932 | 2.2384 | 1.5174 | 0.8902 | 0.43453 | 0.20607 | 0.24164 | 0.53028 | 0.99844 | 1.5069 | 1.8828 | 1.9654 | 1.7045 | 1.0462 | 0.2568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC41_EXTRUDED CORE SAMPLE_CLAY+WOOD AT BASE | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 11:12 | 2017-09-19 11:12 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.24 | 1.991 | 0.0252 | 2.88 | Volume | 111.668 | 0.929 | 0.348 | 17.24 | 6.235 | 88.305 | 260.55 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.055299 | 0.1202 | 0.1544 | 0.19498 | 0.25349 | 0.33299 | 0.43491 | 0.55201 | 0.67557 | 0.79811 | 0.91575 | 1.027 | 1.131 | 1.2288 | 1.3197 | 1.4072 | 1.4918 | 1.5777 | 1.6637 | 1.7513 | 1.8348 | 1.9114 | 1.9723 | 2.012 | 2.0247 | 2.0102 | 1.9758 | 1.938 | 1.9235 | 1.9662 | 2.1013 | 2.3563 | 2.7448 | 3.2515 | 3.8441 | 4.4516 | 5.0081 | 5.4256 | 5.6502 | 5.6379 | 5.377 | 4.8905 | 4.2024 | 3.3832 | 2.4854 | 1.5874 | 0.82185 | 0.12587 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC41_EXTRUDED CORE SAMPLE_CLAY+WOOD AT BASE | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 11:13 | 2017-09-19 11:13 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.2 | 1.974 | 0.028 | 8.549 | Volume | 246.762 | 1.96 | 0.312 | 19.226 | 6.942 | 107.249 | 923.854 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049353 | 0.10735 | 0.13814 | 0.17461 | 0.22712 | 0.29844 | 0.38989 | 0.49505 | 0.60622 | 0.71675 | 0.82309 | 0.92386 | 1.0179 | 1.1063 | 1.1882 | 1.2664 | 1.3414 | 1.4169 | 1.4919 | 1.5679 | 1.64 | 1.7061 | 1.7589 | 1.7935 | 1.805 | 1.793 | 1.7635 | 1.7306 | 1.7171 | 1.7521 | 1.8659 | 2.083 | 2.4156 | 2.8515 | 3.3632 | 3.8895 | 4.3726 | 4.7353 | 4.9295 | 4.9156 | 4.6826 | 4.2511 | 3.6443 | 2.9287 | 2.1533 | 1.4064 | 0.7573 | 0.29653 | 0.091697 | 0.18593 | 0.56485 | 1.1396 | 1.7459 | 2.1845 | 2.2747 | 1.9661 | 1.2034 | 0.2949 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC41_EXTRUDED CORE SAMPLE_CLAY+WOOD AT BASE - Average | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 11:11 | 2017-09-19 11:11 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.24 | 1.864 | 0.0272 | 3.544 | Volume | 196.802 | 1.62 | 0.323 | 18.554 | 6.717 | 100.123 | 361.56 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.051618 | 0.11214 | 0.14388 | 0.18152 | 0.23572 | 0.30935 | 0.40375 | 0.51219 | 0.62664 | 0.7402 | 0.84931 | 0.95264 | 1.0492 | 1.1401 | 1.2247 | 1.306 | 1.3845 | 1.4642 | 1.5438 | 1.6248 | 1.702 | 1.7728 | 1.8294 | 1.8666 | 1.8791 | 1.8668 | 1.8362 | 1.8024 | 1.7899 | 1.8297 | 1.954 | 2.1883 | 2.5449 | 3.01 | 3.5538 | 4.1107 | 4.6197 | 4.9997 | 5.2008 | 5.1829 | 4.9359 | 4.4829 | 3.8485 | 3.1018 | 2.2917 | 1.5064 | 0.81322 | 0.30304 | 0.086949 | 0.14586 | 0.36422 | 0.71285 | 1.0842 | 1.3558 | 1.4134 | 1.2235 | 0.74986 | 0.1839 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC46_EXTRUDED CORE SAMPLE_SAND | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 11:26 | 2017-09-19 11:26 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.12 | 4.983 | 0.1845 | 1.052 | Volume | 204.102 | 0.321 | 0.034 | 176.334 | 112.864 | 191.907 | 314.842 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.58994 | 2.1853 | 4.0609 | 6.385 | 8.7239 | 10.8259 | 12.2863 | 12.8801 | 12.4548 | 11.0285 | 8.8237 | 6.0332 | 3.3273 | 0.39511 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC46_EXTRUDED CORE SAMPLE_SAND | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 11:27 | 2017-09-19 11:27 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.05 | 5.052 | 0.1834 | 1.051 | Volume | 204.686 | 0.322 | 0.0339 | 176.85 | 113.173 | 192.541 | 315.626 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.57664 | 2.1495 | 4.0117 | 6.3242 | 8.6616 | 10.7737 | 12.2558 | 12.8803 | 12.4874 | 11.0884 | 8.8981 | 6.1037 | 3.3852 | 0.40394 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC46_EXTRUDED CORE SAMPLE_SAND | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 11:28 | 2017-09-19 11:28 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.02 | 5.123 | 0.1827 | 1.052 | Volume | 205.014 | 0.322 | 0.0339 | 177.131 | 113.357 | 192.833 | 316.166 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5642 | 2.1243 | 3.9866 | 6.2982 | 8.6387 | 10.756 | 12.2451 | 12.8777 | 12.4933 | 11.1035 | 8.9234 | 6.1359 | 3.4383 | 0.4147 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC46_EXTRUDED CORE SAMPLE_SAND - Average | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 11:26 | 2017-09-19 11:26 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.06 | 5.052 | 0.1835 | 1.052 | Volume | 204.601 | 0.322 | 0.0339 | 176.771 | 113.13 | 192.427 | 315.547 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.57692 | 2.153 | 4.0197 | 6.3358 | 8.6747 | 10.7852 | 12.2624 | 12.8793 | 12.4785 | 11.0735 | 8.8817 | 6.0909 | 3.3836 | 0.40458 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC50_EXTRUDED CORE SAMPLE_SAND | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 11:41 | 2017-09-19 11:41 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.88 | 4.443 | 0.1811 | 1.071 | Volume | 180.763 | 0.33 | 0.0385 | 155.813 | 99.877 | 168.788 | 280.66 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.42043 | 1.8632 | 3.885 | 6.2472 | 8.6917 | 10.7998 | 12.2661 | 12.8009 | 12.3201 | 10.9167 | 8.7792 | 6.2548 | 3.702 | 1.053 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC50_EXTRUDED CORE SAMPLE_SAND | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 11:42 | 2017-09-19 11:42 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.76 | 4.692 | 0.178 | 1.071 | Volume | 180.631 | 0.33 | 0.0385 | 155.685 | 99.727 | 168.772 | 280.403 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.43787 | 1.8912 | 3.9057 | 6.2552 | 8.6825 | 10.7777 | 12.2411 | 12.7847 | 12.3208 | 10.9339 | 8.8035 | 6.2704 | 3.6965 | 0.99899 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC50_EXTRUDED CORE SAMPLE_SAND | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 11:44 | 2017-09-19 11:44 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.69 | 4.725 | 0.1773 | 1.072 | Volume | 181.529 | 0.33 | 0.0384 | 156.407 | 100.144 | 169.595 | 281.872 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.41268 | 1.8377 | 3.8357 | 6.1715 | 8.5974 | 10.7041 | 12.1924 | 12.7705 | 12.3459 | 10.9944 | 8.8891 | 6.3663 | 3.7793 | 1.0968 | 0.006127 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC50_EXTRUDED CORE SAMPLE_SAND - Average | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 11:41 | 2017-09-19 11:41 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.78 | 4.62 | 0.1788 | 1.071 | Volume | 180.974 | 0.33 | 0.0385 | 155.968 | 99.915 | 169.051 | 280.982 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.42366 | 1.8641 | 3.8754 | 6.2246 | 8.6572 | 10.7605 | 12.2332 | 12.7853 | 12.3289 | 10.9483 | 8.8239 | 6.2972 | 3.7259 | 1.0516 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC50_EXTRUDED CORE SAMPLE_CLAY | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 12:07 | 2017-09-19 12:07 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 13.52 | 0.998 | 0.0166 | 6.812 | Volume | 47.946 | 2.05 | 0.641 | 9.367 | 3.683 | 19.219 | 134.598 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.042134 | 0.098816 | 0.16451 | 0.21893 | 0.29391 | 0.40131 | 0.55682 | 0.7672 | 1.0221 | 1.3043 | 1.5965 | 1.8876 | 2.1709 | 2.4399 | 2.6931 | 2.9231 | 3.1321 | 3.3149 | 3.4751 | 3.607 | 3.7119 | 3.7831 | 3.8193 | 3.817 | 3.775 | 3.695 | 3.5797 | 3.4375 | 3.2769 | 3.1107 | 2.9496 | 2.8029 | 2.6752 | 2.5649 | 2.4669 | 2.3703 | 2.2657 | 2.1423 | 1.9994 | 1.8365 | 1.6648 | 1.4853 | 1.3056 | 1.1169 | 0.91843 | 0.68954 | 0.46444 | 0.14042 | 0.02454 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC50_EXTRUDED CORE SAMPLE_CLAY | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 12:08 | 2017-09-19 12:08 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 13.46 | 1.011 | 0.0165 | 6.969 | Volume | 48.359 | 2.1 | 0.642 | 9.35 | 3.682 | 19.047 | 136.426 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.041165 | 0.097204 | 0.16285 | 0.21713 | 0.29199 | 0.39932 | 0.55494 | 0.76575 | 1.0216 | 1.3053 | 1.5996 | 1.8933 | 2.1796 | 2.4516 | 2.7078 | 2.9406 | 3.152 | 3.3367 | 3.4982 | 3.6309 | 3.7361 | 3.8072 | 3.843 | 3.8397 | 3.796 | 3.7134 | 3.5943 | 3.4471 | 3.28 | 3.106 | 2.936 | 2.7792 | 2.6403 | 2.5178 | 2.4073 | 2.299 | 2.1859 | 2.0599 | 1.9229 | 1.7758 | 1.6286 | 1.4798 | 1.3306 | 1.1673 | 0.98333 | 0.75479 | 0.51967 | 0.16901 | 0.032619 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC50_EXTRUDED CORE SAMPLE_CLAY | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 12:08 | 2017-09-19 12:08 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 13.41 | 0.996 | 0.0162 | 6.631 | Volume | 45.87 | 2.02 | 0.649 | 9.238 | 3.654 | 18.621 | 127.133 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.041818 | 0.098669 | 0.16514 | 0.22 | 0.29563 | 0.40409 | 0.56145 | 0.77478 | 1.0339 | 1.3214 | 1.6199 | 1.918 | 2.2086 | 2.4847 | 2.7446 | 2.9806 | 3.1945 | 3.381 | 3.5437 | 3.6768 | 3.7819 | 3.8523 | 3.887 | 3.8822 | 3.8369 | 3.7527 | 3.6322 | 3.484 | 3.3164 | 3.1423 | 2.9721 | 2.8143 | 2.6731 | 2.5465 | 2.4297 | 2.3123 | 2.187 | 2.0448 | 1.8877 | 1.7168 | 1.5444 | 1.3716 | 1.2044 | 1.0321 | 0.85048 | 0.63643 | 0.42111 | 0.10566 | 0.012508 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC50_EXTRUDED CORE SAMPLE_CLAY - Average | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 12:07 | 2017-09-19 12:07 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 13.46 | 1.002 | 0.0164 | 6.805 | Volume | 47.392 | 2.06 | 0.644 | 9.318 | 3.673 | 18.959 | 132.686 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.041706 | 0.09823 | 0.16417 | 0.21869 | 0.29384 | 0.40157 | 0.55773 | 0.76924 | 1.0258 | 1.3103 | 1.6053 | 1.8996 | 2.1864 | 2.4588 | 2.7152 | 2.9481 | 3.1595 | 3.3442 | 3.5057 | 3.6382 | 3.7433 | 3.8142 | 3.8498 | 3.8463 | 3.8026 | 3.7204 | 3.6021 | 3.4562 | 3.2911 | 3.1197 | 2.9526 | 2.7988 | 2.6629 | 2.543 | 2.4346 | 2.3272 | 2.2129 | 2.0823 | 1.9367 | 1.7764 | 1.6126 | 1.4456 | 1.2802 | 1.1054 | 0.91741 | 0.69359 | 0.46841 | 0.13836 | 0.023222 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC52_EXTRUDED CORE SAMPLE_SAND_TOP OF CLAY | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 12:21 | 2017-09-19 12:21 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 8.78 | 5.289 | 0.2244 | 1.004 | Volume | 196.535 | 0.31 | 0.0349 | 172.147 | 112.661 | 185.04 | 298.459 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.37969 | 2.0012 | 4.2831 | 6.9641 | 9.6221 | 11.8674 | 13.237 | 13.4977 | 12.5785 | 10.6062 | 7.9355 | 4.9382 | 1.9489 | 0.14049 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC52_EXTRUDED CORE SAMPLE_SAND_TOP OF CLAY | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 12:22 | 2017-09-19 12:22 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 8.59 | 5.173 | 0.2197 | 1.004 | Volume | 196.932 | 0.31 | 0.0348 | 172.519 | 112.933 | 185.397 | 299.018 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35841 | 1.9587 | 4.2427 | 6.925 | 9.5924 | 11.8509 | 13.2357 | 13.5105 | 12.6017 | 10.6359 | 7.9691 | 4.9716 | 1.9974 | 0.15012 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC52_EXTRUDED CORE SAMPLE_SAND_TOP OF CLAY | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 12:24 | 2017-09-19 12:24 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 8.47 | 5.285 | 0.2164 | 1.003 | Volume | 196.949 | 0.31 | 0.0348 | 172.56 | 112.977 | 185.435 | 298.982 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35432 | 1.9512 | 4.2367 | 6.9202 | 9.5901 | 11.8515 | 13.239 | 13.5163 | 12.6097 | 10.6449 | 7.9768 | 4.9756 | 1.9867 | 0.14706 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC52_EXTRUDED CORE SAMPLE_SAND_TOP OF CLAY - Average | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 12:21 | 2017-09-19 12:21 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 8.61 | 5.249 | 0.2202 | 1.004 | Volume | 196.805 | 0.31 | 0.0348 | 172.409 | 112.858 | 185.291 | 298.82 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36414 | 1.9704 | 4.2542 | 6.9364 | 9.6015 | 11.8566 | 13.2372 | 13.5082 | 12.5966 | 10.629 | 7.9604 | 4.9618 | 1.9777 | 0.14589 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC52_EXTRUDED CORE SAMPLE_CLAY | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 12:43 | 2017-09-19 12:43 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.12 | 0.785 | 0.0146 | 6.711 | Volume | 57.507 | 1.94 | 0.597 | 10.051 | 3.853 | 24.35 | 167.259 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.070208 | 0.15148 | 0.22483 | 0.27443 | 0.33985 | 0.43181 | 0.56501 | 0.74253 | 0.95243 | 1.1787 | 1.4072 | 1.6301 | 1.8429 | 2.042 | 2.2281 | 2.3981 | 2.5565 | 2.7035 | 2.847 | 2.9867 | 3.1293 | 3.2705 | 3.412 | 3.5438 | 3.6591 | 3.7431 | 3.7834 | 3.7677 | 3.6892 | 3.5502 | 3.3613 | 3.1417 | 2.9163 | 2.7079 | 2.5367 | 2.4093 | 2.3246 | 2.268 | 2.2221 | 2.1661 | 2.0852 | 1.9645 | 1.8002 | 1.5847 | 1.3271 | 1.0154 | 0.7113 | 0.27265 | 0.063229 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC52_EXTRUDED CORE SAMPLE_CLAY | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 12:44 | 2017-09-19 12:44 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.1 | 0.587 | 0.0145 | 6.715 | Volume | 57.544 | 1.97 | 0.599 | 10.009 | 3.842 | 24.139 | 165.925 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.070669 | 0.15229 | 0.22577 | 0.27555 | 0.3412 | 0.43352 | 0.56723 | 0.74541 | 0.95611 | 1.1833 | 1.4129 | 1.637 | 1.8515 | 2.0526 | 2.241 | 2.4134 | 2.5744 | 2.7239 | 2.8692 | 3.0097 | 3.1519 | 3.2911 | 3.4289 | 3.5556 | 3.6647 | 3.7422 | 3.7767 | 3.7567 | 3.6766 | 3.5387 | 3.3534 | 3.1394 | 2.92 | 2.7167 | 2.548 | 2.4188 | 2.327 | 2.2577 | 2.1951 | 2.1206 | 2.0233 | 1.8913 | 1.7241 | 1.5168 | 1.2779 | 1.0105 | 0.71411 | 0.44524 | 0.080295 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC52_EXTRUDED CORE SAMPLE_CLAY | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 12:45 | 2017-09-19 12:45 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.06 | 0.56 | 0.0144 | 6.8 | Volume | 57.423 | 1.97 | 0.601 | 9.991 | 3.836 | 24.02 | 167.177 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.070635 | 0.15249 | 0.22637 | 0.27607 | 0.34156 | 0.43368 | 0.56734 | 0.74579 | 0.95715 | 1.1853 | 1.4162 | 1.6418 | 1.8575 | 2.0596 | 2.2486 | 2.4214 | 2.5824 | 2.7316 | 2.8767 | 3.0172 | 3.1597 | 3.2997 | 3.4386 | 3.5663 | 3.6761 | 3.7532 | 3.7855 | 3.7612 | 3.6744 | 3.5278 | 3.3327 | 3.1088 | 2.8809 | 2.6718 | 2.5013 | 2.3756 | 2.293 | 2.2388 | 2.1954 | 2.1419 | 2.0631 | 1.944 | 1.7807 | 1.5663 | 1.3101 | 1.0155 | 0.69429 | 0.37632 | 0.057715 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC52_EXTRUDED CORE SAMPLE_CLAY - Average | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 12:43 | 2017-09-19 12:43 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.09 | 0.644 | 0.0145 | 6.742 | Volume | 57.491 | 1.96 | 0.599 | 10.017 | 3.844 | 24.169 | 166.793 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.070504 | 0.15208 | 0.22565 | 0.27535 | 0.34087 | 0.433 | 0.56653 | 0.74458 | 0.95523 | 1.1824 | 1.4121 | 1.6363 | 1.8507 | 2.0514 | 2.2392 | 2.411 | 2.5711 | 2.7197 | 2.8643 | 3.0046 | 3.147 | 3.2871 | 3.4265 | 3.5552 | 3.6666 | 3.7462 | 3.7819 | 3.7619 | 3.6801 | 3.5389 | 3.3491 | 3.13 | 2.9057 | 2.6988 | 2.5286 | 2.4012 | 2.3149 | 2.2548 | 2.2042 | 2.1428 | 2.0572 | 1.9333 | 1.7683 | 1.556 | 1.3047 | 1.0157 | 0.69865 | 0.37996 | 0.058223 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC52_EXTRUDED CORE SAMPLE_BOTTOM SAND | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 12:58 | 2017-09-19 12:58 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.63 | 4.787 | 0.1822 | 1.042 | Volume | 186.654 | 0.323 | 0.037 | 162.003 | 104.704 | 174.974 | 287.046 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.094684 | 1.2383 | 3.1701 | 5.501 | 8.0691 | 10.4126 | 12.1945 | 13.0493 | 12.837 | 11.5932 | 9.489 | 6.8786 | 4.13 | 1.3046 | 0.038005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC52_EXTRUDED CORE SAMPLE_BOTTOM SAND | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 12:59 | 2017-09-19 12:59 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.52 | 4.748 | 0.1794 | 1.044 | Volume | 186.648 | 0.324 | 0.0371 | 161.921 | 104.61 | 174.886 | 287.251 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.099837 | 1.2495 | 3.1842 | 5.5161 | 8.0813 | 10.4179 | 12.1897 | 13.0338 | 12.8127 | 11.5657 | 9.4657 | 6.8676 | 4.1345 | 1.3361 | 0.045342 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC52_EXTRUDED CORE SAMPLE_BOTTOM SAND | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 13:00 | 2017-09-19 13:00 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.41 | 4.848 | 0.1771 | 1.05 | Volume | 187.362 | 0.326 | 0.037 | 162.279 | 104.613 | 175.441 | 288.896 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10908 | 1.2635 | 3.1847 | 5.4906 | 8.0229 | 10.3329 | 12.0952 | 12.9531 | 12.7672 | 11.5658 | 9.51 | 6.9456 | 4.2219 | 1.4662 | 0.071246 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC52_EXTRUDED CORE SAMPLE_BOTTOM SAND - Average | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 12:58 | 2017-09-19 12:58 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.52 | 4.795 | 0.1796 | 1.046 | Volume | 186.888 | 0.324 | 0.037 | 162.067 | 104.643 | 175.099 | 287.734 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1012 | 1.2505 | 3.1796 | 5.5026 | 8.0578 | 10.3878 | 12.1598 | 13.0121 | 12.8056 | 11.5749 | 9.4883 | 6.8973 | 4.1621 | 1.369 | 0.051531 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC77_EXTRUDED CORE SAMPLE_SAND | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 13:13 | 2017-09-19 13:13 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 6.94 | 4.808 | 0.1615 | 1.075 | Volume | 184.147 | 0.333 | 0.0379 | 158.467 | 101.343 | 171.96 | 286.154 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36483 | 1.7017 | 3.6309 | 5.9228 | 8.3449 | 10.489 | 12.0513 | 12.7252 | 12.4053 | 11.1481 | 9.1151 | 6.6333 | 4.0239 | 1.3801 | 0.063559 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC77_EXTRUDED CORE SAMPLE_SAND | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 13:14 | 2017-09-19 13:14 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 6.79 | 4.826 | 0.158 | 1.074 | Volume | 184.429 | 0.333 | 0.0378 | 158.728 | 101.529 | 172.234 | 286.533 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35268 | 1.6785 | 3.6038 | 5.8934 | 8.3185 | 10.4695 | 12.0421 | 12.7276 | 12.4191 | 11.1709 | 9.1434 | 6.6626 | 4.0477 | 1.4027 | 0.067498 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC77_EXTRUDED CORE SAMPLE_SAND | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 13:15 | 2017-09-19 13:15 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 6.74 | 4.782 | 0.1571 | 1.071 | Volume | 184.476 | 0.332 | 0.0378 | 158.885 | 101.73 | 172.338 | 286.35 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33404 | 1.6488 | 3.5775 | 5.8726 | 8.3102 | 10.4764 | 12.0641 | 12.7597 | 12.4534 | 11.1984 | 9.1575 | 6.662 | 4.0398 | 1.3823 | 0.063003 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC77_EXTRUDED CORE SAMPLE_SAND - Average | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 13:13 | 2017-09-19 13:13 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 6.82 | 4.805 | 0.1589 | 1.073 | Volume | 184.351 | 0.332 | 0.0378 | 158.693 | 101.533 | 172.178 | 286.346 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35051 | 1.6763 | 3.604 | 5.8963 | 8.3246 | 10.4783 | 12.0525 | 12.7375 | 12.4259 | 11.1725 | 9.1386 | 6.6526 | 4.0372 | 1.3884 | 0.064687 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC77_EXTRUDED CORE SAMPLE_CLAY | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 13:36 | 2017-09-19 13:36 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 12.16 | 1.632 | 0.028 | 2.957 | Volume | 110.953 | 0.946 | 0.341 | 17.589 | 6.381 | 86.049 | 260.867 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.055107 | 0.11886 | 0.14894 | 0.18395 | 0.23598 | 0.30956 | 0.40695 | 0.52148 | 0.64464 | 0.7691 | 0.89083 | 1.0078 | 1.1182 | 1.2226 | 1.319 | 1.4098 | 1.4942 | 1.5757 | 1.6528 | 1.7277 | 1.7969 | 1.8604 | 1.9135 | 1.9543 | 1.9805 | 1.9939 | 2.0008 | 2.0142 | 2.054 | 2.1453 | 2.3138 | 2.5791 | 2.9503 | 3.4133 | 3.9406 | 4.472 | 4.9519 | 5.3057 | 5.4879 | 5.4619 | 5.218 | 4.7757 | 4.1507 | 3.3977 | 2.5424 | 1.6731 | 0.75524 | 0.083598 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC77_EXTRUDED CORE SAMPLE_CLAY | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 13:37 | 2017-09-19 13:37 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 12.1 | 1.531 | 0.0274 | 2.969 | Volume | 108.657 | 0.951 | 0.35 | 17.125 | 6.261 | 84.076 | 255.908 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.033546 | 0.086002 | 0.11651 | 0.14944 | 0.18514 | 0.23783 | 0.31252 | 0.41142 | 0.52779 | 0.65306 | 0.77975 | 0.90371 | 1.0229 | 1.1353 | 1.2414 | 1.3395 | 1.4317 | 1.5176 | 1.6004 | 1.6788 | 1.755 | 1.8254 | 1.8898 | 1.9433 | 1.9841 | 2.0096 | 2.0216 | 2.0265 | 2.0377 | 2.0755 | 2.1653 | 2.3331 | 2.5986 | 2.9709 | 3.435 | 3.9627 | 4.4928 | 4.9687 | 5.315 | 5.4856 | 5.4445 | 5.1819 | 4.7191 | 4.073 | 3.3014 | 2.4281 | 1.5582 | 0.5951 | 0.038375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC77_EXTRUDED CORE SAMPLE_CLAY | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 13:37 | 2017-09-19 13:37 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 12.07 | 1.856 | 0.0277 | 2.983 | Volume | 111.38 | 0.955 | 0.342 | 17.529 | 6.347 | 85.979 | 262.82 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.054279 | 0.11725 | 0.14743 | 0.1825 | 0.23483 | 0.30898 | 0.40726 | 0.52299 | 0.64762 | 0.7737 | 0.89706 | 1.0156 | 1.1275 | 1.2331 | 1.3306 | 1.4224 | 1.508 | 1.5906 | 1.669 | 1.7455 | 1.8163 | 1.8811 | 1.9349 | 1.9756 | 2.0003 | 2.0105 | 2.0122 | 2.0187 | 2.0498 | 2.131 | 2.288 | 2.5411 | 2.9 | 3.3514 | 3.8694 | 4.3957 | 4.8768 | 5.2397 | 5.4397 | 5.4387 | 5.2245 | 4.8107 | 4.208 | 3.4651 | 2.6052 | 1.7167 | 0.77615 | 0.086393 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DR896_PSC77_EXTRUDED CORE SAMPLE_CLAY - Average | Works | 58 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-09-19 13:36 | 2017-09-19 13:36 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 12.11 | 1.673 | 0.0277 | 2.97 | Volume | 110.33 | 0.951 | 0.345 | 17.412 | 6.329 | 85.368 | 259.855 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.076311 | 0.11754 | 0.1486 | 0.18387 | 0.23622 | 0.31036 | 0.40854 | 0.52409 | 0.64844 | 0.77418 | 0.8972 | 1.0154 | 1.127 | 1.2324 | 1.3297 | 1.4213 | 1.5066 | 1.5889 | 1.6669 | 1.7427 | 1.8129 | 1.8771 | 1.9306 | 1.9714 | 1.9968 | 2.0087 | 2.0132 | 2.0235 | 2.0598 | 2.1472 | 2.3116 | 2.5729 | 2.9404 | 3.3999 | 3.9242 | 4.4535 | 4.9325 | 5.2868 | 5.4711 | 5.4484 | 5.2081 | 4.7685 | 4.1439 | 3.3881 | 2.5252 | 1.6493 | 0.70883 | 0.069456 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0