- The Instrument:

The configuration of the McLane Moored Profiler (MMP) aquired three types of time-series data during each vertical profile:

  - Engineering - time, motor current, battery voltage, pressure.  Some instruments also log additional parameters here such as flourometer and optical back scatter.

  - CTD - conductivity, temperature, pressure

  - ACM - acoustic current meter, split into a velocity and compass tilt file (four channels of raw velocity data, three channels of compass readings and two axes of tilt)

For each vertical profile, one binary file of each type is written.

- Summary of data types within each text file.

  - Engineering File

evolt: battery voltage

fluor_gain: fluorometer gain

fluor_mV: fluorometer in millivolts

obs_gain: optical backscatter gain

obs_mV: obtical backscatter in millivolts

  - CTD file

pressure: decibars

temperature: nominal degrees C 
conductivity: nominal mmho/cm.

2.3. ACM velocities:

Vab Vcd Vef Vgh: raw path velocities (nominal cm/s)

2.4. ACM  Compass and Tilt

aHx aHy aHz: horizontal (x,y) and vertical (z) normalized compass readings 
aTx aTy: tilt in fore-aft and athwartships  (degrees) as below:

aTx: tilt in fore-aft and athwartships degrees 
aTy: tilt in fore-aft and athwartships degrees 
aHx: horizontal (x) normalized compass readings 
aHy: horizontal (y)  normalized compass readings 
aHz: vertical  normalized compass readings

2.4. Time file

time of each engineering scan coded with matlab function datenum.m – includes:

starttime: profile start time encoded with datenum.m

endtime: profile ending time encoded with datenum.m

Conceptually, the data from the CTD and ACM are checked to insure that all variables are with sensible range (specified by the user) and pass a first difference check.  Bad raw data are interpolated.  Time is logged in the engineering file along with a pressure reading.  These data are used to interpolate a  time estimate for each CTD scan.  Apart from the logged times when the MMP starts and stops the external sensors, there are no cross-referenced time marks between the CTD and ACM apart  from a manufacturer-stated common sample rate.  To align the  CTD and ACM data streams, the program automatically locates the  starting and ending transients at the top and bottom of the  profile interval and assumes constant (but not necessarily the same) sample rate for each sensor.  This is sufficient to define the time value for each ACM scan, allowing common binning of all data against pressure.