## CCE_DataFiles
Deployment | Mooring | IEDA Station Name | Device Type | Instrument Brand | Instrument Model | Data File Name | Water Depth | Lat | Long | Serial Number | DataTypes | Sample Interval | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes | Names to be credited | Funding Sources
A | MS0 |  | CTDOXFLOBS | Sea-Bird Electronics | Seabird SBE-16+ CTD | MBCCE_MS0_CTDOXFLOBS_20151104-trm.nc | 31 | 36.7518 | -121.8387 | 4166 | Conductivity, temp., pressure, oxygen, fluorescence, optical backscatter | 10 min | 0 | 2015-11-05 | 2016-04-06 22:23 | 2016-04-06 21:48 | 0:35 | ahead of GMT | Initial Sync assumed 1 day before deployment | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1), U.S. Geological Survey, Ocean University of China, and Qingdao National Laboratory for Marine Science and Technology
A | MS0 |  | FLNTU | Wet Labs | ECO FLNTU RTD | MBCCE_MS0_FLNTU_20151104.nc | 31 | 36.7518 | -121.8387 | WL-30006 | Optical backscatter, fluorescence | 5 min | 0 | 2015-11-02 20:06 | 2016-04-06 19:06 | 2016-04-06 19:09 | 0:03 | behind GMT | Initial Sync assumed 1 day before deployment
A | MS0 |  | AWAC | Nortek | AWAC 600KHz | MBCCE_MS0_AWAC_20151104_Processedwave.nc and MBCCE_MS0_AWAC_20151104.nc | 31 | 36.7518 | -121.8387 | 5471 | wave heights, current velocity | 1 Hz measurement for 17 minutes every 120 min | 0 | 2015-11-05 | 2016-04-06 20:23 | 2016-04-06 20:23 | 0:00 | ahead of GMT | Initial Sync assumed 1 day before deployment
A | MS1 |  | TU | RBR | Virtuoso-Tu Turbidity Sensor | MBCCE_MS1_TU65m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 54170 | Optical backscatter | 1 minute | 65 | 2015-09-22 01:01 | 2016-04-18 20:09 | 2016-04-18 20:09 | 0:00 | behind GMT
A | MS1 |  | TD | Sea-Bird Electronics | SBE-39 | MBCCE_MS1_TD65m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 127 | Temp., pressure | 3 minute | 65 | 2015-09-21 22:17 | 2016-04-15 23:28 | 2016-04-15 23:29 | 0:02 | behind GMT
A | MS1 | MS1_20161124Event | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS1_ADCP300_20151006.nc | 286.7 | 36.7933 | -121.8446 | 587 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2015-09-23 | 2016-04-15 22:47 | 2016-04-15 22:50 | 0:03 | behind GMT
A | MS1 |  | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and Batch1_GrainSizeResults.xlsx | 286.7 | 36.7933 | -121.8446 | N/A | Grain size | 8 day intervals | 35
A | MS1 |  | TU | RBR | Virtuoso-Tu Turbidity Sensor | MBCCE_MS1_TU35m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 54126 | Optical backscatter | 1 minute | 35 | 2015-09-22 | 2016-04-18 20:18 | 2016-04-18 20:18 | 0:00 | behind GMT
A | MS1 |  | Sediment Trap | N/A | Anderson Sediment Trap | See -Cell F8 | 286.7 | 36.7933 | -121.8446 | N/A | Grain size | 8 day intervals | 10 | [5 empty] | Sediment trap torn off mooring. Not recovered.
A | MS1 |  | CTOBSTrans | Sea-Bird Electronics | SBE-16+ CTD w/ Turbidity | MBCCE_MS1_CTOBSTrans9m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 4250 | Conductivity, Temp, optical backscatter, transmissivity | 15 minute | 9 | 2015-09-22 | 2016-04-18 16:29 | 2016-04-18 16:28 | 0:01 | ahead of GMT
A | MS1 |  | Alt | EofE | Echologger EA-400 Altimeter | MBCCE_MS1_Alt9m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 41411012G | Altimetry, acoustic backscatter profile | 10 minute | 9 | 2015-09-22 |  |  |  |  | was not recorded
A | MS1 |  | ADCP | Nortek | Aquadopp | MBCCE_MS1_Aquadopp2000_20151006.nc | 286.7 | 36.7933 | -121.8446 | 1753 | Profile of current velocity, acoustic backscatter | 2 minute | 9 | 2015-09-29 | 2016-04-15 23:10 | 2016-04-15 23:09 | 0:01 | ahead of GMT |  | Refrences
A | MS2 | MS2_20160115Event | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20151005.nc | 526.8 | 36.7883 | -121.9034 | 13016 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2015-09-23 20:54 | 2016-04-05 17:59 | 2016-04-05 17:58 | 0:00 | ahead of GMT |  | Paull, C.K., Talling, P.J., Maier, K.L., Parsons, D., Xu, J., Caress, D.W., Gwiazda, R., 1082 Lundsten, E., Anderson, K., Barry, J., Chaffey, M., O’Reilly, T., Rosenberger, K., 1083 Simmons, S.M., McCann, M., McGann, M., Kieft, B., Gales, J., Sumner, E.J., Clare, 1084 M.A., Cartigny, M.J., Monterey Coordinated Canyon Experiment Team, 2018. Powerful 1085 turbidity currents driven by dense basal layers. Nature Comm. 9, 4114. 1086 http://dx.doi.org/10.1038/s41467-018-06254-6.
A | MS2 |  | Sediment Trap | N/A | Anderson Sediment Trap | See -Cell F8 | 526.8 | 36.7883 | -121.9034 | N/A | Grain size | 8 day intervals | 10
A | MS2 |  | TU | RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20151005.nc | 526.8 | 36.7883 | -121.9034 | 10046 | Optical backscatter | 15 minute | 9 | 2015-09-22 19:25 | 2016-04-05 21:43 | 2016-04-05 21:43 | 0:01 | behind GMT
A | MS2 |  | CTD | Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20151005.nc | 526.8 | 36.7883 | -121.9034 | 12354 | Conductivity, temp., pressure | 1 minute | 9 | 2015-09-21 23:23 | 2016-04-06 01:10 | 2016-04-06 01:10 | 0:00 | behind GMT
A | MS3 | MS3_20160115Event | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20151005.nc | 831.4 | 36.765 | -121.9697 | 16330 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2015-09-23 23:28 | 2016-04-05 18:06 | 2016-04-05 18:09 | 0:03 | behind GMT
A | MS3 |  | Sediment Trap | N/A | Anderson Sediment Trap | See -Cell F8 | 831.4 | 36.765 | -121.9697 | N/A | Grain size | 8 day intervals | 10
A | MS3 |  | TU | RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU9m_20151005.nc | 831.4 | 36.765 | -121.9697 | 10750 | Optical backscatter | 10 min | 9 | 2015-09-22 22:36 | 2016-04-05 23:06 | 2016-04-05 23:05 | 0:01 | ahead of GMT
A | MS3 |  | CT | Sea-Bird Electronics | SBE-37 Microcat | MBCCE_MS3_CT9m_20151005.nc | 831.4 | 36.765 | -121.9697 | 706 | Conductivity, temp. | 1 min | 9 | 2015-09-21 20:50 | 2016-04-07 23:04 | 2016-04-07 23:04 | 0:00 | behind GMT |  | Symons, W. O. et al. A new model for turbidity current behavior based on integration of flow monitoring and precision coring in a submarine canyon. Geology 45, 367–370 (2017).
A | MS3 |  | ADCP | Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20151005.nc | 831.4 | 36.765 | -121.9697 | 1694 | Profile of current velocity, acoustic backscatter | 2 min | 9 |  |  |  | 0:01 | behind GMT
A | MS4 |  | Sediment Trap | N/A | Anderson Sediment Trap | See -Cell F8 | 1285.8 | 36.7358 | -122.0165 | N/A | Grain size | intervalometer malfunctioned | 10
A | MS4 |  | FLNTU | WET Labs | ECO FLNTU | MBCCE_MS4_FLNTU10m_20151007.nc | 1285.8 | 36.7358 | -122.0165 | WL-30007 | Fluorescence, optical backscatter | 5 min | 10 | 2015-10-06 16:50 | 2016-04-07 17:55 | 2016-04-07 18:10 | 0:14 | behind GMT
A | MS5 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20151020.nc | 1448.9 | 36.715 | -122.0129 | 54146 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 200 | 2015-10-19 | 2016-04-06 17:29 | 2016-04-06 17:29 | 0 |  | Initial Sync assumed 1 day before deployment.
A | MS5 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20151020.nc | 1448.9 | 36.715 | -122.0129 | 54147 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 100 | 2015-10-19 | 2016-04-06 17:08 | 2016-04-06 17:08 | 0 |  | Initial Sync assumed 1 day before deployment.
A | MS5 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU74m_20151020.nc | 1448.9 | 36.715 | -122.0129 | 54148 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 74 | 2015-10-19 | 2000-01-01 | data ended 12/21/2015 18:56:00 | 0 |  | Initial Sync assumed 1 day before deployment.
A | MS5 |  | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap) | See -Cell F8 | 1448.9 | 36.715 | -122.0129 | N/A | Grain size | intervalometer malfunctioned | 74
A | MS5 | MS5_20160115Event | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20151020.nc | 1448.9 | 36.715 | -122.0129 | 23079 | Profile of current velocity, acoustic backscatter | 30 sec. interval; 7 pings per ensemble | 65 | 2015-10-19 | 2016-04-06 18:11 | 2016-04-06 18:11 | 6 seconds behind |  | Initial Sync assumed 1 day before deployment.
A | MS5 |  | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap) | See -Cell F8 | 1448.9 | 36.715 | -122.0129 | N/A | Grain size | 8 days interval; delay time 9 days from Oct 16 2015 GMT | 11
A | MS5 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU11m_20151020.nc | 1448.9 | 36.715 | -122.0129 | 54149 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 11 | 2015-10-19 | 2116-04-06 17:04 | 2116-04-06 17:04 | 0 |  | Initial Sync assumed 1 day before deployment.
A | MS5 |  | CT | RBR | RBRduo C, T | MBCCE_MS5_CT11m_20151020_0138.nc | 1448.9 | 36.715 | -122.0129 | 61610 | Conductivity, temp. | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec | 11 | 2015-10-19 | 2016-04-06 17:36 | 2016-04-06 17:36 | 0 |  | Initial Sync assumed 1 day before deployment.
A | MS6 |  | McLane | McLane | McLane Profiler | MBCCE_MS6_20151015_time.txt and other txt | 1830.8 | 36.7028 | -122.0907 | 11720 | Current, compass and tilt, conductivity, temp., pressure, fluorescence, optical backscatter | 30 min profile every 4.5 hrs, alternating up and down | transits between ~7m and ~507m | 2015-10-14
A | MS7 |  | FLNTU | WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU300m_20151027.nc | 1849 | 36.7016 | -122.0975 | WL-30002 | Fluorescence, optical backscatter | 5 min | 300 | 2015-10-11 19:16 | 2016-04-13 15:47 | 2016-04-13 15:54 | 0:07 | behind GMT | Stopped logging at 01/06/2016 14:36:29
A | MS7 |  | Sediment Trap | N/A | Anderson Sediment Trap | See -Cell F8 | 1849 | 36.7016 | -122.0975 | NA | Grain size | 8 day intervals | 300
A | MS7 | MS7_20160115Event | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20151027.nc | 1849 | 36.7016 | -122.0975 | WHS300-2025 | Profile of current velocity, acoustic backscatter | 30 sec | 70 | 2015-10-17 | 2016-04-12 17:26 | 2016-04-12 17:28 | 0:02 | behind GMT | Initial Sync assumed 1 day before deployment
A | MS7 |  | Sediment Trap | N/A | Anderson Sed Trap | See -Cell F8 | 1849 | 36.7016 | -122.0975 | NA | Grain size | 8 day intervals | 10
A | MS7 |  | FLNTU | WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU10m_20151027.nc | 1849 | 36.7016 | -122.0975 | WL-30001 | Fluorescence, optical backscatter | 5 min | 10 | 2015-10-11 18:43 | 2016-04-13 15:28 | 2016-04-13 15:33 | 0:05 | behind GMT | Stopped logging at 01/07/2016 12:20:08
A | SIN | SIN_20160115Event | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_SIN_ADCP300_20151013.nc | 1837.2 | 36.7018 | -122.0939 | 22697 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2015-10-12 | 2016-04-14 19:04 | 04/14/16 19:03:37 | 0:00 | ahead of GMT | NOTE, for this deployment only, ADCP's were on local (Pacific) time. Clock drift times were converted to GMT for this table.
A | SIN |  | ADCP | Teledyne RD Instruments | Workhorse 600 kHz ADCP | MBCCE_SIN_ADCP600_20151013.nc | 1837.2 | 36.7018 | -122.0939 | 23102 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2015-10-12 | 2016-04-14 19:23 | 04/14/16 19:21:49 | 0:01 | ahead of GMT | NOTE, for this deployment only, ADCP's were on local (Pacific) time. Clock drift times were converted to GMT for this table.
A | SIN |  | ADCP | Teledyne RD Instruments | Workhorse 1200 kHz ADCP | MBCCE_SIN_ADCP1200_20151013.nc | 1837.2 | 36.7018 | -122.0939 | 20661 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2015-10-12 | 2016-04-14 20:59 | 2016-04-14 20:59 | 0:00 | ahead of GMT | NOTE, for this deployment only, ADCP's were on local (Pacific) time. Clock drift times were converted to GMT for this table.
A | SIN |  | CTDOBSTrans | Sea-Bird Electronics | Seabird SBE-16+ CTD (with transmissometer) | MBCCE_SIN_CTD_20151013_timecorrected.nc | 1837.2 | 36.7018 | -122.0939 | 16P41561-4952 | Conductivity, temp., pressure, optical backscatter, transmisivity | 2 sec | 0.8 | no internal clock |  |  | Time corrected |  | Conductivity data is bad after the January 15th event.
A | SIN |  | OX | Aanderaa | Aanderaa Oxygen Optode | MBCCE_SIN_OX_20151013_timecorrected.nc | 1837.2 | 36.7018 | -122.0939 | 677 | Dissolved oxygen | 10 sec | 0.5 | no internal clock |  |  | Time corrected
A | SIN |  | FLNTU | Wetlabs | ECO Triplet Turbidity and Fluorescence Sensor | MBCCE_SIN_FLNTU_20151013_timecorrected.nc | 1837.2 | 36.7018 | -122.0939 | WL-30010 | Fluorescence, optical backscatter | 10 sec | 0.5 | no internal clock |  |  | Time corrected
A | AMT1 |  | AMT | Sonardyne | AMT Beacon 8305 | MBCCE_AMT1_20151013_to_20160428.csv | 301.9 | 36.7944 | -121.848 | 299037-001 | range to AMT 2 and AMT 3 | 45 min | 2 | [5 empty] | AMT recorded info every 45 min. Clock drift not an issue.
A | AMT2 |  | AMT | Sonardyne | AMT Beacon 8305 | MBCCE_AMT2_20151027_to_20160405.csv | 211.3 | 36.7937 | -121.8517 | 297280-001 | range to AMT 1 and AMT 3 | 45 min | 1.5
A | AMT3 |  | AMT | Sonardyne | AMT Beacon 8305 | MBCCE_AMT3_20151027_to_20160416.csv | 242 | 36.7928 | -121.8489 | 297280-002 | range to AMT 1 and AMT 2 | 45 min | 1.5
B | MS0 |  | CTDOXFLOBS | Sea-Bird Electronics | Seabird SBE-16+ CTD | MBCCE_MS0_CTDOXFLOBS_20160408.nc | 31 | 36.7519 | -121.8387 | 4166 | Conductivity, temp., pressure, oxygen, fluorescence, optical backscatter | 10 min | 0 | 2016-04-06 19:56 | 2016-10-06 03:09 | 2016-10-06 03:24 | 0:14 | behind GMT
B | MS0 |  | FLNTU | Wet Labs | ECO FLNTU RTD | MBCCE_MS0_FLNTU_20160408.nc | 31 | 36.7519 | -121.8387 | WL-30006 | Optical backscatter, fluorescence | 5 min | 0 | 2016-04-06 14:00 | 2016-10-05 22:06 | 2016-10-05 22:10 | 0:04 | behind GMT
B | MS0 |  | AWAC | Nortek | AWAC 600KHz | MBCCE_MS0_AWAC_20160408_Processedwave.nc and MBCCE_MS0_AWAC_20160408.nc | 31 | 36.7519 | -121.8387 | 5471 | wave heights, current velocity | 1 Hz measurement for 17 minutes every 120 min | 0 | 2016-04-08 | 2016-10-06 02:10 | 2016-10-06 02:10 | 0:00 | ahead of GMT
B | MS1 |  | TD | Sea-Bird Electronics | SBE-39 | MBCCE_MS1_TD65m_20160404.nc | 278 | 36.7932 | -121.8447 | 128 | Temp., pressure | 5 minute | 65 | 2016-03-28 21:22 | 2016-10-06 16:46 | 2016-10-06 16:46 | 0:00 | behind GMT
B | MS1 | MS1_20160901Event | ADCP | Teledyne RD Instruments | 300kHz WH | MBCCE_MS1_ADCP300_20160404.nc | 278 | 36.7932 | -121.8447 | 473 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-03-24 23:10 | 2016-10-04 17:55 | 2016-10-04 17:57 | 0:02 | behind GMT
B | MS1 |  | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_April2016_updated.pdf, and Batch2_GrainSizeResults.xlsx | 278 | 36.7932 | -121.8447 | N/A | Grain size | intervalometer malfunctioned | 10 | N/A | N/A | N/A | N/A | N/A | N/A
B | MS1 |  | TU | RBR | XR-420 with Seapoint | MBCCE_MS1_TU9m_20160404.nc | 278 | 36.7932 | -121.8447 | 10027 | Optical backscatter | 5 minute | 9 | 2016-03-28 22:04 | 2016-10-05 00:57 | 2016-10-05 00:56 | 0:01 | ahead of GMT
B | MS1 |  | CT | Sea-Bird Electronics | SBE-37 | MBCCE_MS1_CT9m_20160404.nc | 278 | 36.7932 | -121.8447 | 5404 | Conductivity, temp. | 1 minute | 9 | 2016-03-31 18:36 | 2016-10-05 20:22 | 2016-10-05 20:22 | 0:00 | ahead of GMT
B | MS2 | MS2_20160901Event | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20160407.nc | 527 | 36.7878 | -121.9035 | 13016 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-04-06 18:35 | 2016-10-03 20:41 | 2016-10-03 20:38 | 0:03 | ahead of GMT
B | MS2 |  | Sediment Trap | N/A | Anderson Sediment Trap | See -Cell F53 | 527 | 36.7878 | -121.9035 | N/A | Grain size | N/A | 9 | N/A | N/A | N/A | N/A | N/A | N/A
B | MS2 |  | TU | RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20160407.nc | 527 | 36.7878 | -121.9035 | 10075 | Optical backscatter | 15 minute | 9 | 2016-04-06 19:20 | 2016-10-03 20:56 | 2016-03-10 20:55 | 4968:01 | ahead of GMT
B | MS2 |  | CTD | Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20160407.nc | 527 | 36.7878 | -121.9035 | 1700 | Conductivity, temp., pressure | 1 minute | 9 | 2016-03-28 22:51 | 2016-10-04 16:13 | 2016-10-04 16:12 | 0:00 | ahead of GMT
B | MS3 | MS3_20160901Event | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20160407.nc | 831.4 | 36.7651 | -121.9699 | 16330 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-04-06 18:19 | 2016-10-04 19:41 | 2016-10-04 19:44 | 0:03 | behind GMT
B | MS3 |  | Sediment Trap | N/A | Anderson Sediment Trap | See -Cell F53 | 831.4 | 36.7651 | -121.9699 | N/A | Grain size | 8 day intervals | 9 | N/A | N/A | N/A | N/A | N/A | N/A
B | MS3 |  | TU | RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU9m_20160407.nc | 831.4 | 36.7651 | -121.9699 | 10750 | Optical backscatter | 10 min | 9 | 2016-04-06 00:14 | 2016-10-04 20:12 | 2016-10-04 20:12 | 0:00 | behind GMT
B | MS3 |  | CT | Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS3_CT9m_20160407.nc | 831.4 | 36.7651 | -121.9699 | 769 | Conductivity, temp. | 1 min | 9 | 2016-03-29 00:33 | 2016-10-05 00:36 | 2016-10-05 00:36 | 0:01 | ahead of GMT
B | MS3 |  | ADCP | Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20160407.nc | 831.4 | 36.7651 | -121.9699 | 1694 | Profile of current velocity, acoustic backscatter | 2 min | 9 | 2016-04-05 17:35 | 2016-10-04 01:49 | 2016-10-04 01:50 | 0:00 | behind GMT
B | MS4 | MS4_20160901Event | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS4_ADCP300_20160408.nc | 1285 | 36.736 | -122.0167 | WHS300-2024 | Profile of current velocity, acoustic backscatter | 30 sec | 70 | 2016-04-08 | 2016-10-05 21:13 | 2016-10-05 21:15 | 0:02 | behind GMT
B | MS4 |  | Sediment Trap | N/A | Anderson Sediment Trap | See -Cell F53 | 1285 | 36.736 | -122.0167 | N/A | Grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A | N/A
B | MS4 |  | FLNTU | WET Labs | ECO FLNTU | MBCCE_MS4_FLNTU10m_20160408.nc | 1285 | 36.736 | -122.0167 | WL-30007 | Fluorescence, optical backscatter | 5 min | 10 | 2016-04-07 18:26 | 2016-10-05 18:52 | 2016-10-05 19:00 | 0:08 | behind GMT
B | MS5 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20160408.nc | 1445 | 36.7155 | -122.0129 | 54146 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 200 | 2016-04-07 | 2016-10-04 12:58 | 2016-10-04 12:58 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment.
B | MS5 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20160408.nc | 1445 | 36.7155 | -122.0129 | 54147 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 100 | 2016-04-07 | 2016-10-05 13:14 | 2016-10-05 13:14 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment.
B | MS5 |  | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap) | See -Cell F53 | 1445 | 36.7155 | -122.0129 | N/A | Grain size | intervalometer with 8 day interval; delay time 9 days from Oct 16 2015 GMT | 74 | N/A | N/A | N/A | N/A | N/A
B | MS5 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU70m_20160408.nc | 1445 | 36.7155 | -122.0129 | 54149 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 70 | 2016-04-07 | 2016-10-05 13:07 | 2016-10-05 13:07 | 0:00 | ahead of GMT | Initial Sync assumed 1 day before deployment.
B | MS5 |  | CT70m | RBR | RBRduo C, T | MBCCE_MS5_CT70m_20160408.nc | 1445 | 36.7155 | -122.0129 | 61610 | Conductivity, temp. | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec | 70 | 2016-04-07 | 2016-10-05 13:03 | 2016-10-05 13:03 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment.
B | MS5 |  | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20160408.nc | 1445 | 36.7155 | -122.0129 | 23079 | Profile of current velocity, acoustic backscatter | 30 sec. interval; 7 pings per ensemble | 65 | 2016-04-07 | 2016-10-04 22:09 | 2016-10-04 22:10 | 0:01 | behind GMT | Initial Sync assumed 1 day before deployment.
B | MS5 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU10m_20160408.nc | 1445 | 36.7155 | -122.0129 | 54148 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 10 | 2016-04-07 | 2000-01-01 00:01 | 2016-10-05 13:10 | Malfunction! |  | Malfunction!
B | MS5 |  | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap) | See -Cell F53 | 1445 | 36.7155 | -122.0129 | N/A | Grain size | intervalometer with 8 day interval; delay time 9 days from Oct 16 2015 GMT | 11 | N/A | N/A | N/A | N/A | N/A
B | MS6 |  | McLane | McLane | McLane Profiler | MBCCE_MS6_20160418_time.txt and other txt | 1826 | 36.7019 | -122.0894 | 11720 | Current, compass and tilt, conductivity, temp., pressure, fluorescence, optical backscatter | 30 min profile every 4.5 hrs., alternating up and down | transits between ~7m and ~507m | 2016-04-15 21:30 | 42654.1135 | 42654.113 | 0.00047454 | ahead of GMT
B | MS7 |  | FLNTU | WET Labs | ECO FLNTU | MBCCE_MS7_FLNTU300m_20160420.nc | 1849 | 36.7018 | -122.0984 | WL-30001 | Fluorescence, optical backscatter | Channel 71 | 300 | 2016-04-15 12:30 | 2016-10-11 01:14 | 2016-10-11 01:19 | 0:05 | behind GMT
B | MS7 |  | Sediment Trap | N/A | Anderson Sediment Trap | See -Cell F53 | 1849 | 36.7018 | -122.0984 | NA | Grain size | 8 day intervals | 300 | N/A | N/A | N/A | N/A | N/A
B | MS7 | MS7_20160901Event | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20160420.nc | 1849 | 36.7018 | -122.0984 | WHS300-2025 | Profile of current velocity, acoustic backscatter | 30 sec | 70 | 2016-04-15 18:20 | 2016-10-11 01:01 | 2016-10-11 01:04 | 0:02 | behind GMT
B | MS7 |  | Sediment Trap | N/A | Anderson Sed Trap | See -Cell F53 | 1849 | 36.7018 | -122.0984 | NA | Grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A | Trap spilled onto deck. Some photos exist, some grain size data exists
B | MS7 |  | FLNTU | WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU10m_20160420.nc | 1849 | 36.7018 | -122.0984 | WL-30002 | Fluorescence, optical backscatter | 5 min | 10 | 2016-04-13 14:28 | 2016-10-11 17:55 | 2016-10-11 18:01 | 0:05 | behind GMT
B | SIN | SIN_20160901Event | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_SIN_ADCP300_20160417.nc | 1836.7 | 36.7017 | -122.0938 | 23119 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-04-14 22:50 | 2016-10-12 16:34 | 2016-10-12 16:33 | 0:01 | ahead of GMT | The 300kHz SIN ADCP stopped acquiring on 13th August, 2016 so didn't capture the event
B | SIN |  | ADCP | Teledyne RD Instruments | Workhorse 600 kHz ADCP | MBCCE_SIN_ADCP600_20160417.nc | 1836.7 | 36.7017 | -122.0938 | 21053 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-04-14 22:52 | 2016-10-12 15:57 | 2016-10-12 15:55 | 0:02 | ahead of GMT | The 600kHz SIN ADCP stopped acquiring on 17th September, 2016 so did capture the event
B | SIN |  | ADCP | Teledyne RD Instruments | Workhorse 1200 kHz ADCP | MBCCE_SIN_ADCP1200_20160417.nc | 1836.7 | 36.7017 | -122.0938 | 20662 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-04-14 22:46 | 2016-10-11 22:10 | 2016-10-11 22:10 | 0:00 | ahead of GMT
B | SIN |  | CTDOBSTrans | Sea-Bird Electronics | Seabird SBE-19+ CTD (with transmissometer) | MBCCE_SIN_CTDOBSTrans_20160417_timecorrected.nc | 1836.7 | 36.7017 | -122.0938 | 16P51851-6133 | Conductivity, temp., pressure, optical backscatter, transmisivity | 2 sec | 0.8 | no internal clock |  |  | Time corrected
B | SIN |  | OX | Aanderaa | Aanderaa Oxygen Optode | MBCCE_SIN_OX_20160417_timecorrected.nc | 1836.7 | 36.7017 | -122.0938 | 980 | Dissolved oxygen | 10 sec | 0.5 | no internal clock |  |  | Time corrected
B | SIN |  | FLNTU | Wetlabs | ECO Triplet Turbidity and Fluorescence Sensor | MBCCE_SIN_FLNTU_20160417_timecorrected.nc | 1836.7 | 36.7017 | -122.0938 | WL-30005 | Fluorescence, optical backscatter | 10 sec | 0.5 | no internal clock |  |  | Time corrected
C | MS0 |  | CTDOXFLOBS | Sea-Bird Electronics | Seabird SBE-16+ CTD | MBCCE_MS0_CTDOXFLOBS_20161024.nc | 31 | 36.7519 | -121.8387 | 4166 | Conductivity, temp., pressure, oxygen, fluorescence, optical backscatter | 10 min | 0
C | MS0 |  | AWAC | Nortek | AWAC 600KHz | MBCCE_MS0_AWAC_20161014_Processedwave.nc and MBCCE_MS0_AWAC_20161024.nc | 31 | 36.7519 | -121.8387 | 5471 | wave heights, current velocity | 1 Hz measurement for 17 minutes every 120 min | 0
C | MS1 |  | TU | RBR | Virtuoso-Tu | MBCCE_MS1_TU65m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 54170 | Optical backscatter | 1 minute | 65 | 2016-08-29 21:02 |  |  |  |  | Clock was reset on recovery
C | MS1 |  | TD | Sea-Bird Electronics | SBE-39 | MBCCE_MS1_TD65m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 128 | Temp., pressure | 3 minute | 65 | 2016-08-30 18:08 | 2017-03-23 00:42 | 2017-03-23 00:42 | 0:00 | behind GMT
C | MS1 |  | ADCP | Teledyne RD Instruments | 300kHz WH | MBCCE_MS1_ADCP300up_20161006.nc | 290.3 | 36.7936 | -121.8457 | 587 | Profile of current velocity, acoustic backscatter | 1 minute | 65 | 2016-10-02 16:21 | 2017-03-22 19:25 | 2017-03-22 19:31 | 0:06 | behind GMT
C | MS1 |  | ADCP | Teledyne RD Instruments | 300kHz WH | MBCCE_MS1_ADCP300down_20161006.nc | 290.3 | 36.7936 | -121.8457 | 473 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-10-04 23:43 | 2017-03-22 19:50 | 2017-03-22 19:52 | 0:02 | behind GMT
C | MS1 |  | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and Batch3_GrainSizeResults.xlsx | 290.3 | 36.7936 | -121.8457 | N/A | Grain Size | 8 day intervals | 35 | N/A | N/A | N/A | N/A | N/A
C | MS1 |  | TU | RBR | Virtuoso-Tu | MBCCE_MS1_TU35m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 54126 | Optical backscatter | 1 minute | 35 | 2016-08-29 21:30 | 2017-03-22 21:22 | 2017-03-22 21:22 | 0:00 | behind GMT
C | MS1 |  | Sediment Trap | N/A | Anderson Sediment Trap | See -Cell F93 | 290.3 | 36.7936 | -121.8457 | N/A | Grain Size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A
C | MS1 |  | ADCP | Nortek | Aquadopp | MBCCE_MS1_Aquadopp2000_20161006.nc | 290.3 | 36.7936 | -121.8457 | 1753 | Profile of current velocity, acoustic backscatter | 3 minute | 10 | 2016-09-28 22:00 | 2017-03-23 17:18 | 2017-03-23 17:18 | 0:01 | ahead of GMT
C | MS1 |  | Alt | EofE | Echologger EA-400 Altimeter | MBCCE_MS1_Alt9m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 41411012G | Altimetry, acoustic backscatter profile | 6 minute | 10 | 2016-10-05 19:35 | 2017-03-22 15:34 | 2017-03-22 15:35 | 0:01 | behind GMT
C | MS1 |  | CT | Sea-Bird Electronics | SBE-37 | MBCCE_MS1_CT9m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 466 | Salinity, temp. | 1 minute | 9 | 2016-10-04 22:30 | 2017-03-22 23:28 | 2017-03-22 23:28 | 0:00 | behind GMT
C | MS2 |  | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20161006.nc | 526.3 | 36.7886 | -121.9034 | 13016 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-10-05 16:20 | 2017-03-22 22:34 | 2017-03-22 22:31 | 0:03 | ahead of GMT
C | MS2 |  | Sediment Trap | N/A | Anderson Sediment Trap | See -Cell F93 | 526.3 | 36.7886 | -121.9034 | N/A | Grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A | Sediment trap torn off. Not recovered.
C | MS2 |  | TU | RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20161006.nc | 526.3 | 36.7886 | -121.9034 | 10046 | Optical backscatter | 3 minute | 10 | 2016-09-30 23:22 | 2017-03-22 21:06 | 2017-03-22 21:05 | 0:01 | ahead of GMT
C | MS2 |  | CTD | Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20161006.nc | 526.3 | 36.7886 | -121.9034 | 1700 | Conductivity, temp., pressure | 1 minute | 9 | 2016-10-04 21:44 | 2017-03-22 18:19 | 2017-03-22 18:19 | 0:00 | ahead of GMT
C | MS3 |  | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20161006.nc | 829.1 | 36.7655 | -121.9693 | 16330 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-10-05 16:47 | 2017-03-22 19:14 | 2017-03-22 19:18 | 0:03 | behind GMT
C | MS3 |  | Sediment Trap | N/A | Anderson Sediment Trap | See -Cell F93 | 829.1 | 36.7655 | -121.9693 | N/A | Grain size | intervalometer malfunctioned | 35 | N/A | N/A | N/A | N/A | N/A
C | MS3 |  | TU | RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU35m_20161006.nc | 829.1 | 36.7655 | -121.9693 | 10027 | Optical backscatter | 10 min | 35 | 2016-10-04 23:37 | 2017-03-22 20:19 | 2017-03-22 20:19 | 0:00 | ahead of GMT
C | MS3 |  | Sediment Trap | N/A | Anderson Sediment Trap | See -Cell F93 | 829.1 | 36.7655 | -121.9693 | N/A | Grain size | 8 day interval | 10 | N/A | N/A | N/A | N/A | N/A
C | MS3 |  | TU | RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU10m_20161006.nc | 829.1 | 36.7655 | -121.9693 | 10755 | Optical backscatter | 10 min | 10 | 2016-10-05 16:00 | 2017-03-22 20:48 | 2017-03-22 20:47 | 0:01 | ahead of GMT
C | MS3 |  | CT9 | Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS3_CT9m_20161006.nc | 829.1 | 36.7655 | -121.9693 | 12354 | Conductivity, temp. | 1 min | 9 | 2016-10-04 22:04 | 2017-03-23 01:08 | 2017-03-23 01:08 | 0:00 | behind GMT
C | MS3 |  | ADCP | Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20161006.nc | 829.1 | 36.7655 | -121.9693 | 1694 | Profile of current velocity, acoustic backscatter | 2 min | 9 | 2016-10-04 23:00 | 2017-03-23 20:24 | 2017-03-23 20:24 | 0:00 | ahead of GMT
C | MS4 |  | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS4_ADCP300_20161007.nc | 1285.9 | 36.7361 | -122.0172 | WHS300-2024 | Profile of current velocity, acoustic backscatter | 30 sec | 70 | 2016-10-11 19:46 | 2017-03-22 18:11 | 2017-03-22 18:12 | 0:02 | behind GMT
C | MS4 |  | Sediment Trap | N/A | Anderson Sediment Trap | See -Cell F93 | 1285.9 | 36.7361 | -122.0172 | N/A | Grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A
C | MS4 |  | FLNTU | WET Labs | ECO FLNTU | MBCCE_MS4_FLNTU10m_20161007.nc | 1285.9 | 36.7361 | -122.0172 | WL-30007 | Fluorescence, optical backscatter | 5 min | 10 | 2016-10-05 23:00 | 2017-03-22 20:13 | 2017-03-22 20:26 | 0:13 | behind GMT
C | MS5 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 54148 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 200 |  | N/A | 2017-02-08 19:40 | N/A |  | Stopped Dec. 4, 2016
C | MS5 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 54146 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 100 | 2016-10-06 | 2017-02-08 19:46 | 2017-02-08 19:47 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment.
C | MS5 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU70m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 54147 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 70 | 2016-10-06 | 2017-02-08 19:32 | 2017-02-08 19:32 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment.
C | MS5 |  | CT | RBR | RBRduo C, T | MBCCE_MS5_CT70m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 61610 | Conductivity, temp. | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec | 10 | 2016-10-06 | 2017-02-08 19:10 | 2017-02-08 19:10 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment.
C | MS5 |  | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 23079 | Profile of current velocity, acoustic backscatter | 30 sec. interval; 7 pings per ensemble | 65 | 2016-10-07 | 2017-02-08 21:31 | 2017-02-08 21:32 | 0:01 | behind GMT
C | MS5 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU10m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 54149 | Optical backscatter | 30 sec. interval; 7 pings per ensemble | 10 | 2016-10-06 | 2017-02-08 19:23 | 2017-02-08 19:23 | 0:00 |  | Initial Sync assumed 1 day before deployment.
C | MS5 |  | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap) | See -Cell F93 | 1438.7 | 36.7163 | -122.0128 | N/A | Grain size | 6 day interval; | 11 | N/A | N/A | N/A | N/A | N/A
C | MS7 |  | FLNTU | WET Labs | ECO FLNTU | MBCCE_MS7_FLNTU300m_20161019.nc | 1851 | 36.7019 | -122.0987 | WL-30001 | Fluorescence, optical backscatter | 5 min | 300 | 2016-10-18 21:00 | 2017-04-04 04:13 | 2017-04-04 04:18 | 0:05 | behind GMT
C | MS7 |  | Sediment Trap | N/A | Anderson Sediment Trap | See -Cell F93 | 1851 | 36.7019 | -122.0987 | NA | Grain size | 8 day intervals | 300 | N/A | N/A | N/A | N/A | N/A
C | MS7 |  | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20161019.nc | 1851 | 36.7019 | -122.0987 | WHS300-2025 | Profile of current velocity, acoustic backscatter | 30 sec | 70 | 2016-10-11 20:59 | 2017-04-04 02:52 | 2017-04-04 02:56 | 0:04 | behind GMT
C | MS7 |  | Sediment Trap | N/A | Anderson Sed Trap | See -Cell F93 | 1851 | 36.7019 | -122.0987 | NA | Grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A
C | MS7 |  | FLNTU | WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU10m_20161019.nc | 1851 | 36.7019 | -122.0987 | WL-30002 | Fluorescence, optical backscatter | 5 min | 10 | 2016-10-18 09:10 | 2017-04-04 04:01 | 2017-04-04 04:08 | 0:07 | behind GMT
C | SIN |  | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_SIN_ADCP300_20161018.nc | 1837.8 | 36.7018 | -122.0939 | 22697 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-10-07 20:48 | 2017-04-10 17:25 | 2017-04-10 17:24 | 0:01 | ahead of GMT
C | SIN |  | ADCP | Teledyne RD Instruments | Workhorse 600 kHz ADCP | MBCCE_SIN_ADCP600_20161018.nc | 1837.8 | 36.7018 | -122.0939 | 23102 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-10-07 20:53 | 2017-04-10 16:13 | 2017-04-10 16:11 | 0:02 | ahead of GMT
C | SIN |  | ADCP | Teledyne RD Instruments | Workhorse 1200 kHz ADCP | MBCCE_SIN_ADCP1200_20161018.nc | 1837.8 | 36.7018 | -122.0939 | 20662 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-10-17 17:28 | 2017-04-10 16:08 | 2017-04-10 16:08 | 0:00 | ahead of GMT
C | SIN |  | CTDOBSTrans | Sea-Bird Electronics | Seabird SBE-19+ CTD (with transmissometer) | MBCCE_SIN_CTDOBSTrans_20161018_timecorrected.nc | 1837.8 | 36.7018 | -122.0939 | 16P41561-4952 | Conductivity, temp., pressure, optical backscatter, transmisivity | 2 sec | 0.8 | no internal clock |  |  | Time corrected |  | Conductivity measurements were bad for the whole deployment.
C | SIN |  | OX | Aanderaa | Aanderaa Oxygen Optode | MBCCE_SIN_OX_20161018_timecorrected.nc | 1837.8 | 36.7018 | -122.0939 | 3830 | Dissolved oxygen | 10 sec | 0.5 | no internal clock |  |  | Time corrected
C | SIN |  | FLNTU | Wetlabs | ECO Triplet Turbidity and Fluorescence Sensor | MBCCE_SIN_FLNTU_20161018_timecorrected.nc | 1837.8 | 36.7018 | -122.0939 | WL-30009 | Fluorescence, optical backscatter | 10 sec | 0.5 | no internal clock |  |  | Time corrected
C | AMT1 |  | AMT | Sonardyne | AMT Beacon 8305 | AMT1_20161011_to_20170421.csv | 299.9003 | 36.7943 | -121.8478 | 299037-001 | range to AMT 2 and AMT 3 | 45 min | 2 | [5 empty] | AMT recorded info every 45 min. Clock drift not an issue.
C | AMT2 |  | AMT | Sonardyne | AMT Beacon 8305 | AMT2_20161005_to_20161019.csv | 206.7 | 36.7938 | -121.8517 | 297280-001 | range to AMT 1 and AMT 3 | 45 min | 1.5
C | AMT3 |  | AMT | Sonardyne | AMT Beacon 8305 | AMT3_20161011_to_20161019.csv | 238.9 | 36.7928 | -121.849 | 297280-002 | range to AMT 1 and AMT 2 | 45 min | 1.5
| BEDs |  | BED Depths |  | 43 cm diameter sphere 2.1 g/cc density in air, 1.0 g/cc density in water | MBCCE_All_BEDS_depths.xlsx |  |  |  |  | Pressure
|  |  | BED Deployment Location |  |  | MBCCE_BED_Locations.csv |  |  |  |  | Position
|  |  | Event Timing |  |  | MBCCE_EventTiming.xlsx |  |  |  |  | Time of events
|  |  | Bathymetery | Repeat, high-resolution, multibeam, bathymetric surveys of the Monterey Canyon floor were conducted with a mapping AUV (Autonomous Underwater Vehicle). The AUV carried a Reson 7125 multibeam echosounder (vertical precision of 0.15 m and horizontal resolution of 1.0 m). An inertial navigation system combined with a Doppler velocity logger allowed the AUV to fly pre-programmed grids at 3 knots, while maintaining an altitude of 50 m above the seafloor, to obtain a nominal line spacing of 130 m. |  | Topo1m_CCEShallow_20151104_UTM.asc | 200-500 |  |  |  | bathymetery | [7 empty] | projected UMT zone 10N
|  |  | Bathymetery |  |  | Topo1m_CCEShallow_20151201_UTM.asc | 200-501 |  |  |  | bathymetery | [7 empty] | projected UMT zone 10N
|  |  | Bathymetery |  |  | Topo1m_CCEShallow_20160128_UTM.asc | 200-502 |  |  |  | bathymetery | [7 empty] | projected UMT zone 10N
|  |  | Bathymetery |  |  | Topo1m_CCEShallow_20160321_UTM.asc | 200-503 |  |  |  | bathymetery | [7 empty] | projected UMT zone 10N
|  |  | Bathymetery |  |  | Topo1m_CCEShallow_20161207_UTM.asc | 200-504 |  |  |  | bathymetery | [7 empty] | projected UMT zone 10N
|  |  | Bathymetery |  |  | Topo1m_CCEShallow_20170221_UTM.asc | 200-505 |  |  |  | bathymetery | [7 empty] | projected UMT zone 10N
|  |  | Bathymetery |  |  | TopoDiff1m_CCEShallow_20151201_20151104_UTM.asc | 200-506 |  |  |  | bathymetery | [7 empty] | projected UMT zone 10N
|  |  | Bathymetery |  |  | TopoDiff1m_CCEShallow_20160128_20151201_UTM.asc | 200-507 |  |  |  | bathymetery | [7 empty] | projected UMT zone 10N
|  |  | Bathymetery |  |  | TopoDiff1m_CCEShallow_20160321_20160128_UTM.asc | 200-508 |  |  |  | bathymetery | [7 empty] | projected UMT zone 10N
|  |  | Bathymetery |  |  | TopoDiff1m_CCEShallow_20161207_20160321_UTM.asc | 200-509 |  |  |  | bathymetery | [7 empty] | projected UMT zone 10N
|  |  | Bathymetery |  |  | TopoDiff1m_CCEShallow_20170221_20151104_UTM.asc | 200-510 |  |  |  | bathymetery | [7 empty] | projected UMT zone 10N
|  |  | Bathymetery |  |  | TopoDiff1m_CCEShallow_20170221_20161207_UTM.asc | 200-511 |  |  |  | bathymetery | [7 empty] | projected UMT zone 10N
|  |  | Bathymetery |  |  | Topo1m_CCEDeep_20170323_UTM.asc | 1350-1880 |  |  |  | bathymetery | [7 empty] | projected UMT zone 10N
|  |  | Bathymetery |  |  | Topo1m_CCEDeep_20161206_UTM.asc | 1350-1881 |  |  |  | bathymetery | [7 empty] | projected UMT zone 10N
|  |  | Bathymetery |  |  | Topo1m_CCEDeep_20160418_UTM.asc | 1350-1882 |  |  |  | bathymetery | [7 empty] | projected UMT zone 10N
|  |  | Bathymetery |  |  | Topo1m_CCEDeep_20160322_UTM.asc | 1350-1883 |  |  |  | bathymetery | [7 empty] | projected UMT zone 10N
|  |  | Bathymetery |  |  | Topo1m_CCEDeep_20151202_UTM.asc | 1350-1884 |  |  |  | bathymetery | [7 empty] | projected UMT zone 10N
|  |  | Bathymetery |  |  | Topo1m_CCEDeep_20151105_1106_UTM.asc | 1350-1885 |  |  |  | bathymetery | [7 empty] | projected UMT zone 10N
|  |  | Bathymetery |  |  | TopoDiff1m_CCEDeep_20170323_20151105_UTM.asc | 1350-1886 |  |  |  | bathymetery | [7 empty] | projected UMT zone 10N
|  |  | Bathymetery |  |  | TopoDiff1m_CCEDeep_20161206_20160418_UTM.asc | 1350-1887 |  |  |  | bathymetery | [7 empty] | projected UMT zone 10N
|  |  | Bathymetery |  |  | TopoDiff1m_CCEDeep_20160322_20151202_UTM.asc | 1350-1888 |  |  |  | bathymetery | [7 empty] | projected UMT zone 10N