## CCE_DataFiles
Deployment | Mooring | Deployment Date | Correct Mooring Name | IEDA Station Name | Device Type | Instrument Brand | Instrument Model | Files on ftp | Data File Name | Water Depth | Lat | Long | Serial Number | DataTypes | Sample Interval | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes | Names to be credited | Funding Sources
A | MS0 | 20151104 | MS0_20151104 |  | CTDOXFLOBS | Sea-Bird Electronics | Seabird SBE-16+ CTD | x | MBCCE_MS0_CTDOXFLOBS_20151104-trm.nc | 31 | 36.7518 | -121.8387 | 4166 | Conductivity, temp., pressure, oxygen, fluorescence, optical backscatter | 10 min | 0 | 2015-11-05 | 2016-04-06 22:23 | 2016-04-06 21:48 | 0:35 | ahead of GMT | Initial Sync assumed 1 day before deployment | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1), U.S. Geological Survey, Ocean University of China, and Qingdao National Laboratory for Marine Science and Technology
A | MS0 | 20151104 | MS0_20151104 |  | FLNTU | Wet Labs | ECO FLNTU RTD | x | MBCCE_MS0_FLNTU_20151104.nc | 31 | 36.7518 | -121.8387 | WL-30006 | Optical backscatter, fluorescence | 5 min | 0 | 2015-11-02 20:06 | 2016-04-06 19:06 | 2016-04-06 19:09 | 0:03 | behind GMT | Initial Sync assumed 1 day before deployment
A | MS0 | 20151104 | MS0_20151104 |  | AWAC | Nortek | AWAC 600KHz | x | MBCCE_MS0_AWAC_20151104_Processedwave.nc and MBCCE_MS0_AWAC_20151104.nc | 31 | 36.7518 | -121.8387 | 5471 | wave heights, current velocity | 1 Hz measurement for 17 minutes every 120 min | 0 | 2015-11-05 | 2016-04-06 20:23 | 2016-04-06 20:23 | 0:00 | ahead of GMT | Initial Sync assumed 1 day before deployment
A | MS1 | 20151006 | MS1_20151006 |  | TU | RBR | Virtuoso-Tu Turbidity Sensor | x | MBCCE_MS1_TU65m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 54170 | Optical backscatter | 1 minute | 65 | 2015-09-22 01:01 | 2016-04-18 20:09 | 2016-04-18 20:09 | 0:00 | behind GMT
A | MS1 | 20151006 | MS1_20151006 |  | TD | Sea-Bird Electronics | SBE-39 | x | MBCCE_MS1_TD65m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 127 | Temp., pressure | 3 minute | 65 | 2015-09-21 22:17 | 2016-04-15 23:28 | 2016-04-15 23:29 | 0:02 | behind GMT
A | MS1 | 20151006 | MS1_20151006 | MS1_20161124Event | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | x | MBCCE_MS1_ADCP300_20151006.nc | 286.7 | 36.7933 | -121.8446 | 587 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2015-09-23 | 2016-04-15 22:47 | 2016-04-15 22:50 | 0:03 | behind GMT
A | MS1 | 20151006 | MS1_20151006 |  | Sediment Trap | N/A | Anderson Sediment Trap | x | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and MBCCE_DeploymentA_2015Oct_GrainSize.xlsx | 286.7 | 36.7933 | -121.8446 | N/A | Grain size | 8 day intervals | 35
A | MS1 | 20151006 | MS1_20151006 |  | TU | RBR | Virtuoso-Tu Turbidity Sensor | x | MBCCE_MS1_TU35m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 54126 | Optical backscatter | 1 minute | 35 | 2015-09-22 | 2016-04-18 20:18 | 2016-04-18 20:18 | 0:00 | behind GMT
A | MS1 | 20151006 | MS1_20151006 |  | Sediment Trap | N/A | Anderson Sediment Trap | x | See -Cell F8 | 286.7 | 36.7933 | -121.8446 | N/A | Grain size | 8 day intervals | 10 | [5 empty] | MS1_20151006 traveled down canyon during the January 15, 2016 event before breaking from it's anchor and floating to the surface. Mooring eventally recovered. Lower sediment trap was torn off in the process, not recoverd.
A | MS1 | 20151006 | MS1_20151006 |  | CTOBSTrans | Sea-Bird Electronics | SBE-16+ CTD w/ Turbidity | x | MBCCE_MS1_CTOBSTrans9m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 4250 | Conductivity, Temp, optical backscatter, transmissivity | 15 minute | 9 | 2015-09-22 | 2016-04-18 16:29 | 2016-04-18 16:28 | 0:01 | ahead of GMT
A | MS1 | 20151006 | MS1_20151006 |  | Alt | EofE | Echologger EA-400 Altimeter | x | MBCCE_MS1_Alt9m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 41411012G | Altimetry, acoustic backscatter profile | 10 minute | 9 | 2015-09-22 |  |  |  |  | was not recorded
A | MS1 | 20151006 | MS1_20151006 |  | ADCP | Nortek | Aquadopp | x | MBCCE_MS1_Aquadopp2000_20151006.nc | 286.7 | 36.7933 | -121.8446 | 1753 | Profile of current velocity, acoustic backscatter | 2 minute | 9 | 2015-09-29 | 2016-04-15 23:10 | 2016-04-15 23:09 | 0:01 | ahead of GMT |  | Refrences
A | MS2 | 20151005 | MS2_20151005 | MS2_20160115Event | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | x | MBCCE_MS2_ADCP300_20151005.nc | 526.8 | 36.7883 | -121.9034 | 13016 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2015-09-23 20:54 | 2016-04-05 17:59 | 2016-04-05 17:58 | 0:00 | ahead of GMT |  | Paull, C.K., Talling, P.J., Maier, K.L., Parsons, D., Xu, J., Caress, D.W., Gwiazda, R., 1082 Lundsten, E., Anderson, K., Barry, J., Chaffey, M., O’Reilly, T., Rosenberger, K., 1083 Simmons, S.M., McCann, M., McGann, M., Kieft, B., Gales, J., Sumner, E.J., Clare, 1084 M.A., Cartigny, M.J., Monterey Coordinated Canyon Experiment Team, 2018. Powerful 1085 turbidity currents driven by dense basal layers. Nature Comm. 9, 4114. 1086 http://dx.doi.org/10.1038/s41467-018-06254-6.
A | MS2 | 20151005 | MS2_20151005 |  | Sediment Trap | N/A | Anderson Sediment Trap | x | See -Cell F8 | 526.8 | 36.7883 | -121.9034 | N/A | Grain size | 8 day intervals | 10
A | MS2 | 20151005 | MS2_20151005 |  | TU | RBR with Seapoint OBS | XR-420 Turbidity Sensor | x | MBCCE_MS2_TU9m_20151005.nc | 526.8 | 36.7883 | -121.9034 | 10046 | Optical backscatter | 15 minute | 9 | 2015-09-22 19:25 | 2016-04-05 21:43 | 2016-04-05 21:43 | 0:01 | behind GMT
A | MS2 | 20151005 | MS2_20151005 |  | CTD | Sea-Bird Electronics | SBE-37 Microcat CTD | x | MBCCE_MS2_CTD9m_20151005.nc | 526.8 | 36.7883 | -121.9034 | 12354 | Conductivity, temp., pressure | 1 minute | 9 | 2015-09-21 23:23 | 2016-04-06 01:10 | 2016-04-06 01:10 | 0:00 | behind GMT
A | MS3 | 20151005 | MS3_20151005 | MS3_20160115Event | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | x | MBCCE_MS3_ADCP300_20151005.nc | 831.4 | 36.765 | -121.9697 | 16330 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2015-09-23 23:28 | 2016-04-05 18:06 | 2016-04-05 18:09 | 0:03 | behind GMT
A | MS3 | 20151005 | MS3_20151005 |  | Sediment Trap | N/A | Anderson Sediment Trap | x | See -Cell F8 | 831.4 | 36.765 | -121.9697 | N/A | Grain size | 8 day intervals | 10
A | MS3 | 20151005 | MS3_20151005 |  | TU | RBR | XR-420 logger Turbidity Sensor | x | MBCCE_MS3_TU9m_20151005.nc | 831.4 | 36.765 | -121.9697 | 10750 | Optical backscatter | 10 min | 9 | 2015-09-22 22:36 | 2016-04-05 23:06 | 2016-04-05 23:05 | 0:01 | ahead of GMT
A | MS3 | 20151005 | MS3_20151005 |  | CT | Sea-Bird Electronics | SBE-37 Microcat | x | MBCCE_MS3_CT9m_20151005.nc | 831.4 | 36.765 | -121.9697 | 706 | Conductivity, temp. | 1 min | 9 | 2015-09-21 20:50 | 2016-04-07 23:04 | 2016-04-07 23:04 | 0:00 | behind GMT
A | MS3 | 20151005 | MS3_20151005 |  | ADCP | Nortek | Aquadopp ADCP | x | MBCCE_MS3_Aquadopp2000_20151005.nc | 831.4 | 36.765 | -121.9697 | 1694 | Profile of current velocity, acoustic backscatter | 2 min | 9 |  |  |  | 0:01 | behind GMT
A | MS4 | 20151007 | MS4_20151007 |  | Sediment Trap | N/A | Anderson Sediment Trap | x | See -Cell F8 | 1285.8 | 36.7358 | -122.0165 | N/A | Grain size | intervalometer malfunctioned | 10
A | MS4 | 20151007 | MS4_20151007 |  | FLNTU | WET Labs | ECO FLNTU | x | MBCCE_MS4_FLNTU10m_20151007.nc | 1285.8 | 36.7358 | -122.0165 | WL-30007 | Fluorescence, optical backscatter | 5 min | 10 | 2015-10-06 16:50 | 2016-04-07 17:55 | 2016-04-07 18:10 | 0:14 | behind GMT
A | MS5 | 20151020 | MS5_20151020 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | x | MBCCE_MS5_TU200m_20151020.nc | 1448.9 | 36.715 | -122.0129 | 54146 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 200 | 2015-10-19 | 2016-04-06 17:29 | 2016-04-06 17:29 | 0 |  | Initial Sync assumed 1 day before deployment.
A | MS5 | 20151020 | MS5_20151020 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | x | MBCCE_MS5_TU100m_20151020.nc | 1448.9 | 36.715 | -122.0129 | 54147 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 100 | 2015-10-19 | 2016-04-06 17:08 | 2016-04-06 17:08 | 0 |  | Initial Sync assumed 1 day before deployment.
A | MS5 | 20151020 | MS5_20151020 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | x | MBCCE_MS5_TU74m_20151020.nc | 1448.9 | 36.715 | -122.0129 | 54148 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 74 | 2015-10-19 | 2000-01-01 | data ended 12/21/2015 18:56:00 | 0 |  | Initial Sync assumed 1 day before deployment.
A | MS5 | 20151020 | MS5_20151020 |  | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap) | x | See -Cell F8 | 1448.9 | 36.715 | -122.0129 | N/A | Grain size | intervalometer malfunctioned | 74
A | MS5 | 20151020 | MS5_20151020 | MS5_20160115Event | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | x | MBCCE_MS5_ADCP300_20151020.nc | 1448.9 | 36.715 | -122.0129 | 23079 | Profile of current velocity, acoustic backscatter | 30 sec. interval; 7 pings per ensemble | 65 | 2015-10-19 | 2016-04-06 18:11 | 2016-04-06 18:11 | 6 seconds behind |  | Initial Sync assumed 1 day before deployment.
A | MS5 | 20151020 | MS5_20151020 |  | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap) | x | See -Cell F8 | 1448.9 | 36.715 | -122.0129 | N/A | Grain size | 8 days interval; delay time 9 days from Oct 16 2015 GMT | 11
A | MS5 | 20151020 | MS5_20151020 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | x | MBCCE_MS5_TU11m_20151020.nc | 1448.9 | 36.715 | -122.0129 | 54149 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 11 | 2015-10-19 | 2116-04-06 17:04 | 2116-04-06 17:04 | 0 |  | Initial Sync assumed 1 day before deployment.
A | MS5 | 20151020 | MS5_20151020 |  | CT | RBR | RBRduo C, T | x | MBCCE_MS5_CT11m_20151020_0138.nc | 1448.9 | 36.715 | -122.0129 | 61610 | Conductivity, temp. | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec | 11 | 2015-10-19 | 2016-04-06 17:36 | 2016-04-06 17:36 | 0 |  | Initial Sync assumed 1 day before deployment.
A | MS6 | 20151015 | MS6_20151015 |  | McLane | McLane | McLane Profiler | x | MBCCE_MS6_20151015.nc | 1830.8 | 36.7028 | -122.0907 | 11720 | Current, compass and tilt, conductivity, temp., pressure, fluorescence, optical backscatter | 30 min profile every 4.5 hrs, alternating up and down | transits between ~7m and ~507m | 2015-10-14
A | MS7 | 20151027 | MS7_20151027 |  | FLNTU | WET Labs | Triplet ECO FLNTU | x | MBCCE_MS7_FLNTU300m_20151027.nc | 1849 | 36.7016 | -122.0975 | WL-30002 | Fluorescence, optical backscatter | 5 min | 300 | 2015-10-11 19:16 | 2016-04-13 15:47 | 2016-04-13 15:54 | 0:07 | behind GMT | Stopped logging at 01/06/2016 14:36:29
A | MS7 | 20151027 | MS7_20151027 |  | Sediment Trap | N/A | Anderson Sediment Trap | x | See -Cell F8 | 1849 | 36.7016 | -122.0975 | NA | Grain size | 8 day intervals | 300
A | MS7 | 20151027 | MS7_20151027 | MS7_20160115Event | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | x | MBCCE_MS7_ADCP300_20151027.nc | 1849 | 36.7016 | -122.0975 | WHS300-2025 | Profile of current velocity, acoustic backscatter | 30 sec | 70 | 2015-10-17 | 2016-04-12 17:26 | 2016-04-12 17:28 | 0:02 | behind GMT | Initial Sync assumed 1 day before deployment
A | MS7 | 20151027 | MS7_20151027 |  | Sediment Trap | N/A | Anderson Sed Trap | x | See -Cell F8 | 1849 | 36.7016 | -122.0975 | NA | Grain size | 8 day intervals | 10
A | MS7 | 20151027 | MS7_20151027 |  | FLNTU | WET Labs | Triplet ECO FLNTU | x | MBCCE_MS7_FLNTU10m_20151027.nc | 1849 | 36.7016 | -122.0975 | WL-30001 | Fluorescence, optical backscatter | 5 min | 10 | 2015-10-11 18:43 | 2016-04-13 15:28 | 2016-04-13 15:33 | 0:05 | behind GMT | Stopped logging at 01/07/2016 12:20:08
A | SIN | 20151013 | SIN_20151013 | SIN_20160115Event | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | x | MBCCE_SIN_ADCP300_20151013.nc | 1837.2 | 36.7018 | -122.0939 | 22697 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2015-10-12 | 2016-04-14 19:04 | 04/14/16 19:03:37 | 0:00 | ahead of GMT | NOTE, for this deployment only, ADCP's were on local (Pacific) time. Clock drift times were converted to GMT for this table.
A | SIN | 20151013 | SIN_20151013 |  | ADCP | Teledyne RD Instruments | Workhorse 600 kHz ADCP | x | MBCCE_SIN_ADCP600_20151013.nc | 1837.2 | 36.7018 | -122.0939 | 23102 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2015-10-12 | 2016-04-14 19:23 | 04/14/16 19:21:49 | 0:01 | ahead of GMT | NOTE, for this deployment only, ADCP's were on local (Pacific) time. Clock drift times were converted to GMT for this table.
A | SIN | 20151013 | SIN_20151013 |  | ADCP | Teledyne RD Instruments | Workhorse 1200 kHz ADCP | x | MBCCE_SIN_ADCP1200_20151013.nc | 1837.2 | 36.7018 | -122.0939 | 20661 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2015-10-12 | 2016-04-14 20:59 | 2016-04-14 20:59 | 0:00 | ahead of GMT | NOTE, for this deployment only, ADCP's were on local (Pacific) time. Clock drift times were converted to GMT for this table.
A | SIN | 20151013 | SIN_20151013 |  | CTDOBSTrans | Sea-Bird Electronics | Seabird SBE-16+ CTD (with transmissometer) | x | MBCCE_SIN_CTDOBSTrans_20151013_timecorrected.nc | 1837.2 | 36.7018 | -122.0939 | 16P41561-4952 | Conductivity, temp., pressure, optical backscatter, transmisivity | 2 sec | 0.8 | no internal clock |  |  | Time corrected |  | Conductivity data is bad after the January 15th event.
A | SIN | 20151013 | SIN_20151013 |  | OX | Aanderaa | Aanderaa Oxygen Optode | x | MBCCE_SIN_OX_20151013_timecorrected.nc | 1837.2 | 36.7018 | -122.0939 | 677 | Dissolved oxygen | 10 sec | 0.5 | no internal clock |  |  | Time corrected
A | SIN | 20151013 | SIN_20151013 |  | FLNTU | Wetlabs | ECO Triplet Turbidity and Fluorescence Sensor | x | MBCCE_SIN_FLNTU_20151013_timecorrected.nc | 1837.2 | 36.7018 | -122.0939 | WL-30010 | Fluorescence, optical backscatter | 10 sec | 0.5 | no internal clock |  |  | Time corrected
A | AMT1 | 20151013 | AMT1_20151013 |  | AMT | Sonardyne | AMT Beacon 8305 | x | MBCCE_AMT1_20151013_to_20160428.csv | 301.9 | 36.7944 | -121.848 | 299037-001 | Pressure, temperature, pitch and roll | 45 min | 2 | [5 empty] | AMT recorded info every 45 min. Clock drift not an issue.
A | AMT2 | 20151019 | AMT2_20151019 |  | AMT | Sonardyne | AMT Beacon 8305 | x | MBCCE_AMT2_20151027_to_20160405.csv | 211.3 | 36.7937 | -121.8517 | 297280-001 | range to AMT 1 and AMT 3 | 45 min | 1.5
A | AMT3 | 20151027 | AMT3_20151027 |  | AMT | Sonardyne | AMT Beacon 8305 | x | MBCCE_AMT3_20151027_to_20160416.csv | 242 | 36.7928 | -121.8489 | 297280-002 | range to AMT 1 and AMT 2 | 45 min | 1.5
B | MS0 | 20160408 | MS0_20160408 |  | CTDOXFLOBS | Sea-Bird Electronics | Seabird SBE-16+ CTD | x | MBCCE_MS0_CTDOXFLOBS_20160408.nc | 31 | 36.7519 | -121.8387 | 4166 | Conductivity, temp., pressure, oxygen, fluorescence, optical backscatter | 10 min | 0 | 2016-04-06 19:56 | 2016-10-06 03:09 | 2016-10-06 03:24 | 0:14 | behind GMT
B | MS0 | 20160408 | MS0_20160408 |  | FLNTU | Wet Labs | ECO FLNTU RTD | x | MBCCE_MS0_FLNTU_20160408.nc | 31 | 36.7519 | -121.8387 | WL-30006 | Optical backscatter, fluorescence | 5 min | 0 | 2016-04-06 14:00 | 2016-10-05 22:06 | 2016-10-05 22:10 | 0:04 | behind GMT
B | MS0 | 20160408 | MS0_20160408 |  | AWAC | Nortek | AWAC 600KHz | x | MBCCE_MS0_AWAC_20160408_Processedwave.nc and MBCCE_MS0_AWAC_20160408.nc | 31 | 36.7519 | -121.8387 | 5471 | wave heights, current velocity | 1 Hz measurement for 17 minutes every 120 min | 0 | 2016-04-08 | 2016-10-06 02:10 | 2016-10-06 02:10 | 0:00 | ahead of GMT
B | MS1 | 20160404 | MS1_20160404 |  | TD | Sea-Bird Electronics | SBE-39 | x | MBCCE_MS1_TD65m_20160404.nc | 278 | 36.7932 | -121.8447 | 128 | Temp., pressure | 5 minute | 65 | 2016-03-28 21:22 | 2016-10-06 16:46 | 2016-10-06 16:46 | 0:00 | behind GMT
B | MS1 | 20160404 | MS1_20160404 | MS1_20160901Event | ADCP | Teledyne RD Instruments | 300kHz WH | x | MBCCE_MS1_ADCP300_20160404.nc | 278 | 36.7932 | -121.8447 | 473 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-03-24 23:10 | 2016-10-04 17:55 | 2016-10-04 17:57 | 0:02 | behind GMT
B | MS1 | 20160404 | MS1_20160404 |  | Sediment Trap | N/A | Anderson Sediment Trap | x | AndersonSedTrapDataPanel_April2016_updated.pdf, and MBCCE_DeploymentB_2016April_GrainSize.xlsx | 278 | 36.7932 | -121.8447 | N/A | Grain size | intervalometer malfunctioned | 10 | N/A | N/A | N/A | N/A | N/A | N/A
B | MS1 | 20160404 | MS1_20160404 |  | TU | RBR | XR-420 with Seapoint | x | MBCCE_MS1_TU9m_20160404.nc | 278 | 36.7932 | -121.8447 | 10027 | Optical backscatter | 5 minute | 9 | 2016-03-28 22:04 | 2016-10-05 00:57 | 2016-10-05 00:56 | 0:01 | ahead of GMT
B | MS1 | 20160404 | MS1_20160404 |  | CT | Sea-Bird Electronics | SBE-37 | x | MBCCE_MS1_CT9m_20160404.nc | 278 | 36.7932 | -121.8447 | 5404 | Conductivity, temp. | 1 minute | 9 | 2016-03-31 18:36 | 2016-10-05 20:22 | 2016-10-05 20:22 | 0:00 | ahead of GMT
B | MS2 | 20160407 | MS2_20160407 | MS2_20160901Event | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | x | MBCCE_MS2_ADCP300_20160407.nc | 527 | 36.7878 | -121.9035 | 13016 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-04-06 18:35 | 2016-10-03 20:41 | 2016-10-03 20:38 | 0:03 | ahead of GMT
B | MS2 | 20160407 | MS2_20160407 |  | Sediment Trap | N/A | Anderson Sediment Trap | x | See -Cell F53 | 527 | 36.7878 | -121.9035 | N/A | Grain size | N/A | 9 | N/A | N/A | N/A | N/A | N/A | N/A
B | MS2 | 20160407 | MS2_20160407 |  | TU | RBR with Seapoint OBS | XR-420 Turbidity Sensor | x | MBCCE_MS2_TU9m_20160407.nc | 527 | 36.7878 | -121.9035 | 10075 | Optical backscatter | 15 minute | 9 | 2016-04-06 19:20 | 2016-10-03 20:56 | 2016-03-10 20:55 | 4968:01 | ahead of GMT
B | MS2 | 20160407 | MS2_20160407 |  | CTD | Sea-Bird Electronics | SBE-37 Microcat CTD | x | MBCCE_MS2_CTD9m_20160407.nc | 527 | 36.7878 | -121.9035 | 1700 | Conductivity, temp., pressure | 1 minute | 9 | 2016-03-28 22:51 | 2016-10-04 16:13 | 2016-10-04 16:12 | 0:00 | ahead of GMT
B | MS3 | 20160407 | MS3_20160407 | MS3_20160901Event | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | x | MBCCE_MS3_ADCP300_20160407.nc | 831.4 | 36.7651 | -121.9699 | 16330 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-04-06 18:19 | 2016-10-04 19:41 | 2016-10-04 19:44 | 0:03 | behind GMT
B | MS3 | 20160407 | MS3_20160407 |  | Sediment Trap | N/A | Anderson Sediment Trap | x | See -Cell F53 | 831.4 | 36.7651 | -121.9699 | N/A | Grain size | 8 day intervals | 9 | N/A | N/A | N/A | N/A | N/A | N/A
B | MS3 | 20160407 | MS3_20160407 |  | TU | RBR | XR-420 logger Turbidity Sensor | x | MBCCE_MS3_TU9m_20160407.nc | 831.4 | 36.7651 | -121.9699 | 10750 | Optical backscatter | 10 min | 9 | 2016-04-06 00:14 | 2016-10-04 20:12 | 2016-10-04 20:12 | 0:00 | behind GMT
B | MS3 | 20160407 | MS3_20160407 |  | CT | Sea-Bird Electronics | SBE-37 Microcat CTD | x | MBCCE_MS3_CT9m_20160407.nc | 831.4 | 36.7651 | -121.9699 | 769 | Conductivity, temp. | 1 min | 9 | 2016-03-29 00:33 | 2016-10-05 00:36 | 2016-10-05 00:36 | 0:01 | ahead of GMT
B | MS3 | 20160407 | MS3_20160407 |  | ADCP | Nortek | Aquadopp ADCP | x | MBCCE_MS3_Aquadopp2000_20160407.nc | 831.4 | 36.7651 | -121.9699 | 1694 | Profile of current velocity, acoustic backscatter | 2 min | 9 | 2016-04-05 17:35 | 2016-10-04 01:49 | 2016-10-04 01:50 | 0:00 | behind GMT
B | MS4 | 20160408 | MS4_20160408 |  | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | x | MBCCE_MS4_ADCP300_20160408.nc | 1285 | 36.736 | -122.0167 | WHS300-2024 | Profile of current velocity, acoustic backscatter | 30 sec | 70 | 2016-04-08 | 2016-10-05 21:13 | 2016-10-05 21:15 | 0:02 | behind GMT
B | MS4 | 20160408 | MS4_20160408 |  | Sediment Trap | N/A | Anderson Sediment Trap | x | See -Cell F53 | 1285 | 36.736 | -122.0167 | N/A | Grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A | N/A
B | MS4 | 20160408 | MS4_20160408 |  | FLNTU | WET Labs | ECO FLNTU | x | MBCCE_MS4_FLNTU10m_20160408.nc | 1285 | 36.736 | -122.0167 | WL-30007 | Fluorescence, optical backscatter | 5 min | 10 | 2016-04-07 18:26 | 2016-10-05 18:52 | 2016-10-05 19:00 | 0:08 | behind GMT
B | MS5 | 20160408 | MS5_20160408 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | x | MBCCE_MS5_TU200m_20160408.nc | 1445 | 36.7155 | -122.0129 | 54146 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 200 | 2016-04-07 | 2016-10-04 12:58 | 2016-10-04 12:58 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment.
B | MS5 | 20160408 | MS5_20160408 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | x | MBCCE_MS5_TU100m_20160408.nc | 1445 | 36.7155 | -122.0129 | 54147 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 100 | 2016-04-07 | 2016-10-05 13:14 | 2016-10-05 13:14 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment.
B | MS5 | 20160408 | MS5_20160408 |  | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap) | x | See -Cell F53 | 1445 | 36.7155 | -122.0129 | N/A | Grain size | intervalometer with 8 day interval; delay time 9 days from Oct 16 2015 GMT | 74 | N/A | N/A | N/A | N/A | N/A
B | MS5 | 20160408 | MS5_20160408 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | x | MBCCE_MS5_TU70m_20160408.nc | 1445 | 36.7155 | -122.0129 | 54149 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 70 | 2016-04-07 | 2016-10-05 13:07 | 2016-10-05 13:07 | 0:00 | ahead of GMT | Initial Sync assumed 1 day before deployment.
B | MS5 | 20160408 | MS5_20160408 |  | CT70m | RBR | RBRduo C, T | x | MBCCE_MS5_CT70m_20160408.nc | 1445 | 36.7155 | -122.0129 | 61610 | Conductivity, temp. | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec | 70 | 2016-04-07 | 2016-10-05 13:03 | 2016-10-05 13:03 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment.
B | MS5 | 20160408 | MS5_20160408 | MS4_20160901Event | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | x | MBCCE_MS5_ADCP300_20160408.nc | 1445 | 36.7155 | -122.0129 | 23079 | Profile of current velocity, acoustic backscatter | 30 sec. interval; 7 pings per ensemble | 65 | 2016-04-07 | 2016-10-04 22:09 | 2016-10-04 22:10 | 0:01 | behind GMT | Initial Sync assumed 1 day before deployment.
B | MS5 | 20160408 | MS5_20160408 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | x | MBCCE_MS5_TU10m_20160408.nc | 1445 | 36.7155 | -122.0129 | 54148 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 10 | 2016-04-07 | 2000-01-01 00:01 | 2016-10-05 13:10 | Malfunction! |  | Malfunction!
B | MS5 | 20160408 | MS5_20160408 |  | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap) | x | See -Cell F53 | 1445 | 36.7155 | -122.0129 | N/A | Grain size | intervalometer with 8 day interval; delay time 9 days from Oct 16 2015 GMT | 11 | N/A | N/A | N/A | N/A | N/A
B | MS6 | 20160418 | MS6_20160418 |  | McLane | McLane | McLane Profiler | x | MBCCE_MS6_20160418.nc | 1826 | 36.7019 | -122.0894 | 11720 | Current, compass and tilt, conductivity, temp., pressure, fluorescence, optical backscatter | 30 min profile every 4.5 hrs., alternating up and down | transits between ~7m and ~507m | 2016-04-15 21:30 | 42654.1135 | 42654.113 | 0.00047454 | ahead of GMT
B | MS7 | 20160420 | MS7_20160420 |  | FLNTU | WET Labs | ECO FLNTU | x | MBCCE_MS7_FLNTU300m_20160420.nc | 1849 | 36.7018 | -122.0984 | WL-30001 | Fluorescence, optical backscatter | Channel 71 | 300 | 2016-04-15 12:30 | 2016-10-11 01:14 | 2016-10-11 01:19 | 0:05 | behind GMT
B | MS7 | 20160420 | MS7_20160420 |  | Sediment Trap | N/A | Anderson Sediment Trap | x | See -Cell F53 | 1849 | 36.7018 | -122.0984 | NA | Grain size | 8 day intervals | 300 | N/A | N/A | N/A | N/A | N/A
B | MS7 | 20160420 | MS7_20160420 | MS7_20160901Event | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | x | MBCCE_MS7_ADCP300_20160420.nc | 1849 | 36.7018 | -122.0984 | WHS300-2025 | Profile of current velocity, acoustic backscatter | 30 sec | 70 | 2016-04-15 18:20 | 2016-10-11 01:01 | 2016-10-11 01:04 | 0:02 | behind GMT
B | MS7 | 20160420 | MS7_20160420 |  | Sediment Trap | N/A | Anderson Sed Trap | x | See -Cell F53 | 1849 | 36.7018 | -122.0984 | NA | Grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A | Trap spilled onto deck. Some photos exist, some grain size data exists
B | MS7 | 20160420 | MS7_20160420 |  | FLNTU | WET Labs | Triplet ECO FLNTU | x | MBCCE_MS7_FLNTU10m_20160420.nc | 1849 | 36.7018 | -122.0984 | WL-30002 | Fluorescence, optical backscatter | 5 min | 10 | 2016-04-13 14:28 | 2016-10-11 17:55 | 2016-10-11 18:01 | 0:05 | behind GMT
B | SIN | 20160417 | SIN_20160417 | SIN_20160901Event | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | x | MBCCE_SIN_ADCP300_20160417.nc | 1836.7 | 36.7017 | -122.0938 | 23119 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-04-14 22:50 | 2016-10-12 16:34 | 2016-10-12 16:33 | 0:01 | ahead of GMT | The 300kHz SIN ADCP stopped acquiring on 13th August, 2016 so didn't capture the event
B | SIN | 20160417 | SIN_20160417 |  | ADCP | Teledyne RD Instruments | Workhorse 600 kHz ADCP | x | MBCCE_SIN_ADCP600_20160417.nc | 1836.7 | 36.7017 | -122.0938 | 21053 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-04-14 22:52 | 2016-10-12 15:57 | 2016-10-12 15:55 | 0:02 | ahead of GMT | The 600kHz SIN ADCP stopped acquiring on 17th September, 2016 so did capture the event
B | SIN | 20160417 | SIN_20160417 |  | ADCP | Teledyne RD Instruments | Workhorse 1200 kHz ADCP | x | MBCCE_SIN_ADCP1200_20160417.nc | 1836.7 | 36.7017 | -122.0938 | 20662 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-04-14 22:46 | 2016-10-11 22:10 | 2016-10-11 22:10 | 0:00 | ahead of GMT
B | SIN | 20160417 | SIN_20160417 |  | CTDOBSTrans | Sea-Bird Electronics | Seabird SBE-19+ CTD (with transmissometer) | x | MBCCE_SIN_CTDOBSTrans_20160417_timecorrected.nc | 1836.7 | 36.7017 | -122.0938 | 16P51851-6133 | Conductivity, temp., pressure, optical backscatter, transmisivity | 2 sec | 0.8 | no internal clock |  |  | Time corrected |  | not tide corrected
B | SIN | 20160417 | SIN_20160417 |  | OX | Aanderaa | Aanderaa Oxygen Optode | x | MBCCE_SIN_OX_20160417_timecorrected.nc | 1836.7 | 36.7017 | -122.0938 | 980 | Dissolved oxygen | 10 sec | 0.5 | no internal clock |  |  | Time corrected
B | SIN | 20160417 | SIN_20160417 |  | FLNTU | Wetlabs | ECO Triplet Turbidity and Fluorescence Sensor | x | MBCCE_SIN_FLNTU_20160417_timecorrected.nc | 1836.7 | 36.7017 | -122.0938 | WL-30005 | Fluorescence, optical backscatter | 10 sec | 0.5 | no internal clock |  |  | Time corrected
C | MS0 | 20161024 | MS0_20161024 |  | CTDOXFLOBS | Sea-Bird Electronics | Seabird SBE-16+ CTD | x | MBCCE_MS0_CTDOXFLOBS_20161024.nc | 31 | 36.7519 | -121.8387 | 4166 | Conductivity, temp., pressure, oxygen, fluorescence, optical backscatter | 10 min | 0 | [5 empty] | not tide corrected
C | MS0 | 20161024 | MS0_20161024 |  | AWAC | Nortek | AWAC 600KHz | x | MBCCE_MS0_AWAC_20161014_Processedwave.nc and MBCCE_MS0_AWAC_20161024.nc | 31 | 36.7519 | -121.8387 | 5471 | wave heights, current velocity | 1 Hz measurement for 17 minutes every 120 min | 0
C | MS1 | 20161006 | MS1_20161006 |  | TU | RBR | Virtuoso-Tu | x | MBCCE_MS1_TU65m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 54170 | Optical backscatter | 1 minute | 65 | 2016-08-29 21:02 |  |  |  |  | Clock was reset on recovery
C | MS1 | 20161006 | MS1_20161006 |  | TD | Sea-Bird Electronics | SBE-39 | x | MBCCE_MS1_TD65m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 128 | Temp., pressure | 3 minute | 65 | 2016-08-30 18:08 | 2017-03-23 00:42 | 2017-03-23 00:42 | 0:00 | behind GMT | not tide corrected
C | MS1 | 20161006 | MS1_20161006 |  | ADCP | Teledyne RD Instruments | 300kHz WH | x | MBCCE_MS1_ADCP300up_20161006.nc | 290.3 | 36.7936 | -121.8457 | 587 | Profile of current velocity, acoustic backscatter | 1 minute | 65 | 2016-10-02 16:21 | 2017-03-22 19:25 | 2017-03-22 19:31 | 0:06 | behind GMT
C | MS1 | 20161006 | MS1_20161006 |  | ADCP | Teledyne RD Instruments | 300kHz WH | x | MBCCE_MS1_ADCP300down_20161006.nc | 290.3 | 36.7936 | -121.8457 | 473 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-10-04 23:43 | 2017-03-22 19:50 | 2017-03-22 19:52 | 0:02 | behind GMT
C | MS1 | 20161006 | MS1_20161006 |  | Sediment Trap | N/A | Anderson Sediment Trap | x | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and MBCCE_DeploymentC_2016Oct_GrainSize.xlsx | 290.3 | 36.7936 | -121.8457 | N/A | Grain Size | 8 day intervals | 35 | N/A | N/A | N/A | N/A | N/A
C | MS1 | 20161006 | MS1_20161006 |  | TU | RBR | Virtuoso-Tu | x | MBCCE_MS1_TU35m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 54126 | Optical backscatter | 1 minute | 35 | 2016-08-29 21:30 | 2017-03-22 21:22 | 2017-03-22 21:22 | 0:00 | behind GMT
C | MS1 | 20161006 | MS1_20161006 |  | Sediment Trap | N/A | Anderson Sediment Trap | x | See -Cell F93 | 290.3 | 36.7936 | -121.8457 | N/A | Grain Size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A
C | MS1 | 20161006 | MS1_20161006 |  | ADCP | Nortek | Aquadopp | x | MBCCE_MS1_Aquadopp2000_20161006.nc | 290.3 | 36.7936 | -121.8457 | 1753 | Profile of current velocity, acoustic backscatter | 3 minute | 10 | 2016-09-28 22:00 | 2017-03-23 17:18 | 2017-03-23 17:18 | 0:01 | ahead of GMT
C | MS1 | 20161006 | MS1_20161006 |  | Alt | EofE | Echologger EA-400 Altimeter | x | MBCCE_MS1_Alt9m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 41411012G | Altimetry, acoustic backscatter profile | 6 minute | 10 | 2016-10-05 19:35 | 2017-03-22 15:34 | 2017-03-22 15:35 | 0:01 | behind GMT
C | MS1 | 20161006 | MS1_20161006 |  | CT | Sea-Bird Electronics | SBE-37 | x | MBCCE_MS1_CT9m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 466 | Salinity, temp. | 1 minute | 9 | 2016-10-04 22:30 | 2017-03-22 23:28 | 2017-03-22 23:28 | 0:00 | behind GMT
C | MS2 | 20161006 | MS2_20161006 |  | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | x | MBCCE_MS2_ADCP300_20161006.nc | 526.3 | 36.7886 | -121.9034 | 13016 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-10-05 16:20 | 2017-03-22 22:34 | 2017-03-22 22:31 | 0:03 | ahead of GMT
C | MS2 | 20161006 | MS2_20161006 |  | Sediment Trap | N/A | Anderson Sediment Trap | x | See -Cell F93 | 526.3 | 36.7886 | -121.9034 | N/A | Grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A | Sediment trap torn off. Not recovered.
C | MS2 | 20161006 | MS2_20161006 |  | TU | RBR with Seapoint OBS | XR-420 Turbidity Sensor | x | MBCCE_MS2_TU9m_20161006.nc | 526.3 | 36.7886 | -121.9034 | 10046 | Optical backscatter | 3 minute | 10 | 2016-09-30 23:22 | 2017-03-22 21:06 | 2017-03-22 21:05 | 0:01 | ahead of GMT
C | MS2 | 20161006 | MS2_20161006 |  | CTD | Sea-Bird Electronics | SBE-37 Microcat CTD | x | MBCCE_MS2_CTD9m_20161006.nc | 526.3 | 36.7886 | -121.9034 | 1700 | Conductivity, temp., pressure | 1 minute | 9 | 2016-10-04 21:44 | 2017-03-22 18:19 | 2017-03-22 18:19 | 0:00 | ahead of GMT | not tide corrected
C | MS3 | 20161006 | MS3_20161006 |  | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | x | MBCCE_MS3_ADCP300_20161006.nc | 829.1 | 36.7655 | -121.9693 | 16330 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-10-05 16:47 | 2017-03-22 19:14 | 2017-03-22 19:18 | 0:03 | behind GMT
C | MS3 | 20161006 | MS3_20161006 |  | Sediment Trap | N/A | Anderson Sediment Trap | x | See -Cell F93 | 829.1 | 36.7655 | -121.9693 | N/A | Grain size | intervalometer malfunctioned | 35 | N/A | N/A | N/A | N/A | N/A
C | MS3 | 20161006 | MS3_20161006 |  | TU | RBR | XR-420 logger Turbidity Sensor | x | MBCCE_MS3_TU35m_20161006.nc | 829.1 | 36.7655 | -121.9693 | 10027 | Optical backscatter | 10 min | 35 | 2016-10-04 23:37 | 2017-03-22 20:19 | 2017-03-22 20:19 | 0:00 | ahead of GMT
C | MS3 | 20161006 | MS3_20161006 |  | Sediment Trap | N/A | Anderson Sediment Trap | x | See -Cell F93 | 829.1 | 36.7655 | -121.9693 | N/A | Grain size | 8 day interval | 10 | N/A | N/A | N/A | N/A | N/A
C | MS3 | 20161006 | MS3_20161006 |  | TU | RBR | XR-420 logger Turbidity Sensor | x | MBCCE_MS3_TU10m_20161006.nc | 829.1 | 36.7655 | -121.9693 | 10755 | Optical backscatter | 10 min | 10 | 2016-10-05 16:00 | 2017-03-22 20:48 | 2017-03-22 20:47 | 0:01 | ahead of GMT
C | MS3 | 20161006 | MS3_20161006 |  | CT9 | Sea-Bird Electronics | SBE-37 Microcat CTD | x | MBCCE_MS3_CT9m_20161006.nc | 829.1 | 36.7655 | -121.9693 | 12354 | Conductivity, temp. | 1 min | 9 | 2016-10-04 22:04 | 2017-03-23 01:08 | 2017-03-23 01:08 | 0:00 | behind GMT
C | MS3 | 20161006 | MS3_20161006 |  | ADCP | Nortek | Aquadopp ADCP | x | MBCCE_MS3_Aquadopp2000_20161006.nc | 829.1 | 36.7655 | -121.9693 | 1694 | Profile of current velocity, acoustic backscatter | 2 min | 9 | 2016-10-04 23:00 | 2017-03-23 20:24 | 2017-03-23 20:24 | 0:00 | ahead of GMT
C | MS4 | 20161007 | MS4_20161007 |  | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | x | MBCCE_MS4_ADCP300_20161007.nc | 1285.9 | 36.7361 | -122.0172 | WHS300-2024 | Profile of current velocity, acoustic backscatter | 30 sec | 70 | 2016-10-11 19:46 | 2017-03-22 18:11 | 2017-03-22 18:12 | 0:02 | behind GMT
C | MS4 | 20161007 | MS4_20161007 |  | Sediment Trap | N/A | Anderson Sediment Trap | x | See -Cell F93 | 1285.9 | 36.7361 | -122.0172 | N/A | Grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A
C | MS4 | 20161007 | MS4_20161007 |  | FLNTU | WET Labs | ECO FLNTU | x | MBCCE_MS4_FLNTU10m_20161007.nc | 1285.9 | 36.7361 | -122.0172 | WL-30007 | Fluorescence, optical backscatter | 5 min | 10 | 2016-10-05 23:00 | 2017-03-22 20:13 | 2017-03-22 20:26 | 0:13 | behind GMT
C | MS5 | 20161007 | MS5_20161007 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | x | MBCCE_MS5_TU200m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 54148 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 200 |  | N/A | 2017-02-08 19:40 | N/A |  | Stopped Dec. 4, 2016
C | MS5 | 20161007 | MS5_20161007 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | x | MBCCE_MS5_TU100m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 54146 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 100 | 2016-10-06 | 2017-02-08 19:46 | 2017-02-08 19:47 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment.
C | MS5 | 20161007 | MS5_20161007 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | x | MBCCE_MS5_TU70m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 54147 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 70 | 2016-10-06 | 2017-02-08 19:32 | 2017-02-08 19:32 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment.
C | MS5 | 20161007 | MS5_20161007 |  | CT | RBR | RBRduo C, T | x | MBCCE_MS5_CT10m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 61610 | Conductivity, temp. | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec | 10 | 2016-10-06 | 2017-02-08 19:10 | 2017-02-08 19:10 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment.
C | MS5 | 20161007 | MS5_20161007 |  | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | x | MBCCE_MS5_ADCP300_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 23079 | Profile of current velocity, acoustic backscatter | 30 sec. interval; 7 pings per ensemble | 65 | 2016-10-07 | 2017-02-08 21:31 | 2017-02-08 21:32 | 0:01 | behind GMT
C | MS5 | 20161007 | MS5_20161007 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor | x | MBCCE_MS5_TU10m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 54149 | Optical backscatter | 30 sec. interval; 7 pings per ensemble | 10 | 2016-10-06 | 2017-02-08 19:23 | 2017-02-08 19:23 | 0:00 |  | Initial Sync assumed 1 day before deployment.
C | MS5 | 20161007 | MS5_20161007 |  | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap) | x | See -Cell F93 | 1438.7 | 36.7163 | -122.0128 | N/A | Grain size | 6 day interval; | 11 | N/A | N/A | N/A | N/A | N/A
C | MS7 | 20161019 | MS7_20161019 |  | FLNTU | WET Labs | ECO FLNTU | x | MBCCE_MS7_FLNTU300m_20161019.nc | 1851 | 36.7019 | -122.0987 | WL-30001 | Fluorescence, optical backscatter | 5 min | 300 | 2016-10-18 21:00 | 2017-04-04 04:13 | 2017-04-04 04:18 | 0:05 | behind GMT
C | MS7 | 20161019 | MS7_20161019 |  | Sediment Trap | N/A | Anderson Sediment Trap | x | See -Cell F93 | 1851 | 36.7019 | -122.0987 | NA | Grain size | 8 day intervals | 300 | N/A | N/A | N/A | N/A | N/A
C | MS7 | 20161019 | MS7_20161019 |  | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | x | MBCCE_MS7_ADCP300_20161019.nc | 1851 | 36.7019 | -122.0987 | WHS300-2025 | Profile of current velocity, acoustic backscatter | 30 sec | 70 | 2016-10-11 20:59 | 2017-04-04 02:52 | 2017-04-04 02:56 | 0:04 | behind GMT
C | MS7 | 20161019 | MS7_20161019 |  | Sediment Trap | N/A | Anderson Sed Trap | x | See -Cell F93 | 1851 | 36.7019 | -122.0987 | NA | Grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A
C | MS7 | 20161019 | MS7_20161019 |  | FLNTU | WET Labs | Triplet ECO FLNTU | x | MBCCE_MS7_FLNTU10m_20161019.nc | 1851 | 36.7019 | -122.0987 | WL-30002 | Fluorescence, optical backscatter | 5 min | 10 | 2016-10-18 09:10 | 2017-04-04 04:01 | 2017-04-04 04:08 | 0:07 | behind GMT
C | SIN | 20161018 | SIN_20161018 |  | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | x | MBCCE_SIN_ADCP300_20161018.nc | 1837.8 | 36.7018 | -122.0939 | 22697 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-10-07 20:48 | 2017-04-10 17:25 | 2017-04-10 17:24 | 0:01 | ahead of GMT
C | SIN | 20161018 | SIN_20161018 |  | ADCP | Teledyne RD Instruments | Workhorse 600 kHz ADCP | x | MBCCE_SIN_ADCP600_20161018.nc | 1837.8 | 36.7018 | -122.0939 | 23102 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-10-07 20:53 | 2017-04-10 16:13 | 2017-04-10 16:11 | 0:02 | ahead of GMT
C | SIN | 20161018 | SIN_20161018 |  | ADCP | Teledyne RD Instruments | Workhorse 1200 kHz ADCP | x | MBCCE_SIN_ADCP1200_20161018.nc | 1837.8 | 36.7018 | -122.0939 | 20662 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-10-17 17:28 | 2017-04-10 16:08 | 2017-04-10 16:08 | 0:00 | ahead of GMT
C | SIN | 20161018 | SIN_20161018 |  | CTDOBSTrans | Sea-Bird Electronics | Seabird SBE-19+ CTD (with transmissometer) | x | MBCCE_SIN_CTDOBSTrans_20161018_timecorrected.nc | 1837.8 | 36.7018 | -122.0939 | 16P41561-4952 | Conductivity, temp., pressure, optical backscatter, transmisivity | 2 sec | 0.8 | no internal clock |  |  | Time corrected |  | Conductivity measurements were bad for the whole deployment. Pressure not tide corrected
C | SIN | 20161018 | SIN_20161018 |  | OX | Aanderaa | Aanderaa Oxygen Optode | x | MBCCE_SIN_OX_20161018_timecorrected.nc | 1837.8 | 36.7018 | -122.0939 | 3830 | Dissolved oxygen | 10 sec | 0.5 | no internal clock |  |  | Time corrected
C | SIN | 20161018 | SIN_20161018 |  | FLNTU | Wetlabs | ECO Triplet Turbidity and Fluorescence Sensor | x | MBCCE_SIN_FLNTU_20161018_timecorrected.nc | 1837.8 | 36.7018 | -122.0939 | WL-30009 | Fluorescence, optical backscatter | 10 sec | 0.5 | no internal clock |  |  | Time corrected
C | AMT1 | 20161010 | AMT1_20161010 |  | AMT | Sonardyne | AMT Beacon 8305 | x | MBCCE_AMT1_20161011_to_20170421.csv | 299.9003 | 36.7943 | -121.8478 | 299037-001 | Pressure, temperature, pitch and roll | 45 min | 2 | [5 empty] | AMT recorded info every 45 min. Clock drift not an issue.
C | AMT2 | 20161005 | AMT2_20161005 |  | AMT | Sonardyne | AMT Beacon 8305 | x | MBCCE_AMT2_20161005_to_20161019.csv | 206.7 | 36.7938 | -121.8517 | 297280-001 | range to AMT 1 and AMT 3 | 45 min | 1.5
C | AMT3 | 20161005 | AMT3_20161005 |  | AMT | Sonardyne | AMT Beacon 8305 | x | MBCCE_AMT3_20161011_to_20161019.csv | 238.9 | 36.7928 | -121.849 | 297280-002 | range to AMT 1 and AMT 2 | 45 min | 1.5
| BEDs | Variable | N/A |  | BED Depths | BEDs were deployed partially burried in the canyon floor between 250 and 500 meters. BEDs are “smart boulders” (43 cm diameter sphere 2.1 g/cc density in air, 1.0 g/cc density in water) designed to be carried down-canyon along with sediment flows while capturing the movement of sediment transport events in and near the seabed. |  | x | MBCCE_All_BEDS_depths.xlsx |  |  |  |  | Pressure | [8 empty] | Charlie Paull, Roberto Gwiazda | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
| BEDs | Variable | N/A |  | BED Deployment Location |  |  | x | MBCCE_BED_Deployment_Locations.xlsx |  |  |  |  | Position | [8 empty] | Charlie Paull, Roberto Gwiazda | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
Notes
[5 empty] | Event Timing |  |  | x | MBCCE_EventTiming.pdf |  |  |  |  | Time of events | [7 empty] | Table lists the time any sensor captured an event. To be used to look up data surrounding an event. |  | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
[5 empty] | bathymetry | Repeat, high-resolution, multibeam, bathymetric surveys of the Monterey Canyon floor were conducted with a mapping AUV (Autonomous Underwater Vehicle). The AUV carried a Reson 7125 multibeam echosounder (vertical precision of 0.15 m and horizontal resolution of 1.0 m). An inertial navigation system combined with a Doppler velocity logger allowed the AUV to fly pre-programmed grids at 3 knots, while maintaining an altitude of 50 m above the seafloor, to obtain a nominal line spacing of 130 m. These data have been cleaned, and tide corrected. A significant effort was made to co-register all the surveys together at each site (CCEShallow and CCEDEEP) using MBnavadjust, part of MBSystem. These files are 1 m resolution .grd files projected into UTM zone 10N. |  | x | Topo1m_CCEShallow_20151104_UTM.grd | 200-500 | Ideal CCE Shallow for Geomapapp |  |  | bathymetry | [7 empty] | co-registered to all CCEShallow grids | Charlie Paull, David Caress | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
[5 empty] | bathymetry |  |  | x | Topo1m_CCEShallow_20151201_UTM.grd | 200-501 |  |  |  | bathymetry | [7 empty] | co-registered to all CCEShallow grids | Charlie Paull, David Caress | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
[5 empty] | bathymetry |  |  | x | Topo1m_CCEShallow_20160128_UTM.grd | 200-502 |  |  |  | bathymetry | [7 empty] | co-registered to all CCEShallow grids | Charlie Paull, David Caress | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
[5 empty] | bathymetry |  |  | x | Topo1m_CCEShallow_20160321_UTM.grd | 200-503 |  |  |  | bathymetry | [7 empty] | co-registered to all CCEShallow grids | Charlie Paull, David Caress | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
[5 empty] | bathymetry |  |  | x | Topo1m_CCEShallow_20161207_UTM.grd | 200-504 |  |  |  | bathymetry | [7 empty] | co-registered to all CCEShallow grids | Charlie Paull, David Caress | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
[5 empty] | bathymetry |  |  | x | Topo1m_CCEShallow_20170221_UTM.grd | 200-505 |  |  |  | bathymetry | [7 empty] | co-registered to all CCEShallow grids | Charlie Paull, David Caress | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
[5 empty] | bathymetry |  |  | x | TopoDiff1m_CCEShallow_20151201_20151104_UTM.grd | 200-506 |  |  |  | bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
[5 empty] | bathymetry |  |  | x | TopoDiff1m_CCEShallow_20160128_20151201_UTM.grd | 200-507 |  |  |  | bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
[5 empty] | bathymetry |  |  | x | TopoDiff1m_CCEShallow_20160321_20160128_UTM.grd | 200-508 |  |  |  | bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
[5 empty] | bathymetry |  |  | x | TopoDiff1m_CCEShallow_20161207_20160321_UTM.grd | 200-509 |  |  |  | bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
[5 empty] | bathymetry |  |  | x | TopoDiff1m_CCEShallow_20170221_20151104_UTM.grd | 200-510 |  |  |  | bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
[5 empty] | bathymetry |  |  | x | TopoDiff1m_CCEShallow_20170221_20161207_UTM.grd | 200-511 |  |  |  | bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
[5 empty] | bathymetry |  |  | x | Topo1m_CCEDeep_20170323_UTM.grd | 1350-1880 |  |  |  | bathymetry | [7 empty] | co-registered to Topo1m_CCEDeep_20151105_1106_UTM.grd | Charlie Paull, David Caress | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
[5 empty] | bathymetry |  |  | x | Topo1m_CCEDeep_20161206_UTM.grd | 1350-1881 |  |  |  | bathymetry | [7 empty] | co-registered to Topo1m_CCEDeep_20160418_UTM.grd | Charlie Paull, David Caress | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
[5 empty] | bathymetry |  |  | x | Topo1m_CCEDeep_20160418_UTM.grd | 1350-1882 |  |  |  | bathymetry | [7 empty] | co-registered to Topo1m_CCEDeep_20161206_UTM.grd | Charlie Paull, David Caress | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
[5 empty] | bathymetry |  |  | x | Topo1m_CCEDeep_20160322_UTM.grd | 1350-1883 |  |  |  | bathymetry | [7 empty] | co-registered to Topo1m_CCEDeep_20151202_UTM.grd | Charlie Paull, David Caress | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
[5 empty] | bathymetry |  |  | x | Topo1m_CCEDeep_20151202_UTM.grd | 1350-1884 |  |  |  | bathymetry | [7 empty] | co-registered to Topo1m_CCEDeep_20160322_UTM.grd | Charlie Paull, David Caress | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
[5 empty] | bathymetry |  |  | x | Topo1m_CCEDeep_20151105_1106_UTM.grd | 1350-1885 | Ideal CCE Deep for Geomapapp |  |  | bathymetry | [7 empty] | co-registered to Topo1m_CCEDeep_20170323_UTM.grd | Charlie Paull, David Caress | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
[5 empty] | bathymetry |  |  | x | TopoDiff1m_CCEDeep_20170323_20151105_UTM.grd | 1350-1886 |  |  |  | bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
[5 empty] | bathymetry |  |  | x | TopoDiff1m_CCEDeep_20161206_20160418_UTM.grd | 1350-1887 |  |  |  | bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)
[5 empty] | bathymetry |  |  | x | TopoDiff1m_CCEDeep_20160322_20151202_UTM.grd | 1350-1888 |  |  |  | bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress | The David and Lucile Packard Foundation, Natural Environment Research Council (NE/K011480/1)

## Files_w_MultipleStations
Relevant Stations for each file
File Name | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and Batch1_GrainSizeResults.xlsx | AndersonSedTrapDataPanel_April2016_updated.pdf, and Batch2_GrainSizeResults.xlsx | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and Batch3_GrainSizeResults.xlsx | MBCCE_All_BEDS_depths.xlsx
Station Names | MS1_20151006 | MS1_20160404 | MS1_20161006 | Stations listed in MBCCE_BED_Deployment_Locations.xlsx
| MS2_20151005 | MS2_20160407 | MS2_20161006
| MS3_20151005 | MS3_20160407 | MS3_20161006
| MS4_20151007 | MS4_20160408 | MS4_20161007
| MS5_20151020 | MS5_20160408 | MS5_20161007
| MS7_20151027 | MS7_20160420 | MS7_20161019
[5 empty] | MS1_20151006 | MS1_20161124Event | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP
[5 empty] | MS1_20151006 |  | ADCP | Nortek | Aquadopp
[5 empty] | MS2_20151005 | MS2_20160115Event | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP
[5 empty] | MS3_20151005 | MS3_20160115Event | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP
[5 empty] | MS3_20151005 |  | ADCP | Nortek | Aquadopp ADCP
[5 empty] | MS5_20151020 | MS5_20160115Event | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP
[5 empty] | MS7_20151027 | MS7_20160115Event | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP
[5 empty] | SIN_20151013 | SIN_20160115Event | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP
[5 empty] | SIN_20151013 |  | ADCP | Teledyne RD Instruments | Workhorse 600 kHz ADCP
[5 empty] | SIN_20151013 |  | ADCP | Teledyne RD Instruments | Workhorse 1200 kHz ADCP
[5 empty] | MS1_20160404 | MS1_20160901Event | ADCP | Teledyne RD Instruments | 300kHz WH
[5 empty] | MS2_20160407 | MS2_20160901Event | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP
[5 empty] | MS3_20160407 | MS3_20160901Event | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP
[5 empty] | MS3_20160407 |  | ADCP | Nortek | Aquadopp ADCP
[5 empty] | MS4_20160408 |  | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP
[5 empty] | MS5_20160408 | MS4_20160901Event | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP
[5 empty] | MS7_20160420 | MS7_20160901Event | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP
[5 empty] | SIN_20160417 | SIN_20160901Event | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP
[5 empty] | SIN_20160417 |  | ADCP | Teledyne RD Instruments | Workhorse 600 kHz ADCP
[5 empty] | SIN_20160417 |  | ADCP | Teledyne RD Instruments | Workhorse 1200 kHz ADCP
[5 empty] | MS1_20161006 |  | ADCP | Teledyne RD Instruments | 300kHz WH
[5 empty] | MS1_20161006 |  | ADCP | Teledyne RD Instruments | 300kHz WH
[5 empty] | MS1_20161006 |  | ADCP | Nortek | Aquadopp
[5 empty] | MS2_20161006 |  | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP
[5 empty] | MS3_20161006 |  | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP
[5 empty] | MS3_20161006 |  | ADCP | Nortek | Aquadopp ADCP
[5 empty] | MS4_20161007 |  | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP
[5 empty] | MS5_20161007 |  | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP
[5 empty] | MS7_20161019 |  | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP
[5 empty] | SIN_20161018 |  | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP
[5 empty] | SIN_20161018 |  | ADCP | Teledyne RD Instruments | Workhorse 600 kHz ADCP
[5 empty] | SIN_20161018 |  | ADCP | Teledyne RD Instruments | Workhorse 1200 kHz ADCP
[5 empty] | MS1_20151006 |  | Alt | EofE | Echologger EA-400 Altimeter
[5 empty] | MS1_20161006 |  | Alt | EofE | Echologger EA-400 Altimeter
[5 empty] | AMT1_20151013 |  | AMT | Sonardyne | AMT Beacon 8305
[5 empty] | AMT2_20151019 |  | AMT | Sonardyne | AMT Beacon 8305
[5 empty] | AMT3_20151027 |  | AMT | Sonardyne | AMT Beacon 8305
[5 empty] | AMT1_20161010 |  | AMT | Sonardyne | AMT Beacon 8305
[5 empty] | AMT2_20161005 |  | AMT | Sonardyne | AMT Beacon 8305
[5 empty] | AMT3_20161005 |  | AMT | Sonardyne | AMT Beacon 8305
[5 empty] | MS0_20151104 |  | AWAC | Nortek | AWAC 600KHz
[5 empty] | MS0_20160408 |  | AWAC | Nortek | AWAC 600KHz
[5 empty] | MS0_20161024 |  | AWAC | Nortek | AWAC 600KHz
[5 empty] | MS3_20151005 |  | CT | Sea-Bird Electronics | SBE-37 Microcat
[5 empty] | MS5_20151020 |  | CT | RBR | RBRduo C, T
[5 empty] | MS1_20160404 |  | CT | Sea-Bird Electronics | SBE-37
[5 empty] | MS3_20160407 |  | CT | Sea-Bird Electronics | SBE-37 Microcat CTD
[5 empty] | MS1_20161006 |  | CT | Sea-Bird Electronics | SBE-37
[5 empty] | MS5_20161007 |  | CT | RBR | RBRduo C, T
[5 empty] | MS5_20160408 |  | CT70m | RBR | RBRduo C, T
[5 empty] | MS3_20161006 |  | CT9 | Sea-Bird Electronics | SBE-37 Microcat CTD
[5 empty] | MS2_20151005 |  | CTD | Sea-Bird Electronics | SBE-37 Microcat CTD
[5 empty] | MS2_20160407 |  | CTD | Sea-Bird Electronics | SBE-37 Microcat CTD
[5 empty] | MS2_20161006 |  | CTD | Sea-Bird Electronics | SBE-37 Microcat CTD
[5 empty] | SIN_20151013 |  | CTDOBSTrans | Sea-Bird Electronics | Seabird SBE-16+ CTD (with transmissometer)
[5 empty] | SIN_20160417 |  | CTDOBSTrans | Sea-Bird Electronics | Seabird SBE-19+ CTD (with transmissometer)
[5 empty] | SIN_20161018 |  | CTDOBSTrans | Sea-Bird Electronics | Seabird SBE-19+ CTD (with transmissometer)
[5 empty] | MS0_20151104 |  | CTDOXFLOBS | Sea-Bird Electronics | Seabird SBE-16+ CTD
[5 empty] | MS0_20160408 |  | CTDOXFLOBS | Sea-Bird Electronics | Seabird SBE-16+ CTD
[5 empty] | MS0_20161024 |  | CTDOXFLOBS | Sea-Bird Electronics | Seabird SBE-16+ CTD
[5 empty] | MS1_20151006 |  | CTOBSTrans | Sea-Bird Electronics | SBE-16+ CTD w/ Turbidity
[5 empty] | MS0_20151104 |  | FLNTU | Wet Labs | ECO FLNTU RTD
[5 empty] | MS4_20151007 |  | FLNTU | WET Labs | ECO FLNTU
[5 empty] | MS7_20151027 |  | FLNTU | WET Labs | Triplet ECO FLNTU
[5 empty] | MS7_20151027 |  | FLNTU | WET Labs | Triplet ECO FLNTU
[5 empty] | SIN_20151013 |  | FLNTU | Wetlabs | ECO Triplet Turbidity and Fluorescence Sensor
[5 empty] | MS0_20160408 |  | FLNTU | Wet Labs | ECO FLNTU RTD
[5 empty] | MS4_20160408 |  | FLNTU | WET Labs | ECO FLNTU
[5 empty] | MS7_20160420 |  | FLNTU | WET Labs | ECO FLNTU
[5 empty] | MS7_20160420 |  | FLNTU | WET Labs | Triplet ECO FLNTU
[5 empty] | SIN_20160417 |  | FLNTU | Wetlabs | ECO Triplet Turbidity and Fluorescence Sensor
[5 empty] | MS4_20161007 |  | FLNTU | WET Labs | ECO FLNTU
[5 empty] | MS7_20161019 |  | FLNTU | WET Labs | ECO FLNTU
[5 empty] | MS7_20161019 |  | FLNTU | WET Labs | Triplet ECO FLNTU
[5 empty] | SIN_20161018 |  | FLNTU | Wetlabs | ECO Triplet Turbidity and Fluorescence Sensor
[5 empty] | MS6_20151015 |  | McLane | McLane | McLane Profiler
[5 empty] | MS6_20160418 |  | McLane | McLane | McLane Profiler
[5 empty] | SIN_20151013 |  | OX | Aanderaa | Aanderaa Oxygen Optode
[5 empty] | SIN_20160417 |  | OX | Aanderaa | Aanderaa Oxygen Optode
[5 empty] | SIN_20161018 |  | OX | Aanderaa | Aanderaa Oxygen Optode
[7 empty] | Sediment Trap | N/A | Anderson Sediment Trap
[7 empty] | Sediment Trap | N/A | Anderson Sediment Trap
[7 empty] | Sediment Trap | N/A | Anderson Sediment Trap
[7 empty] | Sediment Trap | N/A | Anderson Sediment Trap
[7 empty] | Sediment Trap | N/A | Anderson Sediment Trap
[7 empty] | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap)
[7 empty] | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap)
[7 empty] | Sediment Trap | N/A | Anderson Sediment Trap
[7 empty] | Sediment Trap | N/A | Anderson Sed Trap
[7 empty] | Sediment Trap | N/A | Anderson Sediment Trap
[7 empty] | Sediment Trap | N/A | Anderson Sediment Trap
[7 empty] | Sediment Trap | N/A | Anderson Sediment Trap
[7 empty] | Sediment Trap | N/A | Anderson Sediment Trap
[7 empty] | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap)
[7 empty] | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap)
[7 empty] | Sediment Trap | N/A | Anderson Sediment Trap
[7 empty] | Sediment Trap | N/A | Anderson Sed Trap
[7 empty] | Sediment Trap | N/A | Anderson Sediment Trap
[7 empty] | Sediment Trap | N/A | Anderson Sediment Trap
[7 empty] | Sediment Trap | N/A | Anderson Sediment Trap
[7 empty] | Sediment Trap | N/A | Anderson Sediment Trap
[7 empty] | Sediment Trap | N/A | Anderson Sediment Trap
[7 empty] | Sediment Trap | N/A | Anderson Sediment Trap
[7 empty] | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap)
[7 empty] | Sediment Trap | N/A | Anderson Sediment Trap
[7 empty] | Sediment Trap | N/A | Anderson Sed Trap
[5 empty] | MS1_20151006 |  | TD | Sea-Bird Electronics | SBE-39
[5 empty] | MS1_20160404 |  | TD | Sea-Bird Electronics | SBE-39
[5 empty] | MS1_20161006 |  | TD | Sea-Bird Electronics | SBE-39
[5 empty] | MS1_20151006 |  | TU | RBR | Virtuoso-Tu Turbidity Sensor
[5 empty] | MS1_20151006 |  | TU | RBR | Virtuoso-Tu Turbidity Sensor
[5 empty] | MS2_20151005 |  | TU | RBR with Seapoint OBS | XR-420 Turbidity Sensor
[5 empty] | MS3_20151005 |  | TU | RBR | XR-420 logger Turbidity Sensor
[5 empty] | MS5_20151020 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor
[5 empty] | MS5_20151020 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor
[5 empty] | MS5_20151020 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor
[5 empty] | MS5_20151020 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor
[5 empty] | MS1_20160404 |  | TU | RBR | XR-420 with Seapoint
[5 empty] | MS2_20160407 |  | TU | RBR with Seapoint OBS | XR-420 Turbidity Sensor
[5 empty] | MS3_20160407 |  | TU | RBR | XR-420 logger Turbidity Sensor
[5 empty] | MS5_20160408 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor
[5 empty] | MS5_20160408 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor
[5 empty] | MS5_20160408 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor
[5 empty] | MS5_20160408 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor
[5 empty] | MS1_20161006 |  | TU | RBR | Virtuoso-Tu
[5 empty] | MS1_20161006 |  | TU | RBR | Virtuoso-Tu
[5 empty] | MS2_20161006 |  | TU | RBR with Seapoint OBS | XR-420 Turbidity Sensor
[5 empty] | MS3_20161006 |  | TU | RBR | XR-420 logger Turbidity Sensor
[5 empty] | MS3_20161006 |  | TU | RBR | XR-420 logger Turbidity Sensor
[5 empty] | MS5_20161007 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor
[5 empty] | MS5_20161007 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor
[5 empty] | MS5_20161007 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor
[5 empty] | MS5_20161007 |  | TU | RBR | RBRvirtuoso TU Turbidity Sensor