## A_October2015Deploy
Data Type | Mooring | Instrument Brand | Instrument Model | Data File Name | Water Depth | Lat | Long | Serial Number | Measurment Types | Sample Interval |  | Meters above seafloor | Clock Initial Sync with GMT | Equiptment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
CTD | 0 | Seabird Electronics | Seabird SBE-16+ CTD | MBCCE_MS0_CTDOXFLOBS_20151104-trm.nc | 31 | 36.7518 | -121.8387 | 4166 | C, T, D, FL, O2 | 10 min |  | 0 | 2015-11-05 | 2016-04-06 22:23 | 2016-04-06 21:48 | 0:35 | ahead of GMT | Initial Sync assumed 1 day before deployment
FLNTU | 0 | Wet Labs | ECO FLNTU RTD | MBCCE_MS0_FLNTU_20151104.nc | 31 | 36.7518 | -121.8387 | WL-30006 | OBS, FL | 5 min |  | 0 | 2015-11-02 20:06 | 2016-04-06 19:06 | 2016-04-06 19:09 | 0:03 | behind GMT | Initial Sync assumed 1 day before deployment
AWAC | 0 | Nortek | AWAC 600KHz | MBCCE_MS0_AWAC_20151104_ProcessedWaves.nc and MBCCE_MS0_AWAC_20151104.nc | 31 | 36.7518 | -121.8387 | 5471 | waves, currents | 1 Hz measurement for 17 minutes for every 120 min |  | 0 | 2015-11-05 | 2016-04-06 20:23 | 2016-04-06 20:23 | 0:00 | ahead of GMT | Initial Sync assumed 1 day before deployment
TU | 1 | RBR | Virtuoso-Tu Turbitidy Sensor | MBCCE_MS1_TU65m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 54170 | Suspended Sediment | 1 minute |  | 65 | 2015-09-22 01:01 | 2016-04-18 20:09 | 2016-04-18 20:09 | 0:00 | behind GMT
TD | 1 | SeaBird | SBE-39 | MBCCE_MS1_TD65m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 127 | Temp, Pressure | 3 minute |  | 65 | 2015-09-21 22:17 | 2016-04-15 23:28 | 2016-04-15 23:29 | 0:02 | behind GMT
ADCP | 1 | RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS1_ADCP300_20151006.nc | 286.7 | 36.7933 | -121.8446 | 587 | Currents, Backscatter | 30 seconds |  | 65 | 2015-09-23 | 2016-04-15 22:47 | 2016-04-15 22:50 | 0:03 | behind GMT
Sed Trap | 1 | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and Batch1_GrainSizeResults.xlsx | 286.7 | 36.7933 | -121.8446 | N/A | CT profile, PWVel, Dens., Mag.Sus, grain size | 8 day intervals |  | 35 | N/A | N/A | N/A | N/A | N/A
TU | 1 | RBR | Virtuoso-Tu Turbitidy Sensor | MBCCE_MS1_TU35m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 54126 | Suspended Sediment | 1 minute |  | 35 | 2015-09-22 | 2016-04-18 20:18 | 2016-04-18 20:18 | 0:00 | behind GMT
Sed Trap | 1 | N/A | Anderson Sediment Trap | -see cell F9 | 286.7 | 36.7933 | -121.8446 | N/A | CT profile, PWVel, Dens., Mag.Sus, grain size | 8 day intervals |  | 10 | N/A | N/A | N/A | N/A | N/A | Sediment trap torn off mooring. Not recovered.
CTD | 1 | Seabird | SBE-16+ CTD w/ Turbidity | MBCCE_MS1_CTOBSTrans9m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 4250 | Salinity, Temp, Suspended Sediment | 15 minute |  | 9 | 2015-09-22 | 2016-04-18 16:29 | 2016-04-18 16:28 | 0:01 | ahead of GMT
Alt | 1 | EofE | Echologger EA-400 Altimeter | MBCCE_MS1_Alt9m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 41411012G | Altimetry, Acoustic Backscatter Profile | 10 minute |  | 9 | 2015-09-22 |  |  |  |  | Instrument was not recorded
ADCP | 1 | Nortek | Aquadopp | MBCCE_MS1_Aquadopp2000_20151006.nc | 286.7 | 36.7933 | -121.8446 | 1753 | Currents, Backscatter | 2 minute |  | 9 | 2015-09-29 | 2016-04-15 23:10 | 2016-04-15 23:09 | 0:01 | ahead of GMT
ADCP | 2 | RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20151005.nc | 526.8 | 36.7883 | -121.9034 | 13016 | Currents,Pressure, Backscatter | 30 seconds |  | 65 | 2015-09-23 20:54 | 2016-04-05 17:59 | 2016-04-05 17:58 | 0:00 | ahead of GMT
Sed Trap | 2 | N/A | Anderson Sediment Trap | '-see cell F9 | 526.8 | 36.7883 | -121.9034 | N/A | CT profile, PWVel, Dens., Mag.Sus, grain size | 8 day intervals |  | 10 | N/A | N/A | N/A | N/A | N/A
TU | 2 | RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20151005.nc | 526.8 | 36.7883 | -121.9034 | 10046 | Suspended Sediment | 15 minute |  | 9 | 2015-09-22 19:25 | 2016-04-05 21:43 | 2016-04-05 21:43 | 0:01 | behind GMT
CTD | 2 | Seabird | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20151005.nc | 526.8 | 36.7883 | -121.9034 | 12354 | Salinity, Temperature, Pressure | 1 minute |  | 9 | 2015-09-21 23:23 | 2016-04-06 01:10 | 2016-04-06 01:10 | 0:00 | behind GMT
ADCP | 3 | RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20151005.nc | 831.4 | 36.765 | -121.9697 | 16330 | Currents, Pressure, Backscatter | 30 seconds |  | 65 | 2015-09-23 23:28 | 2016-04-05 18:06 | 2016-04-05 18:09 | 0:03 | behind GMT
Sed Trap | 3 | N/A | Anderson Sediment Trap | '-see cell F9 | 831.4 | 36.765 | -121.9697 | N/A | CT profile, PWVel, Dens., Mag.Sus, grain size | 8 day intervals |  | 10 | N/A | N/A | N/A | N/A | N/A
TU | 3 | RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU9m_20151005.nc | 831.4 | 36.765 | -121.9697 | 10750 | Suspended Sediment | 10 min |  | 9 | 2015-09-22 22:36 | 2016-04-05 23:06 | 2016-04-05 23:05 | 0:01 | ahead of GMT
CTD | 3 | Seabird | SBE-37 Microcat | MBCCE_MS3_CT9m_20151005.nc | 831.4 | 36.765 | -121.9697 | 706 | Salinity, Temp | 1 min |  | 9 | 2015-09-21 20:50 | 2016-04-07 23:04 | 2016-04-07 23:04 | 0:00 | behind GMT
ADCP | 3 | Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20151005.nc | 831.4 | 36.765 | -121.9697 | 1694 | Currents, Pressure, Backscatter | 2 min |  | 9 |  |  |  | 0:01 | behind GMT
Sed Trap | 4 | N/A | Anderson Sediment Trap | '-see cell F9 | 1285.8 | 36.7358 | -122.0165 | N/A | CT profile, PWVel, Dens., Mag.Sus, grain size | intervelometer malfunctioned |  | 10
FLNTU | 4 | WET Labs | ECO FLNTU | MBCCE_MS4_FLNTU10m_20151007.nc | 1285.8 | 36.7358 | -122.0165 | WL-30007 | Optical backscatter and fluorescence | 5 min |  | 10 | 2015-10-06 16:50 | 2016-04-07 17:55 | 2016-04-07 18:10 | 0:14 | behind GMT
TU | 5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20151020.nc | 1448.9 | 36.715 | -122.013 | 54146 | turbidity | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec |  | 200 | 2015-10-19 | 2016-04-06 17:29 | 2016-04-06 17:29 | 0 |  | Initial Sync assumed 1 day before deployment.
TU | 5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20151020.nc | 1448.9 | 36.715 | -122.013 | 54147 | turbidity | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec |  | 100 | 2015-10-19 | 2016-04-06 17:08 | 2016-04-06 17:08 | 0 |  | Initial Sync assumed 1 day before deployment.
TU | 5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU74m_20151020.nc | 1448.9 | 36.715 | -122.013 | 54148 | turbidity | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec |  | 74 | 2015-10-19 | 2000-01-01 | data ended 12/21/2015 18:56:00 | 0 |  | Initial Sync assumed 1 day before deployment.
Sed Trap | 5 | Seatech Engineering | CliST (Anderson Sediment Trap) | '-see cell F9 | 1448.9 | 36.715 | -122.013 | N/A | CT profile, PWVel, Dens., Mag.Sus, grain size | intervelometer malfunctioned |  | 74 | N/A
ADCP | 5 | RDI/Teledyne | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20151020.nc | 1448.9 | 36.715 | -122.013 | 23079 | velocity profile | 30 sec. interval; 7 pings per ensemble |  | 65 | 2015-10-19 | 2016-04-06 18:11 | 2016-04-06 18:11 | 6 seconds behind |  | Initial Sync assumed 1 day before deployment.
Sed Trap | 5 | Seatech Engineering | CliST (Anderson Sediment Trap) | '-see cell F9 | 1448.9 | 36.715 | -122.013 | N/A | CT profile, PWVel, Dens., Mag.Sus, grain size | 8 days interval; delay time 9 days from Oct 16 2015 GMT |  | 11 | N/A
TU | 5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU11m_20151020.nc | 1448.9 | 36.715 | -122.013 | 54149 | turbidity | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec |  | 11 | 2015-10-19 | 2116-04-06 17:04 | 2116-04-06 17:04 | 0 |  | Initial Sync assumed 1 day before deployment.
CTD | 5 | RBR | RBRduo C, T | MBCCE_MS5_CT11m_20151020_0138.nc | 1448.9 | 36.715 | -122.013 | 61610 | conductivity, temp | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec |  | 11 | 2015-10-19 | 2016-04-06 17:36 | 2016-04-06 17:36 | 0 |  | Initial Sync assumed 1 day before deployment.
McLane | 6 | McLane | McLane Profiler | MBCCE_MS6_20151015_time.txt and other txt | 1830.8 | 36.7028 | -122.0907 | 11720 | current meter, current meter, compass and tilt, CTD, fluorometer, OBS, time | 30 min profile every 4.5 hrs, alternating up and down |  | transits between ~7m and ~507m | 2015-10-14
FLNTU | 7 | WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU300m_20151027.nc | 1849 | 36.7016 | -122.0975 | WL-30002 | Optical backscatter, fluorescence | 5 min |  | 300 | 2015-10-11 19:16 | 2016-04-13 15:47 | 2016-04-13 15:54 | 0:07 | behind GMT | Stopped logging at 01/06/2016 14:36:29
Sed Trap | 7 | N/A | Anderson Sediment Trap | '-see cell F9 | 1849 | 36.7016 | -122.0975 | NA | CT profile, PWVel, Dens., Mag.Sus, grain size | 8 day intervals |  | 300
ADCP | 7 | Teledyne RDI | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20151027.nc | 1849 | 36.7016 | -122.0975 | WHS300-2025 | Current speed, direction, (backscatter) | 30 sec |  | 70 | 2015-10-17 | 2016-04-12 17:26 | 2016-04-12 17:28 | 0:02 | behind GMT | Initial Sync assumed 1 day before deployment
Sed Trap | 7 | N/A | Anderson Sed Trap | '-see cell F9 | 1849 | 36.7016 | -122.0975 | NA | CT profile, PWVel, Dens., Mag.Sus, grain size | 8 day intervals |  | 10
FLNTU | 7 | WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU10m_20151027.nc | 1849 | 36.7016 | -122.0975 | WL-30001 | Optical backscatter, fluorescence | 5 min |  | 10 | 2015-10-11 18:43 | 2016-04-13 15:28 | 2016-04-13 15:33 | 0:05 | behind GMT | Stopped logging at 01/07/2016 12:20:08
ADCP | SIN | RDI/Teledyne | Workhorse 300 kHz ADCP | MBCCE_SIN_ADCP300_20151013.nc | 1837.2 | 36.7018 | -122.0939 | 22697 | Currents, backscatter, pointing up | 10 sec | 1825 | 0 | 2015-10-12 | 2016-04-14 19:04 | 04/14/16 19:03:37 | 0:00 | ahead of GMT | NOTE, for this deployment only, ADCP's were on local (Pacific) time (7 hrs behind GMT). Clock drift times were convertedto GMT for this table.
ADCP | SIN | RDI/Teledyne | Workhorse 600 kHz ADCP | MBCCE_SIN_ADCP600_20151013.nc | 1837.2 | 36.7018 | -122.0939 | 23102 | Currents, backscatter, pointing up | 10 sec | 1828 | 0 | 2015-10-12 | 2016-04-14 19:23 | 04/14/16 19:21:49 | 0:01 | ahead of GMT | NOTE, for this deployment only, ADCP's were on local (Pacific) time (7 hrs behind GMT). Clock drift times were convertedto GMT for this table.
ADCP | SIN | RDI/Teledyne | Workhorse 1200 kHz ADCP | MBCCE_SIN_ADCP1200_20151013.nc | 1837.2 | 36.7018 | -122.0939 | 20661 | Currents, backscatter, pointing up | 10 sec | 1827 | 0 | 2015-10-12 | 2016-04-14 20:59 | 2016-04-14 20:59 | 0:00 | ahead of GMT | NOTE, for this deployment only, ADCP's were on local (Pacific) time (7 hrs behind GMT). Clock drift times were convertedto GMT for this table.
CTD | SIN | Seabird | Seabird SBE-16+ CTD (with transmisometer) | MBCCE_SIN_CTD_20151013_timecorrected.nc | 1837.2 | 36.7018 | -122.0939 | 16P41561-4952 | conductivity, temperature, pressure, optical backscatter, transmisivity | 2 sec | 1533 | 0 | no internal clock |  |  | time corrected |  | Conductivity data is bad after the January 15th event.
OX | SIN | MBCCE | Aanderaa Oxygen Optode | MBCCE_SIN_OX_20151013_timecorrected.nc | 1837.2 | 36.7018 | -122.0939 | 677 | oxygen concentration | 10 sec | 1524 | 0 | no internal clock |  |  | time corrected
FLNTU | SIN | Wetlabs | ECO Triplet Turbidity and Florescence Sensor | MBCCE_SIN_FLNTU_20151013_timecorrected.nc | 1837.2 | 36.7018 | -122.0939 | WL-30010 | optical backscatter and fluorescence | 10 sec | 1535 | 0 | no internal clock |  |  | time corrected
AMT | AMT | Sonardyne | AMT Beacon 8305 | MBCCE_AMT1_20151013_to_20160428.csv | 301.9 | 36.7944 | -121.848 | 299037-001 | range to AMT 2 and AMT 3 | 45 min |  | 2 | [5 empty] | AMT recorded info every 45 min. Clock drift not an issue.
AMT | AMT | Sonardyne | AMT Beacon 8305 | MBCCE_AMT2_20151027_to_20160405.csv | 211.3 | 36.7937 | -121.8517 | 297280-001 | range to AMT 1 and AMT 3 | 45 min |  | 1.5
AMT | AMT | Sonardyne | AMT Beacon 8305 | MBCCE_AMT3_20151027_to_20160416.csv | 242 | 36.7928 | -121.8489 | 297280-002 | range to AMT 1 and AMT 2 | 45 min |  | 1.5

## B_April2016Deploy
Data Type | Mooring | Instrument Brand | Instrument Model | Data File Name | Water Depth | Lat | Long | Serial Number |  | Measurment Types | Sample Interval | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
CTD | 0 | Seabird Electronics | Seabird SBE-16+ CTD | MBCCE_MS0_CTDOXFLOBS_20160408.nc | 31 | 36.7519 | -121.8387 | 4166 |  | C, T, D, FL, O2 | 10 min | 0 | 2016-04-06 19:56 | 2016-10-06 03:09 | 2016-10-06 03:24 | 0:14 | behind GMT
FLNTU | 0 | Wet Labs | ECO FLNTU RTD | MBCCE_MS0_FLNTU_20160408.nc | 31 | 36.7519 | -121.8387 | WL-30006 |  | OBS, FL | 10 min | 0 | 2016-04-06 14:00 | 2016-10-05 22:06 | 2016-10-05 22:10 | 0:04 | behind GMT
AWAC | 0 | Nortek | AWAC 600KHz | MBCCE_MS0_AWAC_20160408_ProcessedWaves.nc and MBCCE_MS0_AWAC_20160408.nc | 31 | 36.7519 | -121.8387 | 5471 |  | waves, currents | 1 Hz measurement for 17 minutes for every 120 min | 0 | 2016-04-08 | 2016-10-06 02:10 | 2016-10-06 02:10 | 0:00 | ahead of GMT
TD | 1 | SeaBird | SBE-39 | MBCCE_MS1_TD65m_20160404.nc | 278 | 36.7932 | -121.8447 | 128 |  | Temp,Pressure | 5 minute | 65 | 2016-03-28 21:22 | 2016-10-06 16:46 | 2016-10-06 16:46 | 0:00 | behind GMT
ADCP | 1 | RD Instruments | 300kHz WH | MBCCE_MS1_ADCP300_20160404.nc | 278 | 36.7932 | -121.8447 | 473 |  | Currents,Backscatter | 30 seconds | 65 | 2016-03-24 23:10 | 2016-10-04 17:55 | 2016-10-04 17:57 | 0:02 | behind GMT
Sed Trap | 1 | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_April2016_updated.pdf, and Batch2_GrainSizeResults.xlsx | 278 | 36.7932 | -121.8447 | N/A |  | CT profile, PWVel, Dens., Mag.Sus, grain size | intervelometer malfunctioned | 10 | N/A | N/A | N/A | N/A | N/A | N/A
TU | 1 | RBR | XR-420 with Seapoint | MBCCE_MS1_TU9m_20160404.nc | 278 | 36.7932 | -121.8447 | 10027 |  | Suspended Sediment | 5 minute | 9 | 2016-03-28 22:04 | 2016-10-05 00:57 | 2016-10-05 00:56 | 0:01 | ahead of GMT
CTD | 1 | Seabird | SBE-37 | MBCCE_MS1_CT9m_20160404.nc | 278 | 36.7932 | -121.8447 | 5404 |  | Salinity,Temp | 1 minute | 9 | 2016-03-31 18:36 | 2016-10-05 20:22 | 2016-10-05 20:22 | 0:00 | ahead of GMT
ADCP | 2 | RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20160407.nc | 527 | 36.7878 | -121.9035 | 13016 |  | Currents,Pressure, Backscatter | 30 seconds | 65 | 2016-04-06 18:35 | 2016-10-03 20:41 | 2016-10-03 20:38 | 0:03 | ahead of GMT
Sed Trap | 2 | N/A | Anderson Sediment Trap | -see F4 | 527 | 36.7878 | -121.9035 | N/A |  | CT profile, PWVel, Dens., Mag.Sus, grain size | N/A | 9 | N/A | N/A | N/A | N/A | N/A | N/A
TU | 2 | RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20160407.nc | 527 | 36.7878 | -121.9035 | 10075 |  | Suspended Sediment | 15 minute | 9 | 2016-04-06 19:20 | 2016-10-03 20:56 | 2016-03-10 20:55 | 4968:01 | ahead of GMT
CTD | 2 | Seabird | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20160407.nc | 527 | 36.7878 | -121.9035 | 1700 |  | Salinity, Temperature,Pressure | 1 minute | 9 | 2016-03-28 22:51 | 2016-10-04 16:13 | 2016-10-04 16:12 | 0:00 | ahead of GMT
ADCP | 3 | RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20160407.nc | 831.4 | 36.7651 | -121.9699 | 16330 |  | Currents, Pressure, Backscatter | 30 seconds | 65 | 2016-04-06 18:19 | 2016-10-04 19:41 | 2016-10-04 19:44 | 0:03 | behind GMT
Sed Trap | 3 | N/A | Anderson Sediment Trap | '-see F4 | 831.4 | 36.7651 | -121.9699 | N/A |  | CT profile, PWVel, Dens., Mag.Sus, grain size | 8 day intervals | 9 | N/A | N/A | N/A | N/A | N/A | N/A
TU | 3 | RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU9m_20160407.nc | 831.4 | 36.7651 | -121.9699 | 10750 |  | Suspended Sediment | 10 min | 9 | 2016-04-06 00:14 | 2016-10-04 20:12 | 2016-10-04 20:12 | 0:00 | behind GMT
CTD | 3 | Seabird | SBE-37 Microcat CTD | MBCCE_MS3_CT9m_20160407.nc | 831.4 | 36.7651 | -121.9699 | 769 |  | Salinity, Temp | 1 min | 9 | 2016-03-29 00:33 | 2016-10-05 00:36 | 2016-10-05 00:36 | 0:01 | ahead of GMT
ADCP | 3 | Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20160407.nc | 831.4 | 36.7651 | -121.9699 | 1694 |  | Currents, Pressure, Backscatter | 2 min | 9 | 2016-04-05 17:35 | 2016-10-04 01:49 | 2016-10-04 01:50 | 0:00 | behind GMT
ADCP | 4 | Teledyne RDI | 300KHz Workhorse Sentinel ADCP | MBCCE_MS4_ADCP300_20160408.nc | 1285 | 36.736 | -122.0167 | WHS300-2024 |  | Current speed, direction, (backscatter) | 30 sec | 70 | 2016-04-08 | 2016-10-05 21:13 | 2016-10-05 21:15 | 0:02 | behind GMT
Sed Trap | 4 | N/A | Anderson Sediment Trap | '-see F4 | 1285 | 36.736 | -122.0167 | N/A |  | CT profile, PWVel, Dens., Mag.Sus, grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A | N/A
FLNTU | 4 | WET Labs | ECO FLNTU | MBCCE_MS4_FLNTU10m_20160408.nc | 1285 | 36.736 | -122.0167 | WL-30007 |  | Optical backscatter and fluorescence | 5 min | 10 | 2016-04-07 18:26 | 2016-10-05 18:52 | 2016-10-05 19:00 | 0:08 | behind GMT
TU | 5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20160408.nc | 1445 | 36.7155 | -122.0129 | 54146 |  | turbidity | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 200 |  | 2016-10-04 12:58 | 2016-10-04 12:58 | 0:00 | behind GMT
TU | 5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20160408.nc | 1445 | 36.7155 | -122.0129 | 54147 |  | turbidity | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 100 |  | 2016-10-05 13:14 | 2016-10-05 13:14 | 0:00 | behind GMT
Sed Trap | 5 | Seatech Engineering | CliST (Anderson Sediment Trap) | '-see F4 | 1445 | 36.7155 | -122.0129 | N/A |  | CT profile, PWVel, Dens., Mag.Sus, grain size | Intervelometer with 8 day interval; delay time 9 days from Oct 16 2015 GMT | 74 | N/A | N/A | N/A | N/A | N/A
TU | 5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU70m_20160408.nc | 1445 | 36.7155 | -122.0129 | 54149 |  | turbidity | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 70 |  | 2016-10-05 13:07 | 2016-10-05 13:07 | 0:00 | ahead of GMT
CTD | 5 | RBR | RBRduo C, T | MBCCE_MS5_CT70m_20160408.nc | 1445 | 36.7155 | -122.0129 | 61610 |  | conductivity, temp | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec | 70 |  | 2016-10-05 13:03 | 2016-10-05 13:03 | 0:00 | behind GMT
ADCP | 5 | RDI/Teledyne | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20160408.nc | 1445 | 36.7155 | -122.0129 | 23079 |  | velocity profile | 30 sec. interval; 7 pings per ensemble | 65 |  | 2016-10-04 22:09 | 2016-10-04 22:10 | 0:01 | behind GMT
TU | 5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU10m_20160408.nc | 1445 | 36.7155 | -122.0129 | 54148 |  | turbidity | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 10 |  | 2000-01-01 00:01 | 2016-10-05 13:10 | Malfunction!
Sed Trap | 5 | Seatech Engineering | CliST (Anderson Sediment Trap) | '-see F4 | 1445 | 36.7155 | -122.0129 | N/A |  | CT profile, PWVel, Dens., Mag.Sus, grain size | Intervelometer with 8 day interval; delay time 9 days from Oct 16 2015 GMT | 11 | N/A | N/A | N/A | N/A | N/A
McLane | 6 | McLane | McLane Profiler | MBCCE_MS6_20160418_time.txt and other txt | 1826 | 36.7019 | -122.0894 | 11720 |  | current meter, current meter, compass and tilt, CTD, fluorometer, OBS, time | 30 min profile every 4.5 hrs, alternating up and down | transits between ~7m and ~507m | 2016-04-15 21:30 | 2016-10-11 02:43 | 2016-10-11 02:43 | 0:01 | ahead of GMT
FLNTU | 7 | WET Labs | ECO FLNTU | MBCCE_MS7_FLNTU300m_20160420.nc | 1849 | 36.7018 | -122.0984 | WL-30001 |  | Optical backscatter, fluorescence | Channel 71 | 300 | 2016-04-15 12:30 | 2016-10-11 01:14 | 2016-10-11 01:19 | 0:05 | behind GMT
Sed Trap | 7 | N/A | Anderson Sediment Trap | '-see F4 | 1849 | 36.7018 | -122.0984 | NA |  | CT profile, PWVel, Dens., Mag.Sus, grain size | 8 day intervals | 300 | N/A | N/A | N/A | N/A | N/A
ADCP | 7 | Teledyne RDI | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20160420.nc | 1849 | 36.7018 | -122.0984 | WHS300-2025 |  | Current speed, direction, (backscatter) | 30 sec | 70 | 2016-04-15 18:20 | 2016-10-11 01:01 | 2016-10-11 01:04 | 0:02 | behind GMT
Sed Trap | 7 | N/A | Anderson Sed Trap | '-see F4 | 1849 | 36.7018 | -122.0984 | NA |  | CT profile, PWVel, Dens., Mag.Sus, grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A | Trap spilled onto deck. Some photos exist, some grain size data exists
FLNTU | 7 | WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU10m_20160420.nc | 1849 | 36.7018 | -122.0984 | WL-30002 |  | Optical backscatter, fluorescence | 5 min | 10 | 2016-04-13 14:28 | 2016-10-11 17:55 | 2016-10-11 18:01 | 0:05 | behind GMT
ADCP | SIN | RDI/Teledyne | Workhorse 300 kHz ADCP | MBCCE_SIN_ADCP300_20160417.nc | 1836.7 | 36.7017 | -122.0938 | 23119 | 1857 | Currents, backscatter, pointing up | 10 sec | 0 | 2016-04-14 22:50 | 2016-10-12 16:34 | 2016-10-12 16:33 | 0:01 | ahead of GMT | The 300kHz BIN ADCP stopped acquiring on 13th August, 2016 so didn't capture the event
ADCP | SIN | RDI/Teledyne | Workhorse 600 kHz ADCP | MBCCE_SIN_ADCP600_20160417.nc | 1836.7 | 36.7017 | -122.0938 | 21053 | 1826 | Currents, backscatter, pointing up | 10 sec | 0 | 2016-04-14 22:52 | 2016-10-12 15:57 | 2016-10-12 15:55 | 0:02 | ahead of GMT | The 600kHz BIN ADCP stopped acquiring on 17th September, 2016 so did capture the event
ADCP | SIN | RDI/Teledyne | Workhorse 1200 kHz ADCP | MBCCE_SIN_ADCP1200_20160417.nc | 1836.7 | 36.7017 | -122.0938 | 20662 | 1827 | Currents, backscatter, pointing up | 10 sec | 0 | 2016-04-14 22:46 | 2016-10-11 22:10 | 2016-10-11 22:10 | 0:00 | ahead of GMT
CTD | SIN | Seabird | Seabird SBE-19+ CTD (with transmisometer) | MBCCE_SIN_CTDOBSTrans_20160417_timecorrected.nc | 1836.7 | 36.7017 | -122.0938 | 16P51851-6133 | 1688 | conductivity, temperature, pressure, optical backscatter, transmisivity | 2 sec | 0 | no internal clock |  |  | time corrected
OX | SIN | Aanderaa | Aanderaa Oxygen Optode | MBCCE_SIN_OX_20160417_timecorrected.nc | 1836.7 | 36.7017 | -122.0938 | 980 | 1692 | oxygen concentration | 10 sec | 0 | no internal clock |  |  | time corrected
FLNTU | SIN | Wetlabs | ECO Triplet Turbidity and Florescence Sensor | MBCCE_SIN_FLNTU_20160417_timecorrected.nc | 1836.7 | 36.7017 | -122.0938 | WL-30005 | 1815 | optical backscatter and fluorescence | 10 sec | 0 | no internal clock |  |  | time corrected

## C_Octobber2016Deploy
Data Type | Mooring | Instrument Brand | Instrument Model | Data File Name | Water Depth | Lat | Long | Serial Number | Measurement Types | Sample Interval |  | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
CTD | 0 | Seabird Electronics | Seabird SBE-16+ CTD | MBCCE_MS0_CTDOXFLOBS_20161024.nc | 31 | 36.7519 | 121.8387 | 4166 | C, T, D, FL, O2 | 10 min |  | 0
AWAC | 0 | Nortek | AWAC 600KHz | MBCCE_MS0_AWAC_20161014_ProcessedWaves.nc and MBCCE_MS0_AWAC_20161024.nc | 31 | 36.7519 | 121.8387 | 5471 | waves, currents | 1 Hz measurement for 17 minutes for every 120 min |  | 0
TU | 1 | RBR | Virtuoso-Tu | MBCCE_MS1_TU65m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 54170 | Suspended Sediment | 1 minute |  | 65 | 2016-08-29 21:02 | 0 |  |  |  | Clock was reset on recovery
TD | 1 | SeaBird | SBE-39 | MBCCE_MS1_TD65m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 128 | Temp,Pressure | 3 minute |  | 65 | 2016-08-30 18:08 | 2017-03-23 00:42 | 2017-03-23 00:42 | 0:00 | behind GMT
ADCP | 1 | RD Instruments | 300kHz WH | MBCCE_MS1_ADCP300up_20161006.nc | 290.3 | 36.7936 | -121.8457 | 587 | Currents,Backscatter | 1 minute |  | 65 | 2016-10-02 16:21 | 2017-03-22 19:25 | 2017-03-22 19:31 | 0:06 | behind GMT
ADCP | 1 | RD Instruments | 300kHz WH | MBCCE_MS1_ADCP300down_20161006.nc | 290.3 | 36.7936 | -121.8457 | 473 | Currents,Backscatter | 30 seconds |  | 65 | 2016-10-04 23:43 | 2017-03-22 19:50 | 2017-03-22 19:52 | 0:02 | behind GMT
Sed Trap | 1 | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and Batch3_GrainSizeResults.xlsx | 290.3 | 36.7936 | -121.8457 | N/A | CT profile, PWVel, Dens., Mag.Sus, grain size | 8 day intervals |  | 35 | N/A | N/A | N/A | N/A | N/A
TU | 1 | RBR | Virtuoso-Tu | MBCCE_MS1_TU35m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 54126 | Suspended Sediment | 1 minute |  | 35 | 2016-08-29 21:30 | 2017-03-22 21:22 | 2017-03-22 21:22 | 0:00 | behind GMT
Sed Trap | 1 | N/A | Anderson Sediment Trap | -seeF8 | 290.3 | 36.7936 | -121.8457 | N/A | CT profile, PWVel, Dens., Mag.Sus, grain size | 8 day intervals |  | 10 | N/A | N/A | N/A | N/A | N/A
ADCP | 1 | Nortek | Aquadopp | MBCCE_MS1_Aquadopp2000_20161006.nc | 290.3 | 36.7936 | -121.8457 | 1753 | Currents,Backscatter, Suspended Sediment | 3 minute |  | 10 | 2016-09-28 22:00 | 2017-03-23 17:18 | 2017-03-23 17:18 | 0:01 | ahead of GMT
Alt | 1 | EofE | Echologger EA-400 Altimeter | MBCCE_MS1_Alt9m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 41411012G | Altimetry, Acoustic Backscatter Profile | 6 minute |  | 10 | 2016-10-05 19:35 | 2017-03-22 15:34 | 2017-03-22 15:35 | 0:01 | behind GMT
CTD | 1 | Seabird | SBE-37 | MBCCE_MS1_CT9m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 466 | Salinity,Temp | 1 minute |  | 9 | 2016-10-04 22:30 | 2017-03-22 23:28 | 2017-03-22 23:28 | 0:00 | behind GMT
ADCP | 2 | RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20161006.nc | 526.3 | 36.7886 | -121.9034 | 13016 | Currents,Pressure, Backscatter | 30 seconds |  | 65 | 2016-10-05 16:20 | 2017-03-22 22:34 | 2017-03-22 22:31 | 0:03 | ahead of GMT
Sed Trap | 2 | N/A | Anderson Sediment Trap | '-seeF8 | 526.3 | 36.7886 | -121.9034 | N/A | CT profile, PWVel, Dens., Mag.Sus, grain size | 8 day intervals |  | 10 | N/A | N/A | N/A | N/A | N/A | Sediment trap torn off. Not recovered.
TU | 2 | RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20161006.nc | 526.3 | 36.7886 | -121.9034 | 10046 | Suspended Sediment | 3 minute |  | 10 | 2016-09-30 23:22 | 2017-03-22 21:06 | 2017-03-22 21:05 | 0:01 | ahead of GMT
CTD | 2 | Seabird | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20161006.nc | 526.3 | 36.7886 | -121.9034 | 1700 | Salinity, Temperature,Pressure | 1 minute |  | 9 | 2016-10-04 21:44 | 2017-03-22 18:19 | 2017-03-22 18:19 | 0:00 | ahead of GMT
ADCP | 3 | RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20161006.nc | 829.1 | 36.7655 | -121.9693 | 16330 | Currents, Pressure, Backscatter | 30 seconds |  | 65 | 2016-10-05 16:47 | 2017-03-22 19:14 | 2017-03-22 19:18 | 0:03 | behind GMT
Sed Trap | 3 | N/A | Anderson Sediment Trap | '-seeF8 | 829.1 | 36.7655 | -121.9693 | N/A | CT profile, PWVel, Dens., Mag.Sus, grain size | intervelometer malfunctioned |  | 35 | N/A | N/A | N/A | N/A | N/A
TU | 3 | RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU35m_20161006.nc | 829.1 | 36.7655 | -121.9693 | 10027 | Suspended Sediment | 10 min |  | 35 | 2016-10-04 23:37 | 2017-03-22 20:19 | 2017-03-22 20:19 | 0:00 | ahead of GMT
Sed Trap | 3 | N/A | Anderson Sediment Trap | '-seeF8 | 829.1 | 36.7655 | -121.9693 | N/A | CT profile, PWVel, Dens., Mag.Sus, grain size | 8 day interval |  | 10 | N/A | N/A | N/A | N/A | N/A
TU | 3 | RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU10m_20161006.nc | 829.1 | 36.7655 | -121.9693 | 10755 | Suspended Sediment | 10 min |  | 10 | 2016-10-05 16:00 | 2017-03-22 20:48 | 2017-03-22 20:47 | 0:01 | ahead of GMT
CTD | 3 | Seabird | SBE-37 Microcat CTD | MBCCE_MS3_CT9m_20161006.nc | 829.1 | 36.7655 | -121.9693 | 12354 | Salinity, Temp | 1 min |  | 9 | 2016-10-04 22:04 | 2017-03-23 01:08 | 2017-03-23 01:08 | 0:00 | behind GMT
ADCP | 3 | Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20161006.nc | 829.1 | 36.7655 | -121.9693 | 1694 | Currents, Pressure, Backscatter | 2 min |  | 9 | 2016-10-04 23:00 | 2017-03-23 20:24 | 2017-03-23 20:24 | 0:00 | ahead of GMT
ADCP | 4 | Teledyne RDI | 300KHz Workhorse Sentinel ADCP | MBCCE_MS4_ADCP300_20161007.nc | 1285.9 | 36.7361 | -122.0172 | WHS300-2024 | Current speed, direction, (backscatter) | 30 sec |  | 70 | 2016-10-11 19:46 | 2017-03-22 18:11 | 2017-03-22 18:12 | 0:02 | behind GMT
Sed Trap | 4 | N/A | Anderson Sediment Trap | '-seeF8 | 1285.9 | 36.7361 | -122.0172 | N/A | CT profile, PWVel, Dens., Mag.Sus, grain size | 8 day intervals |  | 10 | N/A | N/A | N/A | N/A | N/A
FLNTU | 4 | WET Labs | ECO FLNTU | MBCCE_MS4_FLNTU10m_20161007.nc | 1285.9 | 36.7361 | -122.0172 | WL-30007 | Optical backscatter and fluorescence | 5 min |  | 10 | 2016-10-05 23:00 | 2017-03-22 20:13 | 2017-03-22 20:26 | 0:13 | behind GMT
TU | 5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 54148 | turbidity | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec |  | 200 |  | N/A | 2017-02-08 19:40 | N/A |  | Stopped Dec. 4, 2016
TU | 5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 54146 | turbidity | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec |  | 100 |  | 2017-02-08 19:46 | 2017-02-08 19:47 | 0:00 | behind GMT
Sed Trap | 5 | Seatech Engineering | CliST (Anderson Sediment Trap) | '-seeF8 | 1438.7 | 36.7163 | -122.0128 | N/A | CT profile, PWVel, Dens., Mag.Sus, grain size | 6 day interval; |  | 74 | N/A | N/A | N/A | N/A | N/A
TU | 5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU70m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 54147 | turbidity | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec |  | 70 |  | 2017-02-08 19:32 | 2017-02-08 19:32 | 0:00 | behind GMT
CTD | 5 | RBR | RBRduo C, T | MBCCE_MS5_CT70m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 61610 | conductivity, temp | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec |  | 10 |  | 2017-02-08 19:10 | 2017-02-08 19:10 | 0:00 | behind GMT
ACDP | 5 | RDI/Teledyne | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 23079 | velocity profile | 30 sec. interval; 7 pings per ensemble |  | 65 | 2016-10-07 | 2017-02-08 21:31 | 2017-02-08 21:32 | 0:01 | behind GMT
TU | 5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU10m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 54149 | turbidity | 30 sec. interval; 7 pings per ensemble |  | 10 |  | 2017-02-08 19:23 | 2017-02-08 19:23 | 0:00 | in sync
Sed Trap | 5 | Seatech Engineering | CliST (Anderson Sediment Trap) | '-seeF8 | 1438.7 | 36.7163 | -122.0128 | N/A | CT profile, PWVel, Dens., Mag.Sus, grain size | 6 day interval; |  | 11 | N/A | N/A | N/A | N/A | N/A
FLNTU | 7 | WET Labs | ECO FLNTU | MBCCE_MS7_FLNTU300m_20161019.nc | 1851 | 36.7019 | -122.0987 | WL-30001 | Optical backscatter, fluorescence | 5 min |  | 300 | 2016-10-18 21:00 | 2017-04-04 04:13 | 2017-04-04 04:18 | 0:05 | behind GMT
Sed Trap | 7 | N/A | Anderson Sediment Trap | '-seeF8 | 1851 | 36.7019 | -122.0987 | NA | CT profile, PWVel, Dens., Mag.Sus, grain size | 8 day intervals |  | 300 | N/A | N/A | N/A | N/A | N/A
ADCP | 7 | Teledyne RDI | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20161019.nc | 1851 | 36.7019 | -122.0987 | WHS300-2025 | Current speed, direction, (backscatter) | 30 sec |  | 70 | 2016-10-11 20:59 | 2017-04-04 02:52 | 2017-04-04 02:56 | 0:04 | behind GMT
Sed Trap | 7 | N/A | Anderson Sed Trap | '-seeF8 | 1851 | 36.7019 | -122.0987 | NA | CT profile, PWVel, Dens., Mag.Sus, grain size | 8 day intervals |  | 10 | N/A | N/A | N/A | N/A | N/A
FLNTU | 7 | WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU10m_20161019.nc | 1851 | 36.7019 | -122.0987 | WL-30002 | Optical backscatter, fluorescence | 5 min |  | 10 | 2016-10-18 09:10 | 2017-04-04 04:01 | 2017-04-04 04:08 | 0:07 | behind GMT
ADCP | SIN | RDI/Teledyne | Workhorse 300 kHz ADCP | MBCCE_SIN_ADCP300_20161018.nc | 1837.8 | 36.7018 | -122.0939 | 22697 | Currents, backscatter, pointing up | 10 sec | 1825 | 0 | 2016-10-07 20:48 | 2017-04-10 17:25 | 2017-04-10 17:24 | 0:01 | ahead of GMT
ADCP | SIN | RDI/Teledyne | Workhorse 600 kHz ADCP | MBCCE_SIN_ADCP600_20161018.nc | 1837.8 | 36.7018 | -122.0939 | 23102 | Currents, backscatter, pointing up | 10 sec | 1828 | 0 | 2016-10-07 20:53 | 2017-04-10 16:13 | 2017-04-10 16:11 | 0:02 | ahead of GMT
ADCP | SIN | RDI/Teledyne | Workhorse 1200 kHz ADCP | MBCCE_SIN_ADCP1200_20161018.nc | 1837.8 | 36.7018 | -122.0939 | 20662 | Currents, backscatter, pointing up | 10 sec | 1827 | 0 | 2016-10-17 17:28 | 2017-04-10 16:08 | 2017-04-10 16:08 | 0:00 | ahead of GMT
CTD | SIN | Seabird | Seabird SBE-19+ CTD (with transmissometer) | MBCCE_SIN_CTDOBSTrans_20161018_timecorrected.nc | 1837.8 | 36.7018 | -122.0939 | 16P41561-4952 | conductivity, temperature, pressure, optical backscatter, transmisivity | 2 sec | 1533 | 0 | no internal clock |  |  | time corrected |  | Conductivity measurements were bad for the whole deployment.
OX | SIN | Aanderaa | Aanderaa Oxygen Optode | MBCCE_SIN_OX_20161018_timecorrected.nc | 1837.8 | 36.7018 | -122.0939 | 3830 | oxygen concentration | 10 sec | 1524 | 0 | no internal clock |  |  | time corrected
FLNTU | SIN | Wetlabs | ECO Triplet Turbidity and Fluorescence Sensor | MBCCE_SIN_FLNTU_20161018_timecorrected.nc | 1837.8 | 36.7018 | -122.0939 | WL-30009 | optical backscatter and fluorescence | 10 sec | 1536 | 0 | no internal clock |  |  | time corrected
AMT | AMT | Sonardyne | AMT Beacon 8305 | AMT1_20161011_to_20170421.csv | 299.9003 | 36.7943 | -121.8478 | 299037-001 | range to AMT 2 and AMT 3 | 45 min |  | 2 | [5 empty] | AMT recorded info every 45 min. Clock drift not an issue.
AMT | AMT | Sonardyne | AMT Beacon 8305 | AMT2_20161005_to_20161019.csv | 206.7 | 36.7938 | -121.8517 | 297280-001 | range to AMT 1 and AMT 3 | 45 min |  | 1.5
AMT | AMT | Sonardyne | AMT Beacon 8305 | AMT3_20161011_to_20161019.csv | 238.9 | 36.7928 | -121.849 | 297280-002 | range to AMT 1 and AMT 2 | 45 min |  | 1.5