## CCE_DataFiles
Deployment | Mooring | Deployment Date | Mooring Name | Device Type | Instrument Brand | Instrument Model | Data File Name | Water Depth (m) | Lat | Long | Serial Number | DataTypes | Sample Interval | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes | Names to be credited
A | MS0 | 20151104 | MS0_20151104 | CTDOXFLOBS | Sea-Bird Electronics | Seabird SBE-16+ CTD | MBCCE_MS0_CTDOXFLOBS_20151104-trm.nc | 31 | 36.7518 | -121.8387 | 4166 | Conductivity, temp., pressure, oxygen, fluorescence, optical backscatter | 10 min | 0 | 2015-11-05 | 2016-04-06 22:23 | 2016-04-06 21:48 | 0:35 | ahead of GMT | Initial Sync assumed 1 day before deployment | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS0 | 20151104 | MS0_20151104 | FLNTU | Wet Labs | ECO FLNTU RTD | MBCCE_MS0_FLNTU_20151104.nc | 31 | 36.7518 | -121.8387 | WL-30006 | Optical backscatter, fluorescence | 5 min | 0 | 2015-11-02 20:06 | 2016-04-06 19:06 | 2016-04-06 19:09 | 0:03 | behind GMT | Initial Sync assumed 1 day before deployment | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS0 | 20151104 | MS0_20151104 | AWAC | Nortek | AWAC 600KHz | MBCCE_MS0_AWAC_20151104_Processedwave.nc and MBCCE_MS0_AWAC_20151104.nc | 31 | 36.7518 | -121.8387 | 5471 | wave heights, current velocity | 1 Hz measurement for 17 minutes every 120 min | 0 | 2015-11-05 | 2016-04-06 20:23 | 2016-04-06 20:23 | 0:00 | ahead of GMT | Initial Sync assumed 1 day before deployment | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS1 | 20151006 | MS1_20151006 | TU | RBR | Virtuoso-Tu Turbidity Sensor | MBCCE_MS1_TU65m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 54170 | Optical backscatter | 1 minute | 65 | 2015-09-22 01:01 | 2016-04-18 20:09 | 2016-04-18 20:09 | 0:00 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS1 | 20151006 | MS1_20151006 | TD | Sea-Bird Electronics | SBE-39 | MBCCE_MS1_TD65m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 127 | Temp., pressure | 3 minute | 65 | 2015-09-21 22:17 | 2016-04-15 23:28 | 2016-04-15 23:29 | 0:02 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS1 | 20151006 | MS1_20151006 | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS1_ADCP300_20151006.nc | 286.7 | 36.7933 | -121.8446 | 587 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2015-09-23 | 2016-04-15 22:47 | 2016-04-15 22:50 | 0:03 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS1 | 20151006 | MS1_20151006 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and Batch1_GrainSizeResults.xlsx | 286.7 | 36.7933 | -121.8446 | N/A | Grain size | 8 day intervals | 35 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS1 | 20151006 | MS1_20151006 | TU | RBR | Virtuoso-Tu Turbidity Sensor | MBCCE_MS1_TU35m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 54126 | Optical backscatter | 1 minute | 35 | 2015-09-22 | 2016-04-18 20:18 | 2016-04-18 20:18 | 0:00 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS1 | 20151006 | MS1_20151006 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and Batch1_GrainSizeResults.xlsx | 286.7 | 36.7933 | -121.8446 | N/A | Grain size | 8 day intervals | 10 | [5 empty] | Sediment trap torn off mooring. Not recovered. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS1 | 20151006 | MS1_20151006 | CTOBSTrans | Sea-Bird Electronics | SBE-16+ CTD w/ Turbidity | MBCCE_MS1_CTOBSTrans9m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 4250 | Conductivity, Temp, optical backscatter, transmissivity | 15 minute | 9 | 2015-09-22 | 2016-04-18 16:29 | 2016-04-18 16:28 | 0:01 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS1 | 20151006 | MS1_20151006 | Alt | EofE | Echologger EA-400 Altimeter | MBCCE_MS1_Alt9m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 41411012G | Altimetry, acoustic backscatter profile | 10 minute | 9 | 2015-09-22 |  |  |  |  | was not recorded | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS1 | 20151006 | MS1_20151006 | ADCP | Nortek | Aquadopp | MBCCE_MS1_Aquadopp2000_20151006.nc | 286.7 | 36.7933 | -121.8446 | 1753 | Profile of current velocity, acoustic backscatter | 2 minute | 9 | 2015-09-29 | 2016-04-15 23:10 | 2016-04-15 23:09 | 0:01 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS2 | 20151005 | MS2_20151005 | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20151005.nc | 526.8 | 36.7883 | -121.9034 | 13016 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2015-09-23 20:54 | 2016-04-05 17:59 | 2016-04-05 17:58 | 0:00 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS2 | 20151005 | MS2_20151005 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and Batch1_GrainSizeResults.xlsx | 526.8 | 36.7883 | -121.9034 | N/A | Grain size | 8 day intervals | 10 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS2 | 20151005 | MS2_20151005 | TU | RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20151005.nc | 526.8 | 36.7883 | -121.9034 | 10046 | Optical backscatter | 15 minute | 9 | 2015-09-22 19:25 | 2016-04-05 21:43 | 2016-04-05 21:43 | 0:01 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS2 | 20151005 | MS2_20151005 | CTD | Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20151005.nc | 526.8 | 36.7883 | -121.9034 | 12354 | Conductivity, temp., pressure | 1 minute | 9 | 2015-09-21 23:23 | 2016-04-06 01:10 | 2016-04-06 01:10 | 0:00 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS3 | 20151005 | MS3_20151005 | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20151005.nc | 831.4 | 36.765 | -121.9697 | 16330 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2015-09-23 23:28 | 2016-04-05 18:06 | 2016-04-05 18:09 | 0:03 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS3 | 20151005 | MS3_20151005 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and Batch1_GrainSizeResults.xlsx | 831.4 | 36.765 | -121.9697 | N/A | Grain size | 8 day intervals | 10 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS3 | 20151005 | MS3_20151005 | TU | RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU9m_20151005.nc | 831.4 | 36.765 | -121.9697 | 10750 | Optical backscatter | 10 min | 9 | 2015-09-22 22:36 | 2016-04-05 23:06 | 2016-04-05 23:05 | 0:01 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS3 | 20151005 | MS3_20151005 | CT | Sea-Bird Electronics | SBE-37 Microcat | MBCCE_MS3_CT9m_20151005.nc | 831.4 | 36.765 | -121.9697 | 706 | Conductivity, temp. | 1 min | 9 | 2015-09-21 20:50 | 2016-04-07 23:04 | 2016-04-07 23:04 | 0:00 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS3 | 20151005 | MS3_20151005 | ADCP | Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20151005.nc | 831.4 | 36.765 | -121.9697 | 1694 | Profile of current velocity, acoustic backscatter | 2 min | 9 |  |  |  | 0:01 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS4 | 20151007 | MS4_20151007 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and Batch1_GrainSizeResults.xlsx | 1285.8 | 36.7358 | -122.0165 | N/A | Grain size | intervalometer malfunctioned | 10 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS4 | 20151007 | MS4_20151007 | FLNTU | WET Labs | ECO FLNTU | MBCCE_MS4_FLNTU10m_20151007.nc | 1285.8 | 36.7358 | -122.0165 | WL-30007 | Fluorescence, optical backscatter | 5 min | 10 | 2015-10-06 16:50 | 2016-04-07 17:55 | 2016-04-07 18:10 | 0:14 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS5 | 20151020 | MS5_20151020 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20151020.nc | 1448.9 | 36.715 | -122.0129 | 54146 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 200 | 2015-10-19 | 2016-04-06 17:29 | 2016-04-06 17:29 | 0 |  | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS5 | 20151020 | MS5_20151020 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20151020.nc | 1448.9 | 36.715 | -122.0129 | 54147 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 100 | 2015-10-19 | 2016-04-06 17:08 | 2016-04-06 17:08 | 0 |  | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS5 | 20151020 | MS5_20151020 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU74m_20151020.nc | 1448.9 | 36.715 | -122.0129 | 54148 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 74 | 2015-10-19 | 2000-01-01 | data ended 12/21/2015 18:56:00 | 0 |  | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS5 | 20151020 | MS5_20151020 | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap) | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and Batch1_GrainSizeResults.xlsx | 1448.9 | 36.715 | -122.0129 | N/A | Grain size | intervalometer malfunctioned | 74 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS5 | 20151020 | MS5_20151020 | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20151020.nc | 1448.9 | 36.715 | -122.0129 | 23079 | Profile of current velocity, acoustic backscatter | 30 sec. interval; 7 pings per ensemble | 65 | 2015-10-19 | 2016-04-06 18:11 | 2016-04-06 18:11 | 6 seconds behind |  | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS5 | 20151020 | MS5_20151020 | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap) | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and Batch1_GrainSizeResults.xlsx | 1448.9 | 36.715 | -122.0129 | N/A | Grain size | 8 days interval; delay time 9 days from Oct 16 2015 GMT | 11 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS5 | 20151020 | MS5_20151020 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU11m_20151020.nc | 1448.9 | 36.715 | -122.0129 | 54149 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 11 | 2015-10-19 | 2116-04-06 17:04 | 2116-04-06 17:04 | 0 |  | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS5 | 20151020 | MS5_20151020 | CT | RBR | RBRduo C, T | MBCCE_MS5_CT11m_20151020_0138.nc | 1448.9 | 36.715 | -122.0129 | 61610 | Conductivity, temp. | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec | 11 | 2015-10-19 | 2016-04-06 17:36 | 2016-04-06 17:36 | 0 |  | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS6 | 20151015 | MS6_20151015 | McLane | McLane | McLane Profiler | MBCCE_MS6_20151015.nc | 1830.8 | 36.7028 | -122.0907 | 11720 | Current, compass and tilt, conductivity, temp., pressure, fluorescence, optical backscatter | 30 min profile every 4.5 hrs, alternating up and down | transits between ~7m and ~507m | 2015-10-14 | [5 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS7 | 20151027 | MS7_20151027 | FLNTU | WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU300m_20151027.nc | 1849 | 36.7016 | -122.0975 | WL-30002 | Fluorescence, optical backscatter | 5 min | 300 | 2015-10-11 19:16 | 2016-04-13 15:47 | 2016-04-13 15:54 | 0:07 | behind GMT | Stopped logging at 01/06/2016 14:36:29 | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS7 | 20151027 | MS7_20151027 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and Batch1_GrainSizeResults.xlsx | 1849 | 36.7016 | -122.0975 | NA | Grain size | 8 day intervals | 300 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS7 | 20151027 | MS7_20151027 | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20151027.nc | 1849 | 36.7016 | -122.0975 | WHS300-2025 | Profile of current velocity, acoustic backscatter | 30 sec | 70 | 2015-10-17 | 2016-04-12 17:26 | 2016-04-12 17:28 | 0:02 | behind GMT | Initial Sync assumed 1 day before deployment | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS7 | 20151027 | MS7_20151027 | Sediment Trap | N/A | Anderson Sed Trap | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and Batch1_GrainSizeResults.xlsx | 1849 | 36.7016 | -122.0975 | NA | Grain size | 8 day intervals | 10 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | MS7 | 20151027 | MS7_20151027 | FLNTU | WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU10m_20151027.nc | 1849 | 36.7016 | -122.0975 | WL-30001 | Fluorescence, optical backscatter | 5 min | 10 | 2015-10-11 18:43 | 2016-04-13 15:28 | 2016-04-13 15:33 | 0:05 | behind GMT | Stopped logging at 01/07/2016 12:20:08 | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | SIN | 20151013 | SIN_20151013 | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_SIN_ADCP300_20151013.nc | 1837.2 | 36.7018 | -122.0939 | 22697 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2015-10-12 | 2016-04-14 19:04 | 04/14/16 19:03:37 | 0:00 | ahead of GMT | NOTE, for this deployment only, ADCP's were on local (Pacific) time. Clock drift times were converted to GMT for this table. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | SIN | 20151013 | SIN_20151013 | ADCP | Teledyne RD Instruments | Workhorse 600 kHz ADCP | MBCCE_SIN_ADCP600_20151013.nc | 1837.2 | 36.7018 | -122.0939 | 23102 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2015-10-12 | 2016-04-14 19:23 | 04/14/16 19:21:49 | 0:01 | ahead of GMT | NOTE, for this deployment only, ADCP's were on local (Pacific) time. Clock drift times were converted to GMT for this table. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | SIN | 20151013 | SIN_20151013 | ADCP | Teledyne RD Instruments | Workhorse 1200 kHz ADCP | MBCCE_SIN_ADCP1200_20151013.nc | 1837.2 | 36.7018 | -122.0939 | 20661 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2015-10-12 | 2016-04-14 20:59 | 2016-04-14 20:59 | 0:00 | ahead of GMT | NOTE, for this deployment only, ADCP's were on local (Pacific) time. Clock drift times were converted to GMT for this table. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | SIN | 20151013 | SIN_20151013 | CTDOBSTrans | Sea-Bird Electronics | Seabird SBE-16+ CTD (with transmissometer) | MBCCE_SIN_CTDOBSTrans_20151013_timecorrected.nc | 1837.2 | 36.7018 | -122.0939 | 16P41561-4952 | Conductivity, temp., pressure, optical backscatter, transmisivity | 2 sec | 0.8 | no internal clock |  |  | Time corrected |  | Conductivity data is bad after the January 15th event. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | SIN | 20151013 | SIN_20151013 | OX | Aanderaa | Aanderaa Oxygen Optode | MBCCE_SIN_OX_20151013_timecorrected.nc | 1837.2 | 36.7018 | -122.0939 | 677 | Dissolved oxygen | 10 sec | 0.5 | no internal clock |  |  | Time corrected |  |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | SIN | 20151013 | SIN_20151013 | FLNTU | Wetlabs | ECO Triplet Turbidity and Fluorescence Sensor | MBCCE_SIN_FLNTU_20151013_timecorrected.nc | 1837.2 | 36.7018 | -122.0939 | WL-30010 | Fluorescence, optical backscatter | 10 sec | 0.5 | no internal clock |  |  | Time corrected |  |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | AMT1 | 20151013 | AMT1_20151013 | AMT | Sonardyne | AMT Beacon 8305 | MBCCE_AMT1_20151013_to_20160428.csv | 301.9 | 36.7944 | -121.848 | 299037-001 | Pressure, temperature, pitch and roll | 45 min | 2 | [5 empty] | AMT recorded info every 45 min. Clock drift not an issue. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | AMT2 | 20151019 | AMT2_20151019 | AMT | Sonardyne | AMT Beacon 8305 | MBCCE_AMT2_20151027_to_20160405.csv | 211.3 | 36.7937 | -121.8517 | 297280-001 | range to AMT 1 and AMT 3 | 45 min | 1.5 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
A | AMT3 | 20151027 | AMT3_20151027 | AMT | Sonardyne | AMT Beacon 8305 | MBCCE_AMT3_20151027_to_20160416.csv | 242 | 36.7928 | -121.8489 | 297280-002 | range to AMT 1 and AMT 2 | 45 min | 1.5 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS0 | 20160408 | MS0_20160408 | CTDOXFLOBS | Sea-Bird Electronics | Seabird SBE-16+ CTD | MBCCE_MS0_CTDOXFLOBS_20160408.nc | 31 | 36.7519 | -121.8387 | 4166 | Conductivity, temp., pressure, oxygen, fluorescence, optical backscatter | 10 min | 0 | 2016-04-06 19:56 | 2016-10-06 03:09 | 2016-10-06 03:24 | 0:14 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS0 | 20160408 | MS0_20160408 | FLNTU | Wet Labs | ECO FLNTU RTD | MBCCE_MS0_FLNTU_20160408.nc | 31 | 36.7519 | -121.8387 | WL-30006 | Optical backscatter, fluorescence | 5 min | 0 | 2016-04-06 14:00 | 2016-10-05 22:06 | 2016-10-05 22:10 | 0:04 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS0 | 20160408 | MS0_20160408 | AWAC | Nortek | AWAC 600KHz | MBCCE_MS0_AWAC_20160408_Processedwave.nc and MBCCE_MS0_AWAC_20160408.nc | 31 | 36.7519 | -121.8387 | 5471 | wave heights, current velocity | 1 Hz measurement for 17 minutes every 120 min | 0 | 2016-04-08 | 2016-10-06 02:10 | 2016-10-06 02:10 | 0:00 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS1 | 20160404 | MS1_20160404 | TD | Sea-Bird Electronics | SBE-39 | MBCCE_MS1_TD65m_20160404.nc | 278 | 36.7932 | -121.8447 | 128 | Temp., pressure | 5 minute | 65 | 2016-03-28 21:22 | 2016-10-06 16:46 | 2016-10-06 16:46 | 0:00 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS1 | 20160404 | MS1_20160404 | ADCP | Teledyne RD Instruments | 300kHz WH | MBCCE_MS1_ADCP300_20160404.nc | 278 | 36.7932 | -121.8447 | 473 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-03-24 23:10 | 2016-10-04 17:55 | 2016-10-04 17:57 | 0:02 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS1 | 20160404 | MS1_20160404 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_April2016_updated.pdf, and Batch2_GrainSizeResults.xlsx | 278 | 36.7932 | -121.8447 | N/A | Grain size | intervalometer malfunctioned | 10 | N/A | N/A | N/A | N/A | N/A | N/A | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS1 | 20160404 | MS1_20160404 | TU | RBR | XR-420 with Seapoint | MBCCE_MS1_TU9m_20160404.nc | 278 | 36.7932 | -121.8447 | 10027 | Optical backscatter | 5 minute | 9 | 2016-03-28 22:04 | 2016-10-05 00:57 | 2016-10-05 00:56 | 0:01 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS1 | 20160404 | MS1_20160404 | CT | Sea-Bird Electronics | SBE-37 | MBCCE_MS1_CT9m_20160404.nc | 278 | 36.7932 | -121.8447 | 5404 | Conductivity, temp. | 1 minute | 9 | 2016-03-31 18:36 | 2016-10-05 20:22 | 2016-10-05 20:22 | 0:00 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS2 | 20160407 | MS2_20160407 | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20160407.nc | 527 | 36.7878 | -121.9035 | 13016 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-04-06 18:35 | 2016-10-03 20:41 | 2016-10-03 20:38 | 0:03 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS2 | 20160407 | MS2_20160407 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_April2016_updated.pdf, and Batch2_GrainSizeResults.xlsx | 527 | 36.7878 | -121.9035 | N/A | Grain size | N/A | 9 | N/A | N/A | N/A | N/A | N/A | N/A | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS2 | 20160407 | MS2_20160407 | TU | RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20160407.nc | 527 | 36.7878 | -121.9035 | 10075 | Optical backscatter | 15 minute | 9 | 2016-04-06 19:20 | 2016-10-03 20:56 | 2016-03-10 20:55 | 4968:01 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS2 | 20160407 | MS2_20160407 | CTD | Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20160407.nc | 527 | 36.7878 | -121.9035 | 1700 | Conductivity, temp., pressure | 1 minute | 9 | 2016-03-28 22:51 | 2016-10-04 16:13 | 2016-10-04 16:12 | 0:00 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS3 | 20160407 | MS3_20160407 | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20160407.nc | 831.4 | 36.7651 | -121.9699 | 16330 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-04-06 18:19 | 2016-10-04 19:41 | 2016-10-04 19:44 | 0:03 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS3 | 20160407 | MS3_20160407 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_April2016_updated.pdf, and Batch2_GrainSizeResults.xlsx | 831.4 | 36.7651 | -121.9699 | N/A | Grain size | 8 day intervals | 9 | N/A | N/A | N/A | N/A | N/A | N/A | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS3 | 20160407 | MS3_20160407 | TU | RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU9m_20160407.nc | 831.4 | 36.7651 | -121.9699 | 10750 | Optical backscatter | 10 min | 9 | 2016-04-06 00:14 | 2016-10-04 20:12 | 2016-10-04 20:12 | 0:00 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS3 | 20160407 | MS3_20160407 | CT | Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS3_CT9m_20160407.nc | 831.4 | 36.7651 | -121.9699 | 769 | Conductivity, temp. | 1 min | 9 | 2016-03-29 00:33 | 2016-10-05 00:36 | 2016-10-05 00:36 | 0:01 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS3 | 20160407 | MS3_20160407 | ADCP | Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20160407.nc | 831.4 | 36.7651 | -121.9699 | 1694 | Profile of current velocity, acoustic backscatter | 2 min | 9 | 2016-04-05 17:35 | 2016-10-04 01:49 | 2016-10-04 01:50 | 0:00 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS4 | 20160408 | MS4_20160408 | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS4_ADCP300_20160408.nc | 1285 | 36.736 | -122.0167 | WHS300-2024 | Profile of current velocity, acoustic backscatter | 30 sec | 70 | 2016-04-08 | 2016-10-05 21:13 | 2016-10-05 21:15 | 0:02 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS4 | 20160408 | MS4_20160408 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_April2016_updated.pdf, and Batch2_GrainSizeResults.xlsx | 1285 | 36.736 | -122.0167 | N/A | Grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A | N/A | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS4 | 20160408 | MS4_20160408 | FLNTU | WET Labs | ECO FLNTU | MBCCE_MS4_FLNTU10m_20160408.nc | 1285 | 36.736 | -122.0167 | WL-30007 | Fluorescence, optical backscatter | 5 min | 10 | 2016-04-07 18:26 | 2016-10-05 18:52 | 2016-10-05 19:00 | 0:08 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS5 | 20160408 | MS5_20160408 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20160408.nc | 1445 | 36.7155 | -122.0129 | 54146 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 200 | 2016-04-07 | 2016-10-04 12:58 | 2016-10-04 12:58 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS5 | 20160408 | MS5_20160408 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20160408.nc | 1445 | 36.7155 | -122.0129 | 54147 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 100 | 2016-04-07 | 2016-10-05 13:14 | 2016-10-05 13:14 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS5 | 20160408 | MS5_20160408 | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap) | AndersonSedTrapDataPanel_April2016_updated.pdf, and Batch2_GrainSizeResults.xlsx | 1445 | 36.7155 | -122.0129 | N/A | Grain size | intervalometer with 8 day interval; delay time 9 days from Oct 16 2015 GMT | 74 | N/A | N/A | N/A | N/A | N/A |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS5 | 20160408 | MS5_20160408 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU70m_20160408.nc | 1445 | 36.7155 | -122.0129 | 54149 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 70 | 2016-04-07 | 2016-10-05 13:07 | 2016-10-05 13:07 | 0:00 | ahead of GMT | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS5 | 20160408 | MS5_20160408 | CT70m | RBR | RBRduo C, T | MBCCE_MS5_CT70m_20160408.nc | 1445 | 36.7155 | -122.0129 | 61610 | Conductivity, temp. | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec | 70 | 2016-04-07 | 2016-10-05 13:03 | 2016-10-05 13:03 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS5 | 20160408 | MS5_20160408 | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20160408.nc | 1445 | 36.7155 | -122.0129 | 23079 | Profile of current velocity, acoustic backscatter | 30 sec. interval; 7 pings per ensemble | 65 | 2016-04-07 | 2016-10-04 22:09 | 2016-10-04 22:10 | 0:01 | behind GMT | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS5 | 20160408 | MS5_20160408 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU10m_20160408.nc | 1445 | 36.7155 | -122.0129 | 54148 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 10 | 2016-04-07 | 2000-01-01 00:01 | 2016-10-05 13:10 | Malfunction! |  | Malfunction! | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS5 | 20160408 | MS5_20160408 | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap) | AndersonSedTrapDataPanel_April2016_updated.pdf, and Batch2_GrainSizeResults.xlsx | 1445 | 36.7155 | -122.0129 | N/A | Grain size | intervalometer with 8 day interval; delay time 9 days from Oct 16 2015 GMT | 11 | N/A | N/A | N/A | N/A | N/A |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS6 | 20160418 | MS6_20160418 | McLane | McLane | McLane Profiler | MBCCE_MS6_20160418.nc | 1826 | 36.7019 | -122.0894 | 11720 | Current, compass and tilt, conductivity, temp., pressure, fluorescence, optical backscatter | 30 min profile every 4.5 hrs., alternating up and down | transits between ~7m and ~507m | 2016-04-15 21:30 | 42654.1135 | 42654.113 | 0.00047454 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS7 | 20160420 | MS7_20160420 | FLNTU | WET Labs | ECO FLNTU | MBCCE_MS7_FLNTU300m_20160420.nc | 1849 | 36.7018 | -122.0984 | WL-30001 | Fluorescence, optical backscatter | Channel 71 | 300 | 2016-04-15 12:30 | 2016-10-11 01:14 | 2016-10-11 01:19 | 0:05 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS7 | 20160420 | MS7_20160420 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_April2016_updated.pdf, and Batch2_GrainSizeResults.xlsx | 1849 | 36.7018 | -122.0984 | NA | Grain size | 8 day intervals | 300 | N/A | N/A | N/A | N/A | N/A |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS7 | 20160420 | MS7_20160420 | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20160420.nc | 1849 | 36.7018 | -122.0984 | WHS300-2025 | Profile of current velocity, acoustic backscatter | 30 sec | 70 | 2016-04-15 18:20 | 2016-10-11 01:01 | 2016-10-11 01:04 | 0:02 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS7 | 20160420 | MS7_20160420 | Sediment Trap | N/A | Anderson Sed Trap | AndersonSedTrapDataPanel_April2016_updated.pdf, and Batch2_GrainSizeResults.xlsx | 1849 | 36.7018 | -122.0984 | NA | Grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A | Trap spilled onto deck. Some photos exist, some grain size data exists | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | MS7 | 20160420 | MS7_20160420 | FLNTU | WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU10m_20160420.nc | 1849 | 36.7018 | -122.0984 | WL-30002 | Fluorescence, optical backscatter | 5 min | 10 | 2016-04-13 14:28 | 2016-10-11 17:55 | 2016-10-11 18:01 | 0:05 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | SIN | 20160417 | SIN_20160417 | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_SIN_ADCP300_20160417.nc | 1836.7 | 36.7017 | -122.0938 | 23119 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-04-14 22:50 | 2016-10-12 16:34 | 2016-10-12 16:33 | 0:01 | ahead of GMT | The 300kHz SIN ADCP stopped acquiring on 13th August, 2016 so didn't capture the event | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | SIN | 20160417 | SIN_20160417 | ADCP | Teledyne RD Instruments | Workhorse 600 kHz ADCP | MBCCE_SIN_ADCP600_20160417.nc | 1836.7 | 36.7017 | -122.0938 | 21053 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-04-14 22:52 | 2016-10-12 15:57 | 2016-10-12 15:55 | 0:02 | ahead of GMT | The 600kHz SIN ADCP stopped acquiring on 17th September, 2016 so did capture the event | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | SIN | 20160417 | SIN_20160417 | ADCP | Teledyne RD Instruments | Workhorse 1200 kHz ADCP | MBCCE_SIN_ADCP1200_20160417.nc | 1836.7 | 36.7017 | -122.0938 | 20662 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-04-14 22:46 | 2016-10-11 22:10 | 2016-10-11 22:10 | 0:00 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | SIN | 20160417 | SIN_20160417 | CTDOBSTrans | Sea-Bird Electronics | Seabird SBE-19+ CTD (with transmissometer) | MBCCE_SIN_CTDOBSTrans_20160417_timecorrected.nc | 1836.7 | 36.7017 | -122.0938 | 16P51851-6133 | Conductivity, temp., pressure, optical backscatter, transmisivity | 2 sec | 0.8 | no internal clock |  |  | Time corrected |  | not tide corrected | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | SIN | 20160417 | SIN_20160417 | OX | Aanderaa | Aanderaa Oxygen Optode | MBCCE_SIN_OX_20160417_timecorrected.nc | 1836.7 | 36.7017 | -122.0938 | 980 | Dissolved oxygen | 10 sec | 0.5 | no internal clock |  |  | Time corrected |  |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
B | SIN | 20160417 | SIN_20160417 | FLNTU | Wetlabs | ECO Triplet Turbidity and Fluorescence Sensor | MBCCE_SIN_FLNTU_20160417_timecorrected.nc | 1836.7 | 36.7017 | -122.0938 | WL-30005 | Fluorescence, optical backscatter | 10 sec | 0.5 | no internal clock |  |  | Time corrected |  |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS0 | 20161024 | MS0_20161024 | CTDOXFLOBS | Sea-Bird Electronics | Seabird SBE-16+ CTD | MBCCE_MS0_CTDOXFLOBS_20161024.nc | 31 | 36.7519 | -121.8387 | 4166 | Conductivity, temp., pressure, oxygen, fluorescence, optical backscatter | 10 min | 0 | [5 empty] | not tide corrected | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS0 | 20161024 | MS0_20161024 | AWAC | Nortek | AWAC 600KHz | MBCCE_MS0_AWAC_20161014_Processedwave.nc and MBCCE_MS0_AWAC_20161024.nc | 31 | 36.7519 | -121.8387 | 5471 | wave heights, current velocity | 1 Hz measurement for 17 minutes every 120 min | 0 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS1 | 20161006 | MS1_20161006 | TU | RBR | Virtuoso-Tu | MBCCE_MS1_TU65m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 54170 | Optical backscatter | 1 minute | 65 | 2016-08-29 21:02 |  |  |  |  | Clock was reset on recovery | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS1 | 20161006 | MS1_20161006 | TD | Sea-Bird Electronics | SBE-39 | MBCCE_MS1_TD65m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 128 | Temp., pressure | 3 minute | 65 | 2016-08-30 18:08 | 2017-03-23 00:42 | 2017-03-23 00:42 | 0:00 | behind GMT | not tide corrected | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS1 | 20161006 | MS1_20161006 | ADCP | Teledyne RD Instruments | 300kHz WH | MBCCE_MS1_ADCP300up_20161006.nc | 290.3 | 36.7936 | -121.8457 | 587 | Profile of current velocity, acoustic backscatter | 1 minute | 65 | 2016-10-02 16:21 | 2017-03-22 19:25 | 2017-03-22 19:31 | 0:06 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS1 | 20161006 | MS1_20161006 | ADCP | Teledyne RD Instruments | 300kHz WH | MBCCE_MS1_ADCP300down_20161006.nc | 290.3 | 36.7936 | -121.8457 | 473 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-10-04 23:43 | 2017-03-22 19:50 | 2017-03-22 19:52 | 0:02 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS1 | 20161006 | MS1_20161006 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and Batch3_GrainSizeResults.xlsx | 290.3 | 36.7936 | -121.8457 | N/A | Grain Size | 8 day intervals | 35 | N/A | N/A | N/A | N/A | N/A |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS1 | 20161006 | MS1_20161006 | TU | RBR | Virtuoso-Tu | MBCCE_MS1_TU35m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 54126 | Optical backscatter | 1 minute | 35 | 2016-08-29 21:30 | 2017-03-22 21:22 | 2017-03-22 21:22 | 0:00 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS1 | 20161006 | MS1_20161006 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and Batch3_GrainSizeResults.xlsx | 290.3 | 36.7936 | -121.8457 | N/A | Grain Size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS1 | 20161006 | MS1_20161006 | ADCP | Nortek | Aquadopp | MBCCE_MS1_Aquadopp2000_20161006.nc | 290.3 | 36.7936 | -121.8457 | 1753 | Profile of current velocity, acoustic backscatter | 3 minute | 10 | 2016-09-28 22:00 | 2017-03-23 17:18 | 2017-03-23 17:18 | 0:01 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS1 | 20161006 | MS1_20161006 | Alt | EofE | Echologger EA-400 Altimeter | MBCCE_MS1_Alt9m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 41411012G | Altimetry, acoustic backscatter profile | 6 minute | 10 | 2016-10-05 19:35 | 2017-03-22 15:34 | 2017-03-22 15:35 | 0:01 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS1 | 20161006 | MS1_20161006 | CT | Sea-Bird Electronics | SBE-37 | MBCCE_MS1_CT9m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 466 | Salinity, temp. | 1 minute | 9 | 2016-10-04 22:30 | 2017-03-22 23:28 | 2017-03-22 23:28 | 0:00 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS2 | 20161006 | MS2_20161006 | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20161006.nc | 526.3 | 36.7886 | -121.9034 | 13016 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-10-05 16:20 | 2017-03-22 22:34 | 2017-03-22 22:31 | 0:03 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS2 | 20161006 | MS2_20161006 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and Batch3_GrainSizeResults.xlsx | 526.3 | 36.7886 | -121.9034 | N/A | Grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A | Sediment trap torn off. Not recovered. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS2 | 20161006 | MS2_20161006 | TU | RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20161006.nc | 526.3 | 36.7886 | -121.9034 | 10046 | Optical backscatter | 3 minute | 10 | 2016-09-30 23:22 | 2017-03-22 21:06 | 2017-03-22 21:05 | 0:01 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS2 | 20161006 | MS2_20161006 | CTD | Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20161006.nc | 526.3 | 36.7886 | -121.9034 | 1700 | Conductivity, temp., pressure | 1 minute | 9 | 2016-10-04 21:44 | 2017-03-22 18:19 | 2017-03-22 18:19 | 0:00 | ahead of GMT | not tide corrected | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS3 | 20161006 | MS3_20161006 | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20161006.nc | 829.1 | 36.7655 | -121.9693 | 16330 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-10-05 16:47 | 2017-03-22 19:14 | 2017-03-22 19:18 | 0:03 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS3 | 20161006 | MS3_20161006 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and Batch3_GrainSizeResults.xlsx | 829.1 | 36.7655 | -121.9693 | N/A | Grain size | intervalometer malfunctioned | 35 | N/A | N/A | N/A | N/A | N/A |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS3 | 20161006 | MS3_20161006 | TU | RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU35m_20161006.nc | 829.1 | 36.7655 | -121.9693 | 10027 | Optical backscatter | 10 min | 35 | 2016-10-04 23:37 | 2017-03-22 20:19 | 2017-03-22 20:19 | 0:00 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS3 | 20161006 | MS3_20161006 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and Batch3_GrainSizeResults.xlsx | 829.1 | 36.7655 | -121.9693 | N/A | Grain size | 8 day interval | 10 | N/A | N/A | N/A | N/A | N/A |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS3 | 20161006 | MS3_20161006 | TU | RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU10m_20161006.nc | 829.1 | 36.7655 | -121.9693 | 10755 | Optical backscatter | 10 min | 10 | 2016-10-05 16:00 | 2017-03-22 20:48 | 2017-03-22 20:47 | 0:01 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS3 | 20161006 | MS3_20161006 | CT9 | Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS3_CT9m_20161006.nc | 829.1 | 36.7655 | -121.9693 | 12354 | Conductivity, temp. | 1 min | 9 | 2016-10-04 22:04 | 2017-03-23 01:08 | 2017-03-23 01:08 | 0:00 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS3 | 20161006 | MS3_20161006 | ADCP | Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20161006.nc | 829.1 | 36.7655 | -121.9693 | 1694 | Profile of current velocity, acoustic backscatter | 2 min | 9 | 2016-10-04 23:00 | 2017-03-23 20:24 | 2017-03-23 20:24 | 0:00 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS4 | 20161007 | MS4_20161007 | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS4_ADCP300_20161007.nc | 1285.9 | 36.7361 | -122.0172 | WHS300-2024 | Profile of current velocity, acoustic backscatter | 30 sec | 70 | 2016-10-11 19:46 | 2017-03-22 18:11 | 2017-03-22 18:12 | 0:02 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS4 | 20161007 | MS4_20161007 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and Batch3_GrainSizeResults.xlsx | 1285.9 | 36.7361 | -122.0172 | N/A | Grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS4 | 20161007 | MS4_20161007 | FLNTU | WET Labs | ECO FLNTU | MBCCE_MS4_FLNTU10m_20161007.nc | 1285.9 | 36.7361 | -122.0172 | WL-30007 | Fluorescence, optical backscatter | 5 min | 10 | 2016-10-05 23:00 | 2017-03-22 20:13 | 2017-03-22 20:26 | 0:13 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS5 | 20161007 | MS5_20161007 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 54148 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 200 |  | N/A | 2017-02-08 19:40 | N/A |  | Stopped Dec. 4, 2016 | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS5 | 20161007 | MS5_20161007 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 54146 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 100 | 2016-10-06 | 2017-02-08 19:46 | 2017-02-08 19:47 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS5 | 20161007 | MS5_20161007 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU70m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 54147 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 70 | 2016-10-06 | 2017-02-08 19:32 | 2017-02-08 19:32 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS5 | 20161007 | MS5_20161007 | CT | RBR | RBRduo C, T | MBCCE_MS5_CT10m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 61610 | Conductivity, temp. | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec | 10 | 2016-10-06 | 2017-02-08 19:10 | 2017-02-08 19:10 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS5 | 20161007 | MS5_20161007 | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 23079 | Profile of current velocity, acoustic backscatter | 30 sec. interval; 7 pings per ensemble | 65 | 2016-10-07 | 2017-02-08 21:31 | 2017-02-08 21:32 | 0:01 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS5 | 20161007 | MS5_20161007 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU10m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 54149 | Optical backscatter | 30 sec. interval; 7 pings per ensemble | 10 | 2016-10-06 | 2017-02-08 19:23 | 2017-02-08 19:23 | 0:00 |  | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS5 | 20161007 | MS5_20161007 | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap) | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and Batch3_GrainSizeResults.xlsx | 1438.7 | 36.7163 | -122.0128 | N/A | Grain size | 6 day interval; | 11 | N/A | N/A | N/A | N/A | N/A |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS7 | 20161019 | MS7_20161019 | FLNTU | WET Labs | ECO FLNTU | MBCCE_MS7_FLNTU300m_20161019.nc | 1851 | 36.7019 | -122.0987 | WL-30001 | Fluorescence, optical backscatter | 5 min | 300 | 2016-10-18 21:00 | 2017-04-04 04:13 | 2017-04-04 04:18 | 0:05 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS7 | 20161019 | MS7_20161019 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and Batch3_GrainSizeResults.xlsx | 1851 | 36.7019 | -122.0987 | NA | Grain size | 8 day intervals | 300 | N/A | N/A | N/A | N/A | N/A |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS7 | 20161019 | MS7_20161019 | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20161019.nc | 1851 | 36.7019 | -122.0987 | WHS300-2025 | Profile of current velocity, acoustic backscatter | 30 sec | 70 | 2016-10-11 20:59 | 2017-04-04 02:52 | 2017-04-04 02:56 | 0:04 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS7 | 20161019 | MS7_20161019 | Sediment Trap | N/A | Anderson Sed Trap | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and Batch3_GrainSizeResults.xlsx | 1851 | 36.7019 | -122.0987 | NA | Grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | MS7 | 20161019 | MS7_20161019 | FLNTU | WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU10m_20161019.nc | 1851 | 36.7019 | -122.0987 | WL-30002 | Fluorescence, optical backscatter | 5 min | 10 | 2016-10-18 09:10 | 2017-04-04 04:01 | 2017-04-04 04:08 | 0:07 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | SIN | 20161018 | SIN_20161018 | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_SIN_ADCP300_20161018.nc | 1837.8 | 36.7018 | -122.0939 | 22697 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-10-07 20:48 | 2017-04-10 17:25 | 2017-04-10 17:24 | 0:01 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | SIN | 20161018 | SIN_20161018 | ADCP | Teledyne RD Instruments | Workhorse 600 kHz ADCP | MBCCE_SIN_ADCP600_20161018.nc | 1837.8 | 36.7018 | -122.0939 | 23102 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-10-07 20:53 | 2017-04-10 16:13 | 2017-04-10 16:11 | 0:02 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | SIN | 20161018 | SIN_20161018 | ADCP | Teledyne RD Instruments | Workhorse 1200 kHz ADCP | MBCCE_SIN_ADCP1200_20161018.nc | 1837.8 | 36.7018 | -122.0939 | 20662 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-10-17 17:28 | 2017-04-10 16:08 | 2017-04-10 16:08 | 0:00 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | SIN | 20161018 | SIN_20161018 | CTDOBSTrans | Sea-Bird Electronics | Seabird SBE-19+ CTD (with transmissometer) | MBCCE_SIN_CTDOBSTrans_20161018_timecorrected.nc | 1837.8 | 36.7018 | -122.0939 | 16P41561-4952 | Conductivity, temp., pressure, optical backscatter, transmisivity | 2 sec | 0.8 | no internal clock |  |  | Time corrected |  | Conductivity measurements were bad for the whole deployment. Pressure not tide corrected | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | SIN | 20161018 | SIN_20161018 | OX | Aanderaa | Aanderaa Oxygen Optode | MBCCE_SIN_OX_20161018_timecorrected.nc | 1837.8 | 36.7018 | -122.0939 | 3830 | Dissolved oxygen | 10 sec | 0.5 | no internal clock |  |  | Time corrected |  |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | SIN | 20161018 | SIN_20161018 | FLNTU | Wetlabs | ECO Triplet Turbidity and Fluorescence Sensor | MBCCE_SIN_FLNTU_20161018_timecorrected.nc | 1837.8 | 36.7018 | -122.0939 | WL-30009 | Fluorescence, optical backscatter | 10 sec | 0.5 | no internal clock |  |  | Time corrected |  |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | AMT1 | 20161010 | AMT1_20161010 | AMT | Sonardyne | AMT Beacon 8305 | MBCCE_AMT1_20161011_to_20170421.csv | 299.9003 | 36.7943 | -121.8478 | 299037-001 | Pressure, temperature, pitch and roll | 45 min | 2 | [5 empty] | AMT recorded info every 45 min. Clock drift not an issue. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | AMT2 | 20161005 | AMT2_20161005 | AMT | Sonardyne | AMT Beacon 8305 | MBCCE_AMT2_20161005_to_20161019.csv | 206.7 | 36.7938 | -121.8517 | 297280-001 | range to AMT 1 and AMT 3 | 45 min | 1.5 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
C | AMT3 | 20161005 | AMT3_20161005 | AMT | Sonardyne | AMT Beacon 8305 | MBCCE_AMT3_20161011_to_20161019.csv | 238.9 | 36.7928 | -121.849 | 297280-002 | range to AMT 1 and AMT 2 | 45 min | 1.5 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu
| BEDs | Variable |  | BED Depths |  |  | MBCCE_All_BEDS_depths.xlsx |  |  |  |  | Pressure | [8 empty] | Charlie Paull, Roberto Gwiazda
| BEDs | Variable |  | BED Deployment Location |  |  | MBCCE_BED_Deployment_Locations.xlsx |  |  |  |  | Position | [8 empty] | Charlie Paull, Roberto Gwiazda
| N/A | Variable |  | Event Timing |  |  | MBCCE_EventTiming.pdf |  |  |  |  | Time of events | [7 empty] | Table lists the time any sensor captured an event. To be used to look up data surrounding an event. | Charlie Paull
| N/A | 20151104 |  | Bathymetry |  |  | Topo1m_CCEShallow_20151104_UTM.grd* | 200-500 |  |  |  | Bathymetry | [7 empty] | co-registered to all CCEShallow grids * indicates best quality grid of site | Charlie Paull, David Caress
| N/A | 20151201 |  | Bathymetry |  |  | Topo1m_CCEShallow_20151201_UTM.grd | 200-501 |  |  |  | Bathymetry | [7 empty] | co-registered to all CCEShallow grids | Charlie Paull, David Caress
| N/A | 20160128 |  | Bathymetry |  |  | Topo1m_CCEShallow_20160128_UTM.grd | 200-502 |  |  |  | Bathymetry | [7 empty] | co-registered to all CCEShallow grids | Charlie Paull, David Caress
| N/A | 20160321 |  | Bathymetry |  |  | Topo1m_CCEShallow_20160321_UTM.grd | 200-503 |  |  |  | Bathymetry | [7 empty] | co-registered to all CCEShallow grids | Charlie Paull, David Caress
| N/A | 20161207 |  | Bathymetry |  |  | Topo1m_CCEShallow_20161207_UTM.grd | 200-504 |  |  |  | Bathymetry | [7 empty] | co-registered to all CCEShallow grids | Charlie Paull, David Caress
| N/A | 20170221 |  | Bathymetry |  |  | Topo1m_CCEShallow_20170221_UTM.grd | 200-505 |  |  |  | Bathymetry | [7 empty] | co-registered to all CCEShallow grids | Charlie Paull, David Caress
| N/A | N/A |  | Bathymetry |  |  | TopoDiff1m_CCEShallow_20151201_20151104_UTM.grd | 200-506 |  |  |  | Bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress
| N/A | N/A |  | Bathymetry |  |  | TopoDiff1m_CCEShallow_20160128_20151201_UTM.grd | 200-507 |  |  |  | Bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress
| N/A | N/A |  | Bathymetry |  |  | TopoDiff1m_CCEShallow_20160321_20160128_UTM.grd | 200-508 |  |  |  | Bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress
| N/A | N/A |  | Bathymetry |  |  | TopoDiff1m_CCEShallow_20161207_20160321_UTM.grd | 200-509 |  |  |  | Bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress
| N/A | N/A |  | Bathymetry |  |  | TopoDiff1m_CCEShallow_20170221_20151104_UTM.grd | 200-510 |  |  |  | Bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress
| N/A | N/A |  | Bathymetry |  |  | TopoDiff1m_CCEShallow_20170221_20161207_UTM.grd | 200-511 |  |  |  | Bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress
| N/A | 20170323 |  | Bathymetry |  |  | Topo1m_CCEDeep_20170323_UTM.grd | 1350-1880 |  |  |  | Bathymetry | [7 empty] | co-registered to Topo1m_CCEDeep_20151105_1106_UTM.grd | Charlie Paull, David Caress
| N/A | 20161206 |  | Bathymetry |  |  | Topo1m_CCEDeep_20161206_UTM.grd | 1350-1881 |  |  |  | Bathymetry | [7 empty] | co-registered to Topo1m_CCEDeep_20160418_UTM.grd | Charlie Paull, David Caress
| N/A | 20160418 |  | Bathymetry |  |  | Topo1m_CCEDeep_20160418_UTM.grd | 1350-1882 |  |  |  | Bathymetry | [7 empty] | co-registered to Topo1m_CCEDeep_20161206_UTM.grd | Charlie Paull, David Caress
| N/A | 20160322 |  | Bathymetry |  |  | Topo1m_CCEDeep_20160322_UTM.grd | 1350-1883 |  |  |  | Bathymetry | [7 empty] | co-registered to Topo1m_CCEDeep_20151202_UTM.grd | Charlie Paull, David Caress
| N/A | 20151202 |  | Bathymetry |  |  | Topo1m_CCEDeep_20151202_UTM.grd | 1350-1884 |  |  |  | Bathymetry | [7 empty] | co-registered to Topo1m_CCEDeep_20160322_UTM.grd | Charlie Paull, David Caress
| N/A | 20151105 and 20151106 |  | Bathymetry |  |  | Topo1m_CCEDeep_20151105_1106_UTM.grd* | 1350-1885 |  |  |  | Bathymetry | [7 empty] | co-registered to Topo1m_CCEDeep_20170323_UTM.grd * indicates best quality grid of site | Charlie Paull, David Caress
| N/A | N/A |  | Bathymetry |  |  | TopoDiff1m_CCEDeep_20170323_20151105_UTM.grd | 1350-1886 |  |  |  | Bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress
| N/A | N/A |  | Bathymetry |  |  | TopoDiff1m_CCEDeep_20161206_20160418_UTM.grd | 1350-1887 |  |  |  | Bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress
| N/A | N/A |  | Bathymetry |  |  | TopoDiff1m_CCEDeep_20160322_20151202_UTM.grd | 1350-1888 |  |  |  | Bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress