## MS0
MS0
Institute | MBARI
Individuals Responsible | Chris Lovera
depth (m) | 31
lat | 36.7519
long | -121.8387
2016 deployment | 2016-04-08
ship | R/V Rachel Carson
HOMER (switched from 22 to 28) | 28
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurment Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Seabird Electronics | Seabird SBE-16+ CTD | MBCCE_MS0_CTDOXFLOBS_20160408 |  | 4166 | C, T, D, FL, O2, OBS? | 10 min | 0 | 6000m
Wet Labs | ECO FLNTU RTD | MBCCE_MS0_FLNTU_20160408 |  | WL-30006 | OBS, FL | 5 min | 0 | 6000m
Nortek | AWAC 600KHz | MBCCE_MS0_AWAC_20160408 |  | 5471 | waves, currents | 120 min | 0 | 1000m

## MS1_300m
MS1
Institute | USGS
Individuals Responsible | Kurt Rosenburger
depth (m) | 278
lat | 36.7932
long | -121.8447
2016 deployment | 2016-04-04
ship | R/V Carson
HOMER | 40
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurment Types | Sample period | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Xeos | Apollo |  |  | 300434060078130 | Iridium Beacon | N/A | 65 | 5000m | N/A
SeaBird | SBE-39 | MBCCE_MS1_TD65m_20160404 |  | 128 | Temp,Pressure | 3 minute | 65 | 500m | 3mB
RD Instruments | 300kHz WH | MBCCE_MS1_ADCP300_20160404 |  | 473 | Currents,Backscatter | 30 seconds | 65 | 500m | 768mB
| Anderson Sediment Trap | MBCCE_MS1_AST35_20160404 |  | N/A | N/A |  | 35
| Anderson Sediment Trap | MBCCE_MS1_AST10_20160404 |  | N/A | N/A |  | 10
RBR | XR-420 with Seapoint | MBCCE_MS1_TU9m_20160404 |  | 10027 | Suspended Sediment | 5 minute | 9 | 740m | 1mB
Seabird | SBE-37 | MBCCE_MS1_CT9m_20160404 |  | 5404 | Salinity,Temp | 1 minute | 9 | 7000m | 5mB
Sonardyne | Homer 40 | N/A |  | 68927-004 | Homer Beacon 40 (AD4, RE4) | N/A | 9 | 500m
Teledyne Benthos | Acoustic Release | N/A |  |  | N/A

## MS2_500m
MS2
Institute | NOC-Hull
Individuals Responsible | Kurt Rosenberger
depth (m) | 527
lat | 36.7878
long | -121.9035
2016 deployment | 2016-04-07
ship | R/V Carson
HOMER | 20 @ 9mab
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurment Types | Sample period | MAB | Max depth rating | Aprox. data file size/deployment | Notes
Xeos | Sable Iridium Beacon |  |  | 300234063952300 | Location Beacon | N/A | 75 | 5000m | N/A
RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20160407 |  | 13016 | Currents,Pressure, Backscatter | 30 seconds | 65 | 1000m | 768mB
| Anderson Sediment Trap | MBCCE_MS2_AST9m_20160407 |  | N/A | N/A |  | 9
RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20160407 |  | 10075 | Suspended Sediment | 15 minute | 9 | 2000m | 3mB | Logs CampbellSci OBS3+ S/N T8337
Seabird | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20160407 |  | 1700 | Salinity, Temperature,Pressure | 1 minute | 9 | 7000m | 3mB
Sonardyne | Homer 20
Teledyne Benthos | Acoustic Release |  |  | 28620 | N/A

## MS3_800m
MS3
Institute | USGS
Individuals Responsible | Kurt Rosenberger
depth (m) | 831.4
lat | 36.7651
long | -121.9699
2016 deployment | 2016-04-07
ship | R/V Carson
HOMER | 30 @9mab
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurment Types | Sample period | MAB | Max depth rating | Aprox. data file size/deployment | Notes
Xeos | Apollo | N/A |  | 300434061500080 | Location Beacon | N/A | 78 | 5000m | N/A
RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20160407 |  | 16330 | Currents, Pressure, Backscatter | 30 seconds | 65 | 6000m | 768mB
| Anderson Sediment Trap | MBCCE_MS3_AST9m_20160407 |  | N/A | N/A |  | 9
RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU9m_20160407 |  | 10750 | Suspended Sediment | 10 min | 9 | 3000m | 1mB | Logs SeaTech Transmissometer S/N 264
Seabird | SBE-37 Microcat CTD | MBCCE_MS3_CT9m_20160407 |  | 769 | Salinity, Temp | 1 min | 9 | 7000m | 5mB
Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20160407 |  | 1694 | Currents, Pressure, Backscatter | 2 min | 9 | 6000m | 10mB
Sonardyne | HOMER 30 | N/A
Teledyne Benthos | Acoustic Release | N/A |  | 28619 | N/A

## MS4_1300m
MS4
Institute | MBARI
Individuals Responsible | Barry Group
depth (m) | 1285
lat | 36.736
long | -122.0167
2016 deployment | 2016-04-08
ship | R/V Carson
HOMER | 80 @ 10mab
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurment Types | Sample Interval | MAB | Max depth rating | Aprox. data file size/deployment
Novatech | Radio Frequency Location Beacon |  |  | Channel 72 |  |  | 74
Teledyne RDI | 300KHz Workhorse Sentinel ADCP (dif serial # from Oct) | MBCCE_MS4_ADCP300_20160408 |  | WHS300-2024 | Current speed, direction, (backscatter) | 30 sec | 70 |  | 50MB
| Anderson Sediment Trap | MBCCE_MS4_AST10m_20160408 |  | N/A | N/A |  | 10 |  | N/A
Prime Focus | Indented Rotating Sphere Sediment Trap (4) | MBCCE_MS4_IRSST10m_20160408 |  | N/A | Mass Flux, del C13, del N15, CHN, grain size analyses (?) |  | 10 | 6000 | samples only
WET Labs | ECO FLNTU | MBCCE_MS4_FLNTU10m_20160408 |  | WL-30007 | Optical backscatter and fluorescence | 5 min | 10 |  | 1MB
Sonardyne | HOMER 80
Teldyne Benthos | acoustic release |  |  | 10?36 | release |  | 8

## MS5_1500m
MS5
Institute | OUC
Individuals Responsible | Xu
depth (m) | 1445
lat | 36.7155
long | -122.0129
Note: the sediment traps switched positions this deployment, the CT ended up at 74 m and the homer at 11 mab
2016 deployment | 2016-04-08
ship | R/V Carson
HOMER | 63 @10mab
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurment Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20160408 |  | 54146 | turbidity | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 200 | 3000
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20160408 |  | 54147 | turbidity | SAME | 100 | 3000
Seatech Engineering | CliST (Anderson Sediment Trap) | MBCCE_MS5_AST74m_20160408 |  | N/A | sample collection | 8 days interval; delay time 9 days from Oct 16 2015 GMT | 74 | 1500
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU74m_20160408 |  | 54149 | turbidity | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 74 | 3000
RBR | RBRduo C, T | MBCCE_MS5_CT74m_20160408 |  | 61610 | conductivity, temp | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec | 74 | 3000
RDI/Teledyne | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20160408 |  | 23079 | velocity profile | 30 sec. interval; 7 pings per ensemble | 65 | 3000
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU11m_20160408 |  | 54148 | turbidity | SAME | 11 | 3000
Seatech Engineering | CliST (Anderson Sediment Trap) | MBCCE_MS5_AST11m_20160408 |  | N/A | sample collection | 8 days interval; delay time 9 days from Oct 16 2015 GMT | 11 | 1500
Sonardyne | Homer 63 | N/A |  |  |  |  | 10
EdgeTech | PORT LF Acoustic Release | N/A |  | 49794; 49795 | N/A | N/A | 9 | 3000

## MS6_1800m
MS6
Institute | MBARI
Individuals Responsible | Lovera, Barry Group, Gwiazda
depth (m) | -1826
lat | 36.7019
long | -122.0894
2016 deployment | 2016-04-18
ship | R/V Western Flyer
HOMER | 65 @4mab
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurment Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Xeos |  | N/A |  | Channel 154.585 Mhz | Location Beacon
McLane | McLane Profiler | MBCCE_MS6_20160418 |  | 11720
Sonardyne | HOMER 65 | N/A |  |  |  |  | 4
Teledyne Benthos | Acoustic Release | N/A |  | 232578-004 |  |  | 4

## MS7_1900
MS7
Institute | MBARI
Individuals Responsible | Whaling, Buck - Barry group
depth (m) | 1849
lat | 36.7018
long | -122.0984
2016 deployment | 2016-04-20
ship | R/V Western Flyer
Sonardyne HOMER Pro | 74 @10mab
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurment Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Novatech | RF-700A1 | N/A |  | S01-256 | Radio Frequency Location Beacon | Channel 71 | 349
WET Labs | ECO FLNTU | MBCCE_MS7_FLNTU300m_20160420 |  | WL-30001 | Optical backscatter, fluorescence | 5 min | 300 |  | 1MB
Prime Focus | Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST300m_20160420 |  | NA | Mass Flux, del C13, del N15, CHN, grain size analyses (?) |  | 300 | 6000 | samples only
N/A | Anderson Sediment Trap | MBCCE_MS7_AST300m_20160420 |  | NA |  |  | 300
Teledyne RDI | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20160420 |  | WHS300-2025 | Current speed, direction, (backscatter) | 30 sec | 70 |  | 50MB
Prime Focus | Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST10m_20160420 |  | NA | Mass Flux, del C13, del N15, CHN, grain size analyses (?) |  | 10 | 6000 | samples only
N/A | Anderson Sed Trap | MBCCE_MS7_AST10m_20160420 |  | NA |  |  | 10
WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU10m_20160420 |  | WL-30002 | Optical backscatter, fluorescence | 5 min | 10 |  | 1MB
Sonardyne | HOMER 74 | N/A |  |  |  |  | 4
Teledyne Benthos | Acoustic Release | N/A |  | 1315 | release |  | 4

## BIN_1850m
BIN
Institute | MBARI
Individuals Responsible | Chaffey, O’Reilly, Parsons
depth (m) | ~1850
lat | 36.7018
long | -122.0939
2016 deployment | 2016-04-17
ship | R/V Western Flyer
HOMER | 96
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Manufacturer serial number | SSDS ID # | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
RDI/Teledyne | Workhorse 300 kHz ADCP | MBCCE_BIN_ADCP300_20160417 |  | 23119 | 1857 | current meter, pointing up | 10 sec
RDI/Teledyne | Workhorse 600 kHz ADCP | MBCCE_BIN_ADCP600_20160417 |  | 21053 | 1826 | current meter, pointing up | 10 sec
RDI/Teledyne | Workhorse 1200 kHz ADCP | MBCCE_BIN_ADCP1200_20160417 |  | 20662 | 1827 | current meter, pointing up | 10 sec
Nortek | Aquadopp 2000 kHz A6L | MBCCE_BIN_Aquadopp2000_20160417 |  | AQD 2053 | 1553 | current meter, pointing down | 10 sec
Seabird | Seabird SBE-19+ CTD (with transmisometer) | MBCCE_BIN_CTDOBSTrans_20160417 |  | 16P51851-6133 | 1688 | conductivity, temperature, pressure, optical backscatter, transmisivity | 2 sec
Aanderaa | Aanderaa Oxygen Optode | MBCCE_BIN_OX_20160417 |  | 980 | 1692 | oxygen concentration | 10 sec
Wetlabs | ECO Triplet Turbidity and Florescence Sensor | MBCCE_BIN_FLNTU_20160417 |  | WL-30005 | 1815 | optical backscatter and fluorescence | 10 sec
Teledyne Benthos | Acoustic Release | N/A |  |  |  | Deployment
Sonardyne | WMT (Wideband Mini Transponder) | N/A |  |  |  | Beacon on Acoustic Release gives position during deployment

## All Instruments
Instrument Brand | Instrument Model | Data File/ Sample Name | Serial Number | Meters above seafloor | Clock Initial Sync with GMT | Equiptment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
Seabird Electronics | Seabird SBE-16+ CTD | MBCCE_MS0_CTDOXFLOBS_20160408 | 4166 | 0
Wet Labs | ECO FLNTU RTD | MBCCE_MS0_FLNTU_20160408 | WL-30006 | 0 | 2016-04-06 14:00
Nortek | AWAC 600KHz | MBCCE_MS0_AWAC_20160408 | 5471 | 0 | 2016-04-08 |  |  |  |  | WPR0834 check serial #
Instrument Brand | Instrument Model | Data File/ Sample Name | Serial Number | Meters above seafloor | Clock Initial Sync with GMT | Equiptment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
SeaBird | SBE-39 | MBCCE_MS1_TD65m_20160404 | 128 | 65
RD Instruments | 300kHz WH | MBCCE_MS1_ADCP300_20160404 | 473 | 65
N/A | Anderson Sediment Trap | MBCCE_MS1_AST35_20160404 | N/A | 35
N/A | Anderson Sediment Trap | MBCCE_MS1_AST10_20160404 | N/A | 10
RBR | XR-420 with Seapoint | MBCCE_MS1_TU9m_20160404 | 10027 | 9
Seabird | SBE-37 | MBCCE_MS1_CT9m_20160404 | 5404 | 9
Instrument Brand | Instrument Model | Data File/ Sample Name | Serial Number | Meters above seafloor | Clock Initial Sync with GMT | Equiptment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20160407 | 13016 | 65
N/A | Anderson Sediment Trap | MBCCE_MS2_AST9m_20160407 | N/A | 9
RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20160407 | 10075 | 9
Seabird | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20160407 | 1700 | 9
Instrument Brand | Instrument Model | Data File/ Sample Name | Serial Number | Meters above seafloor | Clock Initial Sync with GMT | Equiptment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20160407 | 16330 | 65
N/A | Anderson Sediment Trap | MBCCE_MS3_AST9m_20160407 | N/A | 9
RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU9m_20160407 | 10750 | 9
Seabird | SBE-37 Microcat CTD | MBCCE_MS3_CT9m_20160407 | 769 | 9
Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20160407 | 1694 | 9
Instrument Brand | Instrument Model | Data File/ Sample Name | Serial Number | Meters above seafloor | Clock Initial Sync with GMT | Equiptment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
Teledyne RDI | 300KHz Workhorse Sentinel ADCP (dif serial # from Oct) | MBCCE_MS4_ADCP300_20160408 | WHS300-2024 | 70
N/A | Anderson Sediment Trap | MBCCE_MS4_AST10m_20160408 | N/A | 10
Prime Focus | Indented Rotating Sphere Sediment Trap (4) | MBCCE_MS4_IRSST10m_20160408 | N/A | 10
WET Labs | ECO FLNTU | MBCCE_MS4_FLNTU10m_20160408 | WL-30007 | 10 | 2016-04-06 19:00
Instrument Brand | Instrument Model | Data File/ Sample Name | Serial Number | Meters above seafloor | Clock Initial Sync with GMT | Equiptment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20160408 | 54146 | 200
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20160408 | 54147 | 100
Seatech Engineering | CliST (Anderson Sediment Trap) | MBCCE_MS5_AST74m_20160408 | N/A | 74
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU74m_20160408 | 54149 | 74
RBR | RBRduo C, T | MBCCE_MS5_CT74m_20160408 | 61610 | 74
RDI/Teledyne | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20160408 | 23079 | 65
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU11m_20160408 | 54148 | 11
Seatech Engineering | CliST (Anderson Sediment Trap) | MBCCE_MS5_AST11m_20160408 | N/A | 11
Instrument Brand | Instrument Model | Data File/ Sample Name | Serial Number | Meters above seafloor | Clock Initial Sync with GMT | Equiptment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
McLane | McLane Profiler | MBCCE_MS6_20160418 | 11720 | N/A
Instrument Brand | Instrument Model | Data File/ Sample Name | Serial Number | Meters above seafloor | Clock Initial Sync with GMT | Equiptment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
WET Labs | ECO FLNTU | MBCCE_MS7_FLNTU300m_20160420 | WL-30001 | 300
Prime Focus | Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST300m_20160420 | NA | 300
N/A | Anderson Sediment Trap | MBCCE_MS7_AST300m_20160420 | NA | 300
Teledyne RDI | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20160420 | WHS300-2025 | 70
Prime Focus | Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST10m_20160420 | NA | 10
N/A | Anderson Sed Trap | MBCCE_MS7_AST10m_20160420 | NA | 10
WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU10m_20160420 | WL-30002 | 10
Instrument Brand | Instrument Model | Data File/ Sample Name | Serial Number | Meters above seafloor | Clock Initial Sync with GMT | Equiptment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
RDI/Teledyne | Workhorse 300 kHz ADCP | MBCCE_BIN_ADCP300_20160417 | 23119 | 0 | 2016-04-14 22:50
RDI/Teledyne | Workhorse 600 kHz ADCP | MBCCE_BIN_ADCP600_20160417 | 21053 | 0 | 2016-04-14 22:52
RDI/Teledyne | Workhorse 1200 kHz ADCP | MBCCE_BIN_ADCP1200_20160417 | 20662 | 0 | 2016-04-14 22:46
Nortek | Aquadopp 2000 kHz A6L | MBCCE_BIN_Aquadopp2000_20160417 | AQD 2053 | 0 | 2016-04-04 23:54
Seabird | Seabird SBE-19+ CTD (with transmisometer) | MBCCE_BIN_CTDOBSTrans_20160417 | 16P51851-6133 | 0
Aanderaa | Aanderaa Oxygen Optode | MBCCE_BIN_OX_20160417 | 980 | 0
Wetlabs | ECO Triplet Turbidity and Florescence Sensor | MBCCE_BIN_FLNTU_20160417 | WL-30005 | 0 | 2016-04-06 17:13
| BIN system clock |  | Node 9 |  | 2016-04-14
| BIN realtime clock |  | Node 9 |  | 2016-04-14

## SedTraps
Trap | Sample Name | Meters above seafloor
Anderson Sediment Trap | MBCCE_MS1_AST10_20160404 | 10
Anderson Sediment Trap | MBCCE_MS1_AST35_20160404 | 35
Anderson Sediment Trap | MBCCE_MS2_AST9m_20160407 | 9
Anderson Sediment Trap | MBCCE_MS3_AST9m_20160407 | 9
Anderson Sediment Trap | MBCCE_MS4_AST10m_20160408 | 10
Indented Rotating Sphere Sediment Trap (4) | MBCCE_MS4_IRSST10m_20160408 | 10
CliST (Anderson Sediment Trap) | MBCCE_MS5_AST11m_20160408 | 10
CliST (Anderson Sediment Trap) | MBCCE_MS5_AST74m_20160408 | 70
Anderson Sed Trap | MBCCE_MS7_AST10m_20160420 | 10
Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST10m_20160420 | 10
Anderson Sediment Trap | MBCCE_MS7_AST300m_20160420 | 300
Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST300m_20160420 | 300