## MS1_300m
MS1
Institute | USGS
Individuals Responsible | Kurt Rosenburger
depth (m) | 286.7
lat | 36.7933
long | -121.8446
2015 MOB | 2015-10-02
2015 deployment | 2015-10-06
ship | R/V Carson
HOMER | 10 @ 9mab
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive | Serial Number | Measurment Types | Sample period | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Xeos | KILO Iridium Beacon | na |  |  | Location Beacon | N/A | 65 | 2000m | N/A
RBR | Virtuoso-Tu Turbitidy Sensor | MBCCE_MS1_TU65m_20151006 | y | 54170 | Suspended Sediment | 1 minute | 65 | 740m | 5mB
SeaBird | SBE-39 | MBCCE_MS1_TD65m_20151006 | y | 127 | Temp, Pressure | 3 minute | 65 | 500m | 3mB
RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS1_ADCP300_20151006 | y | 587 | Currents, Backscatter | 30 seconds | 65 | 500m | 768mB
| Anderson Sediment Trap | na | na | N/A | N/A |  | 35
RBR | Virtuoso-Tu Turbitidy Sensor | MBCCE_MS1_TU35m_20151006 | y | 54126 | Suspended Sediment | 1 minute | 35 | 740m | 5mB
| Anderson Sediment Trap | na | na | N/A | N/A |  | 10
Seabird | SBE-16+ CTD w/ Turbidity | MBCCE_MS1_OBSCTTrans9m_20151006 (CTTU?) | y | 4250 | Salinity, Temp, Suspended Sediment | 15 minute | 9 | 600m | 5mB
EofE | Echologger EA-400 Altimeter | MBCCE_MS1_Alt9m_20151006 | y | 41411012G | Altimetry, Acoustic Backscatter Profile | 10 minute | 9 | 1000m | 2GB
Nortek | Aquadopp | MBCCE_MS1_Aquadopp20000_20151006 | y | 1753 | Currents, Backscatter | 2 minute | 9 | 300m | 10mB
Teledyne Benthos | Acoustic Release | na |  | 29044 | N/A

## MS2_500m
MS2
Institute | NOC-Hull
Individuals Responsible | Kurt Rosenberger
depth (m) | 526.8
lat | 36.7883
long | -121.9034
2015 MOB | 2015-10-02
2015 deployment | 2015-10-05
ship | R/V Carson
HOMER | 20 @ 9mab
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive | Serial Number | Measurment Types | Sample period | Meters above seafloor | Max depth rating | Aprox. data file size/deployment | Notes
Xeos | Sable Iridium Beacon |  |  | 300034012391780 | Location Beacon | N/A | 75 | 5000m | N/A
RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20151005 | y | 13016 | Currents,Pressure, Backscatter | 30 seconds | 65 | 1000m | 768mB
| Anderson Sediment Trap | na | na | N/A | N/A |  | 9
RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20151005 | y | 10046 | Suspended Sediment | 15 minute | 9 | 2000m | 3mB | Logs CampbellSci OBS3+ S/N T8337
Seabird | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20151005 | y | 12354 | Salinity, Temperature,Pressure | 1 minute | 9 | 7000m | 3mB
Teledyne Benthos | Acoustic Release |  | na | 28620 | N/A

## MS3_800m
MS3
Institute | USGS
Individuals Responsible | Kurt Rosenberger
depth (m) | 831.4
lat | 36.765
long | -121.9697
2015 MOB | 2015-10-02
2015 deployment | 2015-10-05
ship | R/V Carson
HOMER | 30 @9mab
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive | Serial Number | Measurment Types | Sample period | Meters above seafloor | Max depth rating | Aprox. data file size/deployment | Notes
Xeos | Sable Iridium Beacon |  |  | 300034012397780 | Location Beacon | N/A | 78 | 5000m | N/A
RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20151005 | y | 16330 | Currents, Pressure, Backscatter | 30 seconds | 65 | 6000m | 768mB
| Anderson Sediment Trap | na |  | N/A | N/A |  | 9
RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU9m_20151005 | y | 10750 | Suspended Sediment | 10 min | 9 | 3000m | 1mB | Logs SeaTech Transmissometer S/N 264
Seabird | SBE-37 Microcat | MBCCE_MS3_CT9m_20151005 | y | 706 | Salinity, Temp | 1 min | 9 | 7000m | 5mB
Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20151005 | y | 1694 | Currents, Pressure, Backscatter | 2 min | 9 | 6000m | 10mB
Teledyne Benthos | Acoustic Release |  |  | 28619 | N/A

## MS4_1300m
MS4
Institute | MBARI
Individuals Responsible | Barry Group
depth (m) | 1285.8
lat | 36.7358
long | -122.0165
2015 MOB | 2015-10-02
2015 deployment | 2015-10-07
ship | R/V Carson
HOMER | 80 @ 10mab
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive | Serial Number | Measurment Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Novatech | Radio Frequency Location Beacon |  |  | Channel 72 |  |  | 74
Teledyne RDI | 300KHz Workhorse Sentinel ADCP | MBCCE_MS4_ADCP300_20151007 | n | WHS300-1859 | Current speed, direction, (backscatter) | 30 sec | 70 |  | 50MB
| Anderson Sediment Trap | na |  | N/A | N/A |  | 10 |  | N/A
Prime Focus | Indented Rotating Sphere Sediment Trap (4) | na |  | N/A | Mass Flux, del C13, del N15, CHN, grain size analyses (?) |  | 10 | 6000 | samples only
WET Labs | ECO FLNTU | MBCCE_MS4_Triplet10m_20151007 | n | WL-30007 | Turbidity and fluorescence | 5 min | 10 |  | 1MB
Teldyne Benthos | acoustic release | check name? |  | 10?36 | release |  | 8

## MS5_1500m
MS5
Institute | OUC
Individuals Responsible | Xu and OUC tech
depth (m) | 1448.9
lat | 36.715
long | -122.013
2015 MOB | 2015-10-19
2015 deployment | 2015-10-20 |  |  | anchor drop: 18:41 GMT
ship | R/V Carson
HOMER | 63 @70mab
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive | Serial Number | Measurment Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment | start time | stop time
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20151020_0130 | y | 54146 | turbidity | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 200 | 3000 |  | 1600, Oct. 20 2015 GMT | 1600, Apr. 30 2016 GMT
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20151020_0109 | y | 54147 | turbidity | SAME | 100 | 3000 |  | SAME | SAME
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU74m_20151020_0116 | y | 54148 | turbidity | SAME | 74 | 3000 |  | SAME | SAME
Seatech Engineering | CliST (Anderson Sediment Trap) | na |  | N/A | sample collection | 8 days interval; delay time 9 days from Oct 16 2015 GMT | 74 | 1500 |  | first disk drop approximately Oct. 25 2015
RDI/Teledyne | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20151020 | y | 23079 | velocity profile | 30 sec. interval; 7 pings per ensemble | 65 | 3000 |  | 1200, Oct. 20 2015 GMT
Seatech Engineering | CliST (Anderson Sediment Trap) | na |  | N/A | sample collection | 8 days interval; delay time 9 days from Oct 16 2015 GMT | 11 | 1500 |  | first disk drop approximately Oct. 25 2015
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU11m_20151020_0051 | y | 54149 | turbidity | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 11 | 3000 |  | 1600, Oct. 20 2015 GMT | 1600, Apr. 30 2016 GMT
RBR | RBRduo C, T | MBCCE_MS5_CT11m_20151020_0138 | y | 61610 | conductivity, temp | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec | 11 | 3000 |  | 1600, Oct. 20 2015 GMT | 1600, Apr. 30 2016 GMT
EdgeTech | PORT LF Acoustic Release | na |  | 49794; 49795 | N/A | N/A | 9 | 3000

## MS6_1800m
MS6
Institute | MBARI
Individuals Responsible | Lovera, Barry Group, Gwiazda
depth (m) | 1830.8
lat | 36.7028
long | -122.0907
2015 MOB | 2015-10-12
2015 deployment | 2015-10-15
ship | R/V Western Flyer
HOMER | 65 @4mab
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive | Serial Number | Measurment Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Xeos | XMB-11K Micro Beacon VHF | na |  |  | Location Beacon
McLane | McLane Profiler | MBCCE_MS6_20151015 | y | 11720
Teledyne Benthos | Acoustic Release | na |  | 232578-004

## MS7_1900
MS7
Institute | MBARI
Individuals Responsible | Whaling, Buck - Barry group
depth (m) | ~1900
lat | 36.7016
long | -122.0975
2015 MOB | 2015-10-26
2015 deployment | 2015-10-27
ship | R/V Western Flyer
Sonardyne HOMER Pro | 74 @10mab
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive | Serial Number | Measurment Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Xeos | Radio Frequency Location Beacon |  |  | Channel 154.585 Mhz | Location Beacon |  | 349
WET Labs | Triplet ECO FLNTU | MBCCE_MS7_Triplet300m_20151027 | n | WL-30002 | Optical backscatter, fluorescence | 5 min | 300 |  | 1MB
Prime Focus | Indented Rotating Sphere Sediment Trap | na |  | NA | Mass Flux, del C13, del N15, CHN, grain size analyses (?) |  | 300 | 6000 | samples only
| Anderson Sediment Trap | na |  | NA |  |  | 300
Teledyne RDI | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20151027 | y | WHS300-2025 | Current speed, direction, (backscatter) | 30 sec | 70 |  | 50MB
Prime Focus | Indented Rotating Sphere Sediment Trap | na |  | NA | Mass Flux, del C13, del N15, CHN, grain size analyses (?) |  | 10 | 6000 | samples only
| Anderson Sed Trap | na |  | NA |  |  | 10
WET Labs | Triplet ECO FLNTU | MBCCE_MS7_Triplet10m_20151027 | n | WL-30001 | Optical backscatter, fluorescence | 5 min | 10 |  | 1MB
Teledyne Benthos | Acoustic Release | check name |  | 1315 | release |  | 2

## BIN_1850m
BIN
Institute | MBARI
Individuals Responsible | Chaffey, O’Reilly, Parsons
depth (m) | ~1850
lat | 36.7018
long | -122.0939
2015 MOB | 2015-10-12
2015 deployment | 2015-10-13
ship | R/V Western Flyer
HOMER | 43
Instrument Brand | Instrument Model | Data File Name | Internal Data file on CCE_Archive | SIAM Data file on CCE_Archive | Manufacturer Serial Number | SSDS ID # | Manufacturer serial number Spare Bin | Spare BIN SSDS ID # | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
RDI/Teledyne | Workhorse 300 kHz ADCP | MBCCE_BIN_ADCP300_20151013 | y |  | 22697 | 1825 | 2024 | 1690 | current meter, pointing up | 10 sec
RDI/Teledyne | Workhorse 600 kHz ADCP | MBCCE_BIN_ADCP600_20151014 | y |  | 23102 | 1828 | 21053 |  | current meter, pointing up | 10 sec
RDI/Teledyne | Workhorse 1200 kHz ADCP | MBCCE_BIN_ADCP1200_20151015 | y |  | 20661 | 1827 | 20661 | 1827 | current meter, pointing up | 10 sec
Nortek | Aquadopp 2000 kHz A6L | MBCCE_BIN_Aquadopp2000_20151016 | y |  | 1995 | 1474 | 2053 | 1553 | current meter, pointing down | 10 sec
Seabird | Seabird SBE-16+ CTD (with transmisometer) | MBCCE_BIN_OBSCTTrans_20151017 (CTDTU?) | n |  | 16P41561-4952 | 1533 | 16P51851-6133 | 1688 | conductivity, temperature, pressure | 2 sec
Aanderaa | Aanderaa Oxygen Optode | MBCCE_BIN_O2_20151018 | n | Ask Mike to clarify | 677 | 1524 | 980 |  | oxygen concentration | 10 sec
Wetlabs | ECO Triplet Turbidity and Florescence Sensor | MBCCE_BIN_Triplet_20151019 | n |  | WL-30001 | 1535 | 30005 |  | optical backscatter and fluorescence | 10 sec
Teledyne Benthos | Acoustic Release | [6 empty] | Deployment
Sonardyne | WMT (Wideband Mini Transponder) | [6 empty] | Beacon on Acoustic Release gives position during deployment
check name?

## AMT_1
AMT1 (Master AMT)
Institute | MBARI
Individuals Responsible | Dave French
depth (m) | 301.9
lat | 36.7944
long | -121.848
2015 MOB | 2015-10-12
2015 deployment | 2015-10-13
ship | R/V Rachel Carson
HOMER | 37
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive | Serial Number | Measurment Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Sonardyne | AMT Beacon 8305 | MBCCE_AMT1_20151013 | only status check, no full download | 299037-001 |  | 45 min | 0 | 5000
Teledyne Benthos | 2 Acoustic Releases with Sonardyne WMT beacon for location

## AMT_2
AMT2
Institute | MBARI
Individuals Responsible | Dave French
depth (m) | 211.3
lat | 36.7937
long | -121.8517
2015 MOB | 2015-10-19
2015 deployment | 2015-10-21
ship | R/V Rachel Carson
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive | Serial Number | Measurment Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Sonardyne | AMT Beacon 8305 | MBCCE_AMT2_20151019_fulldownload160406152337 | y | 297280-001 |  | 45 min | 0 | 3000

## AMT_3
AMT3
Institute | MBARI
Individuals Responsible | Dave French
depth (m) | 242
lat | 36.7928
long | -121.8489
2015 MOB | 2015-10-19
2015 deployment | 2015-10-21
ship | R/V Rachel Carson
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive | Serial Number | Measurment Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Sonardyne | AMT Beacon 8305 | MBCCE_AMT3_20151019_fulldownload160406152903 | y | 297280-002 |  | 45 min | 0 | 3000

## WHS
Wave Height Sensor
Institute | MBARI
Individuals Responsible | Chris Lovera
depth (m) | 31
lat | 36.7518
long | -121.8387
2015 MOB | 2015-11-03
2015 deployment | 2015-11-04
ship | R/V Rachel Carson
HOMER | 22
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive | Serial Number | Measurment Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Seabird Electronics | Seabird SBE-16+ CTD |  |  | 4166 | C, T, D, FL, O2 | 10 min | 0 | 6000m
Wet Labs | ECO FLNTU RTD |  |  | 30006 | OBS, FL | 5 min | 0 | 6000m
Wet Labs | ECO FLNTU RTD |  |  | 30007 | OBS, FL | 5 min | 0 | 6000m
MBARI pH Data Logger | SeaFET prototype |  |  | 2 | pH | 10 min | 0 | 100m
MBARI pH Data Logger | SeaFET prototype |  |  | 3 | pH | 10 min | 0 | 100m
Nortek | AWAC 600KHz |  |  | 5471 | waves, currents | 120 min | 0 | 1000m