Documentation for CHKTMP

Program:  chktmp

Purpose:  Takes the output from CALSH5 for two separate calibration runs,

and compares the temperature values they generate.  Assuming

the calibration runs were done at much different points in time,

this shows the temperature drift of the thermistor pods over

that period of time.

History: Written by Bob Herlien, MBARI, March 1991.

Machine:  hp850.mbari.org

Archive file:  /usr/local/atlas/calsh5.tar

This utility is archived with calsh5, since it is closely

associated with it.

How to create:

cd /usr/local/atlas

tar xf calsh5.tar

make chktmp

Syntax:  chktmp file1 file2 countfile

"file1" and "file2" are the root file names of .coef files

produced by calsh5, and countfile is an input file that you

create, containing a list of sample "counts" from the ATLAS

controller

Inputs:  file1.coef file2.coef countfile

Output: to standard out (terminal) only.  Normally, you'll want to

redirect the output to a file, and print it.

For example, the command line:

chktmp cable01 cable47 counts

will take the calibration coefficients from files cable01.coef and

cable47.coef, and a list of values from file counts, and output the

corresponding temperature values for the two thermistor strings.

Input file formats

Example file: cable01.coef

103   21-Mar-91   .1033595E-02   .5500628E-03   .1894308E-05

104   21-Mar-91   .1055658E-02   .5430989E-03   .2126247E-05

105   21-Mar-91   .9781708E-03   .5671950E-03   .1563630E-05

106   21-Mar-91   .1030850E-02   .5510982E-03   .1879206E-05

107   21-Mar-91   .1053648E-02   .5441681E-03   .2060440E-05

108   21-Mar-91   .1010900E-02   .5577633E-03   .1735801E-05

109   21-Mar-91   .1074951E-02   .5381270E-03   .2221772E-05

110   21-Mar-91   .1092791E-02   .5319211E-03   .2415131E-05

111   21-Mar-91   .1087694E-02   .5332070E-03   .2360547E-05

112   21-Mar-91   .1087301E-02   .5330633E-03   .2334768E-05

This is the output of calsh5 for cable01.  Each line contains the pod

number, date the coefficients were calculated, and the A, B, and C

coefficients.

Example file: cable47.coef is similar to cable01.coef

Example file: counts

40df 45cd 4e01 5726 615c 6cca 798c 87b6 976b a8d5

This file tells chktmp to generate temperature comparisons at 10 temperatures,

and to use the corresponding hex value as the reference count.

Output format

cable01            cable47

Count  Resistance  Pod    Temp        Pod    Temp

16607   22421.61   103    5.96656    4703    5.98800

17869   20513.25   103    7.95706    4703    7.98157

19969   17968.39   103   10.96324    4703   10.99198

22310   15785.34   103   13.95315    4703   13.98560

24924   13899.67   103   16.93910    4703   16.97476

27850   12260.29   103   19.93415    4703   19.97255

31116   10834.01   103   22.93496    4703   22.97561

34742    9594.78   103   25.93118    4703   25.97358

38763    8514.74   103   28.92533    4703   28.96898

43221    7570.01   103   31.92218    4703   31.96661

16607   22421.61   104    5.12262    4704    5.17186

17869   20513.25   104    7.11953    4704    7.17256

19969   17968.39   104   10.13451    4704   10.19280

22310   15785.34   104   13.13210    4704   13.19508

24924   13899.67   104   16.12467    4704   16.19179

27850   12260.29   104   19.12530    4704   19.19602

31116   10834.01   104   22.13063    4704   22.20442

34742    9594.78   104   25.13030    4704   25.20661

38763    8514.74   104   28.12683    4704   28.20512

43221    7570.01   104   31.12502    4704   31.20475

16607   22421.61   105    6.60054    4705    6.69282

17869   20513.25   105    8.59559    4705    8.69263

19969   17968.39   105   11.61053    4705   11.71419

22310   15785.34   105   14.61141    4705   14.72096

24924   13899.67   105   17.61056    4705   17.72532

27850   12260.29   105   20.62111    4705   20.74039

31116   10834.01   105   23.63970    4705   23.76283

34742    9594.78   105   26.65593    4705   26.78222

38763    8514.74   105   29.67231    4705   29.80107

43221    7570.01   105   32.69367    4705   32.82421

16607   22421.61   106    5.92637    4706    5.97639

17869   20513.25   106    7.91685    4706    7.97002

19969   17968.39   106   10.92312    4706   10.98070

22310   15785.34   106   13.91322    4706   13.97481

24924   13899.67   106   16.89949    4706   16.96467

27850   12260.29   106   19.89497    4706   19.96337

31116   10834.01   106   22.89634    4706   22.96756

34742    9594.78   106   25.89322    4706   25.96688

38763    8514.74   106   28.88815    4706   28.96385

43221    7570.01   106   31.88590    4706   31.96324

16607   22421.61   107    5.33786    4707    5.39273

17869   20513.25   107    7.32987    4707    7.38916

19969   17968.39   107   10.33760    4707   10.40308

22310   15785.34   107   13.32817    4707   13.39922

24924   13899.67   107   16.31391    4707   16.38993

27850   12260.29   107   19.30788    4707   19.38828

31116   10834.01   107   22.30673    4707   22.39094

34742    9594.78   107   25.30011    4707   25.38753

38763    8514.74   107   28.29056    4707   28.38058

43221    7570.01   107   31.28283    4707   31.37489

16607   22421.61   108    6.14164    4708    6.26792

17869   20513.25   108    8.13091    4708    8.26149

19969   17968.39   108   11.13607    4708   11.27276

22310   15785.34   108   14.12595    4708   14.26825

24924   13899.67   108   17.11286    4708   17.26030

27850   12260.29   108   20.10986    4708   20.26199

31116   10834.01   108   23.11361    4708   23.26998

34742    9594.78   108   26.11375    4708   26.27390

38763    8514.74   108   29.11279    4708   29.27626

43221    7570.01   108   32.11552    4708   32.28185

16607   22421.61   109    4.69517    4709    4.80358

17869   20513.25   109    6.68716    4709    6.79882

19969   17968.39   109    9.69411    4709    9.81050

22310   15785.34   109   12.68302    4709   12.80387

24924   13899.67   109   15.66621    4709   15.79128

27850   12260.29   109   18.65674    4709   18.78579

31116   10834.01   109   21.65126    4709   21.78406

34742    9594.78   109   24.63943    4709   24.77574

38763    8514.74   109   27.62377    4709   27.76336

43221    7570.01   109   30.60906    4709   30.75168

16607   22421.61   110    4.17403    4710    4.24940

17869   20513.25   110    6.17262    4710    6.25261

19969   17968.39   110    9.18881    4710    9.27540

22310   15785.34   110   12.18602    4710   12.27873

24924   13899.67   110   15.17663    4710   15.27500

27850   12260.29   110   18.17373    4710   18.27732

31116   10834.01   110   21.17393    4710   21.28231

34742    9594.78   110   24.16691    4710   24.27962

38763    8514.74   110   27.15518    4710   27.27176

43221    7570.01   110   30.14353    4710   30.26354

16607   22421.61   111    4.48181    4711    4.57717

17869   20513.25   111    6.47946    4711    6.57965

19969   17968.39   111    9.49442    4711    9.60147

22310   15785.34   111   12.49063    4711   12.60400

24924   13899.67   111   15.48048    4711   15.59964

27850   12260.29   111   18.47703    4711   18.60149

31116   10834.01   111   21.47692    4711   21.60617

34742    9594.78   111   24.46981    4711   24.60333

38763    8514.74   111   27.45821    4711   27.59550

43221    7570.01   111   30.44692    4711   30.58746

16607   22421.61   112    4.72414    4712    4.75956

17869   20513.25   112    6.72046    4712    6.75947

19969   17968.39   112    9.73345    4712    9.77756

22310   15785.34   112   12.72775    4712   12.77655

24924   13899.67   112   15.71573    4712   15.76885

27850   12260.29   112   18.71044    4712   18.76753

31116   10834.01   112   21.70853    4712   21.76922

34742    9594.78   112   24.69966    4712   24.76358

38763    8514.74   112   27.68635    4712   27.75313

43221    7570.01   112   30.67339    4712   30.74265

For each count value and temperature pod, the output tells you what

temperature the two calibrations ("cable01" and "cable47") would yield.