OASIS3 Serial Port Numbering

	Logical Port Number(s)
	Physical Reference
	Use

	0
	Persistor Console Port
	OASIS User Console

	1
	TPU 1 (15, 14)
	Radio Port

	2
	TPU 2 (13, 12)
	ADCP

	3
	TPU 3 (11, 10)
	Unmuxed serial device

	4 - 10
	TPU 4 (9, 8)
	Muxed serial devices

	11 - 17
	TPU 5 (7, 6)
	         “

	18 - 24
	TPU 6 (5, 4)
	         “

	25 - 31
	TPU 7 (3, 2)
	         “

	
	
	


