Pre-Deployment:

- Disable the scheduled tasks for the redeployed platform. (both makeXnetCDF and makeXwebQC)

- Make sure that data from the previous deployment is saved in the realTime archived directory at least.

- Update cal_config excel file with a new row for the new deployment, with updated calibrations. For the waveglider the new deployment must be on the same row of the excel file on all sheets. For the OA moorings, M1 and OCSD I don’t believe this matters.

- For wavegliders only: run getVehicleStats_byYear_wgX.py

- Change deployments on the top of .py scripts (both makeXnetCDF and makeXwebQC)

- Delete all .csv files in the web directory (“Website Data” table below)

- Run makeXwebQC once to make sure it works

- Re-enable the scheduled tasks.

Post Deployment

- Fill in end time in cal_config excel file

- Run loadXdata python script to download the whole deployment.

- QC in matlab using the manual QC scripts in the QCCode directory

- Save a finished netCDF file using makeXNetCDF_X_QC.py

Network locations of important things:

Location of calibrations (all the following are Excel files):

Wavegliders: “\\atlas\WaveGlider\WG_cal_config”

OA1/OA2: “\\atlas\OA_Moorings\OA_cal_config”

M1: “\\atlas\Diatom\OMEGAS_pH_new\calibration&config\pCO2\M1_cal_config”

OCSD: “\\atlas\diatom\socal moorings\OCSD_cal_config”

|  | Website |
| --- | --- |
| M1 | http://dods.mbari.org/data/oasis/web/extern/bog/M1/ |
| OA1 | http://dods.mbari.org/data/oasis/web/extern/bog/oa_moorings/oa1/ |
| OA2 | http://dods.mbari.org/data/oasis/web/extern/bog/oa_moorings/oa2/ |
| wgTiny | http://dods.mbari.org/data/oasis/web/extern/bog/waveglider/wgTiny/ |
| OCSD | http://www3.mbari.org/bog/drifterdata/mbari42/dev/ |

|  | Website Data (Website csv's in csv folder) |
| --- | --- |
| M1 | \\atlas\oasis_users\web\extern\bog\M1\ |
| OA1 | \\atlas\oasis_users\web\extern\bog\oa_moorings\oa1\ |
| OA2 | \\atlas\oasis_users\web\extern\bog\oa_moorings\oa2\ |
| wgTiny | \\atlas\oasis_users\web\extern\bog\waveglider\wgTiny\ |
| OCSD | \\sirocco\wwwroot\bog\drifterdata\mbari42\dev\ |

|  | Archived Data | Raw Data |
| --- | --- | --- |
| M1 | \\atlas\OA_Moorings\deployment_data\M1 | \\atlas\oasis_coredata\deployments\m1 (and m1-slave1) |
| OA1 | \\atlas\OA_Moorings\deployment_data\OA1 | \\atlas\oasis_coredata\deployments\oa1 |
| OA2 | \\atlas\OA_Moorings\deployment_data\OA2 | \\atlas\oasis_coredata\deployments\oa2 |
| wgTiny | \\atlas\WaveGlider\deployment_data\wgTiny | Liquid robotics dataportal (LR login required) |
| OCSD | \\atlas\Diatom\socal moorings\deployment_data | \\Atlas\Tracking\drifters |