## Radio
Deployment | Location | tBeg | tEnd | OASIS Can | Radio | Radio IP | Comments
201104 | Terrace Point
201203 | Terrace Point
201304 | Terrace Point
201505 | Ano Nuevo | 2015-05-13T20:28:00Z | 2016-09-27T16:04:00Z |  | "OA2" | 134.89.45.24:20000 | ".72" written on radio can | JS inspected 12/2/2016, was labeled "OA RADIO 2" and IP 192.168.102.1, BLUE 468.9125. DataRadio by Calamp Viper400. Was found w/ no dessiccant, JS added.
201609 | Ano Nuevo | 2016-09-27T16:05:00Z | 2019-01-25T19:00:00Z | "OA2" | "OA RADIO 1" | 134.89.45.24:10000 | Drilled new bulkhead holes for VR2C and standard plug.
201812 | Ano Nuevo | 2019-01-25T21:00:00Z | 2020-07-16T16:00:00Z | "OA6" | "OA RADIO 3" | 134.89.45.24:30000
201912 | Ano Nuevo | 2020-08-13T18:10:00Z | 2022-10-28T00:00:00Z | "OA2" | "OA RADIO 1" | 134.89.45.24:10000
202309 | Ano Nuevo | 2023-08-28T15:00:00Z |  | "OA6" | "OA RADIO 2" | 134.89.45.24:20000

## CTD
Deployment | Location | tBeg | tEnd | Model | S/N | Comments
201104 | Terrace Point
201203 | Terrace Point
201304 | Terrace Point
201505 | Ano Nuevo | 2015-05-13T20:28:00Z | 2016-09-27T16:04:00Z | SBE37-SMP | 37SMP35635-3318 | Calibrated 2/2012. CW sent back for post-cal in Nov 2016.
201609 | Ano Nuevo | 2016-09-27T18:40:00Z | 2019-01-25T19:00:00Z | SBE-37SMP | 37SMP40327-4303 | Recovered from HOP OA1. Batteries were low. Replaced batteries 8/2/16. Tested in tank, data look good.
201812 | Ano Nuevo | 2019-01-25T21:00:00Z | 2020-07-16T16:00:00Z | SBE-37SMP | 37SMP40327-3937 | Damaged connector and conductivity cell--both fixed and calibrated on DEC20
201912 | Ano Nuevo | 2020-08-13T18:10:00Z | 2022-10-28T00:00:00Z | SBE-37SMP
202309 | Ano Nuevo | 2023-08-28T15:00:00Z | 2025-09-16T15:00:00Z | SBE-37SMP
202509 | Ano Nuevo | 2025-09-16T18:00:00Z |  | RBR concerto3

## CO2
Deployment | Location | tBeg | tEnd | Li-Cor S/N | System ID | Cal date | Cal file | Final pCO2 coefficients |  |  |  | Standard | Stnd cal date | Comments
201104 | Terrace Point |  |  |  | OA3 | xx/yy/2011 | soon_omega_08-11.xlsm | -22.4721 | 0.4665 | 1.093 | -0.0040903
201203 | Terrace Point
201304 | Terrace Point |  |  |  | OA2 | 4/2/2013 | 04-02-2013_Cal.xlsx | -11.5338 | 0.4636 | 1.0483 | -0.0027871
201505 | Ano Nuevo | 2015-05-12T10:28:00Z | 2016-09-27T16:04:00Z |  | OA6 | 4/23/2015 | 04-23-2015_OA6.cal | -25.2633 | 0.83015 | 1.0495 | -0.0019443 | None | N/A | Did not use a standard this deployment.
201609 | Ano Nuevo | 2016-09-27T18:40:00Z | 2019-01-25T19:00:00Z |  | OA2 | 8/17/2016 | 2016-08-17_OA2.cal | -1.8475 | 0.3633 | 1.0182 | -0.002 | 472.08 | 8/10/2016 | For T-cal, used 8.4 < T < 18.5 and 0 < xCO2 < 1000
201812 | Ano Nuevo | 2019-01-25T21:00:00Z | 2020-07-16T16:00:00Z |  | OA6 | 12/6/2018 | 2018-12-06_OA6.cal | -37.3486 | 1.699 | 1.0569 | -0.0024 | 485.66 | 1/2019
201912 | Ano Nuevo | 2020-08-13T18:10:00Z | 2021-04-01T18:10:00Z |  | OA2 | 11/5/2019 | 2019-11-05_OA2.cal | -0.0939 | 0.5944 | 1.0271 | -0.0016 | 483.8 | 6/2020 | 10<xCO2<900, all T (9 - 21.3C) , rmse < 1
201912 | Ano Nuevo | 2021-04-01T20:10:00Z |  |  | OA5 | 11/13/2020 | 2020-11-13_OA5.cal | -33.3843 | 1.6194 | 0.9868 | 0.0018 | 442.3 | 3/22/2021 | controller changed due to bad CF card? New coeffs taking CO2<900, rmse 1.6756. new co2 tank std#1
202309 | Ano Nuevo | 2023-08-28T15:00:00Z | 2025-09-16T15:00:00Z |  | OA6 |  |  | 0 | 0 | 1 | 0 | 439.6 | 7/18/2023
202509 | Ano Nuevo | 2025-09-16T18:00:00Z |  |  | OA2 |  |  | 1.3605 | 0.88238 | 1.0692 | -0.0029005 | 438.2 | 2025-09-04 | Licor from OB11

## pH
Deployment | Location | tBeg | tEnd | Logger Board | Cap Adapter | Electrode | Housing | Cal date | Batch # | pH of stnd | Vout | Final pH coefficients |  | R | F
[12 empty] | Ts | E0 | 8.3145 | 96487
201104 | Terrace Point | 2011-04-11T00:00:00Z | 2011-08-30T00:00:00Z |  |  |  | M2 | 2011-04-06 | 99 | 7.972 | 0.0498 | 294.65 | -0.41628
201104 | Terrace Point | 2011-08-30T00:00:00Z | 2011-11-16T00:00:00Z |  |  |  | M4 | 2011-08-29 | 111 | 7.9 | 0.03215 | 293.09 | -0.42727
201203 | Terrace Point | 2012-03-13T00:00:00Z | 2012-08-14T00:00:00Z |  |  |  | M4 | 2012-03-21 | 111 | 7.895 | 0.03129 | 293.39 | -0.42831
201203 | Terrace Point | 2012-08-14T00:00:00Z | 2012-12-18T00:00:00Z | N44925 | Y189862900009 | 1222Y200000014041 |  | 2012-08-13 |  |  |  | 293.55 | -0.37568 | internally-logged
201304 | Terrace Point | 2013-04-23T00:00:00Z | 2013-11-07T00:00:00Z |  |  |  | M6 | 2013-04-22 | 126 | 8.159 | 0.08576 | 283.44 | -0.3731
201505 | Ano Nuevo | 2015-05-13T20:28:00Z | 2016-01-26T17:35:00Z | N/A | 1116Y191310800001 | 1511Y200000064477 | M3 | 2016-05-03 | 152 | 7.935 | 0.11061 | 293.74 | -0.35184 | All new parts. Original cal [5/6/2016; -0.332385, 278.67] did not agree as well with pCO2w as post-cal. Using post-cal.
201505 | Ano Nuevo | 2016-01-26T17:35:00Z | 2016-09-27T16:04:00Z | N/A | Y200000013918 | 1507Y200000062026 | M5 | 2016-01-14 | 144(2) | 7.932 | 0.07437 | 294.17 | -0.38861
201609 | Ano Nuevo | 2016-09-27T18:40:00Z | 2019-01-25T19:00:00Z | N/A | 1116Y191310800001 | 1511Y20000006447 | M8 | 8/23/2016 | 156 | 7.902 | 0.10607 | 294.33 | -0.35541 | Drilled new bulkhead plug hole in M8 can. Can has a ding in its side from a previous bottom-cluster deployment.
201812 | Ano Nuevo | 2019-01-25T21:00:00Z | 2020-07-16T16:00:00Z |  |  | 1507Y200000068233 | SC4 | 2018-12-20 | 177 | 7.815 | 0.05711 | 292.94 | -0.39714
201912 | Ano Nuevo | 2020-08-13T18:10:00Z |  |  |  | 1807Y200000082431 | No name | 25/11/2019 | 185 | 7.9408 | 0.05399 | 292.718 | -0.40723 | old style screw on cap
202309 | Ano Nuevo | 2023-08-28T15:00:00Z | 2025-09-16T15:00:00Z |  |  |  | SC4 | 2023-07-18 | TRIS4 | 7.3699 | 0.02239 | 291.5519 | -0.40396
202509 | Ano Nuevo | 2025-09-16T18:00:00Z |  |  |  | 2135Y200000094163 | SC8 | 2025-07-16 | "JUNK"crm | 7.93 | 0.08935 | 291.2728 | -0.36896

## O2
Deployment | Location | tBeg | tEnd | Model | S/N | Foil Batch | Cal date | Term1 | Term2 | Comments
201104 | Terrace Point
201203 | Terrace Point
201304 | Terrace Point
201505 | Ano Nuevo | 5/13/2015 20:28 | 9/27/2016 16:04 | 4330A | 588
201609 | Ano Nuevo | 2016-09-27T18:40:00Z | 2019-01-25T19:00:00Z | 4330 | 444 | 1206
201812 | Ano Nuevo | 2019-01-25T21:00:00Z | 2020-07-16T16:00:00Z | [6 empty] | New Foil, same batch as OA1.
201912 | Ano Nuevo | 2020-08-13T18:10:00Z
202309 | Ano Nuevo | 2023-08-28T15:00:00Z | 2025-09-16T15:00:00Z | [6 empty] | Ask Jules?
202509 | Ano Nuevo | 2025-09-16T18:00:00Z |  | 4330

## Fluor
Deployment | Location | tBeg | tEnd | S/N | Cal date | CWO | SF | Comments
201104 | Terrace Point
201203 | Terrace Point
201304 | Terrace Point
201505 | Ano Nuevo | 2015-05-13T20:28:00Z | 2016-09-27T16:04:00Z | WS3S-441P | 10/27/2009 | 0.058 | 15 | Flow-through, old connector type.
201609 | Ano Nuevo | 2016-09-27T18:40:00Z | 2019-01-25T19:00:00Z | WS3S-555P | 11/7/2006 | 0.056 | 15.4 | Taken from OA1. Has poison inline. Calibration is way overdue.
201812 | Ano Nuevo | 2019-01-25T21:00:00Z | 2020-07-16T16:00:00Z | WS3S-014P | 6/24/2016 | 0.072 | 8 | updated after deployment
201912 | Ano Nuevo | 2020-08-13T18:10:00Z |  | WS3S-555P | 11/7/2006 | 0.056 | 15.4 | Old values, same serial number. Assume no factory cal unless known. Doesn't matter bc we want relative fluorescence anyways -- tested and responds to fluor strip
202309 | Ano Nuevo | 2023-08-28T15:00:00Z | 2025-09-16T15:00:00Z |  |  | 0.056 | 15.4 | "
202509 | Ano Nuevo | 2025-09-16T18:00:00Z |  |  |  | 0.056 | 15.4 | "

## MET
Deployment | Location | tBeg | tEnd | Model | S/N | Air Temp cal date | Air Temp slope | Air Temp int | Comments
201104 | Terrace Point
201203 | Terrace Point
201304 | Terrace Point
201505 | Ano Nuevo | 2015-05-13T20:28:00Z | 2016-01-26T17:35:00Z | [5 empty] | Flooded, fuse on OA controller blown.
201505 | Ano Nuevo | 2016-01-26T17:35:00Z | 2016-09-27T16:04:00Z | [5 empty] | Never reported any data
201609 | Ano Nuevo | 2016-09-27T18:40:00Z | 2017-09-27T17:50:00Z | 200-WX | 3445944 |  |  |  | Air T eventually went bad
201609 | Ano Nuevo | 2017-09-27T21:00:00Z | 2019-01-25T19:00:00Z | 200-WX | 3445949
201812 | Ano Nuevo | 2019-01-25T21:00:00Z | 2020-07-16T16:00:00Z |  |  |  | 0.3401 | 9.4422 | used same as OA1 to get T to plot, need update
201912 | Ano Nuevo | 2020-08-13T18:10:00Z |  | 200-WX | 4197256 | 8/2020 | 0.5177 | 6.5327 | cal over 3 months of parking lot data (longest to date)
202309 | Ano Nuevo | 2023-08-28T15:00:00Z | 2025-09-16T15:00:00Z |  |  |  | 1 | 0
202509 | Ano Nuevo | 2025-09-16T18:00:00Z |  |  |  |  | 1 | 0 | new unit

## VR2C
Deployment | Location | tBeg | tEnd | Model | S/N | Frequency | Comments
201104 | Terrace Point
201203 | Terrace Point
201304 | Terrace Point
201505 | Ano Nuevo |  |  | VR2C | 450151 | 69 kHz
201609 | Ano Nuevo | 2016-09-27T18:40:00Z | 2019-01-25T19:00:00Z | VR2C | 450057 | 69 kHz
201812 | Ano Nuevo | 2019-01-25T21:00:00Z | 2020-07-16T16:00:00Z | VR2C | 450093 | 69 kHz
201912 | Ano Nuevo | 2020-08-13T18:10:00Z |  | VR2C | 450057 | 69 kHz
202309 | Ano Nuevo | 2023-08-28T15:00:00Z | 2025-09-16T15:00:00Z | VR2C | 450057 | 69 kHz
202509 | Ano Nuevo | 2025-09-16T18:00:00Z |  | VR2C | 450093 | 69 kHz | might be 4500151