## Sheet1
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE
Sample Name | Sample source type | Sample bulk lot ref | SOP Name | Operator name | Measurement date and time | Analysis date and time | Particle name | Particle refractive index | Particle absorption index | Dispersant name | Dispersant refractive index | Accessory name | Analysis model | Start result channel size | Last result channel size | Result emulation | Obscuration | Residual | Concentration | Span | Result transform type | D [4, 3] - Volume weighted mean | Uniformity | Specific surface area | D [3, 2] - Surface weighted mean | d (0.1) | d (0.5) | d (0.9) | Result Between User Sizes (Sizes in um) | [100 empty] | Operator Notes
[29 empty] | 0.01 | 0.011482 | 0.013183 | 0.015136 | 0.017378 | 0.019953 | 0.022909 | 0.026303 | 0.0302 | 0.034674 | 0.039811 | 0.045709 | 0.052481 | 0.060256 | 0.069183 | 0.079433 | 0.091201 | 0.10471 | 0.12023 | 0.13804 | 0.15849 | 0.18197 | 0.20893 | 0.23988 | 0.27542 | 0.31623 | 0.36308 | 0.41687 | 0.47863 | 0.54954 | 0.63096 | 0.72444 | 0.83176 | 0.95499 | 1.0965 | 1.2589 | 1.4454 | 1.6596 | 1.9055 | 2.1878 | 2.5119 | 2.884 | 3.3113 | 3.8019 | 4.3652 | 5.0119 | 5.7544 | 6.6069 | 7.5858 | 8.7096 | 10 | 11.4815 | 13.1826 | 15.1356 | 17.378 | 19.9526 | 22.9087 | 26.3027 | 30.1995 | 34.6737 | 39.8107 | 45.7088 | 52.4807 | 60.256 | 69.1831 | 79.4328 | 91.2011 | 104.7129 | 120.2264 | 138.0384 | 158.4893 | 181.9701 | 208.9296 | 239.8833 | 275.4229 | 316.2278 | 363.0781 | 416.8694 | 478.6301 | 549.5409 | 630.9573 | 724.436 | 831.7638 | 954.9926 | 1096.4782 | 1258.9254 | 1445.4398 | 1659.5869 | 1905.4607 | 2187.7616 | 2511.8864 | 2884.0315 | 3311.3112 | 3801.894 | 4365.1583 | 5011.8723 | 5754.3994 | 6606.9345 | 7585.7757 | 8709.6359 | 10000
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_0-1cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 09:48 | 2017-08-18 09:48 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 8.52 | 0.825 | 0.0312 | 2.162 | Volume | 108.341 | 0.646 | 0.221 | 27.163 | 13.372 | 95.077 | 218.974 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.036334 | 0.077632 | 0.094903 | 0.10802 | 0.12151 | 0.14029 | 0.16898 | 0.2085 | 0.25536 | 0.30498 | 0.35457 | 0.40422 | 0.45566 | 0.51075 | 0.57176 | 0.63874 | 0.71317 | 0.79233 | 0.87467 | 0.95301 | 1.0235 | 1.0776 | 1.1134 | 1.1312 | 1.1405 | 1.1598 | 1.2179 | 1.3501 | 1.5961 | 1.9869 | 2.5415 | 3.2537 | 4.0871 | 4.983 | 5.8489 | 6.5993 | 7.134 | 7.3918 | 7.3301 | 6.9463 | 6.2885 | 5.4025 | 4.3996 | 3.3411 | 2.3183 | 1.4196 | 0.13245 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_0-1cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 09:49 | 2017-08-18 09:50 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 8.42 | 1.254 | 0.03 | 2.18 | Volume | 106.928 | 0.652 | 0.227 | 26.418 | 12.745 | 93.742 | 217.129 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.037235 | 0.079629 | 0.097445 | 0.11116 | 0.12531 | 0.14498 | 0.17492 | 0.21615 | 0.26513 | 0.31729 | 0.36976 | 0.42257 | 0.47732 | 0.53564 | 0.59964 | 0.66912 | 0.74548 | 0.82578 | 0.90849 | 0.98649 | 1.0561 | 1.1093 | 1.1444 | 1.1623 | 1.1729 | 1.1947 | 1.2565 | 1.3926 | 1.6419 | 2.0337 | 2.5857 | 3.2901 | 4.1099 | 4.9862 | 5.8284 | 6.5535 | 7.0654 | 7.3071 | 7.2397 | 6.8619 | 6.22 | 5.3548 | 4.3688 | 3.3132 | 2.2542 | 1.2748 | 0.1123 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_0-1cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 09:51 | 2017-08-18 09:51 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 8.36 | 0.879 | 0.029 | 2.193 | Volume | 105.728 | 0.657 | 0.233 | 25.786 | 12.241 | 92.599 | 215.337 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.038056 | 0.081497 | 0.099831 | 0.11407 | 0.12878 | 0.14929 | 0.18045 | 0.22334 | 0.27437 | 0.32883 | 0.38374 | 0.43902 | 0.49617 | 0.55675 | 0.62281 | 0.69408 | 0.77196 | 0.85352 | 0.93729 | 1.0162 | 1.0867 | 1.1408 | 1.1768 | 1.1957 | 1.2072 | 1.2296 | 1.2914 | 1.4265 | 1.6734 | 2.0612 | 2.6074 | 3.3045 | 4.116 | 4.9839 | 5.8182 | 6.5362 | 7.0415 | 7.2756 | 7.1984 | 6.8069 | 6.1477 | 5.2639 | 4.2631 | 3.2042 | 2.1862 | 1.2552 | 0.1117 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_0-1cm - Average | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 09:48 | 2017-08-18 09:48 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 8.43 | 0.986 | 0.0301 | 2.179 | Volume | 106.999 | 0.652 | 0.227 | 26.444 | 12.769 | 93.808 | 217.135 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.037208 | 0.079586 | 0.097393 | 0.11108 | 0.1252 | 0.14485 | 0.17478 | 0.216 | 0.26495 | 0.31703 | 0.36936 | 0.42194 | 0.47638 | 0.53438 | 0.59807 | 0.66731 | 0.74354 | 0.82388 | 0.90682 | 0.98524 | 1.0554 | 1.1092 | 1.1449 | 1.1631 | 1.1736 | 1.1947 | 1.2553 | 1.3898 | 1.6371 | 2.0273 | 2.5782 | 3.2828 | 4.1043 | 4.9844 | 5.8318 | 6.563 | 7.0803 | 7.3248 | 7.2561 | 6.8717 | 6.2187 | 5.3404 | 4.3438 | 3.2862 | 2.2529 | 1.3165 | 0.11882 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_1-2cm_SAND | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 10:03 | 2017-08-18 10:03 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.11 | 2.93 | 0.1097 | 1.352 | Volume | 152.925 | 0.417 | 0.0565 | 106.233 | 68.143 | 140.998 | 258.781 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.017071 | 0.090536 | 0.11385 | 0.14801 | 0.18603 | 0.21981 | 0.24249 | 0.24629 | 0.22784 | 0.19164 | 0.15277 | 0.14146 | 0.20225 | 0.39078 | 0.76806 | 1.387 | 2.2777 | 3.4414 | 4.8178 | 6.3228 | 7.7898 | 9.0721 | 9.9714 | 10.3641 | 10.1592 | 9.3428 | 8.0194 | 6.2997 | 4.3744 | 2.636 | 0.38546 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_1-2cm_SAND | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 10:05 | 2017-08-18 10:05 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 6.99 | 2.748 | 0.1067 | 1.356 | Volume | 152.912 | 0.418 | 0.057 | 105.282 | 67.879 | 140.993 | 259.017 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.018767 | 0.099229 | 0.12212 | 0.15697 | 0.196 | 0.23123 | 0.25579 | 0.2616 | 0.24498 | 0.20983 | 0.17068 | 0.15721 | 0.21367 | 0.39583 | 0.76522 | 1.3758 | 2.2589 | 3.4172 | 4.7913 | 6.2973 | 7.768 | 9.0555 | 9.9599 | 10.356 | 10.1515 | 9.3329 | 8.0064 | 6.2863 | 4.3675 | 2.6445 | 0.42055 | 0.01111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_1-2cm_SAND | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 10:06 | 2017-08-18 10:06 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 6.93 | 2.686 | 0.1033 | 1.364 | Volume | 152.708 | 0.421 | 0.0582 | 103.055 | 67.412 | 140.712 | 259.277 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.022236 | 0.089861 | 0.10042 | 0.12949 | 0.16535 | 0.20489 | 0.24032 | 0.26468 | 0.26983 | 0.25212 | 0.21557 | 0.1749 | 0.16011 | 0.21577 | 0.39792 | 0.76819 | 1.3804 | 2.2651 | 3.4244 | 4.7976 | 6.2997 | 7.7634 | 9.0408 | 9.9332 | 10.3174 | 10.1044 | 9.2835 | 7.9628 | 6.257 | 4.3591 | 2.6558 | 0.46031 | 0.023533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_1-2cm_SAND - Average | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 10:03 | 2017-08-18 10:03 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.01 | 2.788 | 0.1066 | 1.357 | Volume | 152.848 | 0.419 | 0.0572 | 104.84 | 67.813 | 140.901 | 259.021 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049312 | 0.096727 | 0.12182 | 0.15678 | 0.19564 | 0.23045 | 0.25432 | 0.25924 | 0.24165 | 0.20568 | 0.16612 | 0.15293 | 0.21057 | 0.39485 | 0.76716 | 1.3811 | 2.2672 | 3.4276 | 4.8022 | 6.3066 | 7.7738 | 9.0561 | 9.9548 | 10.3458 | 10.1384 | 9.3197 | 7.9962 | 6.281 | 4.367 | 2.6454 | 0.42209 | 0.011567 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_1-2cm_MUD | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 10:17 | 2017-08-18 10:17 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 12.14 | 0.549 | 0.0247 | 3.03 | Volume | 68.617 | 0.954 | 0.396 | 15.166 | 6.032 | 50.914 | 160.298 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.053296 | 0.10849 | 0.15029 | 0.17769 | 0.21185 | 0.25908 | 0.32781 | 0.42002 | 0.52965 | 0.64889 | 0.77214 | 0.89792 | 1.0269 | 1.1592 | 1.2967 | 1.4373 | 1.5833 | 1.73 | 1.8779 | 2.0187 | 2.1513 | 2.2667 | 2.3657 | 2.4474 | 2.5214 | 2.6001 | 2.7047 | 2.8558 | 3.0748 | 3.3711 | 3.7414 | 4.162 | 4.589 | 4.9674 | 5.2334 | 5.3373 | 5.2467 | 4.9567 | 4.5016 | 3.9215 | 3.2978 | 2.6679 | 2.044 | 1.4071 | 0.83675 | 0.043298 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_1-2cm_MUD | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 10:18 | 2017-08-18 10:18 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 12.1 | 0.529 | 0.0245 | 3.115 | Volume | 70.412 | 0.989 | 0.397 | 15.114 | 5.981 | 51.022 | 164.898 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.053297 | 0.10847 | 0.15026 | 0.17775 | 0.21214 | 0.25979 | 0.32922 | 0.42244 | 0.53341 | 0.65435 | 0.77961 | 0.90759 | 1.0388 | 1.1732 | 1.3125 | 1.4542 | 1.6005 | 1.7465 | 1.8926 | 2.0304 | 2.159 | 2.2695 | 2.3632 | 2.4395 | 2.5084 | 2.5825 | 2.683 | 2.8303 | 3.0455 | 3.3373 | 3.7023 | 4.1164 | 4.5355 | 4.9053 | 5.1628 | 5.2591 | 5.1629 | 4.8694 | 4.4125 | 3.8322 | 3.208 | 2.5807 | 2.017 | 1.526 | 1.0336 | 0.57147 | 0.049529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_1-2cm_MUD | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 10:19 | 2017-08-18 10:19 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 12.04 | 0.547 | 0.0241 | 3.177 | Volume | 70.009 | 1.01 | 0.402 | 14.919 | 5.877 | 50.083 | 164.996 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.052773 | 0.10789 | 0.15035 | 0.17847 | 0.21381 | 0.26282 | 0.3341 | 0.42977 | 0.54373 | 0.66809 | 0.79705 | 0.92878 | 1.0636 | 1.201 | 1.3427 | 1.4862 | 1.6332 | 1.7794 | 1.9251 | 2.0623 | 2.1903 | 2.3007 | 2.3946 | 2.4715 | 2.541 | 2.615 | 2.7136 | 2.8563 | 3.0633 | 3.3429 | 3.6918 | 4.0871 | 4.4868 | 4.8389 | 5.0831 | 5.1726 | 5.0767 | 4.7909 | 4.3474 | 3.7844 | 3.1779 | 2.5668 | 2.0154 | 1.5322 | 1.0462 | 0.59803 | 0.053224 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_1-2cm_MUD - Average | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 10:17 | 2017-08-18 10:17 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 12.1 | 0.541 | 0.0244 | 3.106 | Volume | 69.679 | 0.984 | 0.398 | 15.065 | 5.962 | 50.675 | 163.34 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.053122 | 0.10829 | 0.1503 | 0.17797 | 0.2126 | 0.26056 | 0.33038 | 0.42407 | 0.53559 | 0.65711 | 0.78293 | 0.91143 | 1.0431 | 1.1778 | 1.3173 | 1.4592 | 1.6057 | 1.752 | 1.8986 | 2.0372 | 2.1669 | 2.2789 | 2.3745 | 2.4528 | 2.5236 | 2.5992 | 2.7004 | 2.8475 | 3.0612 | 3.3504 | 3.7118 | 4.1218 | 4.5371 | 4.9039 | 5.1598 | 5.2563 | 5.1621 | 4.8723 | 4.4205 | 3.846 | 3.228 | 2.6049 | 2.0255 | 1.4899 | 0.96141 | 0.41958 | 0.028324 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_2-3cm_SAND | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 10:32 | 2017-08-18 10:32 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.24 | 3.619 | 0.1496 | 1.212 | Volume | 171.634 | 0.374 | 0.0426 | 140.961 | 85.618 | 158.794 | 278.007 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010921 | 0.15011 | 0.47753 | 1.119 | 2.132 | 3.5132 | 5.2001 | 7.021 | 8.7948 | 10.2452 | 11.1773 | 11.4046 | 10.8658 | 9.6261 | 7.8067 | 5.6694 | 3.4742 | 1.2453 | 0.066584 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_2-3cm_SAND | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 10:33 | 2017-08-18 10:33 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.16 | 3.749 | 0.1483 | 1.213 | Volume | 172.269 | 0.374 | 0.0424 | 141.364 | 85.777 | 159.404 | 279.132 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011457 | 0.15596 | 0.47827 | 1.1121 | 2.1142 | 3.482 | 5.1548 | 6.9641 | 8.7323 | 10.1866 | 11.1341 | 11.3869 | 10.8803 | 9.6719 | 7.8754 | 5.7461 | 3.536 | 1.3014 | 0.076206 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_2-3cm_SAND | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 10:34 | 2017-08-18 10:34 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.05 | 3.538 | 0.1217 | 1.258 | Volume | 170.606 | 0.393 | 0.0505 | 118.797 | 80.911 | 159.354 | 281.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010362 | 0.089694 | 0.11864 | 0.16763 | 0.22729 | 0.29049 | 0.34251 | 0.36956 | 0.35829 | 0.3035 | 0.21513 | 0.12196 | 0.077272 | 0.15469 | 0.44028 | 1.0151 | 1.9398 | 3.2148 | 4.7987 | 6.5391 | 8.2746 | 9.7428 | 10.7529 | 11.1059 | 10.7223 | 9.6335 | 7.9353 | 5.8656 | 3.6694 | 1.4107 | 0.092195 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_2-3cm_SAND - Average | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 10:32 | 2017-08-18 10:32 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.15 | 3.635 | 0.1399 | 1.226 | Volume | 171.503 | 0.38 | 0.0452 | 132.827 | 84.222 | 159.182 | 279.455 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.033574 | 0.039324 | 0.056011 | 0.075534 | 0.096964 | 0.11413 | 0.12317 | 0.11954 | 0.10079 | 0.072839 | 0.037623 | 0.033024 | 0.15717 | 0.46482 | 1.0809 | 2.0627 | 3.403 | 5.0513 | 6.8414 | 8.6006 | 10.0582 | 11.0214 | 11.2991 | 10.8228 | 9.6438 | 7.8725 | 5.7604 | 3.5599 | 1.3192 | 0.078328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_2-3cm_MUD/SAND | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 10:45 | 2017-08-18 10:45 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 8.39 | 0.601 | 0.0253 | 2.347 | Volume | 100.457 | 0.715 | 0.266 | 22.586 | 9.948 | 86.198 | 212.243 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.039852 | 0.087504 | 0.10902 | 0.12757 | 0.14715 | 0.17474 | 0.21532 | 0.26999 | 0.33419 | 0.40214 | 0.46997 | 0.53722 | 0.60537 | 0.67615 | 0.75209 | 0.8333 | 0.92205 | 1.0161 | 1.1151 | 1.212 | 1.3037 | 1.3806 | 1.4399 | 1.4791 | 1.5048 | 1.5311 | 1.5827 | 1.6908 | 1.8923 | 2.2175 | 2.6867 | 3.297 | 4.0174 | 4.7945 | 5.543 | 6.1824 | 6.6203 | 6.8007 | 6.6901 | 6.2922 | 5.6616 | 4.8464 | 3.9528 | 3.0346 | 2.1059 | 1.2851 | 0.11983 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_2-3cm_MUD/SAND | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 10:47 | 2017-08-18 10:47 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 8.34 | 0.555 | 0.0245 | 2.347 | Volume | 99.073 | 0.719 | 0.272 | 22.094 | 9.608 | 85.173 | 209.492 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.039961 | 0.088171 | 0.11022 | 0.1296 | 0.15013 | 0.1791 | 0.22151 | 0.27848 | 0.34534 | 0.4162 | 0.48705 | 0.55728 | 0.62826 | 0.70157 | 0.7797 | 0.86269 | 0.95286 | 1.048 | 1.148 | 1.2458 | 1.3384 | 1.4163 | 1.4767 | 1.5165 | 1.5423 | 1.5672 | 1.6155 | 1.7181 | 1.9119 | 2.2276 | 2.6863 | 3.2865 | 3.9984 | 4.7702 | 5.5176 | 6.1602 | 6.6045 | 6.7917 | 6.6843 | 6.282 | 5.6371 | 4.7965 | 3.8732 | 2.9444 | 2.0108 | 1.1532 | 0.10276 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_2-3cm_MUD/SAND | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 10:48 | 2017-08-18 10:48 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 8.31 | 0.9 | 0.0244 | 2.363 | Volume | 100.226 | 0.723 | 0.272 | 22.095 | 9.564 | 85.931 | 212.592 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.039761 | 0.087805 | 0.10982 | 0.12919 | 0.14977 | 0.1789 | 0.2216 | 0.27905 | 0.3466 | 0.41833 | 0.49014 | 0.56131 | 0.63311 | 0.70698 | 0.78534 | 0.86813 | 0.95765 | 1.0517 | 1.1502 | 1.2465 | 1.3375 | 1.4138 | 1.4728 | 1.5115 | 1.5359 | 1.5591 | 1.6046 | 1.703 | 1.8907 | 2.1984 | 2.6473 | 3.2368 | 3.9382 | 4.7009 | 5.4426 | 6.0846 | 6.5351 | 6.7373 | 6.6539 | 6.2844 | 5.676 | 4.8718 | 3.9716 | 3.0266 | 2.1113 | 1.3179 | 0.1246 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_2-3cm_MUD/SAND - Average | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 10:45 | 2017-08-18 10:45 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 8.35 | 0.685 | 0.0247 | 2.352 | Volume | 99.918 | 0.719 | 0.27 | 22.256 | 9.704 | 85.767 | 211.433 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.039858 | 0.087827 | 0.10969 | 0.12879 | 0.14901 | 0.17758 | 0.21948 | 0.27584 | 0.34204 | 0.41222 | 0.48239 | 0.55193 | 0.62225 | 0.6949 | 0.77238 | 0.8547 | 0.94418 | 1.0386 | 1.1378 | 1.2347 | 1.3265 | 1.4036 | 1.4631 | 1.5024 | 1.5277 | 1.5525 | 1.6009 | 1.704 | 1.8983 | 2.2145 | 2.6735 | 3.2734 | 3.9847 | 4.7552 | 5.5011 | 6.1424 | 6.5867 | 6.7765 | 6.6761 | 6.2862 | 5.6582 | 4.8382 | 3.9325 | 3.0018 | 2.076 | 1.252 | 0.11573 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_3-4cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 11:01 | 2017-08-18 11:01 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.95 | 3.758 | 0.16 | 1.324 | Volume | 170.507 | 0.414 | 0.064 | 93.766 | 75.557 | 159.509 | 286.692 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.070175 | 0.086921 | 0.096192 | 0.097874 | 0.099546 | 0.098534 | 0.098844 | 0.10255 | 0.11266 | 0.13182 | 0.16046 | 0.19844 | 0.24076 | 0.28218 | 0.31288 | 0.32442 | 0.31015 | 0.27039 | 0.21762 | 0.17904 | 0.19974 | 0.33976 | 0.66707 | 1.244 | 2.1169 | 3.2825 | 4.7081 | 6.2683 | 7.8352 | 9.1895 | 10.1709 | 10.5955 | 10.3753 | 9.5013 | 8.0216 | 6.1173 | 3.9708 | 1.7519 | 0.15298 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_3-4cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 11:02 | 2017-08-18 11:02 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.89 | 3.785 | 0.1507 | 1.329 | Volume | 170.848 | 0.415 | 0.0665 | 90.262 | 75.283 | 159.905 | 287.738 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.062678 | 0.075999 | 0.089413 | 0.097562 | 0.10233 | 0.10337 | 0.10316 | 0.10364 | 0.10751 | 0.11759 | 0.13664 | 0.16515 | 0.20309 | 0.24559 | 0.28752 | 0.31913 | 0.33194 | 0.31909 | 0.28051 | 0.22807 | 0.18826 | 0.20546 | 0.33926 | 0.65757 | 1.2233 | 2.084 | 3.2381 | 4.6547 | 6.2101 | 7.7775 | 9.138 | 10.1308 | 10.5704 | 10.3679 | 9.5118 | 8.0494 | 6.1606 | 4.0192 | 1.8257 | 0.16776 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_3-4cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 11:03 | 2017-08-18 11:03 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.8 | 3.62 | 0.1475 | 1.333 | Volume | 171.017 | 0.417 | 0.0672 | 89.242 | 75.048 | 160.042 | 288.456 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064538 | 0.078152 | 0.091974 | 0.10053 | 0.10576 | 0.10728 | 0.10754 | 0.10848 | 0.11279 | 0.1233 | 0.14277 | 0.17172 | 0.21013 | 0.25315 | 0.29562 | 0.32771 | 0.34084 | 0.32798 | 0.28885 | 0.23516 | 0.1932 | 0.20734 | 0.33724 | 0.65104 | 1.212 | 2.0681 | 3.2181 | 4.6313 | 6.1845 | 7.7507 | 9.1111 | 10.1052 | 10.5474 | 10.3494 | 9.5 | 8.0475 | 6.1734 | 4.0468 | 1.8898 | 0.18154 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_3-4cm - Average | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 11:01 | 2017-08-18 11:01 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.88 | 3.721 | 0.1527 | 1.329 | Volume | 170.791 | 0.415 | 0.0659 | 91.049 | 75.302 | 159.818 | 287.63 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.042001 | 0.075399 | 0.089518 | 0.097585 | 0.10227 | 0.10331 | 0.10311 | 0.10365 | 0.10762 | 0.11785 | 0.13708 | 0.16577 | 0.20389 | 0.2465 | 0.28844 | 0.31991 | 0.3324 | 0.31907 | 0.27992 | 0.22695 | 0.18684 | 0.20418 | 0.33875 | 0.65856 | 1.2264 | 2.0897 | 3.2462 | 4.6647 | 6.2209 | 7.7878 | 9.1462 | 10.1357 | 10.5711 | 10.3642 | 9.5044 | 8.0395 | 6.1504 | 4.0123 | 1.8225 | 0.16743 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_4-5cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 11:16 | 2017-08-18 11:16 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.21 | 4.7 | 0.177 | 1.144 | Volume | 199.334 | 0.352 | 0.0359 | 167.092 | 103.345 | 186.3 | 316.501 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.22378 | 0.76742 | 1.6911 | 3.0624 | 4.7883 | 6.7595 | 8.7087 | 10.4113 | 11.556 | 11.9636 | 11.5148 | 10.223 | 8.2845 | 5.8376 | 3.5912 | 0.61671 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_4-5cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 11:17 | 2017-08-18 11:17 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.21 | 4.719 | 0.1766 | 1.141 | Volume | 198.627 | 0.351 | 0.036 | 166.702 | 103.24 | 185.677 | 315.176 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.21409 | 0.75964 | 1.695 | 3.0826 | 4.8274 | 6.8151 | 8.7741 | 10.476 | 11.608 | 11.9917 | 11.5123 | 10.1886 | 8.2294 | 5.7544 | 3.591 | 0.48066 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_4-5cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 11:18 | 2017-08-18 11:18 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.14 | 4.657 | 0.1762 | 1.143 | Volume | 200.336 | 0.351 | 0.0357 | 167.933 | 103.904 | 187.276 | 317.929 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.22209 | 0.74455 | 1.6439 | 2.9948 | 4.7067 | 6.6746 | 8.6336 | 10.3591 | 11.5361 | 11.9803 | 11.5643 | 10.2958 | 8.3671 | 5.9178 | 3.6604 | 0.69007 | 0.008508 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_4-5cm - Average | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 11:16 | 2017-08-18 11:16 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.19 | 4.692 | 0.1766 | 1.143 | Volume | 199.433 | 0.351 | 0.0359 | 167.241 | 103.493 | 186.417 | 316.529 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.21999 | 0.7572 | 1.6767 | 3.0466 | 4.7742 | 6.7497 | 8.7055 | 10.4155 | 11.5667 | 11.9785 | 11.5305 | 10.2359 | 8.2928 | 5.841 | 3.596 | 0.61335 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_5-6cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 11:31 | 2017-08-18 11:31 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 9.19 | 5.252 | 0.2513 | 1.06 | Volume | 214.646 | 0.328 | 0.0326 | 183.856 | 116.198 | 203.432 | 331.826 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17995 | 0.79738 | 1.8502 | 3.3703 | 5.3098 | 7.4606 | 9.6084 | 11.3788 | 12.5039 | 12.7033 | 11.8658 | 10.0734 | 7.3999 | 4.7108 | 0.78754 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_5-6cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 11:32 | 2017-08-18 11:32 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 9.11 | 5.065 | 0.2414 | 1.083 | Volume | 209.032 | 0.333 | 0.0336 | 178.385 | 112.536 | 196.691 | 325.523 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23026 | 0.96469 | 2.1643 | 3.8412 | 5.8976 | 8.0779 | 10.1345 | 11.6904 | 12.5018 | 12.3612 | 11.2315 | 9.2797 | 6.652 | 4.1325 | 0.81307 | 0.027461 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_5-6cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 11:33 | 2017-08-18 11:33 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 9.06 | 5.212 | 0.2399 | 1.082 | Volume | 208.969 | 0.333 | 0.0336 | 178.363 | 112.526 | 196.66 | 325.368 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.22533 | 0.96185 | 2.1673 | 3.8466 | 5.9034 | 8.0822 | 10.1366 | 11.6912 | 12.5031 | 12.364 | 11.2354 | 9.2828 | 6.6513 | 4.1273 | 0.7998 | 0.02192 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_5-6cm - Average | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 11:31 | 2017-08-18 11:31 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 9.12 | 5.176 | 0.2442 | 1.076 | Volume | 210.882 | 0.332 | 0.0333 | 180.165 | 113.679 | 198.913 | 327.705 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.21185 | 0.90797 | 2.0606 | 3.686 | 5.7036 | 7.8736 | 9.9598 | 11.5868 | 12.5029 | 12.4762 | 11.4442 | 9.5453 | 6.901 | 4.3235 | 0.80914 | 0.007458 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_6-7cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 11:46 | 2017-08-18 11:46 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.58 | 3.55 | 0.1116 | 1.468 | Volume | 174.926 | 0.451 | 0.0843 | 71.163 | 63.883 | 164.503 | 305.321 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006357 | 0.077023 | 0.09611 | 0.11942 | 0.14058 | 0.15877 | 0.17339 | 0.18511 | 0.19512 | 0.20467 | 0.21569 | 0.23004 | 0.24994 | 0.27584 | 0.30838 | 0.34465 | 0.38214 | 0.41476 | 0.43776 | 0.44672 | 0.4421 | 0.43166 | 0.43356 | 0.47816 | 0.60777 | 0.87243 | 1.3218 | 1.9989 | 2.9147 | 4.0627 | 5.3653 | 6.7407 | 8.0202 | 9.0736 | 9.719 | 9.8507 | 9.3957 | 8.3464 | 6.8268 | 4.8671 | 3.1391 | 0.42919 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_6-7cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 11:47 | 2017-08-18 11:47 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.44 | 3.658 | 0.1078 | 1.477 | Volume | 174.3 | 0.453 | 0.086 | 69.74 | 62.464 | 164.053 | 304.778 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006578 | 0.079673 | 0.099324 | 0.12344 | 0.14549 | 0.16467 | 0.18032 | 0.19308 | 0.20407 | 0.21448 | 0.2262 | 0.24101 | 0.26113 | 0.28701 | 0.31932 | 0.35527 | 0.39247 | 0.42506 | 0.44848 | 0.45848 | 0.45565 | 0.44765 | 0.45238 | 0.49962 | 0.63091 | 0.89538 | 1.3419 | 2.013 | 2.92 | 4.0572 | 5.3484 | 6.7138 | 7.9865 | 9.0372 | 9.6846 | 9.8216 | 9.3731 | 8.3288 | 6.8091 | 4.8465 | 3.0923 | 0.41893 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_6-7cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 11:49 | 2017-08-18 11:49 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.41 | 3.718 | 0.1069 | 1.479 | Volume | 174.918 | 0.453 | 0.0865 | 69.378 | 62.203 | 164.806 | 305.915 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006637 | 0.080418 | 0.10036 | 0.12485 | 0.14732 | 0.16695 | 0.18305 | 0.19623 | 0.20758 | 0.21823 | 0.23005 | 0.24483 | 0.26482 | 0.29056 | 0.32284 | 0.35903 | 0.39685 | 0.4305 | 0.45539 | 0.467 | 0.46549 | 0.45783 | 0.46114 | 0.50445 | 0.62876 | 0.88314 | 1.317 | 1.9741 | 2.8678 | 3.9946 | 5.2811 | 6.6492 | 7.9328 | 9.0022 | 9.6729 | 9.8352 | 9.4093 | 8.3823 | 6.8733 | 4.9102 | 3.1702 | 0.43351 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_6-7cm - Average | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 11:46 | 2017-08-18 11:46 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.48 | 3.642 | 0.1088 | 1.474 | Volume | 174.715 | 0.452 | 0.0856 | 70.085 | 62.867 | 164.454 | 305.34 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006524 | 0.079038 | 0.0986 | 0.12257 | 0.14446 | 0.16346 | 0.17892 | 0.19147 | 0.20225 | 0.21246 | 0.22398 | 0.23863 | 0.25863 | 0.28447 | 0.31685 | 0.35298 | 0.39049 | 0.42344 | 0.44721 | 0.4574 | 0.45442 | 0.44571 | 0.44903 | 0.49408 | 0.62248 | 0.88365 | 1.3269 | 1.9953 | 2.9008 | 4.0382 | 5.3316 | 6.7013 | 7.9798 | 9.0377 | 9.6922 | 9.8358 | 9.3927 | 8.3525 | 6.8364 | 4.8746 | 3.1339 | 0.42721 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_7-8cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 12:01 | 2017-08-18 12:01 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.46 | 4.04 | 0.0576 | 1.674 | Volume | 205.409 | 0.472 | 0.155 | 38.813 | 17.713 | 207.131 | 364.429 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.02006 | 0.074721 | 0.093444 | 0.12923 | 0.17289 | 0.22455 | 0.28099 | 0.33933 | 0.3974 | 0.45349 | 0.50568 | 0.55329 | 0.59486 | 0.63106 | 0.66216 | 0.69118 | 0.72055 | 0.75507 | 0.79766 | 0.85232 | 0.91752 | 0.99006 | 1.058 | 1.1058 | 1.1121 | 1.0563 | 0.92586 | 0.72333 | 0.47692 | 0.24588 | 0.11829 | 0.20407 | 0.6158 | 1.4296 | 2.6873 | 4.3045 | 6.1695 | 7.9967 | 9.5472 | 10.4874 | 10.6212 | 9.8429 | 8.2228 | 5.9141 | 3.6336 | 0.64318 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_7-8cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 12:02 | 2017-08-18 12:02 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.39 | 4.104 | 0.0557 | 1.686 | Volume | 203.415 | 0.478 | 0.159 | 37.772 | 16.875 | 205.266 | 362.97 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020987 | 0.077922 | 0.097078 | 0.13385 | 0.17878 | 0.23193 | 0.28998 | 0.34997 | 0.40969 | 0.46744 | 0.52129 | 0.57059 | 0.61387 | 0.65188 | 0.68487 | 0.7159 | 0.74729 | 0.78375 | 0.82794 | 0.8836 | 0.94887 | 1.0203 | 1.0858 | 1.13 | 1.1319 | 1.0719 | 0.93819 | 0.73467 | 0.49037 | 0.2648 | 0.14536 | 0.24014 | 0.65909 | 1.4752 | 2.7275 | 4.3303 | 6.1718 | 7.9693 | 9.4871 | 10.3979 | 10.51 | 9.7218 | 8.1042 | 5.8136 | 3.5475 | 0.62386 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_7-8cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 12:04 | 2017-08-18 12:04 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.39 | 4.149 | 0.0555 | 1.685 | Volume | 203.209 | 0.478 | 0.159 | 37.698 | 16.833 | 205.136 | 362.49 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.021019 | 0.07809 | 0.097352 | 0.13426 | 0.17932 | 0.23262 | 0.29085 | 0.35105 | 0.41097 | 0.46889 | 0.52285 | 0.57217 | 0.61538 | 0.6532 | 0.68593 | 0.71666 | 0.74778 | 0.78409 | 0.82831 | 0.88428 | 0.95013 | 1.0224 | 1.0889 | 1.134 | 1.1365 | 1.0766 | 0.94219 | 0.73709 | 0.49034 | 0.26175 | 0.13922 | 0.23162 | 0.64974 | 1.4673 | 2.7236 | 4.3325 | 6.1809 | 7.9842 | 9.505 | 10.4145 | 10.5208 | 9.7235 | 8.0941 | 5.7951 | 3.5104 | 0.61262 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_7-8cm - Average | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 12:01 | 2017-08-18 12:01 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.41 | 4.098 | 0.0563 | 1.682 | Volume | 204.011 | 0.476 | 0.158 | 38.088 | 17.132 | 205.849 | 363.302 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020689 | 0.076911 | 0.095958 | 0.13245 | 0.177 | 0.2297 | 0.28727 | 0.34679 | 0.40602 | 0.46327 | 0.51661 | 0.56535 | 0.60804 | 0.64538 | 0.67765 | 0.70791 | 0.73854 | 0.7743 | 0.81797 | 0.8734 | 0.93884 | 1.0109 | 1.0776 | 1.1233 | 1.1268 | 1.0683 | 0.93541 | 0.7317 | 0.48587 | 0.25748 | 0.13429 | 0.22528 | 0.64154 | 1.4574 | 2.7128 | 4.3225 | 6.1741 | 7.9834 | 9.5131 | 10.4332 | 10.5506 | 9.7627 | 8.1404 | 5.841 | 3.5638 | 0.62656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_8-9cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 12:15 | 2017-08-18 12:15 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.44 | 3.763 | 0.0448 | 1.631 | Volume | 216.66 | 0.446 | 0.127 | 47.248 | 23.593 | 215.83 | 375.612 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.015195 | 0.076455 | 0.096149 | 0.13178 | 0.17259 | 0.21841 | 0.26684 | 0.31598 | 0.36428 | 0.40976 | 0.45157 | 0.4882 | 0.52001 | 0.54712 | 0.57219 | 0.5976 | 0.62796 | 0.6664 | 0.717 | 0.77865 | 0.84851 | 0.91512 | 0.96327 | 0.97178 | 0.92016 | 0.79552 | 0.59982 | 0.36113 | 0.13982 | 0.005531 | 0.10551 | 0.54173 | 1.3702 | 2.6528 | 4.3023 | 6.2111 | 8.0929 | 9.7111 | 10.7285 | 10.9478 | 10.2565 | 8.7055 | 6.493 | 4.0996 | 1.2267 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_8-9cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 12:16 | 2017-08-18 12:16 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.41 | 4.133 | 0.0436 | 1.626 | Volume | 214.047 | 0.445 | 0.13 | 46.269 | 22.808 | 213.985 | 370.816 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01555 | 0.078315 | 0.098619 | 0.13534 | 0.17742 | 0.22472 | 0.27477 | 0.32558 | 0.37551 | 0.42245 | 0.46545 | 0.5029 | 0.53513 | 0.56222 | 0.58695 | 0.61182 | 0.64164 | 0.67976 | 0.7304 | 0.7925 | 0.86309 | 0.93038 | 0.9787 | 0.98635 | 0.93244 | 0.80391 | 0.60318 | 0.35899 | 0.13247 | 0.004877 | 0.10174 | 0.54236 | 1.3856 | 2.6867 | 4.3579 | 6.2873 | 8.1836 | 9.8046 | 10.8085 | 10.9942 | 10.247 | 8.6414 | 6.2964 | 4.0728 | 0.75872 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_8-9cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 12:17 | 2017-08-18 12:17 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.37 | 4.336 | 0.0428 | 1.633 | Volume | 215.823 | 0.448 | 0.132 | 45.619 | 22.237 | 215.99 | 375.032 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.016019 | 0.080509 | 0.10108 | 0.1383 | 0.18091 | 0.22883 | 0.27964 | 0.33146 | 0.38268 | 0.43117 | 0.4759 | 0.51511 | 0.54901 | 0.5774 | 0.60283 | 0.62755 | 0.65622 | 0.69224 | 0.73999 | 0.79901 | 0.86704 | 0.93328 | 0.98297 | 0.99502 | 0.94844 | 0.82923 | 0.63725 | 0.39834 | 0.17117 | 0.008258 | 0.095319 | 0.5023 | 1.2949 | 2.5467 | 4.1761 | 6.0824 | 7.9828 | 9.639 | 10.7048 | 10.9714 | 10.3089 | 8.7733 | 6.4935 | 4.2275 | 1.0097 | 0.014552 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_8-9cm - Average | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 12:15 | 2017-08-18 12:15 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 7.41 | 4.077 | 0.0437 | 1.63 | Volume | 215.51 | 0.446 | 0.129 | 46.369 | 22.871 | 215.262 | 373.835 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.015588 | 0.078426 | 0.098615 | 0.13514 | 0.17697 | 0.22398 | 0.27375 | 0.32434 | 0.37416 | 0.42113 | 0.46431 | 0.50207 | 0.53472 | 0.56225 | 0.58732 | 0.61232 | 0.64194 | 0.67947 | 0.72913 | 0.79005 | 0.85955 | 0.92626 | 0.97498 | 0.98438 | 0.93368 | 0.80956 | 0.61342 | 0.37282 | 0.14782 | 0.006222 | 0.10085 | 0.52879 | 1.3502 | 2.6287 | 4.2787 | 6.1936 | 8.0864 | 9.7182 | 10.7473 | 10.9712 | 10.2705 | 8.7082 | 6.4214 | 4.1565 | 0.98505 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_9-10cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 12:28 | 2017-08-18 12:28 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.23 | 3.194 | 0.0418 | 1.838 | Volume | 188.997 | 0.557 | 0.209 | 28.683 | 11.078 | 191.32 | 362.793 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.029743 | 0.085396 | 0.10312 | 0.13683 | 0.18154 | 0.23907 | 0.30641 | 0.37967 | 0.45539 | 0.53152 | 0.60686 | 0.67983 | 0.75029 | 0.81661 | 0.87993 | 0.93967 | 0.99864 | 1.0571 | 1.1186 | 1.183 | 1.2523 | 1.3227 | 1.39 | 1.4428 | 1.4675 | 1.4471 | 1.3659 | 1.2167 | 1.0058 | 0.76136 | 0.53731 | 0.41051 | 0.47474 | 0.82363 | 1.5182 | 2.5894 | 3.9619 | 5.539 | 7.0806 | 8.3888 | 9.1878 | 9.3179 | 8.6908 | 7.3644 | 5.4505 | 3.566 | 0.90357 | 0.043343 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_9-10cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 12:29 | 2017-08-18 12:30 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.17 | 3.18 | 0.0406 | 1.855 | Volume | 189.204 | 0.566 | 0.214 | 28.041 | 10.685 | 191.365 | 365.684 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.030511 | 0.087635 | 0.10587 | 0.14057 | 0.18655 | 0.24572 | 0.31499 | 0.39041 | 0.46848 | 0.54713 | 0.62513 | 0.70079 | 0.7739 | 0.84268 | 0.90818 | 0.96961 | 1.0296 | 1.0883 | 1.1492 | 1.212 | 1.279 | 1.3465 | 1.4108 | 1.4611 | 1.4845 | 1.4643 | 1.3852 | 1.2395 | 1.0323 | 0.78995 | 0.56427 | 0.4298 | 0.47871 | 0.80394 | 1.4682 | 2.5052 | 3.8452 | 5.397 | 6.9262 | 8.2387 | 9.0593 | 9.2263 | 8.648 | 7.3634 | 5.5367 | 3.542 | 1.2468 | 0.009858 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_9-10cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 12:31 | 2017-08-18 12:31 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.16 | 3.16 | 0.041 | 1.841 | Volume | 190.133 | 0.559 | 0.212 | 28.325 | 10.809 | 192.659 | 365.551 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.030017 | 0.08635 | 0.10448 | 0.13891 | 0.18445 | 0.24309 | 0.3118 | 0.38674 | 0.46444 | 0.54279 | 0.62048 | 0.69576 | 0.76832 | 0.83632 | 0.9007 | 0.96063 | 1.0187 | 1.0751 | 1.1333 | 1.1934 | 1.2576 | 1.3228 | 1.3854 | 1.4349 | 1.4583 | 1.439 | 1.3613 | 1.2171 | 1.011 | 0.76886 | 0.54217 | 0.40575 | 0.45268 | 0.77745 | 1.4447 | 2.4902 | 3.8452 | 5.4186 | 6.9731 | 8.3111 | 9.1513 | 9.3275 | 8.7447 | 7.442 | 5.5838 | 3.5552 | 1.1825 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_9-10cm - Average | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 12:28 | 2017-08-18 12:28 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 11.18 | 3.178 | 0.0411 | 1.845 | Volume | 189.445 | 0.561 | 0.212 | 28.347 | 10.855 | 191.782 | 364.694 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03009 | 0.08646 | 0.10449 | 0.13877 | 0.18418 | 0.24263 | 0.31106 | 0.38561 | 0.46277 | 0.54048 | 0.61749 | 0.69213 | 0.76417 | 0.83187 | 0.89627 | 0.95664 | 1.0157 | 1.0735 | 1.1337 | 1.1961 | 1.263 | 1.3306 | 1.3954 | 1.4463 | 1.4701 | 1.4501 | 1.3708 | 1.2245 | 1.0164 | 0.77339 | 0.54792 | 0.41536 | 0.46871 | 0.80168 | 1.477 | 2.5283 | 3.8841 | 5.4516 | 6.9933 | 8.3129 | 9.1328 | 9.2905 | 8.695 | 7.3876 | 5.5333 | 3.5184 | 1.1569 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_10-11cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 12:42 | 2017-08-18 12:42 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 10.1 | 1.059 | 0.0146 | 6.753 | Volume | 52.104 | 2.06 | 0.542 | 11.065 | 4.631 | 20.534 | 143.304 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.016056 | 0.061814 | 0.097304 | 0.14098 | 0.18576 | 0.25472 | 0.35559 | 0.49655 | 0.67334 | 0.8781 | 1.1036 | 1.347 | 1.608 | 1.8841 | 2.1769 | 2.4797 | 2.7959 | 3.1153 | 3.4391 | 3.7496 | 4.0437 | 4.2969 | 4.5009 | 4.6351 | 4.6908 | 4.6595 | 4.5402 | 4.34 | 4.0693 | 3.747 | 3.3915 | 3.0227 | 2.6598 | 2.3163 | 2.0078 | 1.7406 | 1.5258 | 1.3638 | 1.2591 | 1.2061 | 1.1977 | 1.2175 | 1.2419 | 1.2449 | 1.2019 | 1.0951 | 0.90287 | 0.67038 | 0.27951 | 0.072066 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_10-11cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 12:43 | 2017-08-18 12:43 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 10.06 | 0.74 | 0.0132 | 7.482 | Volume | 55.241 | 2.25 | 0.597 | 10.057 | 4.085 | 20.411 | 156.806 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.042049 | 0.10522 | 0.17995 | 0.23002 | 0.29536 | 0.38307 | 0.50632 | 0.66868 | 0.86194 | 1.0757 | 1.3021 | 1.5382 | 1.7839 | 2.0366 | 2.2974 | 2.5606 | 2.8287 | 3.0932 | 3.355 | 3.6001 | 3.8266 | 4.0164 | 4.1644 | 4.2567 | 4.2881 | 4.2543 | 4.1553 | 3.9975 | 3.7886 | 3.5419 | 3.2689 | 2.9818 | 2.6915 | 2.4049 | 2.1321 | 1.8779 | 1.6549 | 1.4688 | 1.3322 | 1.2479 | 1.2173 | 1.2283 | 1.2597 | 1.2842 | 1.2729 | 1.1997 | 1.0485 | 0.80395 | 0.49139 | 0.099491 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_10-11cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 12:44 | 2017-08-18 12:44 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 10.04 | 0.823 | 0.0131 | 7.642 | Volume | 54.859 | 2.23 | 0.597 | 10.055 | 4.077 | 20.439 | 160.269 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.041853 | 0.10477 | 0.17933 | 0.2295 | 0.29509 | 0.38321 | 0.50702 | 0.67012 | 0.86435 | 1.0793 | 1.3071 | 1.5447 | 1.7917 | 2.0454 | 2.3067 | 2.5695 | 2.8362 | 3.0981 | 3.3562 | 3.5966 | 3.8175 | 4.0016 | 4.1439 | 4.2312 | 4.2586 | 4.2218 | 4.1206 | 3.9612 | 3.7505 | 3.5015 | 3.2259 | 2.9366 | 2.646 | 2.363 | 2.1001 | 1.8636 | 1.6659 | 1.5114 | 1.4084 | 1.3553 | 1.3469 | 1.3664 | 1.3886 | 1.3847 | 1.3284 | 1.2026 | 0.98621 | 0.73568 | 0.29707 | 0.072215 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_10-11cm - Average | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 12:42 | 2017-08-18 12:42 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 10.07 | 0.874 | 0.0136 | 7.296 | Volume | 54.068 | 2.18 | 0.579 | 10.371 | 4.256 | 20.463 | 153.562 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.029394 | 0.098159 | 0.14683 | 0.20237 | 0.25814 | 0.34049 | 0.45628 | 0.61179 | 0.79987 | 1.011 | 1.2376 | 1.4767 | 1.7278 | 1.9887 | 2.2603 | 2.5366 | 2.8203 | 3.1022 | 3.3834 | 3.6488 | 3.8959 | 4.105 | 4.2697 | 4.3743 | 4.4125 | 4.3785 | 4.272 | 4.0996 | 3.8695 | 3.5968 | 3.2954 | 2.9804 | 2.6657 | 2.3614 | 2.08 | 1.8274 | 1.6156 | 1.448 | 1.3332 | 1.2698 | 1.254 | 1.2707 | 1.2967 | 1.3046 | 1.2679 | 1.1648 | 0.98334 | 0.72127 | 0.3862 | 0.063117 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_11-12cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 12:55 | 2017-08-18 12:55 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 9.75 | 1.145 | 0.0142 | 7.558 | Volume | 55.862 | 2.14 | 0.538 | 11.142 | 4.609 | 21.37 | 166.125 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.019888 | 0.068524 | 0.10482 | 0.14989 | 0.19694 | 0.26858 | 0.37225 | 0.51534 | 0.69256 | 0.895 | 1.1147 | 1.3483 | 1.5955 | 1.8545 | 2.127 | 2.4077 | 2.7006 | 2.9978 | 3.3017 | 3.597 | 3.8814 | 4.1319 | 4.3406 | 4.4868 | 4.5616 | 4.5551 | 4.4651 | 4.2968 | 4.0586 | 3.7661 | 3.4348 | 3.0817 | 2.7233 | 2.3727 | 2.0474 | 1.7576 | 1.5203 | 1.3425 | 1.2355 | 1.1993 | 1.2287 | 1.3062 | 1.3977 | 1.4635 | 1.4583 | 1.3494 | 1.1042 | 0.78866 | 0.267 | 0.048698 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_11-12cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 12:56 | 2017-08-18 12:56 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 9.74 | 0.671 | 0.0128 | 8.074 | Volume | 58.783 | 2.32 | 0.593 | 10.114 | 4.061 | 21.226 | 175.432 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.048641 | 0.11534 | 0.18917 | 0.24053 | 0.30753 | 0.39738 | 0.5225 | 0.68571 | 0.87784 | 1.0877 | 1.3067 | 1.532 | 1.7635 | 1.9995 | 2.2417 | 2.4856 | 2.7345 | 2.9816 | 3.2292 | 3.4647 | 3.6868 | 3.8781 | 4.033 | 4.1367 | 4.1829 | 4.1654 | 4.0829 | 3.9405 | 3.7449 | 3.509 | 3.2448 | 2.9656 | 2.6836 | 2.4073 | 2.1484 | 1.9126 | 1.7117 | 1.5498 | 1.4365 | 1.3723 | 1.3556 | 1.3737 | 1.4046 | 1.4218 | 1.3984 | 1.3102 | 1.1454 | 0.88272 | 0.57511 | 0.12851 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_11-12cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 12:58 | 2017-08-18 12:58 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 9.72 | 0.676 | 0.0126 | 7.712 | Volume | 57.035 | 2.28 | 0.6 | 9.995 | 4.02 | 20.849 | 164.818 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.04912 | 0.1166 | 0.19146 | 0.24358 | 0.3115 | 0.40252 | 0.52924 | 0.69462 | 0.88961 | 1.103 | 1.3263 | 1.5564 | 1.793 | 2.0339 | 2.2804 | 2.5275 | 2.7783 | 3.0256 | 3.2716 | 3.5038 | 3.7212 | 3.907 | 4.0563 | 4.1551 | 4.1978 | 4.1785 | 4.0962 | 3.9552 | 3.7615 | 3.5271 | 3.2633 | 2.9829 | 2.6982 | 2.4184 | 2.1557 | 1.9158 | 1.7102 | 1.5416 | 1.4184 | 1.3397 | 1.3047 | 1.3021 | 1.3144 | 1.3192 | 1.2937 | 1.2162 | 1.0746 | 0.84217 | 0.57149 | 0.13329 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_11-12cm - Average | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 12:55 | 2017-08-18 12:55 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 9.74 | 0.831 | 0.0132 | 7.783 | Volume | 57.227 | 2.25 | 0.577 | 10.392 | 4.22 | 21.154 | 168.868 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.040431 | 0.097719 | 0.16365 | 0.21055 | 0.2722 | 0.35611 | 0.47468 | 0.63189 | 0.82 | 1.0286 | 1.2492 | 1.4789 | 1.7173 | 1.9626 | 2.2164 | 2.4736 | 2.7378 | 3.0017 | 3.2675 | 3.5218 | 3.7631 | 3.9723 | 4.1433 | 4.2595 | 4.3141 | 4.2997 | 4.2147 | 4.0642 | 3.855 | 3.6007 | 3.3143 | 3.0101 | 2.7017 | 2.3995 | 2.1172 | 1.862 | 1.6474 | 1.478 | 1.3635 | 1.3038 | 1.2964 | 1.3273 | 1.3722 | 1.4015 | 1.3836 | 1.2914 | 1.1103 | 0.82957 | 0.48659 | 0.094599 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_12-13cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 13:08 | 2017-08-18 13:08 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 9.11 | 0.736 | 0.0117 | 4.048 | Volume | 34.963 | 1.29 | 0.61 | 9.842 | 4.086 | 19.932 | 84.769 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.052013 | 0.12214 | 0.19653 | 0.24414 | 0.30573 | 0.38957 | 0.50976 | 0.66985 | 0.86069 | 1.0706 | 1.2911 | 1.5195 | 1.7563 | 2.0005 | 2.2548 | 2.5153 | 2.7864 | 3.0618 | 3.3446 | 3.6212 | 3.8907 | 4.1327 | 4.3415 | 4.4988 | 4.5979 | 4.6301 | 4.5945 | 4.4949 | 4.3384 | 4.1362 | 3.8978 | 3.6314 | 3.3429 | 3.0335 | 2.7087 | 2.3692 | 2.0281 | 1.6913 | 1.3805 | 1.1017 | 0.8708 | 0.67522 | 0.5096 | 0.34965 | 0.16278 | 0.018565 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_12-13cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 13:10 | 2017-08-18 13:10 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 9.11 | 0.64 | 0.0116 | 4.168 | Volume | 37.924 | 1.45 | 0.612 | 9.798 | 4.063 | 19.779 | 86.506 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.052335 | 0.12285 | 0.19767 | 0.24568 | 0.30776 | 0.3922 | 0.51319 | 0.67438 | 0.86675 | 1.0787 | 1.3018 | 1.5332 | 1.7733 | 2.0208 | 2.2782 | 2.541 | 2.8137 | 3.0893 | 3.3707 | 3.6443 | 3.9089 | 4.1443 | 4.3449 | 4.4929 | 4.5816 | 4.603 | 4.5562 | 4.4461 | 4.2802 | 4.0709 | 3.8286 | 3.562 | 3.2762 | 2.9712 | 2.6494 | 2.3079 | 1.9568 | 1.6001 | 1.2619 | 0.95484 | 0.70689 | 0.5239 | 0.41342 | 0.36172 | 0.34993 | 0.35249 | 0.32518 | 0.28716 | 0.063522 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_12-13cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 13:11 | 2017-08-18 13:11 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 9.1 | 0.523 | 0.0115 | 4.187 | Volume | 38.32 | 1.49 | 0.617 | 9.725 | 4.033 | 19.513 | 85.727 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.051435 | 0.12159 | 0.19705 | 0.24583 | 0.30908 | 0.39509 | 0.51808 | 0.68171 | 0.87693 | 1.0921 | 1.3186 | 1.5537 | 1.7974 | 2.0483 | 2.3088 | 2.5742 | 2.8488 | 3.1255 | 3.4071 | 3.6797 | 3.9421 | 4.1742 | 4.3701 | 4.5122 | 4.5937 | 4.6067 | 4.5506 | 4.4305 | 4.2548 | 4.0367 | 3.7877 | 3.5173 | 3.2313 | 2.9293 | 2.6125 | 2.2766 | 1.9298 | 1.5746 | 1.2345 | 0.92213 | 0.66661 | 0.47527 | 0.35825 | 0.30463 | 0.2994 | 0.31922 | 0.32969 | 0.32032 | 0.21095 | 0.077261 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_12-13cm - Average | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 13:08 | 2017-08-18 13:08 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 9.11 | 0.633 | 0.0116 | 4.133 | Volume | 37.069 | 1.41 | 0.613 | 9.788 | 4.06 | 19.741 | 85.651 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.051928 | 0.12219 | 0.19708 | 0.24522 | 0.30753 | 0.39229 | 0.51368 | 0.67531 | 0.86813 | 1.0805 | 1.3038 | 1.5354 | 1.7756 | 2.0232 | 2.2806 | 2.5435 | 2.8163 | 3.0922 | 3.3741 | 3.6484 | 3.9139 | 4.1504 | 4.3522 | 4.5013 | 4.5911 | 4.6133 | 4.5671 | 4.4572 | 4.2911 | 4.0813 | 3.838 | 3.5702 | 3.2835 | 2.978 | 2.6569 | 2.3179 | 1.9716 | 1.622 | 1.2923 | 0.99294 | 0.748 | 0.55833 | 0.427 | 0.33732 | 0.27356 | 0.23018 | 0.21638 | 0.20172 | 0.093671 | 0.02461 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_13-14cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 13:22 | 2017-08-18 13:22 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 12.83 | 1.051 | 0.0218 | 6.86 | Volume | 63.515 | 1.92 | 0.471 | 12.739 | 5.171 | 26.775 | 188.841 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.019879 | 0.06239 | 0.092236 | 0.12799 | 0.16581 | 0.22426 | 0.31052 | 0.43115 | 0.58178 | 0.75458 | 0.94208 | 1.1407 | 1.3494 | 1.5663 | 1.793 | 2.026 | 2.2696 | 2.5193 | 2.7801 | 3.0419 | 3.3069 | 3.5578 | 3.7908 | 3.9869 | 4.1374 | 4.2273 | 4.249 | 4.1975 | 4.0731 | 3.8834 | 3.6401 | 3.3603 | 3.065 | 2.7745 | 2.5127 | 2.2949 | 2.137 | 2.0402 | 2.0009 | 2.0024 | 2.0194 | 2.0198 | 1.9706 | 1.8441 | 1.6321 | 1.3378 | 0.97271 | 0.60739 | 0.15023 | 0.008726 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_13-14cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 13:23 | 2017-08-18 13:23 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 12.79 | 0.997 | 0.0213 | 6.826 | Volume | 61.498 | 1.92 | 0.48 | 12.491 | 5.079 | 25.921 | 182.015 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020058 | 0.063151 | 0.093505 | 0.13003 | 0.16877 | 0.2287 | 0.31715 | 0.44089 | 0.59559 | 0.77333 | 0.96655 | 1.1715 | 1.387 | 1.6107 | 1.8442 | 2.0834 | 2.3326 | 2.5869 | 2.8512 | 3.1151 | 3.3805 | 3.63 | 3.8597 | 4.0503 | 4.1933 | 4.2736 | 4.2841 | 4.2202 | 4.0832 | 3.8814 | 3.6274 | 3.3388 | 3.0363 | 2.7401 | 2.4733 | 2.2507 | 2.0876 | 1.985 | 1.9397 | 1.9349 | 1.9462 | 1.9414 | 1.8874 | 1.7569 | 1.5431 | 1.2522 | 0.90138 | 0.559 | 0.14778 | 0.014225 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_13-14cm | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 13:24 | 2017-08-18 13:24 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 12.77 | 1.082 | 0.021 | 6.989 | Volume | 60.827 | 1.93 | 0.486 | 12.352 | 5.022 | 25.431 | 182.768 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020012 | 0.063275 | 0.093864 | 0.13083 | 0.17015 | 0.23105 | 0.32097 | 0.44681 | 0.60428 | 0.78544 | 0.98261 | 1.1919 | 1.4119 | 1.6399 | 1.8774 | 2.1199 | 2.3717 | 2.6276 | 2.8924 | 3.156 | 3.4204 | 3.6683 | 3.8962 | 4.085 | 4.2258 | 4.3036 | 4.3103 | 4.2407 | 4.0948 | 3.8804 | 3.6098 | 3.3013 | 2.9778 | 2.6615 | 2.3793 | 2.1486 | 1.9871 | 1.8969 | 1.8735 | 1.898 | 1.9405 | 1.964 | 1.9296 | 1.8065 | 1.586 | 1.2747 | 0.89273 | 0.5209 | 0.087638 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MBCCE_MS5_AST11m_20161007_FUNNEL PUSHCORE_13-14cm - Average | Works | 52 | veerle_20_copy_for_CCE_JAG1 | jeh2g08 | 2017-08-18 13:22 | 2017-08-18 13:22 | Avg sediment | 1.52 | 0.01 | Water | 1.33 | Autosampler (50 ml pot) | General purpose | 0.02 | 2000 | Off | 12.8 | 1.043 | 0.0213 | 6.894 | Volume | 61.947 | 1.92 | 0.479 | 12.525 | 5.089 | 26.033 | 184.567 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.019983 | 0.062939 | 0.093202 | 0.12961 | 0.16824 | 0.228 | 0.31621 | 0.43962 | 0.59388 | 0.77112 | 0.96375 | 1.1681 | 1.3828 | 1.6056 | 1.8382 | 2.0764 | 2.3247 | 2.5779 | 2.8412 | 3.1043 | 3.3693 | 3.6187 | 3.8489 | 4.0407 | 4.1855 | 4.2682 | 4.2811 | 4.2195 | 4.0837 | 3.8817 | 3.6258 | 3.3335 | 3.0264 | 2.7254 | 2.4551 | 2.2314 | 2.0706 | 1.9741 | 1.938 | 1.9451 | 1.9687 | 1.9751 | 1.9292 | 1.8025 | 1.5871 | 1.2881 | 0.92291 | 0.56007 | 0.13805 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0