Naming Conventions

MBCCE_Mooring/BIN/BED_instrument_year month day of deployment_ depth in core (or tube #) cm (no spaces)_sample type

Examples:

MBCCE_MS7_AST35m_20151015_35-37cm_GS (grain size sample from Anderson sed trap, on MS7 35 m above seafloor, deployed October 15, 35-37 cm from top of sed)

MBCCE_MS7_ADCP300_20151015 (Data from MS7 300 kHz ADCP deployed Oct 15)

MBCCE_BIN_ADCP600_20151013 (Data from BIN 600 kHz ADCP deployed Oct 13)

BEDs Folder structures – BED data file names left unchanged CCE_Archive/BEDs/BED05/MBCCE_BED05_2015106_Event20160115/decimated

(Data from BED5 deployed Oct 6 from an event that occurred 1/15/16, data decimated –downloaded remotely)

CCE_Archive/BEDs/BED05/MBCCE_BED05_2015106_Event20160115/FullDownload

(Data from BED5 deployed Oct 6 from an event that occurred 1/15/16, BED recovered and downloaded completely)

MBCCE_AMT1_20151013_statuscheck20151027 (Data from AMT downloaded remotely on 20151027)

MBCCE_AMT3_20151019_fulldownload160406152903 (entire dataset is downloaded from time of deployment to date of download 4/6/2016 at 15:29:03.)

Possible instrument types

AST10m (Anderson Sediment Trap 10 m above seafloor)

IRSST35m (IRS Sediment Trap 35 m above seafloor)

ADCP300 (300 kHz ADCP)

ADCP600 (600 kHz ADCP)

ADCP1200 (1200 kHz ADCP)

Aquadopp2000 (Nortek Aquadopp 2000 kHz)

TD65m (Temperature and pressure sensor 65 m above seafloor)

FLNTU300m (OBS triplet 300 m above seafloor)

CTDTrans9m (Seabird SBE-16+CTD w/ transmisometer 9 m above seafloor)

OX (O2 sensor)

AWAC  (Wave height sensor)

TU65m (Turbidity Sensor 65 m above seafloor)

CTOBSTrans9m (Conductivity Temperature sensor, with OBS and transmisometer at 9 m above seafloor)

Alt9m (Altimeter 9 m above seafloor)

AMT1 (AMT in the channel)

Exact File Names October 2015 Deployment

| Instrument Brand | Instrument Model | Data/Sample File Name |
| --- | --- | --- |
| Seabird Electronics | Seabird SBE-16+ CTD | MBCCE_MS0_CTDOXFLOBS_20151104 |
| Wet Labs | ECO FLNTU RTD | MBCCE_MS0_FLNTU_20151104 |
| Nortek | AWAC 600KHz | MBCCE_MS0_AWAC_20151104 |
| Instrument Brand | Instrument Model | Data/Sample File Name |
| RBR | Virtuoso-Tu Turbitidy Sensor | MBCCE_MS1_TU65m_20151006 |
| SeaBird | SBE-39 | MBCCE_MS1_TD65m_20151006 |
| RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS1_ADCP300_20151006 |
| N/A | Anderson Sediment Trap | MBCCE_MS1_AST35m_20151006 |
| RBR | Virtuoso-Tu Turbitidy Sensor | MBCCE_MS1_TU35m_20151006 |
| N/A | Anderson Sediment Trap | MBCCE_MS1_AST10m_20151006 |
| Seabird | SBE-16+ CTD w/ Turbidity | MBCCE_MS1_CTOBSTrans9m_20151006 |
| EofE | Echologger EA-400 Altimeter | MBCCE_MS1_Alt9m_20151006 |
| Nortek | Aquadopp | MBCCE_MS1_Aquadopp20000_20151006 |
| Instrument Brand | Instrument Model | Data/Sample File Name |
| RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20151005 |
| N/A | Anderson Sediment Trap | MBCCE_MS2_AST10m_20151005 |
| RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20151005 |
| Seabird | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20151005 |
| Instrument Brand | Instrument Model | Data/Sample File Name |
| RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20151005 |
| N/A | Anderson Sediment Trap | MBCCE_MS3_AST10m_20151005 |
| RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU9m_20151005 |
| Seabird | SBE-37 Microcat | MBCCE_MS3_CT9m_20151005 |
| Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20151005 |
| Instrument Brand | Instrument Model | Data/Sample File Name |
| Teledyne RDI | 300KHz Workhorse Sentinel ADCP | MBCCE_MS4_ADCP300_20151007 |
| N/A | Anderson Sediment Trap | MBCCE_MS4_AST10m_20151007 |
| Prime Focus | Indented Rotating Sphere Sediment Trap (4) | MBCCE_MS4_IRSST10m_20151007 |
| WET Labs | ECO FLNTU | MBCCE_MS4_FLNTU10m_20151007 |
| Instrument Brand | Instrument Model | Data/Sample File Name |
| RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20151020_0130 |
| RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20151020_0109 |
| RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU74m_20151020_0116 |
| Seatech Engineering | CliST (Anderson Sediment Trap) | MBCCE_MS5_AST74m_20151020 |
| RDI/Teledyne | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20151020 |
| Seatech Engineering | CliST (Anderson Sediment Trap) | MBCCE_MS5_AST11m_20151020 |
| RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU11m_20151020_0051 |
| RBR | RBRduo C, T | MBCCE_MS5_CT11m_20151020_0138 |
| Instrument Brand | Instrument Model | Data/Sample File Name |
| McLane | McLane Profiler | MBCCE_MS6_20151015 |
| Instrument Brand | Instrument Model | Data/Sample File Name |
| WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU300m_20151027 |
| Prime Focus | Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST300m_20151027 |
| N/A | Anderson Sediment Trap | MBCCE_MS7_AST300m_20151027 |
| Teledyne RDI | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20151027 |
| Prime Focus | Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST10m_20151027 |
| N/A | Anderson Sed Trap | MBCCE_MS7_AST10m_20151027 |
| WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU10m_20151027 |
| Instrument Brand | Instrument Model | Data/Sample File Name |
| RDI/Teledyne | Workhorse 300 kHz ADCP | MBCCE_BIN_ADCP300_20151013 |
| RDI/Teledyne | Workhorse 600 kHz ADCP | MBCCE_BIN_ADCP600_20151013 |
| RDI/Teledyne | Workhorse 1200 kHz ADCP | MBCCE_BIN_ADCP1200_20151013 |
| Nortek | Aquadopp 2000 kHz A6L | MBCCE_BIN_Aquadopp2000_20151013 |
| Seabird | Seabird SBE-19+ CTD (with transmisometer) | MBCCE_BIN_CTDOBSTrans_20151013 |
| Aanderaa | Aanderaa Oxygen Optode | MBCCE_BIN_OX_20151013 |
| Wetlabs | ECO Triplet Turbidity and Florescence Sensor | MBCCE_BIN_FLNTU_20151013 |
| Instrument Brand | Instrument Model | Data/Sample File Name |
| Sonardyne | AMT Beacon 8305 | MBCCE_AMT1_20151013 |
| Sonardyne | AMT Beacon 8305 | MBCCE_AMT2_20151019_fulldownload160406152337 |
| Sonardyne | AMT Beacon 8305 | MBCCE_AMT3_20151019_fulldownload160406152903 |

Exact File Names April 2016 Deployment

| Instrument Brand | Instrument Model | Data File/ Sample Name |
| --- | --- | --- |
| Seabird Electronics | Seabird SBE-16+ CTD | MBCCE_MS0_CTDOXFLOBS_20160408 |
| Wet Labs | ECO FLNTU RTD | MBCCE_MS0_FLNTU_20160408 |
| Nortek | AWAC 600KHz | MBCCE_MS0_AWAC_20160408 |
| Instrument Brand | Instrument Model | Data File/ Sample Name |
| SeaBird | SBE-39 | MBCCE_MS1_TD65m_20160404 |
| RD Instruments | 300kHz WH | MBCCE_MS1_ADCP300_20160404 |
| N/A | Anderson Sediment Trap | MBCCE_MS1_AST35m_20160404 |
| N/A | Anderson Sediment Trap | MBCCE_MS1_AST10m_20160404 |
| RBR | XR-420 with Seapoint | MBCCE_MS1_TU9m_20160404 |
| Seabird | SBE-37 | MBCCE_MS1_CT9m_20160404 |
| Instrument Brand | Instrument Model | Data File/ Sample Name |
| RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20160407 |
| N/A | Anderson Sediment Trap | MBCCE_MS2_AST9m_20160407 |
| RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20160407 |
| Seabird | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20160407 |
| Instrument Brand | Instrument Model | Data File/ Sample Name |
| RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20160407 |
| N/A | Anderson Sediment Trap | MBCCE_MS3_AST9m_20160407 |
| RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU9m_20160407 |
| Seabird | SBE-37 Microcat CTD | MBCCE_MS3_CT9m_20160407 |
| Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20160407 |
| Instrument Brand | Instrument Model | Data File/ Sample Name |
| Teledyne RDI | 300KHz Workhorse Sentinel ADCP (dif serial # from Oct) | MBCCE_MS4_ADCP300_20160408 |
| N/A | Anderson Sediment Trap | MBCCE_MS4_AST10m_20160408 |
| Prime Focus | Indented Rotating Sphere Sediment Trap (4) | MBCCE_MS4_IRSST10m_20160408 |
| WET Labs | ECO FLNTU | MBCCE_MS4_FLNTU10m_20160408 |
| Instrument Brand | Instrument Model | Data File/ Sample Name |
| RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20160408 |
| RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20160408 |
| Seatech Engineering | CliST (Anderson Sediment Trap) | MBCCE_MS5_AST74m_20160408 |
| RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU74m_20160408 |
| RBR | RBRduo C, T | MBCCE_MS5_CT74m_20160408 |
| RDI/Teledyne | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20160408 |
| RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU11m_20160408 |
| Seatech Engineering | CliST (Anderson Sediment Trap) | MBCCE_MS5_AST11m_20160408 |
| Instrument Brand | Instrument Model | Data File/ Sample Name |
| McLane | McLane Profiler | MBCCE_MS6_20160418 |
| Instrument Brand | Instrument Model | Data File/ Sample Name |
| WET Labs | ECO FLNTU | MBCCE_MS7_FLNTU300m_20160420 |
| Prime Focus | Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST300m_20160420 |
| N/A | Anderson Sediment Trap | MBCCE_MS7_AST300m_20160420 |
| Teledyne RDI | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20160420 |
| Prime Focus | Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST10m_20160420 |
| N/A | Anderson Sed Trap | MBCCE_MS7_AST10m_20160420 |
| WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU10m_20160420 |
| Instrument Brand | Instrument Model | Data File/ Sample Name |
| RDI/Teledyne | Workhorse 300 kHz ADCP | MBCCE_BIN_ADCP300_20160417 |
| RDI/Teledyne | Workhorse 600 kHz ADCP | MBCCE_BIN_ADCP600_20160417 |
| RDI/Teledyne | Workhorse 1200 kHz ADCP | MBCCE_BIN_ADCP1200_20160417 |
| Nortek | Aquadopp 2000 kHz A6L | MBCCE_BIN_Aquadopp2000_20160417 |
| Seabird | Seabird SBE-19+ CTD (with transmisometer) | MBCCE_BIN_CTDOBSTrans_20160417 |
| Aanderaa | Aanderaa Oxygen Optode | MBCCE_BIN_OX_20160417 |
| Wetlabs | ECO Triplet Turbidity and Florescence Sensor | MBCCE_BIN_FLNTU_20160417 |