## MS0
MS0
Institute | MBARI
Individuals Responsible | Chris Lovera
depth (m) | 31 | previous loc | diff
lat | 36.7519 | 36.7518 | 2.2e-05
long | -121.8387 | -121.8387 | 3.63e-05
2016 deployment | 2016-04-08
ship | R/V Rachel Carson
HOMER (switched from 22 to 28) | 28
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Sea-Bird Electronics | Seabird SBE-16+ CTD | MBCCE_MS0_CTDOXFLOBS_20160408 |  | 4166 | Conductivity, temp., pressure, oxygen, fluorescence, optical backscatter | 10 min | 0 | N/A | N/A
Wet Labs | ECO FLNTU RTD | MBCCE_MS0_FLNTU_20160408 |  | WL-30006 | Optical backscatter, fluorescence | 5 min | 0 | 6000m
Nortek | AWAC 600KHz | MBCCE_MS0_AWAC_20160408 |  | 5471 | Waves, currents | 1 Hz measurement for 17 minutes for every 120 min | 0 | 1000m
[6 empty] | N/A | N/A | N/A | N/A | N/A | N/A
[6 empty] | N/A | N/A | N/A | N/A | N/A | N/A

## MS1_300m
MS1
Institute | USGS
Individuals Responsible | Kurt Rosenburger
depth (m) | 278 | previous loc | diff
lat | 36.7932 | 36.7933 | -4e-05
long | -121.8447 | -121.8446 | -0.000116
2016 deployment | 2016-04-04
ship | R/V Carson
HOMER | 40
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurement Types | Sample period | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Xeos | Apollo |  |  | 300434060078130 | Iridium Beacon | N/A | 65 | 5000m | N/A
Sea-Bird Electronics | SBE-39 | MBCCE_MS1_TD65m_20160404 |  | 128 | Temp., pressure | 5 minute | 65 | 500m | 3mB
Teledyne RD Instruments | 300kHz WH | MBCCE_MS1_ADCP300_20160404 |  | 473 | Profile of currents, velocity, acoustic backscatter | 30 seconds | 65 | 500m | 768mB
| Anderson Sediment Trap | MBCCE_MS1_AST10_20160404 |  | N/A | Grains size | intervalometer malfunctioned | 10 | -
RBR | XR-420 with Seapoint | MBCCE_MS1_TU9m_20160404 |  | 10027 | Optical backscatter | 5 minute | 9 | 740m | 1mB
Sea-Bird Electronics | SBE-37 | MBCCE_MS1_CT9m_20160404 |  | 5404 | Conductivity, temp. | 1 minute | 9 | 7000m | 5mB
Sonardyne | Homer 40 | N/A |  | 68927-004 | Homer Beacon 40 (AD4, RE4) | N/A | 9 | 500m
Teledyne Benthos | Acoustic Release | N/A |  |  | N/A

## MS2_500m
MS2
Institute | NOC-Hull
Individuals Responsible | Kurt Rosenberger
depth (m) | 527 | previous loc | diff
lat | 36.7878 | 36.7878 | 0
long | -121.9035 | -121.9035 | 0
2016 deployment | 2016-04-07
ship | R/V Carson
HOMER | 20 @ 9mab
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurement Types | Sample period | MAB | Max depth rating | Aprox. data file size/deployment | Notes
Xeos | Sable Iridium Beacon |  |  | 300234063952300 | Location Beacon | N/A | 75 | 5000m | N/A
Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20160407 |  | 13016 | Profile of currents, velocity, acoustic backscatter | 30 seconds | 65 | 1000m | 768mB
| Anderson Sediment Trap | MBCCE_MS2_AST9m_20160407 |  | N/A | Grains size | 8 day intervals | 9
RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20160407 |  | 10075 | Optical backscatter | 15 minute | 9 | 2000m | 3mB | Logs CampbellSci OBS3+ S/N T8337
Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20160407 |  | 1700 | Conductivity, temp., pressure | 1 minute | 9 | 7000m | 3mB
Sonardyne | Homer 20
Teledyne Benthos | Acoustic Release |  |  | 28620 | N/A

## MS3_800m
MS3
Institute | USGS
Individuals Responsible | Kurt Rosenberger
depth (m) | 831.4 | previous loc | diff
lat | 36.7651 | 36.7651 | 0
long | -121.9699 | -121.9699 | 0
2016 deployment | 2016-04-07
ship | R/V Carson
HOMER | 30 @9mab
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurement Types | Sample period | MAB | Max depth rating | Aprox. data file size/deployment | Notes
Xeos | Apollo | N/A |  | 300434061500080 | Location Beacon | N/A | 78 | 5000m | N/A
Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20160407 |  | 16330 | Profile of currents, velocity, acoustic backscatter | 30 seconds | 65 | 6000m | 768mB
| Anderson Sediment Trap | MBCCE_MS3_AST9m_20160407 |  | N/A | Grains size | 8 day intervals | 9 | -
RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU9m_20160407 |  | 10750 | Optical backscatter | 10 min | 9 | 3000m | 1mB | Logs SeaTech Transmissometer S/N 264
Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS3_CT9m_20160407 |  | 769 | Conductivity, temp. | 1 min | 9 | 7000m | 5mB
Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20160407 |  | 1694 | Profile of currents, velocity, acoustic backscatter | 2 min | 9 | 6000m | 10mB
Sonardyne | HOMER 30 | N/A
Teledyne RD Instruments | Acoustic Release | N/A |  | 28619 | N/A

## MS4_1300m
MS4
Institute | MBARI
Individuals Responsible | Barry Group
depth (m) | 1285 | previous loc | diff
lat | 36.736 | 36.736 | 0
long | -122.0167 | -122.0167 | 0
2016 deployment | 2016-04-08
ship | R/V Carson
HOMER | 80 @ 10mab
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurement Types | Sample Interval | MAB | Max depth rating | Aprox. data file size/deployment
Novatech | Radio Frequency Location Beacon |  |  | Channel 72 |  | N/A | N/A | N/A | N/A | N/A | N/A
Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP (dif serial # from Oct) | MBCCE_MS4_ADCP300_20160408 |  | WHS300-2024 | Profile of currents, velocity, acoustic backscatter | 30 sec | 70 |  | 50MB
| Anderson Sediment Trap | MBCCE_MS4_AST10m_20160408 |  | N/A | Grains size | 8 day intervals | 10 |  | N/A
Prime Focus | Indented Rotating Sphere Sediment Trap (4) | MBCCE_MS4_IRSST10m_20160408 |  | N/A | Mass Flux, del C13, del N15, CHN, grain size analyses (?) | 16 day intervals | 10 | 6000 | samples only
WET Labs | ECO FLNTU | MBCCE_MS4_FLNTU10m_20160408 |  | WL-30007 | Fluorescence, optical backscatter | 5 min | 10 |  | 1MB
Sonardyne | HOMER 80 |  |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A
Teldyne Benthos | acoustic release |  |  | 10?36 | release |  | 8

## MS5_1500m
MS5
Institute | OUC
Individuals Responsible | Xu
depth (m) | 1445 | previous loc | diff
lat | 36.7155 | 36.7155 | 0
long | -122.0129 | -122.013 | 0.000125
Note: the sediment traps switched positions this deployment, the CT ended up at 70 m and the homer at 10 mab
2016 deployment | 2016-04-08
ship | R/V Carson
HOMER | 63 @10mab
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20160408 |  | 54146 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 200 | 3000
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20160408 |  | 54147 | Optical backscatter | SAME | 100 | 3000
Seatech Engineering | CliST (Anderson Sediment Trap) | MBCCE_MS5_AST70m_20160408 |  | N/A | Grain size | Intervelometer with 8 day interval; delay time 9 days from Oct 16 2015 GMT | 74 | 1500
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU70m_20160408 |  | 54149 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 70 | 3000
RBR | RBRduo C, T | MBCCE_MS5_CT70m_20160408 |  | 61610 | Conductivity, temp. | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec | 70 | 3000
Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20160408 |  | 23079 | Profile of currents, velocity, acoustic backscatter | 30 sec. interval; 7 pings per ensemble | 65 | 3000
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU10m_20160408 |  | 54148 | Optical backscatter | SAME | 10 | 3000
Seatech Engineering | CliST (Anderson Sediment Trap) | MBCCE_MS5_AST10m_20160408 |  | N/A | Grain size | Intervelometer with 8 day interval; delay time 9 days from Oct 16 2015 GMT | 11 | 1500
Sonardyne | Homer 63 | N/A |  |  |  |  | 10
EdgeTech | PORT LF Acoustic Release | N/A |  | 49794; 49795 | N/A | N/A | 9 | 3000

## MS6_1800m
MS6
Institute | MBARI
Individuals Responsible | Lovera, Barry Group, Gwiazda
depth (m) | 1826 | previous loc | diff
lat | 36.7019 | 36.7019 | 0
long | -122.0894 | -122.0894 | 0
2016 deployment | 2016-04-18 |  |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A
ship | R/V Western Flyer
HOMER | 65 @4mab
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Xeos |  | N/A |  | Channel 154.585 Mhz | Location Beacon | N/A | N/A | N/A | N/A | N/A | N/A
McLane | McLane Profiler | MBCCE_MS6_20160418 |  | 11720 | Current, compass and tilt, conductivity, temp., pressure, fluorescence, optical backscatter, time | 30 min profile every 4.5 hrs, alternating up and down | transits between ~7m and ~507m
Sonardyne | HOMER 65 | N/A |  |  |  |  | 4
Teledyne Benthos | Acoustic Release | N/A |  | 232578-004 |  |  | 4
[6 empty] | N/A | N/A | N/A | N/A | N/A | N/A
[6 empty] | N/A | N/A | N/A | N/A | N/A | N/A
[6 empty] | N/A | N/A | N/A | N/A | N/A | N/A

## MS7_1900
MS7
Institute | MBARI
Individuals Responsible | Whaling, Buck - Barry group
depth (m) | 1849 | previous loc | diff |  | Grain size
lat | 36.7018 | 36.7018 | 0 |  | Optical backscatter
long | -122.0984 | -122.0984 | 0 |  | Conductivity, temp.
Profile of currents, velocity, acoustic backscatter
2016 deployment | 2016-04-20 |  |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A
ship | R/V Western Flyer
Sonardyne HOMER Pro | 74 @10mab
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Novatech | RF-700A1 | N/A |  | S01-256 | Radio Frequency Location Beacon | N/A | N/A | N/A | N/A | N/A | N/A
WET Labs | ECO FLNTU | MBCCE_MS7_FLNTU300m_20160420 |  | WL-30001 | Fluorescence, optical backscatter | Channel 71 | 300 |  | 1MB
Prime Focus | Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST300m_20160420 |  | NA | Mass Flux, del C13, del N15, CHN, grain size analyses (?) | 16 day intervals | 300 | 6000 | samples only
N/A | Anderson Sediment Trap | MBCCE_MS7_AST300m_20160420 |  | NA | Grain size | 8 day intervals | 300
Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20160420 |  | WHS300-2025 | Profile of currents, velocity, acoustic backscatter | 30 sec | 70 |  | 50MB
Prime Focus | Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST10m_20160420 |  | NA | Mass Flux, del C13, del N15, CHN, grain size analyses (?) | 16 day intervals | N/A | N/A | N/A | N/A | N/A
N/A | Anderson Sed Trap | MBCCE_MS7_AST10m_20160420 |  | NA | Grain size | 8 day intervals | 10
WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU10m_20160420 |  | WL-30002 | Fluorescence, optical backscatter | 5 min | 10 |  | 1MB
Sonardyne | HOMER 74 | N/A |  |  |  |  | 4
Teledyne Benthos | Acoustic Release | N/A |  | 1315 | release |  | 4
[6 empty] | N/A | N/A | N/A | N/A | N/A | N/A
[6 empty] | N/A | N/A | N/A | N/A | N/A | N/A

## SIN_1850m
SIN
Institute | MBARI
Individuals Responsible | Chaffey, O’Reilly, Parsons
depth (m) | 1836.7 | previous loc | diff
lat | 36.7017 | 36.7017 | 0
long | -122.0938 | -122.0938 | 0
2016 deployment | 2016-04-17
ship | R/V Western Flyer
HOMER | 96
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Manufacturer serial number | SSDS ID # | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_SIN_ADCP300_20160417 |  | 23119 | 1857 | Profile of currents, velocity, acoustic backscatter, pointing up | 10 sec | 0.5
Teledyne RD Instruments | Workhorse 600 kHz ADCP | MBCCE_SIN_ADCP600_20160417 |  | 21053 | 1826 | Profile of currents, velocity, acoustic backscatter, pointing up | 10 sec | 0.5
Teledyne RD Instruments | Workhorse 1200 kHz ADCP | MBCCE_SIN_ADCP1200_20160417 |  | 20662 | 1827 | Profile of currents, velocity, acoustic backscatter, pointing up | 10 sec | 0.5
Nortek | Aquadopp 2000 kHz A6L | MBCCE_SIN_Aquadopp2000_20160417 |  | AQD 2053 | 1553 | Profile of currents, velocity, acoustic backscatter, pointing down | 10 sec | 1
Sea-Bird Electronics | Seabird SBE-19+ CTD (with transmissometer) | MBCCE_SIN_CTDOBSTrans_20160417 |  | 16P51851-6133 | 1688 | Conductivity, temp., pressure, optical backscatter, transmisivity | 2 sec | 0.8
Aanderaa | Aanderaa Oxygen Optode | MBCCE_SIN_OX_20160417 |  | 980 | 1692 | Dissolved oxygen | 10 sec | 0.5
Wetlabs | ECO Triplet Turbidity and Fluorescence Sensor | MBCCE_SIN_FLNTU_20160417 |  | WL-30005 | 1815 | Fluorescence, optical backscatter | 10 sec | 0.5
Teledyne Benthos | Acoustic Release | N/A |  |  |  | Deployment
Sonardyne | WMT (Wideband Mini Transponder) | N/A |  |  |  | Beacon on Acoustic Release gives position during deployment

## All Instruments
Data Type | Mooring | Instrument Brand | Instrument Model | Data File/ Sample Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number |  | Measurement Types | Sample Interval | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
CTDOXFLOBS | MS0 | Sea-Bird Electronics | Seabird SBE-16+ CTD | MBCCE_MS0_CTDOXFLOBS_20160408 | Yes | Duplicate from Processed | Yes | MBCCE_MS0_CTDOXFLOBS_20160408.nc | 31 | 36.7519 | -121.8387 | 4166 |  | Conductivity, temp., pressure, oxygen, fluorescence, optical backscatter | 10 min | 0 | 2016-04-06 19:56 | 2016-10-06 03:09 | 2016-10-06 03:24 | 0:14 | behind GMT
FLNTU | MS0 | Wet Labs | ECO FLNTU RTD | MBCCE_MS0_FLNTU_20160408 | yes | MBCCE_MS0_FLNTU_20160408.cdf | Yes | MBCCE_MS0_FLNTU_20160408.nc |  |  |  | WL-30006 |  | Optical backscatter, fluorescence | 5 min | 0 | 2016-04-06 14:00 | 2016-10-05 22:06 | 2016-10-05 22:10 | 0:04 | behind GMT
AWAC | MS0 | Nortek | AWAC 600KHz | MBCCE_MS0_AWAC_20160408 | Yes | MBCCE_MS0_AWAC_20160408.cdf | Yes | MBCCE_MS0_AWAC_20160408_ProcessedWaves.nc and MBCCE_MS0_AWAC_20160408.nc |  |  |  | 5471 |  | Waves, currents | 1 Hz measurement for 17 minutes for every 120 min | 0 | 2016-04-08 | 2016-10-06 02:10 | 2016-10-06 02:10 | 0:00 | ahead of GMT
|  | Instrument Brand | Instrument Model | Data File/ Sample Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number |  | Measurement Types | Sample Interval | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
TD | MS1 | Sea-Bird Electronics | SBE-39 | MBCCE_MS1_TD65m_20160404 | Yes -.asc | Duplicate from Processed | Yes | MBCCE_MS1_TD65m_20160404.nc | 278 | 36.7932 | -121.8447 | 128 |  | Temp., pressure | 5 minute | 65 | 2016-03-28 21:22 | 2016-10-06 16:46 | 2016-10-06 16:46 | 0:00 | behind GMT
ADCP | MS1 | Teledyne RD Instruments | 300kHz WH | MBCCE_MS1_ADCP300_20160404 | Yes | MBCCE_MS1_ADCP300_20160404.cdf | Yes | MBCCE_MS1_ADCP300_20160404.nc |  |  |  | 473 |  | Profile of currents, velocity, acoustic backscatter | 30 seconds | 65 | 2016-03-24 23:10 | 2016-10-04 17:55 | 2016-10-04 17:57 | 0:02 | behind GMT
AST | MS1 | N/A | Anderson Sediment Trap | MBCCE_MS1_AST10_20160404 | Yes | N/A | N/A | AndersonSedTrapDataPanel_April2016_updated.pdf, and Batch2_GrainSizeResults.xlsx |  |  |  | N/A |  | Grains size | intervalometer malfunctioned | 10 | N/A | N/A | N/A | N/A | N/A | N/A
TU | MS1 | RBR | XR-420 with Seapoint | MBCCE_MS1_TU9m_20160404 | Yes -.hex & .txt | Duplicate from Processed | Yes | MBCCE_MS1_TU9m_20160404.nc |  |  |  | 10027 |  | Optical backscatter | 5 minute | 9 | 2016-03-28 22:04 | 2016-10-05 00:57 | 2016-10-05 00:56 | 0:01 | ahead of GMT
CT | MS1 | Sea-Bird Electronics | SBE-37 | MBCCE_MS1_CT9m_20160404 | Yes -.asc | Duplicate from Processed | Yes | MBCCE_MS1_CT9m_20160404.nc |  |  |  | 5404 |  | Conductivity, temp. | 1 minute | 9 | 2016-03-31 18:36 | 2016-10-05 20:22 | 2016-10-05 20:22 | 0:00 | ahead of GMT
|  | Instrument Brand | Instrument Model | Data File/ Sample Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number |  | Measurement Types | Sample Interval | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
ADCP | MS2 | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20160407 | Yes | MBCCE_MS2_ADCP300_20160407.cdf | Yes | MBCCE_MS2_ADCP300_20160407.nc | 527 | 36.7878 | -121.9035 | 13016 |  | Profile of currents, velocity, acoustic backscatter | 30 seconds | 65 | 2016-04-06 18:35 | 2016-10-03 20:41 | 2016-10-03 20:38 | 0:03 | ahead of GMT
AST | MS2 | N/A | Anderson Sediment Trap | MBCCE_MS2_AST9m_20160407 | Yes | N/A | N/A | See -I8 |  |  |  | N/A |  | Grains size | N/A | 9 | N/A | N/A | N/A | N/A | N/A | N/A
TU | MS2 | RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20160407 | Yes -.hex & .txt | Duplicate from Processed | Yes | MBCCE_MS2_TU9m_20160407.nc |  |  |  | 10075 |  | Optical backscatter | 15 minute | 9 | 2016-04-06 19:20 | 2016-10-03 20:56 | 2016-03-10 20:55 | 4968:01 | ahead of GMT
CTD | MS2 | Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20160407 | Yes -.hex & others | Duplicate from Processed | Yes | MBCCE_MS2_CTD9m_20160407.nc |  |  |  | 1700 |  | Conductivity, temp., pressure | 1 minute | 9 | 2016-03-28 22:51 | 2016-10-04 16:13 | 2016-10-04 16:12 | 0:00 | ahead of GMT
|  | Instrument Brand | Instrument Model | Data File/ Sample Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number |  | Measurement Types | Sample Interval | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
ADCP | MS3 | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20160407 | Yes | MBCCE_MS3_ADCP300_20160407.cdf | Yes | MBCCE_MS3_ADCP300_20160407.nc | 831.4 | 36.7651 | -121.9699 | 16330 |  | Profile of currents, velocity, acoustic backscatter | 30 seconds | 65 | 2016-04-06 18:19 | 2016-10-04 19:41 | 2016-10-04 19:44 | 0:03 | behind GMT
AST | MS3 | N/A | Anderson Sediment Trap | MBCCE_MS3_AST9m_20160407 | Yes | N/A | N/A | See -I8 |  |  |  | N/A |  | Grains size | 8 day intervals | 9 | N/A | N/A | N/A | N/A | N/A | N/A
TU | MS3 | RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU9m_20160407 | Yes -.hex & .txt | Duplicate from Processed | Yes | MBCCE_MS3_TU9m_20160407.nc |  |  |  | 10750 |  | Optical backscatter | 10 min | 9 | 2016-04-06 00:14 | 2016-10-04 20:12 | 2016-10-04 20:12 | 0:00 | behind GMT
CT | MS3 | Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS3_CT9m_20160407 | Yes -.asc | Duplicate from Processed | Yes | MBCCE_MS3_CT9m_20160407.nc |  |  |  | 769 |  | Conductivity, temp. | 1 min | 9 | 2016-03-29 00:33 | 2016-10-05 00:36 | 2016-10-05 00:36 | 0:01 | ahead of GMT
ADCP | MS3 | Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20160407 | Yes -.prf | Duplicate from Processed | Yes | MBCCE_MS3_Aquadopp2000_20160407.nc |  |  |  | 1694 |  | Profile of currents, velocity, acoustic backscatter | 2 min | 9 | 2016-04-05 17:35 | 2016-10-04 01:49 | 2016-10-04 01:50 | 0:00 | behind GMT
|  | Instrument Brand | Instrument Model | Data File/ Sample Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number |  | Measurement Types | Sample Interval | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
ADCP | MS4 | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP (dif serial # from Oct) | MBCCE_MS4_ADCP300_20160408 | Yes | MBCCE_MS4_ADCP300_20160408.cdf | Yes | MBCCE_MS4_ADCP300_20160408.nc | 1285 | 36.736 | -122.0167 | WHS300-2024 |  | Profile of currents, velocity, acoustic backscatter | 30 sec | 70 | 2016-04-08 | 2016-10-05 21:13 | 2016-10-05 21:15 | 0:02 | behind GMT
AST | MS4 | N/A | Anderson Sediment Trap | MBCCE_MS4_AST10m_20160408 | Yes | N/A | N/A | See -I8 |  |  |  | N/A |  | Grains size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A | N/A
IRSST | MS4 | Prime Focus | Indented Rotating Sphere Sediment Trap (4) | MBCCE_MS4_IRSST10m_20160408 | Yes | N/A | N/A | N/A |  |  |  | N/A |  | Mass Flux, del C13, del N15, CHN, grain size analyses (?) | 16 day intervals | 10 | N/A | N/A | N/A | N/A | N/A | N/A
FLNTU | MS4 | WET Labs | ECO FLNTU | MBCCE_MS4_FLNTU10m_20160408 | Yes | MBCCE_MS4_FLNTU10m_20160408.cdf | Yes | MBCCE_MS4_FLNTU10m_20160408.nc |  |  |  | WL-30007 |  | Fluorescence, optical backscatter | 5 min | 10 | 2016-04-07 18:26 | 2016-10-05 18:52 | 2016-10-05 19:00 | 0:08 | behind GMT
|  | Instrument Brand | Instrument Model | Data File/ Sample Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number |  | Measurement Types | Sample Interval | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
TU | MS5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20160408 | Yes -.rsk | Duplicate from Processed | Yes | MBCCE_MS5_TU200m_20160408.nc | 1445 | 36.7155 | -122.0129 | 54146 |  | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 200 | 2016-04-07 | 2016-10-04 12:58 | 2016-10-04 12:58 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment.
TU | MS5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20160408 | Yes -.rsk | Duplicate from Processed | Yes | MBCCE_MS5_TU100m_20160408.nc |  |  |  | 54147 |  | Optical backscatter | SAME | 100 | 2016-04-07 | 2016-10-05 13:14 | 2016-10-05 13:14 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment.
AST | MS5 | Seatech Engineering | CliST (Anderson Sediment Trap) | MBCCE_MS5_AST70m_20160408 | Yes | N/A | N/A | See -I8 |  |  |  | N/A |  | Grain size | Intervelometer with 8 day interval; delay time 9 days from Oct 16 2015 GMT | 74 | N/A | N/A | N/A | N/A | N/A
TU | MS5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU70m_20160408 | Yes -.rsk | Duplicate from Processed | Yes | MBCCE_MS5_TU70m_20160408.nc |  |  |  | 54149 |  | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 70 | 2016-04-07 | 2016-10-05 13:07 | 2016-10-05 13:07 | 0:00 | ahead of GMT | Initial Sync assumed 1 day before deployment.
CT70m | MS5 | RBR | RBRduo C, T | MBCCE_MS5_CT70m_20160408 | Yes -.rsk | Duplicate from Processed | Yes | MBCCE_MS5_CT70m_20160408.nc |  |  |  | 61610 |  | Conductivity, temp. | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec | 70 | 2016-04-07 | 2016-10-05 13:03 | 2016-10-05 13:03 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment.
ADCP | MS5 | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20160408 | Yes | MBCCE_MS5_ADCP300_20160408.cdf | Yes | MBCCE_MS5_ADCP300_20160408.nc |  |  |  | 23079 |  | Profile of currents, velocity, acoustic backscatter | 30 sec. interval; 7 pings per ensemble | 65 | 2016-04-07 | 2016-10-04 22:09 | 2016-10-04 22:10 | 0:01 | behind GMT | Initial Sync assumed 1 day before deployment.
TU | MS5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU10m_20160408 | Yes -.rsk | Duplicate from Processed | Yes | MBCCE_MS5_TU10m_20160408.nc |  |  |  | 54148 |  | Optical backscatter | SAME | 10 | 2016-04-07 | 2000-01-01 00:01 | 2016-10-05 13:10 | Malfunction! |  | Malfunction!
AST | MS5 | Seatech Engineering | CliST (Anderson Sediment Trap) | MBCCE_MS5_AST10m_20160408 | Yes | N/A | N/A | See -I8 |  |  |  | N/A |  | Grain size | Intervelometer with 8 day interval; delay time 9 days from Oct 16 2015 GMT | 11 | N/A | N/A | N/A | N/A | N/A
|  | Instrument Brand | Instrument Model | Data File/ Sample Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number |  | Measurement Types | Sample Interval | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
McLane | MS6 | McLane | McLane Profiler | MBCCE_MS6_20160418 | Yes | yes | Yes | MBCCE_MS6_20160418.nc | 1826 | 36.7019 | -122.0894 | 11720 |  | current meter, current meter, compass and tilt, CTD, fluorometer, OBS, time | 30 min profile every 4.5 hrs., alternating up and down | transits between ~7m and ~507m | 2016-04-15 21:30 | 2016-10-11 02:43 | 2016-10-11 02:43 | 0:01 | ahead of GMT
|  | Instrument Brand | Instrument Model | Data File/ Sample Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number |  | Measurement Types | Sample Interval | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
FLNTU | MS7 | WET Labs | ECO FLNTU | MBCCE_MS7_FLNTU300m_20160420 | Yes | MBCCE_MS7_FLNTU300m_20160420.cdf | Yes | MBCCE_MS7_FLNTU300m_20160420.nc | 1849 | 36.7018 | -122.0984 | WL-30001 |  | Fluorescence, optical backscatter | Channel 71 | 300 | 2016-04-15 12:30 | 2016-10-11 01:14 | 2016-10-11 01:19 | 0:05 | behind GMT
IRSST | MS7 | Prime Focus | Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST300m_20160420 | N/A | N/A | N/A | N/A |  |  |  | NA |  | Mass Flux, del C13, del N15, CHN, grain size analyses (?) | 16 day intervals | 300 | N/A | N/A | N/A | N/A | N/A
AST | MS7 | N/A | Anderson Sediment Trap | MBCCE_MS7_AST300m_20160420 | N/A | N/A | N/A | See -I8 |  |  |  | NA |  | Grain size | 8 day intervals | 300 | N/A | N/A | N/A | N/A | N/A
ADCP | MS7 | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20160420 | Yes | MBCCE_MS7_ADCP300_20160420.cdf | Yes | MBCCE_MS7_ADCP300_20160420.nc |  |  |  | WHS300-2025 |  | Profile of currents, velocity, acoustic backscatter | 30 sec | 70 | 2016-04-15 18:20 | 2016-10-11 01:01 | 2016-10-11 01:04 | 0:02 | behind GMT
IRSST | MS7 | Prime Focus | Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST10m_20160420 | N/A | N/A | N/A | N/A |  |  |  | NA |  | Mass Flux, del C13, del N15, CHN, grain size analyses (?) | 16 day intervals | 10 | N/A | N/A | N/A | N/A | N/A
AST | MS7 | N/A | Anderson Sed Trap | MBCCE_MS7_AST10m_20160420 | N/A | N/A | N/A | See -I8 |  |  |  | NA |  | Grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A | Trap spilled onto deck. Some photos exist, some grain size data exists
FLNTU | MS7 | WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU10m_20160420 | Yes | MBCCE_MS7_FLNTU10m_20160420.cdf | Yes | MBCCE_MS7_FLNTU10m_20160420.nc |  |  |  | WL-30002 |  | Fluorescence, optical backscatter | 5 min | 10 | 2016-04-13 14:28 | 2016-10-11 17:55 | 2016-10-11 18:01 | 0:05 | behind GMT
|  | Instrument Brand | Instrument Model | Data File/ Sample Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number | SSDS # | Measurement Types | Sample Interval | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
ADCP | SIN | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_SIN_ADCP300_20160417 | Yes | MBCCE_SIN_ADCP300_20160417.cdf | Ye | MBCCE_SIN_ADCP300_20160417.nc | 1836.7 | 36.7017 | -122.0938 | 23119 | 1857 | Profile of currents, velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-04-14 22:50 | 2016-10-12 16:34 | 2016-10-12 16:33 | 0:01 | ahead of GMT | The 300kHz SIN ADCP stopped acquiring on 13th August, 2016 so didn't capture the event
ADCP | SIN | Teledyne RD Instruments | Workhorse 600 kHz ADCP | MBCCE_SIN_ADCP600_20160417 | Yes | MBCCE_SIN_ADCP600_20160417.cdf | Yes | MBCCE_SIN_ADCP600_20160417.nc |  |  |  | 21053 | 1826 | Profile of currents, velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-04-14 22:52 | 2016-10-12 15:57 | 2016-10-12 15:55 | 0:02 | ahead of GMT | The 600kHz SIN ADCP stopped acquiring on 17th September, 2016 so did capture the event
ADCP | SIN | Teledyne RD Instruments | Workhorse 1200 kHz ADCP | MBCCE_SIN_ADCP1200_20160417 | Yes | MBCCE_SIN_ADCP1200_20160417.cdf | Yes | MBCCE_SIN_ADCP1200_20160417.nc |  |  |  | 20662 | 1827 | Profile of currents, velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-04-14 22:46 | 2016-10-11 22:10 | 2016-10-11 22:10 | 0:00 | ahead of GMT
ADCP | SIN | Nortek | Aquadopp 2000 kHz A6L | MBCCE_SIN_Aquadopp2000_20160417 | Yes -.prf & lots more | No | No | Ignore Data |  |  |  | AQD 2053 | 1553 | Profile of currents, velocity, acoustic backscatter, pointing down | 10 sec | 1 | 2016-04-04 23:54
CTDOBSTrans | SIN | Sea-Bird Electronics | Seabird SBE-19+ CTD (with transmissometer) | MBCCE_SIN_CTDOBSTrans_20160417 | Yes | MBCCE_SIN_CTDOBSTrans_20160417_original.nc | Yes | MBCCE_SIN_CTDOBSTrans_20160417_timecorrected.nc |  |  |  | 16P51851-6133 | 1688 | Conductivity, temp., pressure, optical backscatter, transmisivity | 2 sec | 0.8 | no internal clock |  |  | Time corrected
OX | SIN | Aanderaa | Aanderaa Oxygen Optode | MBCCE_SIN_OX_20160417 | Yes | MBCCE_SIN_OX_20160417_original.nc | Yes | MBCCE_SIN_OX_20160417_timecorrected.nc |  |  |  | 980 | 1692 | Dissolved oxygen | 10 sec | 0.5 | no internal clock |  |  | Time corrected
FLNTU | SIN | Wetlabs | ECO Triplet Turbidity and Fluorescence Sensor | MBCCE_SIN_FLNTU_20160417 | Yes | MBCCE_SIN_FLNTU_20160417_original.nc | Yes | MBCCE_SIN_FLNTU_20160417_timecorrected.nc |  |  |  | WL-30005 | 1815 | Fluorescence, optical backscatter | 10 sec | 0.5 | no internal clock |  |  | Time corrected
| SIN |  | SIN system clock | [8 empty] | Node 9 |  |  |  |  | 4/15/16 03:27:24 Both clocks Sync
| SIN |  | SIN realtime clock | [8 empty] | Node 9 |  |  |  |  | SIN CLOCK DRIFT
4/15/16 03:27:24 Both clocks Sync
5/16/16 23:10:12 (RTC time): System clock ahead 266 seconds
5/16/23 23:24:10 Both clocks sync
8/13/16 09:20:55 (RTC time): System clock ahead 744 seconds
continuous reboot until
9/9/16 01:17:16 Both clocks sync
9/17/16 18:16:55 (RTC time): System clock ahead by 74 seconds
continuous reboot until
9/18/16 21:01:57 to 9/18/16 23:0018 no difference between clocks
9/18/16 23:0018 both clocks sync
10/13/16 18:59:15 (RTC time): System clock ahead 109 seconds

## SedTraps
Trap | Sample Name | Meters above seafloor
Anderson Sediment Trap | MBCCE_MS1_AST10m_20160404 | 10
Anderson Sediment Trap | MBCCE_MS2_AST9m_20160407 | 9
Anderson Sediment Trap | MBCCE_MS3_AST9m_20160407 | 9
Anderson Sediment Trap | MBCCE_MS4_AST10m_20160408 | 10
Indented Rotating Sphere Sediment Trap (4) | MBCCE_MS4_IRSST10m_20160408 | 10
CliST (Anderson Sediment Trap) | MBCCE_MS5_AST11m_20160408 | 11
CliST (Anderson Sediment Trap) | MBCCE_MS5_AST74m_20160408 | 74
Anderson Sed Trap | MBCCE_MS7_AST10m_20160420 | 10
Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST10m_20160420 | 10
Anderson Sediment Trap | MBCCE_MS7_AST300m_20160420 | 300
Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST300m_20160420 | 300