## MS0
MS0
Institute | MBARI
Individuals Responsible | Chris Lovera
depth (m) | 31 | previous loc | diff
lat | 36.7518 | 36.7518 | 0
long | -121.8387 | -121.8387 | 0
2015 MOB | 2015-11-03
2015 deployment | 2015-11-04
ship | R/V Rachel Carson
HOMER | 22
Instrument Brand | Instrument Model | Data File Name | Serial Number | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating
Sea-Bird Electronics | Seabird SBE-16+ CTD | MBCCE_MS0_CTDOXFLOBS_20151104 | 4166 | Conductivity, temp., pressure, oxygen, fluorescence, optical backscatter | 10 min | 0 | 6000m
Wet Labs | ECO FLNTU RTD | MBCCE_MS0_FLNTU_20151104 | WL-30006 | Optical backscatter, fluorescence | 5 min | 0 | 6000m
Nortek | AWAC 600KHz | MBCCE_MS0_AWAC_20151104 | 5471 | Waves, currents | 1 Hz measurement for 17 minutes for every 120 min | 0 | 1000m

## MS1_300m
MS1
Institute | USGS
Individuals Responsible | Kurt Rosenburger
depth (m) | 286.7 | previous loc | diff
lat | 36.7933 | 36.7933 | 0
long | -121.8446 | -121.8446 | 0
2015 MOB | 2015-10-02
2015 deployment | 2015-10-06
ship | R/V Carson
HOMER | 10 @ 9mab
Instrument Brand | Instrument Model | Data/Sample File Name | Serial Number | Measurement Types | Sample period | Meters above seafloor | Max depth rating | Approx.. data file size/deployment
Xeos | KILO Iridium Beacon | N/A |  | Location Beacon | N/A | 65 | 2000m | N/A
RBR | Virtuoso-Tu Turbidity Sensor | MBCCE_MS1_TU65m_20151006 | 54170 | Optical backscatter | 1 minute | 65 | 740m | 5mB
Sea-Bird Electronics | SBE-39 | MBCCE_MS1_TD65m_20151006 | 127 | Temp., pressure | 3 minute | 65 | 500m | 3mB
Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS1_ADCP300_20151006 | 587 | Profile of currents, velocity, acoustic backscatter | 30 seconds | 65 | 500m | 768mB
| Anderson Sediment Trap | MBCCE_MS1_AST35m_20151006 | N/A | Grains size | 8 day intervals | 35
RBR | Virtuoso-Tu Turbidity Sensor | MBCCE_MS1_TU35m_20151006 | 54126 | Optical backscatter | 1 minute | 35 | 740m | 5mB
| Anderson Sediment Trap | MBCCE_MS1_AST10m_20151006 | N/A | Grains size | 8 day intervals | 10
Sea-Bird Electronics | SBE-16+ CTD w/ Turbidity | MBCCE_MS1_CTOBSTrans9m_20151006 | 4250 | Conductivity, Temp, optical backscatter, transmissivity | 15 minute | 9 | 600m | 5mB
EofE | Echologger EA-400 Altimeter | MBCCE_MS1_Alt9m_20151006 | 41411012G | Altimetry, acoustic backscatter profile | 10 minute | 9 | 1000m | 2GB
Nortek | Aquadopp | MBCCE_MS1_Aquadopp20000_20151006 | 1753 | Profile of currents, velocity, acoustic backscatter | 2 minute | 9 | 300m | 10mB
Teledyne Benthos | Acoustic Release | N/A | 29044 | N/A

## MS2_500m
MS2
Institute | NOC-Hull
Individuals Responsible | Kurt Rosenberger
depth (m) | 526.8 | previous loc | diff
lat | 36.7883 | 36.7883 | 0
long | -121.9034 | -121.9034 | 0
2015 MOB | 2015-10-02
2015 deployment | 2015-10-05
ship | R/V Carson
HOMER | 20 @ 9mab
Instrument Brand | Instrument Model | Data File Name | Serial Number | Measurement Types | Sample period | Meters above seafloor | Max depth rating | Aprox. data file size/deployment | Notes
Xeos | Sable Iridium Beacon | N/A | 300034012391780 | Location Beacon | N/A | 75 | 5000m | N/A
RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20151005 | 13016 | Profile of currents, velocity, acoustic backscatter | 30 seconds | 65 | 1000m | 768mB
N/A | Anderson Sediment Trap | MBCCE_MS2_AST10m_20151005 | N/A | Grains size | 8 day intervals | 10
RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20151005 | 10046 | Optical backscatter | 15 minute | 9 | 2000m | 3mB | Logs CampbellSci OBS3+ S/N T8337
Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20151005 | 12354 | Conductivity, temp., pressure | 1 minute | 9 | 7000m | 3mB
Teledyne Benthos | Acoustic Release |  | 28620 | N/A

## MS3_800m
MS3
Institute | USGS
Individuals Responsible | Kurt Rosenberger
depth (m) | 831.4 | previous loc | diff
lat | 36.765 | 36.765 | 0
long | -121.9697 | -121.9697 | 0
2015 MOB | 2015-10-02
2015 deployment | 2015-10-05
ship | R/V Carson
HOMER | 30 @9mab
Instrument Brand | Instrument Model | Data File Name | Serial Number | Measurement Types | Sample period | Meters above seafloor | Max depth rating | Aprox. data file size/deployment | Notes
Xeos | Sable Iridium Beacon | N/A | 300034012397780 | Location Beacon | N/A | 78 | 5000m | N/A
RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20151005 | 16330 | Profile of currents, velocity, acoustic backscatter | 30 seconds | 65 | 6000m | 768mB
| Anderson Sediment Trap | MBCCE_MS3_AST10m_20151005 | N/A | Grains size | 8 day intervals | 10
RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU9m_20151005 | 10750 | Optical backscatter | 10 min | 9 | 3000m | 1mB | Logs SeaTech Transmissometer S/N 264
Sea-Bird Electronics | SBE-37 Microcat | MBCCE_MS3_CT9m_20151005 | 706 | Conductivity, temp. | 1 min | 9 | 7000m | 5mB
Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20151005 | 1694 | Profile of currents, velocity, acoustic backscatter | 2 min | 9 | 6000m | 10mB
Teledyne Benthos | Acoustic Release | N/A | 28619 | N/A

## MS4_1300m
MS4
Institute | MBARI
Individuals Responsible | Barry Group
depth (m) | 1285.8 | previous loc | diff
lat | 36.7358 | 36.7358 | 0
long | -122.0165 | -122.0165 | 0
2015 MOB | 2015-10-02
2015 deployment | 2015-10-07
ship | R/V Carson
HOMER | 80 @ 10mab
Instrument Brand | Instrument Model | Data File Name | Serial Number | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Novatech | Radio Frequency Location Beacon | N/A | Channel 72 |  |  | 74
Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS4_ADCP300_20151007 | WHS300-1859 | Profile of currents, velocity, acoustic backscatter | 30 sec | 70 |  | 50MB
| Anderson Sediment Trap | MBCCE_MS4_AST10m_20151007 | N/A | Grains size | intervelometer malfunctioned | 10 |  | N/A
Prime Focus | Indented Rotating Sphere Sediment Trap (4) | MBCCE_MS4_IRSST10m_20151007 | N/A | Mass Flux, del C13, del N15, CHN, grain size analyses (?) | 16 day intervals | 10 | 6000 | samples only
WET Labs | ECO FLNTU | MBCCE_MS4_FLNTU10m_20151007 | WL-30007 | Fluorescence, optical backscatter | 5 min | 10 |  | 1MB
Teldyne Benthos | acoustic release |  | MS-4 | release |  | 8

## MS5_1500m
MS5
Institute | OUC
Individuals Responsible | Xu and OUC tech
depth (m) | 1448.9 | previous loc | diff
lat | 36.715 | 36.715 | 0
long | -122.0129 | -122.013 | 8.5e-05
2015 MOB | 2015-10-19 | rounding errror
2015 deployment | 2015-10-20 |  | anchor drop: 18:41 GMT
ship | R/V Carson
HOMER | 63 @70mab
Instrument Brand | Instrument Model | Data File Name | Serial Number | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment | start time | stop time
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20151020 | 54146 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 200 | 3000 |  | 1600, Oct. 20 2015 GMT | 1600, Apr. 30 2016 GMT
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20151020 | 54147 | Optical backscatter | SAME | 100 | 3000 |  | SAME | SAME
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU74m_20151020 | 54148 | Optical backscatter | SAME | 74 | 3000 |  | SAME | SAME
Seatech Engineering | CliST (Anderson Sediment Trap) | MBCCE_MS5_AST74m_20151020 | N/A | Grain size | intervelometer malfunctioned | 74 | 1500 |  | first disk drop approximately Oct. 25 2015
Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20151020 | 23079 | Profile of currents, velocity, acoustic backscatter | 30 sec. interval; 7 pings per ensemble | 65 | 3000 |  | 1200, Oct. 20 2015 GMT
Seatech Engineering | CliST (Anderson Sediment Trap) | MBCCE_MS5_AST11m_20151020 | N/A | Grain size | 8 days interval; delay time 9 days from Oct 16 2015 GMT | 11 | 1500 |  | first disk drop approximately Oct. 25 2015
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU11m_20151020 | 54149 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 11 | 3000 |  | 1600, Oct. 20 2015 GMT | 1600, Apr. 30 2016 GMT
RBR | RBRduo C, T | MBCCE_MS5_CT11m_20151020_0138 | 61610 | Conductivity, temp. | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec | 11 | 3000 |  | 1600, Oct. 20 2015 GMT | 1600, Apr. 30 2016 GMT
EdgeTech | PORT LF Acoustic Release | N/A | 49794; 49795 | N/A | N/A | 9 | 3000

## MS6_1800m
MS6
Institute | MBARI
Individuals Responsible | Lovera, Barry Group, Gwiazda
depth (m) | 1830.8 | previous loc | diff
lat | 36.7028 | 36.7028 | 0
long | -122.0907 | -122.0907 | 0
2015 MOB | 2015-10-12
2015 deployment | 2015-10-15
ship | R/V Western Flyer
HOMER | 65 @4mab
Instrument Brand | Instrument Model | Data File Name | Serial Number | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Xeos | XMB-11K Micro Beacon VHF | N/A |  | Location Beacon
McLane | McLane Profiler | MBCCE_MS6_20151015 | 11720 | Current, compass and tilt, conductivity, temp., pressure, fluorescence, optical backscatter, time | 30 min profile every 4.5 hrs, alternating up and down | transits between ~7m and ~507m
Teledyne Benthos | Acoustic Release | N/A | 232578-004

## MS7_1900
MS7
Institute | MBARI
Individuals Responsible | Whaling, Buck - Barry group
depth (m) | 1849 | previous loc | diff
lat | 36.7016 | 36.7016 | 0
long | -122.0975 | -122.0975 | 0
2015 MOB | 2015-10-26
2015 deployment | 2015-10-27
ship | R/V Western Flyer
Sonardyne HOMER Pro | 74 @10mab
Instrument Brand | Instrument Model | Data File Name | Serial Number | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Xeos | Radio Frequency Location Beacon | N/A | Channel 154.585 Mhz | Location Beacon |  | 349
WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU300m_20151027 | WL-30002 | Fluorescence, optical backscatter | 5 min | 300 |  | 1MB
Prime Focus | Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST300m_20151027 | NA | Mass Flux, del C13, del N15, CHN, grain size analyses (?) | 16 day intervals | 300 | 6000 | samples only
| Anderson Sediment Trap | MBCCE_MS7_AST300m_20151027 | NA | Grain size | 8 day intervals | 300
Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20151027 | WHS300-2025 | Profile of currents, velocity, acoustic backscatter | 30 sec | 70 |  | 50MB
Prime Focus | Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST10m_20151027 | NA | Mass Flux, del C13, del N15, CHN, grain size analyses (?) | 16 day intervals | 10 | 6000 | samples only
| Anderson Sed Trap | MBCCE_MS7_AST10m_20151027 | NA | Grain size | 8 day intervals | 10
WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU10m_20151027 | WL-30001 | Fluorescence, optical backscatter | 5 min | 10 |  | 1MB
Teledyne Benthos | Acoustic Release |  | 1315 | release |  | 2

## SIN_1850m
SIN
Institute | MBARI
Individuals Responsible | Chaffey, O’Reilly, Parsons
depth (m) | 1837.2 | previous loc | diff
lat | 36.7018 | 36.7018 | 0
long | -122.0939 | -122.0939 | 0
2015 MOB | 2015-10-12
2015 deployment | 2015-10-13
ship | R/V Western Flyer
HOMER | 43
Instrument Brand | Instrument Model | Data File Name | Manufacturer Serial Number | SSDS ID # | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_SIN_ADCP300_20151013 | 22697 | 1825 | Profile of currents, velocity, acoustic backscatter, pointing up | 10 sec | 0.5
Teledyne RD Instruments | Workhorse 600 kHz ADCP | MBCCE_SIN_ADCP600_20151013 | 23102 | 1828 | Profile of currents, velocity, acoustic backscatter, pointing up | 10 sec | 0.5
Teledyne RD Instruments | Workhorse 1200 kHz ADCP | MBCCE_SIN_ADCP1200_20151013 | 20661 | 1827 | Profile of currents, velocity, acoustic backscatter, pointing up | 10 sec | 0.5
Nortek | Aquadopp 2000 kHz A6L | MBCCE_SIN_Aquadopp2000_20151013 | 1995 | 1474 | Profile of currents, velocity, acoustic backscatter, pointing down | 10 sec | 1
Sea-Bird Electronics | Seabird SBE-16+ CTD (with transmissometer) | MBCCE_SIN_CTDOBSTrans_20151013 | 16P41561-4952 | 1533 | Conductivity, temp., pressure, optical backscatter, transmisivity | 2 sec | 0.8
Aanderaa | Aanderaa Oxygen Optode | MBCCE_SIN_OX_20151013 | 677 | 1524 | Dissolved oxygen | 10 sec | 0.5
Wetlabs | ECO Triplet Turbidity and Fluorescence Sensor | MBCCE_SIN_FLNTU_20151013 | WL-30010 | 1535 | Fluorescence, optical backscatter | 10 sec | 0.5
Teledyne Benthos | Acoustic Release | N/A |  |  | Deployment
Sonardyne | WMT (Wideband Mini Transponder) | N/A |  |  | Beacon on Acoustic Release gives position during deployment

## AMT_1
AMT1 (Master AMT)
Institute | MBARI
Individuals Responsible | Dave French
depth (m) | 301.9 | previous loc | diff
lat | 36.7944 | 36.7944 | 0
long | -121.848 | -121.848 | 0
2015 MOB | 2015-10-12
2015 deployment | 2015-10-13
ship | R/V Rachel Carson
HOMER | 37
Instrument Brand | Instrument Model | Data File Name | Serial Number | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Sonardyne | AMT Beacon 8305 | MBCCE_AMT1_20151013 | 299037-001 | Pressure, temperature, pitch and roll | 45 min | 2 | 5000
Teledyne Benthos | 2 Acoustic Releases with Sonardyne WMT beacon for location | N/A

## AMT_2
AMT2
Institute | MBARI
Individuals Responsible | Dave French
depth (m) | 211.3 | previous loc | diff
lat | 36.7937 | 36.7937 | 0
long | -121.8517 | -121.8517 | 0
2015 MOB | 2015-10-19
2015 deployment | 2015-10-21
ship | R/V Rachel Carson
Instrument Brand | Instrument Model | Data File Name | Serial Number | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Sonardyne | AMT Beacon 8305 | MBCCE_AMT2_20151019 | 297280-001 | range to AMT 1 and AMT 3 | 45 min | 1.5 | 3000

## AMT_3
AMT3
Institute | MBARI
Individuals Responsible | Dave French
depth (m) | 242 | previous loc | diff
lat | 36.7928 | 36.7928 | 0
long | -121.8489 | -121.8489 | 0
2015 MOB | 2015-10-19
2015 deployment | 2015-10-27
ship | R/V Rachel Carson
Instrument Brand | Instrument Model | Data File Name | Serial Number | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Sonardyne | AMT Beacon 8305 | MBCCE_AMT3_20151027 | 297280-002 | range to AMT 1 and AMT 2 | 45 min | 1.5 | 3000

## All Instruments
Data Type | Mooring | Instrument Brand | Instrument Model | Data/Sample File Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number | Measurement Types | Sample Interval |  | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
CTDOXFLOBS | MS0 | Sea-Bird Electronics | Seabird SBE-16+ CTD | MBCCE_MS0_CTDOXFLOBS_20151104 | Yes -.hex | Duplicate from processed | Yes | MBCCE_MS0_CTDOXFLOBS_20151104-trm.nc | 31 | 36.7518 | -121.8387 | 4166 | Conductivity, temp., pressure, oxygen, fluorescence, optical backscatter | 10 min |  | 0 | 2015-11-05 | 2016-04-06 22:23 | 2016-04-06 21:48 | 0:35 | ahead of GMT | Initial Sync assumed 1 day before deployment
FLNTU | MS0 | Wet Labs | ECO FLNTU RTD | MBCCE_MS0_FLNTU_20151104 | Yes | MBCCE_MS0_FLNTU_20151104.cdf | Yes | MBCCE_MS0_FLNTU_20151104.nc |  |  |  | WL-30006 | Optical backscatter, fluorescence | 5 min |  | 0 | 2015-11-02 20:06 | 2016-04-06 19:06 | 2016-04-06 19:09 | 0:03 | behind GMT | Initial Sync assumed 1 day before deployment
AWAC | MS0 | Nortek | AWAC 600KHz | MBCCE_MS0_AWAC_20151104 | Yes | MBCCE_MS0_AWAC_20151104_ProcessedWaves.nc and MBCCE_MS0_AWAC_20151104.nc | Yes | MBCCE_MS0_AWAC_20151104_ProcessedWaves.nc |  |  |  | 5471 | Waves, currents | 1 Hz measurement for 17 minutes every 120 min |  | 0 | 2015-11-05 | 2016-04-06 20:23 | 2016-04-06 20:23 | 0:00 | ahead of GMT | Initial Sync assumed 1 day before deployment
|  | Instrument Brand | Instrument Model | Data/Sample File Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number | Measurement Types | Sample Interval |  | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
TU | MS1 | RBR | Virtuoso-Tu Turbidity Sensor | MBCCE_MS1_TU65m_20151006 | Yes | MBCCE_MS1_TU65m_20151006.nc | Yes | MBCCE_MS1_TU65m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 54170 | Optical backscatter | 1 minute |  | 65 | 2015-09-22 01:01 | 2016-04-18 20:09 | 2016-04-18 20:09 | 0:00 | behind GMT
TD | MS1 | Sea-Bird Electronics | SBE-39 | MBCCE_MS1_TD65m_20151006 | Yes | MBCCE_MS1_TD65m_20151006.nc | Yes | MBCCE_MS1_TD65m_20151006.nc |  |  |  | 127 | Temp., pressure | 3 minute |  | 65 | 2015-09-21 22:17 | 2016-04-15 23:28 | 2016-04-15 23:29 | 0:02 | behind GMT
ADCP | MS1 | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS1_ADCP300_20151006 | Yes | MBCCE_MS1_ADCP300_20151006.cdf | Yes | MBCCE_MS1_ADCP300_20151006.nc |  |  |  | 587 | Profile of currents, velocity, acoustic backscatter | 30 seconds |  | 65 | 2015-09-23 | 2016-04-15 22:47 | 2016-04-15 22:50 | 0:03 | behind GMT
AST | MS1 | N/A | Anderson Sediment Trap | MBCCE_MS1_AST35m_20151006 | Yes | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and Batch1_GrainSizeResults.xlsx | N/A | N/A |  |  |  | N/A | Grains size | 8 day intervals |  | 35
TU | MS1 | RBR | Virtuoso-Tu Turbidity Sensor | MBCCE_MS1_TU35m_20151006 | Yes | MBCCE_MS1_TU35m_20151006.nc | Yes | MBCCE_MS1_TU35m_20151006.nc |  |  |  | 54126 | Optical backscatter | 1 minute |  | 35 | 2015-09-22 | 2016-04-18 20:18 | 2016-04-18 20:18 | 0:00 | behind GMT
AST | MS1 | N/A | Anderson Sediment Trap | MBCCE_MS1_AST10m_20151006 | Yes | See -G9 | N/A | N/A |  |  |  | N/A | Grains size | 8 day intervals |  | 10 | [5 empty] | Sediment trap torn off mooring. Not recovered.
CTOBSTrans | MS1 | Sea-Bird Electronics | SBE-16+ CTD w/ Turbidity | MBCCE_MS1_CTOBSTrans9m_20151006 | Yes | MBCCE_MS1_CTOBSTrans9m_20151006.nc | Yes | MBCCE_MS1_CTOBSTrans9m_20151006.nc |  |  |  | 4250 | Conductivity, Temp, optical backscatter, transmissivity | 15 minute |  | 9 | 2015-09-22 | 2016-04-18 16:29 | 2016-04-18 16:28 | 0:01 | ahead of GMT
Alt | MS1 | EofE | Echologger EA-400 Altimeter | MBCCE_MS1_Alt9m_20151006 | Yes | MBCCE_MS1_ALT9_20151006.nc | Yes | MBCCE_MS1_Alt9m_20151006.nc |  |  |  | 41411012G | Altimetry, acoustic backscatter profile | 10 minute |  | 9 | 2015-09-22 |  |  |  |  | was not recorded
ADCP | MS1 | Nortek | Aquadopp | MBCCE_MS1_Aquadopp20000_20151006 | Yes | MBCCE_MS1_Aquadopp2000_20151006.cdf | Yes | MBCCE_MS1_Aquadopp2000_20151006.nc |  |  |  | 1753 | Profile of currents, velocity, acoustic backscatter | 2 minute |  | 9 | 2015-09-29 | 2016-04-15 23:10 | 2016-04-15 23:09 | 0:01 | ahead of GMT
|  | Instrument Brand | Instrument Model | Data/Sample File Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number | Measurement Types | Sample Interval |  | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
ADCP | MS2 | RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20151005 | Yes | MBCCE_MS2_ADCP300_20151005.cdf | Yes | MBCCE_MS2_ADCP300_20151005.nc | 526.8 | 36.7883 | -121.9034 | 13016 | Profile of currents, velocity, acoustic backscatter | 30 seconds |  | 65 | 2015-09-23 20:54 | 2016-04-05 17:59 | 2016-04-05 17:58 | 0:00 | ahead of GMT
AST | MS2 | N/A | Anderson Sediment Trap | MBCCE_MS2_AST10m_20151005 | Yes | See -G9 | N/A | N/A |  |  |  | N/A | Grains size | 8 day intervals |  | 10
TU | MS2 | RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20151005 | Yes | MBCCE_MS2_TU9m_20151005.nc | Yes | MBCCE_MS2_TU9m_20151005.nc |  |  |  | 10046 | Optical backscatter | 15 minute |  | 9 | 2015-09-22 19:25 | 2016-04-05 21:43 | 2016-04-05 21:43 | 0:01 | behind GMT
CTD | MS2 | Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20151005 | Yes | MBCCE_MS2_CTD9m_20151005.nc | Yes | MBCCE_MS2_CTD9m_20151005.nc |  |  |  | 12354 | Conductivity, temp., pressure | 1 minute |  | 9 | 2015-09-21 23:23 | 2016-04-06 01:10 | 2016-04-06 01:10 | 0:00 | behind GMT
|  | Instrument Brand | Instrument Model | Data/Sample File Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number | Measurement Types | Sample Interval |  | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
ADCP | MS3 | RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20151005 | Yes | MBCCE_MS3_ADCP300_20151005.cdf | Yes | MBCCE_MS3_ADCP300_20151005.nc | 831.4 | 36.765 | -121.9697 | 16330 | Profile of currents, velocity, acoustic backscatter | 30 seconds |  | 65 | 2015-09-23 23:28 | 2016-04-05 18:06 | 2016-04-05 18:09 | 0:03 | behind GMT
AST | MS3 | N/A | Anderson Sediment Trap | MBCCE_MS3_AST10m_20151005 | Yes | See -G9 | N/A | N/A |  |  |  | N/A | Grains size | 8 day intervals |  | 10
TU | MS3 | RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU9m_20151005 | Yes | MBCCE_MS3_TU9m_20151005.nc | Yes | MBCCE_MS3_TU9m_20151005.nc |  |  |  | 10750 | Optical backscatter | 10 min |  | 9 | 2015-09-22 22:36 | 2016-04-05 23:06 | 2016-04-05 23:05 | 0:01 | ahead of GMT
CT | MS3 | Sea-Bird Electronics | SBE-37 Microcat | MBCCE_MS3_CT9m_20151005 | Yes | MBCCE_MS3_CT9m_20151005.nc | Yes | MBCCE_MS3_CT9m_20151005.nc |  |  |  | 706 | Conductivity, temp. | 1 min |  | 9 | 2015-09-21 20:50 | 2016-04-07 23:04 | 2016-04-07 23:04 | 0:00 | behind GMT
ADCP | MS3 | Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20151005 | Yes | MBCCE_MS3_Aquadopp2000_20151005.cdf | Yes | MBCCE_MS3_Aquadopp2000_20151005.nc |  |  |  | 1694 | Profile of currents, velocity, acoustic backscatter | 2 min |  | 9 |  |  |  | 0:01 | behind GMT
|  | Instrument Brand | Instrument Model | Data/Sample File Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number | Measurement Types | Sample Interval |  | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
ADCP | MS4 | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS4_ADCP300_20151007 | Yes -.000 | Data corrupted | Yes - .mat & .___ | Data corrupted | 1285.8 | 36.7358 | -122.0165 | WHS300-1859 | Profile of currents, velocity, acoustic backscatter | 30 sec |  | 70 | [5 empty] | Data not recoverable
AST | MS4 | N/A | Anderson Sediment Trap | MBCCE_MS4_AST10m_20151007 | Yes | See -G9 | N/A | N/A |  |  |  | N/A | Grains size | intervelometer malfunctioned |  | 10
IRSST | MS4 | Prime Focus | Indented Rotating Sphere Sediment Trap (4) | MBCCE_MS4_IRSST10m_20151007 | N/A | N/A | N/A | N/A |  |  |  | N/A | Mass Flux, del C13, del N15, CHN, grain size analyses (?) | 16 day intervals |  | 10
FLNTU | MS4 | WET Labs | ECO FLNTU | MBCCE_MS4_FLNTU10m_20151007 | Yes | MBCCE_MS4_FLNTU10m_20151007.cdf | Yes | MBCCE_MS4_FLNTU10m_20151007.nc |  |  |  | WL-30007 | Fluorescence, optical backscatter | 5 min |  | 10 | 2015-10-06 16:50 | 2016-04-07 17:55 | 2016-04-07 18:10 | 0:14 | behind GMT
|  | Instrument Brand | Instrument Model | Data/Sample File Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number | Measurement Types | Sample Interval |  | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
TU | MS5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20151020 | Yes -.rsk & .xlsx | Duplicate from processed | Yes | MBCCE_MS5_TU200m_20151020.nc | 1448.9 | 36.715 | -122.0129 | 54146 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec |  | 200 | 2015-10-19 | 2016-04-06 17:29 | 2016-04-06 17:29 | 0 |  | Initial Sync assumed 1 day before deployment. Check time was using an iPhone (local) with no seconds displayed. Local was converted to GMT for this table.
TU | MS5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20151020 | Yes -.rsk & .xlsx | Duplicate from processed | Yes | MBCCE_MS5_TU100m_20151020.nc |  |  |  | 54147 | Optical backscatter | SAME |  | 100 | 2015-10-19 | 2016-04-06 17:08 | 2016-04-06 17:08 | 0 |  | Initial Sync assumed 1 day before deployment. Check time was using an iPhone (local) with no seconds displayed. Local was converted to GMT for this table.
TU | MS5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU74m_20151020 | Yes -.rsk & .xlsx | Duplicate from processed | Yes | MBCCE_MS5_TU74m_20151020.nc |  |  |  | 54148 | Optical backscatter | SAME |  | 74 | 2015-10-19 | 2000-01-01 | data ended 12/21/2015 18:56:00 | 0 |  | Initial Sync assumed 1 day before deployment. Check time was using an iPhone (local) with no seconds displayed. Local was converted to GMT for this table.
AST | MS5 | Seatech Engineering | CliST (Anderson Sediment Trap) | MBCCE_MS5_AST74m_20151020 | Yes | See -G9 | N/A | N/A |  |  |  | N/A | Grain size | intervelometer malfunctioned |  | 74
ADCP | MS5 | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20151020 | Yes | MBCCE_MS5_ADCP300_20151020.cdf | Yes | MBCCE_MS5_ADCP300_20151020.nc |  |  |  | 23079 | Profile of currents, velocity, acoustic backscatter | 30 sec. interval; 7 pings per ensemble |  | 65 | 2015-10-19 | 2016-04-06 18:11 | 2016-04-06 18:11 | 6 seconds behind |  | Initial Sync assumed 1 day before deployment. Check time was using an iPhone (local) with no seconds displayed. Local was converted to GMT for this table.
AST | MS5 | Seatech Engineering | CliST (Anderson Sediment Trap) | MBCCE_MS5_AST11m_20151020 | Yes | See -G9 | N/A | N/A |  |  |  | N/A | Grain size | 8 days interval; delay time 9 days from Oct 16 2015 GMT |  | 11
TU | MS5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU11m_20151020 | Yes -.rsk & .xlsx | Duplicate from processed | Yes | MBCCE_MS5_TU11m_20151020.nc |  |  |  | 54149 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec |  | 11 | 2015-10-19 | 2116-04-06 17:04 | 2116-04-06 17:04 | 0 |  | Initial Sync assumed 1 day before deployment. Check time was using an iPhone (local) with no seconds displayed. Local was converted to GMT for this table.
CT | MS5 | RBR | RBRduo C, T | MBCCE_MS5_CT11m_20151020_0138 | Yes -.rsk & .xlsx | Duplicate from processed | Yes | MBCCE_MS5_CT11m_20151020_0138.nc |  |  |  | 61610 | Conductivity, temp. | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec |  | 11 | 2015-10-19 | 2016-04-06 17:36 | 2016-04-06 17:36 | 0 |  | Initial Sync assumed 1 day before deployment. Check time was using an iPhone (local) with no seconds displayed. Local was converted to GMT for this table.
|  | Instrument Brand | Instrument Model | Data/Sample File Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number | Measurement Types | Sample Interval |  | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
McLane | MS6 | McLane | McLane Profiler | MBCCE_MS6_20151015 | Yes -lots?? | No | Yes-------------no | MBCCE_MS6_20151015.nc | 1830.8 | 36.7028 | -122.0907 | 11720 | Current, compass and tilt, conductivity, temp., pressure, fluorescence, optical backscatter, time | 30 min profile every 4.5 hrs, alternating up and down |  | transits between ~7m and ~507m | 2015-10-14
|  | Instrument Brand | Instrument Model | Data/Sample File Name | File in CCE_Archive? | Net cdf in CCE_Archive? | file in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number | Measurement Types | Sample Interval |  | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
FLNTU | MS7 | WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU300m_20151027 | Yes | MBCCE_MS7_FLNTU300m_20151027.cdf | Yes | MBCCE_MS7_FLNTU300m_20151027.nc | 1849 | 36.7016 | -122.0975 | WL-30002 | Fluorescence, optical backscatter | 5 min |  | 300 | 2015-10-11 19:16 | 2016-04-13 15:47 | 2016-04-13 15:54 | 0:07 | behind GMT | Stopped logging at 01/06/2016 14:36:29
IRSST | MS7 | Prime Focus | Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST300m_20151027 | N/A | N/A | N/A | N/A |  |  |  | NA | Mass Flux, del C13, del N15, CHN, grain size analyses (?) | 16 day intervals |  | 300
AST | MS7 | N/A | Anderson Sediment Trap | MBCCE_MS7_AST300m_20151027 | Yes | See -G9 | N/A | N/A |  |  |  | NA | Grain size | 8 day intervals |  | 300
ADCP | MS7 | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20151027 | Yes | MBCCE_MS7_ADCP300_20151027.cdf | Yes | MBCCE_MS7_ADCP300_20151027.nc |  |  |  | WHS300-2025 | Profile of currents, velocity, acoustic backscatter | 30 sec |  | 70 | 2015-10-17 | 2016-04-12 17:26 | 2016-04-12 17:28 | 0:02 | behind GMT | Initial Sync assumed 1 day before deployment
IRSST | MS7 | Prime Focus | Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST10m_20151027 | N/A | N/A | N/A | N/A |  |  |  | NA | Mass Flux, del C13, del N15, CHN, grain size analyses (?) | 16 day intervals |  | 10
AST | MS7 | N/A | Anderson Sed Trap | MBCCE_MS7_AST10m_20151027 | Yes | See -G9 | N/A | N/A |  |  |  | NA | Grain size | 8 day intervals |  | 10
FLNTU | MS7 | WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU10m_20151027 | Yes | MBCCE_MS7_FLNTU10m_20151027.cdf | Yes | MBCCE_MS7_FLNTU10m_20151027.nc |  |  |  | WL-30001 | Fluorescence, optical backscatter | 5 min |  | 10 | 2015-10-11 18:43 | 2016-04-13 15:28 | 2016-04-13 15:33 | 0:05 | behind GMT | Stopped logging at 01/07/2016 12:20:08
|  | Instrument Brand | Instrument Model | Data/Sample File Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number | Measurement Types | Sample Interval | SSDS # | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
ADCP | SIN | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_SIN_ADCP300_20151013 | Yes | MBCCE_SIN_ADCP300_20151013.cdf | Yes | MBCCE_SIN_ADCP300_20151013.nc | 1837.2 | 36.7018 | -122.0939 | 22697 | Profile of currents, velocity, acoustic backscatter, pointing up | 10 sec | 1825 | 0.5 | 2015-10-12 | 2016-04-14 19:04 | 04/14/16 19:03:37 | 0:00 | ahead of GMT | NOTE, for this deployment only, ADCP's were on local (Pacific) time. Clock drift times were converted to GMT for this table.
ADCP | SIN | Teledyne RD Instruments | Workhorse 600 kHz ADCP | MBCCE_SIN_ADCP600_20151013 | Yes | MBCCE_SIN_ADCP600_20151013.cdf | Yes | MBCCE_SIN_ADCP600_20151013.nc |  |  |  | 23102 | Profile of currents, velocity, acoustic backscatter, pointing up | 10 sec | 1828 | 0.5 | 2015-10-12 | 2016-04-14 19:23 | 04/14/16 19:21:49 | 0:01 | ahead of GMT | NOTE, for this deployment only, ADCP's were on local (Pacific) time. Clock drift times were converted to GMT for this table.
ADCP | SIN | Teledyne RD Instruments | Workhorse 1200 kHz ADCP | MBCCE_SIN_ADCP1200_20151013 | Yes | MBCCE_SIN_ADCP1200_20151013.cdf | Yes | MBCCE_SIN_ADCP1200_20151013.nc |  |  |  | 20661 | Profile of currents, velocity, acoustic backscatter, pointing up | 10 sec | 1827 | 0.5 | 2015-10-12 | 2016-04-14 20:59 | 2016-04-14 20:59 | 0:00 | ahead of GMT | NOTE, for this deployment only, ADCP's were on local (Pacific) time. Clock drift times were converted to GMT for this table.
ADCP | SIN | Nortek | Aquadopp 2000 kHz A6L | MBCCE_SIN_Aquadopp2000_20151013 | Yes -.prf | No | No | Ignore data |  |  |  | 1995 | Profile of currents, velocity, acoustic backscatter, pointing down | 10 sec | 1474 | 1 | 2015-10-12 | 2016-04-15 22:37 | 2016-04-15 22:36 | 0:01 | ahead of GMT
CTDOBSTrans | SIN | Sea-Bird Electronics | Seabird SBE-16+ CTD (with transmissometer) | MBCCE_SIN_CTDOBSTrans_20151013 | Yes | MBCCE_SIN_CTDOBSTrans_20151013_original.nc | Yes | MBCCE_SIN_CTD_20151013_timecorrected.nc |  |  |  | 16P41561-4952 | Conductivity, temp., pressure, optical backscatter, transmisivity | 2 sec | 1533 | 0.8 | no internal clock |  |  | Time corrected |  | Conductivity data is bad after the January 15th event.
OX | SIN | Aanderaa | Aanderaa Oxygen Optode | MBCCE_SIN_OX_20151013 | Yes | MBCCE_SIN_OX_20151013_original.nc | Yes | MBCCE_SIN_OX_20151013_timecorrected.nc |  |  |  | 677 | Dissolved oxygen | 10 sec | 1524 | 0.5 | no internal clock |  |  | Time corrected
FLNTU | SIN | Wetlabs | ECO Triplet Turbidity and Fluorescence Sensor | MBCCE_SIN_FLNTU_20151013 | Yes | MBCCE_SIN_FLNTU_20151013_original.nc | Yes | MBCCE_SIN_FLNTU_20151013_timecorrected.nc |  |  |  | WL-30010 | Fluorescence, optical backscatter | 10 sec | 1535 | 0.5 | no internal clock |  |  | Time corrected
|  |  | SIN system clock | Node 2 | [12 empty] | 2015-10-12 | 2016-04-14 23:15 | 2016-04-14 23:07 | 0:08 | ahead of GMT | On 2/18/2016 7:19:47 PM (realtime clock) the system started to reboot continuously until 2/29/2016 7:57:47 pm (realtime clock) when it resynced the system clock with the real time clock and resumed normal operations . The offset between system clock and realtime clock throughout the deployment should be broken into two segments. Between 10/10/15 18:44:12 pm (both clocks) to 2/18/2016 7:19:47 pm (real time clock): the offset reached 1305 seconds (system clock ahead) ; and from 2/29/2016 7:57:47 pm (both clocks) to 4/14/16 10:54:30 pm (real time clock) the offset reached 459 seconds (system clock ahead). In both periods the offset grew linearly. See file: file:///Volumes/CCE_Processed/BIN/20151013/clocks/bin_clocks.html In addition, there was an offset of 10 seconds from deployment time 10/12/15 00:00:00 to recovery ( 4/14/16 11:07:00 GMT) between the real time clock and GMT time, with the realtime clock being ahead at recovery.
|  |  | SIN realtime clock | Node 2 | [12 empty] | 2015-10-12 | 2016-04-14 23:07 | 2016-04-14 23:07 | 0:00 | ahead of GMT
|  | Instrument Brand | Instrument Model | Data/Sample File Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number | Measurement Types | Sample Interval |  | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
|  | Sonardyne | AMT Beacon 8305 | MBCCE_AMT1_20151013 | Yes -.csv | No | Yes -.xls | MBCCE_AMT1_20151013_to_20160428.csv | 301.9 | 36.7944 | -121.848 | 299037-001 | Pressure, temperature, pitch and roll | 45 min |  | 2 | [5 empty] | AMT recorded info every 45 min. Clock drift not an issue.
|  | Sonardyne | AMT Beacon 8305 | MBCCE_AMT2_20151019 | Yes -.csv | No | Yes -.xls | MBCCE_AMT2_20151027_to_20160405.csv | 211.3 | 36.7937 | -121.8517 | 297280-001 | range to AMT 1 and AMT 3 | 45 min |  | 1.5
|  | Sonardyne | AMT Beacon 8305 | MBCCE_AMT3_20151027 | Yes -.csv | No | Yes -.xls | MBCCE_AMT3_20151027_to_20160416.csv | 242 | 36.7928 | -121.8489 | 297280-002 | range to AMT 1 and AMT 2 | 45 min |  | 1.5
138

## Sediemnt Traps
Instrument Model | Data/Sample File Name | Meters above seafloor
Anderson Sediment Trap | MBCCE_MS1_AST35m_20151006 | 35
Anderson Sediment Trap | MBCCE_MS1_AST10m_20151006 no samples recovered | 10
Anderson Sediment Trap | MBCCE_MS2_AST10m_20151005 | 9
Anderson Sediment Trap | MBCCE_MS3_AST10m_20151005 | 9
Anderson Sediment Trap | MBCCE_MS4_AST10m_20151007 | 10
Indented Rotating Sphere Sediment Trap (4) | MBCCE_MS4_IRSST10m_20151007 | 10
CliST (Anderson Sediment Trap) | MBCCE_MS5_AST74m_20151020 | 74
CliST (Anderson Sediment Trap) | MBCCE_MS5_AST11m_20151020 | 11
Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST300m_20151027 | 300
Anderson Sediment Trap | MBCCE_MS7_AST300m_20151027 | 300
Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST10m_20151027 | 10
Anderson Sed Trap | MBCCE_MS7_AST10m_20151027 | 10
Instrument Model | Data/Sample File Name | Meters above seafloor
Indented Rotating Sphere Sediment Trap (4) | MBCCE_MS4_IRSST10m_20151007 | 10
Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST300m_20151027 | 300
Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST10m_20151027 | 10