## MS0
MS0
Institute | MBARI
Individuals Responsible | Chris Lovera
depth (m) | 31 | previous loc | diff
lat | 36.7519 | 36.7519 | 0
long | -121.8387 | -121.8387 | 0
2016 deployment | 2016-10-24
ship | R/V Rachel Carson
HOMER (switched from 22 to 28) | 28
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Sea-Bird Electronics | Seabird SBE-16+ CTD | MBCCE_MS0_CTDOXFLOBS_20161024 |  | 4166 | Conductivity, temp., pressure, oxygen, fluorescence, optical backscatter | 10 min | 0 | 6000m
Wet Labs | ECO FLNTU RTD | MBCCE_MS0_FLNTU_20161024 |  | WL-30006 | Optical backscatter, fluorescence | 5 min | 0 | 6000m
Nortek | AWAC 600KHz | MBCCE_MS0_AWAC_20161024 |  | 5471 | Waves, currents | 1 Hz measurement for 17 minutes for every 120 min | 0 | 1000m

## MS1_300m
MS1
Institute | USGS
Individuals Responsible | Kurt Rosenburger
depth (m) | 290.3 | previous loc | diff
lat | 36.7936 | 36.7936 | 0
long | -121.8457 | -121.8457 | 0
2016 deployment | 2016-10-06
ship | R/V Carson
HOMER | 10
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurement Types | Sample period | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Xeos | Apollo |  |  | 300434060078130 | Iridium Beacon | N/A | 65 | 5000m | N/A
RBR | Virtuoso-Tu | MBCCE_MS1_TU65m_20161006 |  | 54170 | Optical backscatter | 1 minute | 65 | 740m | 10mB
Sea-Bird Electronics | SBE-39 | MBCCE_MS1_TD65m_20161006 |  | 128 | Temp., pressure | 3 minute | 65 | 500m | 3mB
Teledyne RD Instruments | 300kHz WH | MBCCE_MS1_ADCP300up_20161006 |  | 587 | Profile of currents, velocity, acoustic backscatter | 1 minute | 65 | 500m | 768mB
Teledyne RD Instruments | 300kHz WH | MBCCE_MS1_ADCP300down_20161006 |  | 473 | Profile of currents, velocity, acoustic backscatter | 30 seconds | 65 | 500m | 768mB
| Anderson Sediment Trap | MBCCE_MS1_AST35_20161006 |  | N/A | Grain Size | 8 day intervals | 35
Sequoia Scientific | LISST-25X | MBCCE_MS1_SED35m_20161006 |  | 143 | Suspended Sediment | 10 minute | 35 | 300m | 5mB
RBR | Virtuoso-Tu | MBCCE_MS1_TU35m_20161006 |  | 54126 | Optical backscatter | 1 minute | 35 | 740m | 1mB
Valeport | MK-106 | MBCCE_MS1_CUR11m_20161006 |  | 54795 | Currents | 5 minute | 11 | 500m | 1mB
| Anderson Sediment Trap | MBCCE_MS1_AST10_20161006 |  | N/A | Grain Size | 8 day intervals | 10
Nortek | Aquadopp | MBCCE_MS1_Aquadopp2000_20161006 |  | 1753 | Profile of currents, velocity, acoustic backscatter | 3 minute | 10 | 500m | 20mB
EofE | Echologger EA-400 Altimeter | MBCCE_MS1_Alt9m_20161006 |  | 41411012G | Altimetry, acoustic backscatter profile | 6 minute | 10 | 1000m | 2GB
Sea-Bird Electronics | SBE-37 | MBCCE_MS1_CT9m_20161006 |  | 466 | Salinity, temp. | 1 minute | 9 | 7000m | 5mB
Sonardyne | Homer 10 | N/A |  | 68927-004 | Homer Beacon 10 (AD4, RE1) | N/A | 9 | 500m
Teledyne Benthos | Acoustic Release | N/A |  |  | N/A

## MS2_500m
MS2
Institute | NOC-Hull
Individuals Responsible | Kurt Rosenberger
depth (m) | 526.3 | previous loc | diff
lat | 36.7886 | 36.7886 | 0
long | -121.9034 | -121.9034 | 0
2016 deployment | 2016-10-06
ship | R/V Carson
HOMER | 20 @ 9mab
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurement Types | Sample period | MAB | Max depth rating | Aprox. data file size/deployment | Notes
Xeos | Sable Iridium Beacon |  |  | 300234063952300 | Location Beacon | N/A | 75 | 5000m | N/A
Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20161006 |  | 13016 | Profile of currents, velocity, acoustic backscatter | 30 seconds | 65 | 1000m | 768mB
| Anderson Sediment Trap | MBCCE_MS2_AST10m_20161006 |  | N/A | Grains size | 8 day intervals | 10
RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20161006 |  | 10046 | Optical backscatter | 3 minute | 10 | 2000m | 3mB | Logs Seapoint OBS and Wetlabs Cstar Transmissometer
Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20161006 |  | 1700 | Conductivity, temp., pressure | 1 minute | 9 | 7000m | 3mB
Sonardyne | Homer 20
Teledyne Benthos | Acoustic Release |  |  | 28620 | N/A

## MS3_800m
MS3
Institute | USGS
Individuals Responsible | Kurt Rosenberger
depth (m) | 829.1 | previous loc | diff
lat | 36.7655 | 36.7655 | 0
long | -121.9693 | -121.9693 | 0
2016 deployment | 2016-10-06
ship | R/V Carson
HOMER | 30 @9mab
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurement Types | Sample period | MAB | Max depth rating | Aprox. data file size/deployment | Notes
Xeos | Apollo | N/A |  | 300434061500080 | Location Beacon | N/A | 78 | 5000m | N/A
Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20161006 |  | 16330 | Profile of currents, velocity, acoustic backscatter | 30 seconds | 65 | 6000m | 768mB
| Anderson Sediment Trap | MBCCE_MS3_AST35m_20161006 |  | N/A | Grains size | intervelometer malfunctioned | 35
RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU35m_20161006 |  | 10027 | Optical backscatter | 10 min | 35 | 3000m | 1mB | Logs Seapoint OBS 12140
| Anderson Sediment Trap | MBCCE_MS3_AST10m_20161006 |  | N/A | Grains size | 8 day interval | 10
RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU10m_20161006 |  | 10755 | Optical backscatter | 10 min | 10 | 3000m | 1mB | Logs SeaTech Transmissometer S/N 264
Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS3_CT9m_20161006 |  | 12354 | Conductivity, temp. | 1 min | 9 | 7000m | 5mB
Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20161006 |  | 1694 | Profile of currents, velocity, acoustic backscatter | 2 min | 9 | 6000m | 10mB | Logs Seapoint OBS 14921
Sonardyne | HOMER 30 | N/A
Teledyne Benthos | Acoustic Release | N/A |  | 28619 | N/A

## MS4_1300m
MS4
Institute | MBARI
Individuals Responsible | Barry Group
depth (m) | 1285.9 | previous loc | diff
lat | 36.7361 | 36.7361 | 0
long | -122.0172 | -122.0172 | 0
2016 deployment | 2016-10-07
ship | R/V Carson
HOMER | 80 @ 10mab
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurement Types | Sample Interval | MAB | Max depth rating | Aprox. data file size/deployment
Novatech | Radio Frequency Location Beacon |  |  | Channel 72 |  |  | 74
Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP (dif serial # from Oct) | MBCCE_MS4_ADCP300_20161007 |  | WHS300-2024 | Profile of currents, velocity, acoustic backscatter | 30 sec | 70 |  | 50MB
| Anderson Sediment Trap | MBCCE_MS4_AST10m_20161007 |  | N/A | Grains size | 8 day intervals | 10 |  | N/A
Prime Focus | Indented Rotating Sphere Sediment Trap (4) | MBCCE_MS4_IRSST10m_20161007 |  | N/A | Mass Flux, del C13, del N15, CHN, grain size analyses (?) | 16 day intervals | 10 | 6000 | samples only
WET Labs | ECO FLNTU | MBCCE_MS4_FLNTU10m_20161007 |  | WL-30007 | Fluorescence, optical backscatter | 5 min | 10 |  | 1MB
Sonardyne | HOMER 80
Teldyne Benthos | acoustic release |  |  | 10?36 | release |  | 8

## MS5_1500m
MS5
Institute | OUC
Individuals Responsible | Xu
depth (m) | 1438.7 | previous loc | diff
lat | 36.7163 | 36.7163 | 0
long | -122.0128 | -122.0128 | 0
2016 deployment | 2016-10-07
ship | R/V Carson
HOMER | 63
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20161007 |  | 54148 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 200 | 3000
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20161007 |  | 54146 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 100 | 3000
Seatech Engineering | CliST (Anderson Sediment Trap) | MBCCE_MS5_AST70m_20161007 |  | N/A | Grain size | 6 day interval; | 74 | 1500
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU70m_20161007 |  | 54147 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 70 | 3000 |  | Homer 63 here
Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20161007 |  | 23079 | Profile of currents, velocity, acoustic backscatter | 30 sec. interval; 7 pings per ensemble | 65 | 3000
RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU10m_20161007 |  | 54149 | Optical backscatter | 30 sec. interval; 7 pings per ensemble | 10 | 3000
RBR | RBRduo C, T | MBCCE_MS5_CT10m_20161007 |  | 61610 | Conductivity, temp. | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec | 10 | 3000
Seatech Engineering | CliST (Anderson Sediment Trap) | MBCCE_MS5_AST10m_20161007 |  | N/A | Grain size | 6 day interval; | 11 | 1500
Sonardyne | Homer 63 | N/A |  |  |  |  | 10
EdgeTech | PORT LF Acoustic Release | N/A |  | 49794; 49795 | N/A | N/A | 9 | 3000

## MS6_1800m
MS6
Institute | MBARI
Individuals Responsible | Lovera, Barry Group, Gwiazda
depth (m) | 1824.5 | previous loc | diff
lat | 36.7024 | 36.7024 | 0
long | -122.0898 | -122.0898 | 0
2016 deployment | 2016-10-19
ship | R/V Western Flyer
HOMER | 65
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Xeos |  | N/A |  | Channel 154.585 Mhz | Location Beacon
McLane | McLane Profiler | MBCCE_MS6_20161019 |  | 11720 | Current, compass and tilt, conductivity, temp., pressure, fluorescence, optical backscatter, time | 30 min profile every 4.5 hrs, alternating up and down | transits between ~7m and ~507m
Sonardyne | HOMER 65 | N/A |  |  |  |  | 4
Teledyne Benthos | Acoustic Release | N/A |  | 232578-004 |  |  | 4

## MS7_1900
MS7
Institute | MBARI
Individuals Responsible | Whaling, Buck - Barry group
depth (m) | 1851 | previous loc | diff
lat | 36.7019 | 36.7019 | 0
long | -122.0987 | -122.0987 | 0
2016 deployment | 2016-10-19
ship | R/V Western Flyer
Sonardyne HOMER Pro | 74
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Serial Number | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Novatech | RF-700A1 | N/A |  | S01-256 | Radio Frequency Location Beacon | Channel 71 | 349
WET Labs | ECO FLNTU | MBCCE_MS7_FLNTU300m_20161019 |  | WL-30001 | Fluorescence, optical backscatter | 5 min | 300 |  | 1MB
Prime Focus | Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST300m_20161019 |  | NA | Mass Flux, del C13, del N15, CHN, grain size analyses (?) | 16 day intervals | 300 | 6000 | samples only
N/A | Anderson Sediment Trap | MBCCE_MS7_AST300m_20161019 |  | NA | Grain size | 8 day intervals | 300
Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20161019 |  | WHS300-2025 | Profile of currents, velocity, acoustic backscatter | 30 sec | 70 |  | 50MB
Prime Focus | Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST10m_20161019 |  | NA | Mass Flux, del C13, del N15, CHN, grain size analyses (?) | 16 day intervals | 10 | 6000 | samples only
N/A | Anderson Sed Trap | MBCCE_MS7_AST10m_20161019 |  | NA | Grain size | 8 day intervals | 10
WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU10m_20161019 |  | WL-30002 | Fluorescence, optical backscatter | 5 min | 10 |  | 1MB
Sonardyne | HOMER 74 | N/A |  |  |  |  | 4
Teledyne Benthos | Acoustic Release | N/A |  | 1315 | release |  | 4

## SIN_1850m
SIN
Institute | MBARI
Individuals Responsible | Chaffey, O’Reilly, Parsons
depth (m) | 1837.8 | previous loc | diff
lat | 36.7018 | 36.7018 | 0
long | -122.0939 | -122.0939 | 0
2016 deployment | 2016-10-18
ship | R/V Western Flyer
HOMER | 43
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive? | Manufacturer serial number | SSDS ID # | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_SIN_ADCP300_20161018 |  | 22697 | 1825 | Profile of currents, velocity, acoustic backscatter, pointing up | 10 sec | 0.5
Teledyne RD Instruments | Workhorse 600 kHz ADCP | MBCCE_SIN_ADCP600_20161018 |  | 23102 | 1828 | Profile of currents, velocity, acoustic backscatter, pointing up | 10 sec | 0.5
Teledyne RD Instruments | Workhorse 1200 kHz ADCP | MBCCE_SIN_ADCP1200_20161018 |  | 20662 | 1827 | Profile of currents, velocity, acoustic backscatter, pointing up | 10 sec | 0.5
Nortek | Aquadopp 2000 kHz A6L | MBCCE_SIN_Aquadopp2000_20161018 |  | AQD 1995 | 1474 | Profile of currents, velocity, acoustic backscatter, pointing down | 10 sec | 1
Sea-Bird Electronics | Seabird SBE-19+ CTD (with transmissometer) | MBCCE_SIN_CTDOBSTrans_20161018 |  | 16P41561-4952 | 1533 | Conductivity, temp., pressure, optical backscatter, transmisivity | 2 sec | 0.8
Aanderaa | Aanderaa Oxygen Optode | MBCCE_SIN_OX_20161018 |  | 3830 | 1524 | Dissolved oxygen | 10 sec | 0.5
Wetlabs | ECO Triplet Turbidity and Fluorescence Sensor | MBCCE_SIN_FLNTU_20161018 |  | WL-30009 | 1536 | Fluorescence, optical backscatter | 10 sec | 0.5
Teledyne Benthos | Acoustic Release | N/A |  |  |  | Deployment
Sonardyne | WMT (Wideband Mini Transponder) | N/A |  |  |  | Beacon on Acoustic Release gives position during deployment

## AMT_1
AMT1 (Master AMT)
Institute | MBARI
Individuals Responsible | Dave French
depth (m) | 299.9003 | previous loc | diff
lat | 36.7943 | 36.7943 | 0
long | -121.8478 | -121.8478 | 0
2016 deployment | 2016-10-10
ship | R/V Western Flyer
HOMER | 41
Instrument Brand | Instrument Model | Data File Name | Serial Number | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Sonardyne | AMT Beacon 8305 | MBCCE_AMT1_BED11_20161010 | 299037-001 | Pressure, temperature, pitch and roll | 45 min | 2 | 5000
Teledyne Benthos | 2 Acoustic Releases with Sonardyne WMT beacon for location | N/A

## AMT_2
AMT2
Institute | MBARI
Individuals Responsible | Dave French
depth (m) | 206.7 | previous loc | diff
lat | 36.7938 | 36.7938 | 0
long | -121.8517 | -121.8517 | 0
2016 deployment | 2016-10-05
ship | R/V Rachel Carson
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive | Serial Number | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Sonardyne | AMT Beacon 8305 | MBCCE_AMT2_20161005 |  | 297280-001 | range to AMT 1 and AMT 3 | 45 min | 1.5 | 3000

## AMT_3
AMT3
Institute | MBARI
Individuals Responsible | Dave French
depth (m) | 238.9 | previous loc | diff
lat | 36.7928 | 36.7928 | 0
long | -121.849 | -121.849 | 0
2016 deployment | 2016-10-05
ship | R/V Rachel Carson
Instrument Brand | Instrument Model | Data File Name | Data file on CCE_Archive | Serial Number | Measurement Types | Sample Interval | Meters above seafloor | Max depth rating | Aprox. data file size/deployment
Sonardyne | AMT Beacon 8305 | MBCCE_AMT3_20161005 |  | 297280-002 | range to AMT 1 and AMT 2 | 45 min | 1.5 | 3000

## All Instruments
Data Type | Mooring | Instrument Brand | Instrument Model | Data File/ Sample Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number | Measurement Types | Sample Interval |  | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
CTDOXFLOBS | MS0 | Sea-Bird Electronics | Seabird SBE-16+ CTD | MBCCE_MS0_CTDOXFLOBS_20161024 | Yes | Duplicate from Processed | Yes | MBCCE_MS0_CTDOXFLOBS_20161024.nc | 31 | 36.7519 | -121.8387 | 4166 | Conductivity, temp., pressure, oxygen, fluorescence, optical backscatter | 10 min |  | 0
FLNTU | MS0 | Wet Labs | ECO FLNTU RTD | MBCCE_MS0_FLNTU_20161024 | No | No Data | No | No Data |  |  |  | WL-30006 | Optical backscatter, fluorescence | 5 min |  | 0 | [5 empty] | FLNTU failed
AWAC | MS0 | Nortek | AWAC 600KHz | MBCCE_MS0_AWAC_20161024 | Yes | MBCCE_MS0_AWAC_20161024.cdf | Yes | MBCCE_MS0_AWAC_20161014_ProcessedWaves.nc and MBCCE_MS0_AWAC_20161024.nc |  |  |  | 5471 | Waves, currents | 1 Hz measurement for 17 minutes for every 120 min |  | 0
|  | Instrument Brand | Instrument Model | Data File/ Sample Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number | Measurement Types | Sample Interval |  | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
TU | MS1 | RBR | Virtuoso-Tu | MBCCE_MS1_TU65m_20161006 | Yes -.rsk & .txt | Duplicate from Processed | Yes | MBCCE_MS1_TU65m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 54170 | Optical backscatter | 1 minute |  | 65 | 2016-08-29 21:02 |  |  |  |  | Clock was reset on recovery
TD | MS1 | Sea-Bird Electronics | SBE-39 | MBCCE_MS1_TD65m_20161006 | Yes -.asc & .cap | Duplicate from Processed | Yes | MBCCE_MS1_TD65m_20161006.nc |  |  |  | 128 | Temp., pressure | 3 minute |  | 65 | 2016-08-30 18:08 | 2017-03-23 00:42 | 2017-03-23 00:42 | 0:00 | behind GMT
ADCP | MS1 | Teledyne RD Instruments | 300kHz WH | MBCCE_MS1_ADCP300up_20161006 | Yes | MBCCE_MS1_ADCP300up_20161006.cdf | Yes | MBCCE_MS1_ADCP300up_20161006.nc |  |  |  | 587 | Profile of currents, velocity, acoustic backscatter | 1 minute |  | 65 | 2016-10-02 16:21 | 2017-03-22 19:25 | 2017-03-22 19:31 | 0:06 | behind GMT
ADCP | MS1 | Teledyne RD Instruments | 300kHz WH | MBCCE_MS1_ADCP300down_20161006 | Yes -.txt & .000 | Duplicate from Processed | Yes | MBCCE_MS1_ADCP300down_20161006.nc |  |  |  | 473 | Profile of currents, velocity, acoustic backscatter | 30 seconds |  | 65 | 2016-10-04 23:43 | 2017-03-22 19:50 | 2017-03-22 19:52 | 0:02 | behind GMT
AST | MS1 | N/A | Anderson Sediment Trap | MBCCE_MS1_AST35_20161006 | Yes | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and Batch3_GrainSizeResults.xlsx | N/A | N/A |  |  |  | N/A | Grain Size | 8 day intervals |  | 35 | N/A | N/A | N/A | N/A | N/A
SED | MS1 | Sequoia Scientific | LISST-25X | MBCCE_MS1_SED35m_20161006 | Yes -.dat | Ignore Data | No | Ignore Data |  |  |  | 143 | Suspended Sediment | 10 minute |  | 35 | 2016-10-03 19:03 | 0 |  |  |  | Clock was reset on recovery
TU | MS1 | RBR | Virtuoso-Tu | MBCCE_MS1_TU35m_20161006 | Yes -.rsk & .txt | Duplicate from Processed | Yes | MBCCE_MS1_TU35m_20161006.nc |  |  |  | 54126 | Optical backscatter | 1 minute |  | 35 | 2016-08-29 21:30 | 2017-03-22 21:22 | 2017-03-22 21:22 | 0:00 | behind GMT
CUR | MS1 | Valeport | MK-106 | MBCCE_MS1_CUR11m_20161006 | Yes -.txt & .vpd | Ignore Data | No | Ignore data |  |  |  | 54795 | Currents | 5 minute |  | 11 | 2016-08-30 21:22 | 2017-03-24 00:44 | 2017-03-24 00:47 | 0:03 | behind GMT
AST | MS1 | N/A | Anderson Sediment Trap | MBCCE_MS1_AST10_20161006 | Yes | See -G10 | N/A | N/A |  |  |  | N/A | Grain Size | 8 day intervals |  | 10 | N/A | N/A | N/A | N/A | N/A
ADCP | MS1 | Nortek | Aquadopp | MBCCE_MS1_Aquadopp2000_20161006 | Yes | MBCCE_MS1_Aquadopp2000_20161006.cdf | Yes | MBCCE_MS1_Aquadopp2000_20161006.nc |  |  |  | 1753 | Profile of currents, velocity, acoustic backscatter | 3 minute |  | 10 | 2016-09-28 22:00 | 2017-03-23 17:18 | 2017-03-23 17:18 | 0:01 | ahead of GMT
Alt | MS1 | EofE | Echologger EA-400 Altimeter | MBCCE_MS1_Alt9m_20161006 | Yes - .BIN .cpgz | Duplicate from Processed | Yes | MBCCE_MS1_Alt9m_20161006.nc |  |  |  | 41411012G | Altimetry, acoustic backscatter profile | 6 minute |  | 10 | 2016-10-05 19:35 | 2017-03-22 15:34 | 2017-03-22 15:35 | 0:01 | behind GMT
CT | MS1 | Sea-Bird Electronics | SBE-37 | MBCCE_MS1_CT9m_20161006 | Yes -.cap & .asc | Duplicate from Processed | Yes | MBCCE_MS1_CT9m_20161006.nc |  |  |  | 466 | Salinity, temp. | 1 minute |  | 9 | 2016-10-04 22:30 | 2017-03-22 23:28 | 2017-03-22 23:28 | 0:00 | behind GMT
|  | Instrument Brand | Instrument Model | Data File/ Sample Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number | Measurement Types | Sample Interval |  | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
ADCP | MS2 | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20161006 | Yes | MBCCE_MS2_ADCP300_20161006.cdf | Yes | MBCCE_MS2_ADCP300_20161006.nc | 526.3 | 36.7886 | -121.9034 | 13016 | Profile of currents, velocity, acoustic backscatter | 30 seconds |  | 65 | 2016-10-05 16:20 | 2017-03-22 22:34 | 2017-03-22 22:31 | 0:03 | ahead of GMT
AST | MS2 | N/A | Anderson Sediment Trap | MBCCE_MS2_AST10m_20161006 | Yes | See -G10 | N/A | N/A |  |  |  | N/A | Grains size | 8 day intervals |  | 10 | N/A | N/A | N/A | N/A | N/A | Sediment trap torn off. Not recovered.
TU | MS2 | RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20161006 | Yes -.hex & .txt | Duplicate from Processed | Yes | MBCCE_MS2_TU9m_20161006.nc |  |  |  | 10046 | Optical backscatter | 3 minute |  | 10 | 2016-09-30 23:22 | 2017-03-22 21:06 | 2017-03-22 21:05 | 0:01 | ahead of GMT
CTD | MS2 | Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20161006 | Yes -.cap & .cnv | Duplicate from Processed | Yes | MBCCE_MS2_CTD9m_20161006.nc |  |  |  | 1700 | Conductivity, temp., pressure | 1 minute |  | 9 | 2016-10-04 21:44 | 2017-03-22 18:19 | 2017-03-22 18:19 | 0:00 | ahead of GMT
|  | Instrument Brand | Instrument Model | Data File/ Sample Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number | Measurement Types | Sample Interval |  | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
ADCP | MS3 | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20161006 | Yes | MBCCE_MS3_ADCP300_20161006.cdf | Yes | MBCCE_MS3_ADCP300_20161006.nc | 829.1 | 36.7655 | -121.9693 | 16330 | Profile of currents, velocity, acoustic backscatter | 30 seconds |  | 65 | 2016-10-05 16:47 | 2017-03-22 19:14 | 2017-03-22 19:18 | 0:03 | behind GMT
AST | MS3 | N/A | Anderson Sediment Trap | MBCCE_MS3_AST35m_20161006 | Yes | See -G10 | N/A | N/A |  |  |  | N/A | Grains size | intervelometer malfunctioned |  | 35 | N/A | N/A | N/A | N/A | N/A
TU | MS3 | RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU35m_20161006 | Yes -.hex & .txt | Duplicate from Processed | Yes | MBCCE_MS3_TU35m_20161006.nc |  |  |  | 10027 | Optical backscatter | 10 min |  | 35 | 2016-10-04 23:37 | 2017-03-22 20:19 | 2017-03-22 20:19 | 0:00 | ahead of GMT
AST | MS3 | N/A | Anderson Sediment Trap | MBCCE_MS3_AST10m_20161006 | Yes | See -G10 | N/A | N/A |  |  |  | N/A | Grains size | 8 day interval |  | 10 | N/A | N/A | N/A | N/A | N/A
TU | MS3 | RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU10m_20161006 | Yes -.hex & .txt | Duplicate from Processed | Yes | MBCCE_MS3_TU10m_20161006.nc |  |  |  | 10755 | Optical backscatter | 10 min |  | 10 | 2016-10-05 16:00 | 2017-03-22 20:48 | 2017-03-22 20:47 | 0:01 | ahead of GMT
CT9 | MS3 | Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS3_CT9m_20161006 | Yes -.asc & .cap | Duplicate from Processed | Yes | MBCCE_MS3_CT9m_20161006.nc |  |  |  | 12354 | Conductivity, temp. | 1 min |  | 9 | 2016-10-04 22:04 | 2017-03-23 01:08 | 2017-03-23 01:08 | 0:00 | behind GMT
ADCP | MS3 | Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20161006 | Yes | MBCCE_MS3_Aquadopp2000_20161006.cdf | Yes | MBCCE_MS3_Aquadopp2000_20161006.nc |  |  |  | 1694 | Profile of currents, velocity, acoustic backscatter | 2 min |  | 9 | 2016-10-04 23:00 | 2017-03-23 20:24 | 2017-03-23 20:24 | 0:00 | ahead of GMT
|  | Instrument Brand | Instrument Model | Data File/ Sample Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number | Measurement Types | Sample Interval |  | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
ADCP | MS4 | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP (dif serial # from Oct) | MBCCE_MS4_ADCP300_20161007 | Yes -.000 | Duplicate from Processed | Yes | MBCCE_MS4_ADCP300_20161007.nc | 1285.9 | 36.7361 | -122.0172 | WHS300-2024 | Profile of currents, velocity, acoustic backscatter | 30 sec |  | 70 | 2016-10-11 19:46 | 2017-03-22 18:11 | 2017-03-22 18:12 | 0:02 | behind GMT
AST | MS4 | N/A | Anderson Sediment Trap | MBCCE_MS4_AST10m_20161007 | Yes | See -G10 | N/A | N/A |  |  |  | N/A | Grains size | 8 day intervals |  | 10 | N/A | N/A | N/A | N/A | N/A
IRSST | MS4 | Prime Focus | Indented Rotating Sphere Sediment Trap (4) | MBCCE_MS4_IRSST10m_20161007 | N/A | N/A | N/A | N/A |  |  |  | N/A | Mass Flux, del C13, del N15, CHN, grain size analyses (?) | 16 day intervals |  | 10 | N/A | N/A | N/A | N/A | N/A
FLNTU | MS4 | WET Labs | ECO FLNTU | MBCCE_MS4_FLNTU10m_20161007 | Yes -.txt | Duplicate from Processed | Yes | MBCCE_MS4_FLNTU10m_20161007.nc |  |  |  | WL-30007 | Fluorescence, optical backscatter | 5 min |  | 10 | 2016-10-05 23:00 | 2017-03-22 20:13 | 2017-03-22 20:26 | 0:13 | behind GMT
|  | Instrument Brand | Instrument Model | Data File/ Sample Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number | Measurement Types | Sample Interval |  | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
TU | MS5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20161007 | Yes -.txt | Duplicate from Processed | Yes | MBCCE_MS5_TU200m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 54148 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec |  | 200 |  | N/A | 2017-02-08 19:40 | N/A |  | Stopped Dec. 4, 2016
TU | MS5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20161007 | Yes -.txt | Duplicate from Processed | Yes | MBCCE_MS5_TU100m_20161007.nc |  |  |  | 54146 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec |  | 100 |  | 2017-02-08 19:46 | 2017-02-08 19:47 | 0:00 | behind GMT
AST | MS5 | Seatech Engineering | CliST (Anderson Sediment Trap) | MBCCE_MS5_AST70m_20161007 | Yes | See -G10 | N/A | N/A |  |  |  | N/A | Grain size | 6 day interval; |  | 74 | N/A | N/A | N/A | N/A | N/A
TU | MS5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU70m_20161007 | Yes -.txt | Duplicate from Processed | Yes | MBCCE_MS5_TU70m_20161007.nc |  |  |  | 54147 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec |  | 70 |  | 2017-02-08 19:32 | 2017-02-08 19:32 | 0:00 | behind GMT
ADCP | MS5 | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20161007 | Yes | MBCCE_MS5_ADCP300_20161007.cdf | Yes | MBCCE_MS5_ADCP300_20161007.nc |  |  |  | 23079 | Profile of currents, velocity, acoustic backscatter | 30 sec. interval; 7 pings per ensemble |  | 65 | 2016-10-07 | 2017-02-08 21:31 | 2017-02-08 21:32 | 0:01 | behind GMT
CT | MS5 | RBR | RBRduo C, T | MBCCE_MS5_CT10m_20161007 | Yes -.txt | Duplicate from Processed | Yes | MBCCE_MS5_CT10m_20161007.nc |  |  |  | 61610 | Conductivity, temp. | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec |  | 10 |  | 2017-02-08 19:10 | 2017-02-08 19:10 | 0:00 | behind GMT
TU | MS5 | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU10m_20161007 | Yes -.txt | Duplicate from Processed | Yes | MBCCE_MS5_TU10m_20161007.nc |  |  |  | 54149 | Optical backscatter | 30 sec. interval; 7 pings per ensemble |  | 10 |  | 2017-02-08 19:23 | 2017-02-08 19:23 | 0:00 | in sync
AST | MS5 | Seatech Engineering | CliST (Anderson Sediment Trap) | MBCCE_MS5_AST10m_20161007 | Yes | See -G10 | N/A | N/A |  |  |  | N/A | Grain size | 6 day interval; |  | 11 | N/A | N/A | N/A | N/A | N/A
|  | Instrument Brand | Instrument Model | Data File/ Sample Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number | Measurement Types | Sample Interval |  | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
McLane | MS6 | McLane | McLane Profiler | MBCCE_MS6_20161019 | No | No Data | No | No Data | 1824.5 | 36.7024 | -122.0898 | 11720 | current meter, current meter, compass and tilt, CTD, fluorometer, OBS, time | 30 min profile every 4.5 hrs., alternating up and down |  | N/A |  | 2016-10-11 02:43 | 2016-10-11 02:43 | 0:01 | ahead of GMT | Instrument Failed
|  | Instrument Brand | Instrument Model | Data File/ Sample Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number | Measurement Types | Sample Interval |  | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
FLNTU | MS7 | WET Labs | ECO FLNTU | MBCCE_MS7_FLNTU300m_20161019 | Yes | MBCCE_MS7_FLNTU300m_20161019.cdf | Yes | MBCCE_MS7_FLNTU300m_20161019.nc | 1851 | 36.7019 | -122.0987 | WL-30001 | Fluorescence, optical backscatter | 5 min |  | 300 | 2016-10-18 21:00 | 2017-04-04 04:13 | 2017-04-04 04:18 | 0:05 | behind GMT
IRSST | MS7 | Prime Focus | Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST300m_20161019 | N/A | N/A | N/A | N/A |  |  |  | NA | Mass Flux, del C13, del N15, CHN, grain size analyses (?) | 16 day intervals |  | 300 | N/A | N/A | N/A | N/A | N/A
AST | MS7 | N/A | Anderson Sediment Trap | MBCCE_MS7_AST300m_20161019 | Yes | See -G10 | N/A | N/A |  |  |  | NA | Grain size | 8 day intervals |  | 300 | N/A | N/A | N/A | N/A | N/A
ADCP | MS7 | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20161019 | Yes | MBCCE_MS7_ADCP300_20161019.cdf | Yes | MBCCE_MS7_ADCP300_20161019.nc |  |  |  | WHS300-2025 | Profile of currents, velocity, acoustic backscatter | 30 sec |  | 70 | 2016-10-11 20:59 | 2017-04-04 02:52 | 2017-04-04 02:56 | 0:04 | behind GMT
IRSST | MS7 | Prime Focus | Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST10m_20161019 | N/A | N/A | N/A | N/A |  |  |  | NA | Mass Flux, del C13, del N15, CHN, grain size analyses (?) | 16 day intervals |  | 10 | N/A | N/A | N/A | N/A | N/A
AST | MS7 | N/A | Anderson Sed Trap | MBCCE_MS7_AST10m_20161019 | Yes | See -G10 | N/A | N/A |  |  |  | NA | Grain size | 8 day intervals |  | 10 | N/A | N/A | N/A | N/A | N/A
FLNTU | MS7 | WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU10m_20161019 | Yes | MBCCE_MS7_FLNTU10m_20161019.cdf | Yes | MBCCE_MS7_FLNTU10m_20161019.nc |  |  |  | WL-30002 | Fluorescence, optical backscatter | 5 min |  | 10 | 2016-10-18 09:10 | 2017-04-04 04:01 | 2017-04-04 04:08 | 0:07 | behind GMT
|  | Instrument Brand | Instrument Model | Data File/ Sample Name | File in CCE_Archive? | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number | Measurement Types | Sample Interval | SSDS # | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
ADCP | SIN | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_SIN_ADCP300_20161018 | Yes | MBCCE_SIN_ADCP300_20161018.cdf | Yes | MBCCE_SIN_ADCP300_20161018.nc | 1837.8 | 36.7018 | -122.0939 | 22697 | Profile of currents, velocity, acoustic backscatter, pointing up | 10 sec | 1825 | 0.5 | 2016-10-07 20:48 | 2017-04-10 17:25 | 2017-04-10 17:24 | 0:01 | ahead of GMT
ADCP | SIN | Teledyne RD Instruments | Workhorse 600 kHz ADCP | MBCCE_SIN_ADCP600_20161018 | Yes | MBCCE_SIN_ADCP600_20161018.cdf | Yes | MBCCE_SIN_ADCP600_20161018.nc |  |  |  | 23102 | Profile of currents, velocity, acoustic backscatter, pointing up | 10 sec | 1828 | 0.5 | 2016-10-07 20:53 | 2017-04-10 16:13 | 2017-04-10 16:11 | 0:02 | ahead of GMT
ADCP | SIN | Teledyne RD Instruments | Workhorse 1200 kHz ADCP | MBCCE_SIN_ADCP1200_20161018 | Yes | MBCCE_SIN_ADCP1200_20161018.cdf | Yes | MBCCE_SIN_ADCP1200_20161018.nc |  |  |  | 20662 | Profile of currents, velocity, acoustic backscatter, pointing up | 10 sec | 1827 | 0.5 | 2016-10-17 17:28 | 2017-04-10 16:08 | 2017-04-10 16:08 | 0:00 | ahead of GMT
ADCP | SIN | Nortek | Aquadopp 2000 kHz A6L | MBCCE_SIN_Aquadopp2000_20161018 | Yes -.prf & .adp | Ignore Data | No | Ignore Data |  |  |  | AQD 1995 | Profile of currents, velocity, acoustic backscatter, pointing down | 10 sec | 1474 | 1 | 2016-10-07 21:46 | 2017-04-12 16:55 | 2017-04-12 16:54 | 0:01 | ahead of GMT
CTDOBSTrans | SIN | Sea-Bird Electronics | Seabird SBE-19+ CTD (with transmissometer) | MBCCE_SIN_CTDOBSTrans_20161018 | Yes | MBCCE_SIN_CTDOBSTrans_20161018_original.nc | Yes | MBCCE_SIN_CTDOBSTrans_20161018_timecorrected.nc |  |  |  | 16P41561-4952 | Conductivity, temp., pressure, optical backscatter, transmisivity | 2 sec | 1533 | 0.8 | no internal clock |  |  | Time corrected |  | Conductivity measurements were bad for the whole deployment.
OX | SIN | Aanderaa | Aanderaa Oxygen Optode | MBCCE_SIN_OX_20161018 | Yes | MBCCE_SIN_OX_20161018_original.nc | Yes | MBCCE_SIN_OX_20161018_timecorrected.nc |  |  |  | 3830 | Dissolved oxygen | 10 sec | 1524 | 0.5 | no internal clock |  |  | Time corrected
FLNTU | SIN | Wetlabs | ECO Triplet Turbidity and Fluorescence Sensor | MBCCE_SIN_FLNTU_20161018 | Yes | MBCCE_SIN_FLNTU_20161018_original.nc | Yes | MBCCE_SIN_FLNTU_20161018_timecorrected.nc |  |  |  | WL-30009 | Fluorescence, optical backscatter | 10 sec | 1536 | 0.5 | no internal clock |  |  | Time corrected
|  |  | SIN realtime clock | [8 empty] | Node 9 |  |  |  |  | 2016-09-24 19:06 | 2017-04-10 23:53 | 2017-04-10 23:53 | 0:00 | ahead of GMT
|  |  | SIN system clock | [8 empty] | Node 9 |  |  |  |  | 2016-09-24 19:06 | On 10/20/16 15:47:58 (real time clock) system clock was 10/20/16 15:48:24. System clock was synced with real time clock on 10/20/16 15:51:40. On 1/12/17/ 17:46:11 (Real time clock) system clock was 1/12/17 18:28:35. System clock was sync with real time clock on 1/12/17 18:28:38 when the system was rebooted . On 14/10/2017 23:22:51 PM (real time clock), the system clock was 4/10/17 23:37:42 )
|  | Instrument Brand | Instrument Model | Data/Sample File Name |  | Net cdf in CCE_Archive? | File in CCE_Processed? | Net cdf in CCE_Processed? | Water Depth | Lat | Long | Serial Number | Measurement Types | Sample Interval |  | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes
| AMT1 | Sonardyne | AMT Beacon 8305 | MBCCE_AMT1_BED11_20161010 | Yes -.csv | No | Yes -.xlsx | AMT1_20161011_to_20170421.csv | 299.9003 | 36.7943 | -121.8478 | 299037-001 | Pressure, temperature, pitch and roll | 45 min |  | 2 | [5 empty] | AMT recorded info every 45 min. Clock drift not an issue.
| AMT2 | Sonardyne | AMT Beacon 8305 | MBCCE_AMT2_20161005 | Yes -.csv | No | Yes -.xlsx | AMT2_20161005_to_20161019.csv | 206.7 | 36.7938 | -121.8517 | 297280-001 | range to AMT 1 and AMT 3 | 45 min |  | 1.5
| AMT3 | Sonardyne | AMT Beacon 8305 | MBCCE_AMT3_20161005 | Yes -.csv | No | Yes -.xlsx | AMT3_20161011_to_20161019.csv | 238.9 | 36.7928 | -121.849 | 297280-002 | range to AMT 1 and AMT 2 | 45 min |  | 1.5

## SedimentTraps
Trap | Sample Name | Meters above seafloor
Anderson Sediment Trap | MBCCE_MS1_AST10m_20161006 | 10
Anderson Sediment Trap | MBCCE_MS2_AST9m_20161006 | 9
Anderson Sediment Trap | MBCCE_MS3_AST9m_20161006 | 9
Anderson Sediment Trap | MBCCE_MS4_AST10m_20161007 | 10
Indented Rotating Sphere Sediment Trap (4) | MBCCE_MS4_IRSST10m_20161007 | 10
CliST (Anderson Sediment Trap) | MBCCE_MS5_AST10m_20161007 | 11
CliST (Anderson Sediment Trap) | MBCCE_MS5_AST70m_20161007 | 74
Anderson Sed Trap | MBCCE_MS7_AST10m_20161019 | 10
Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST10m_20161019 | 10
Anderson Sediment Trap | MBCCE_MS7_AST300m_20161019 | 300
Indented Rotating Sphere Sediment Trap | MBCCE_MS7_IRSST300m_20161019 | 300