Functional Requirements




10/24/2002
The Oasis III Mooring controller system shall:

1. nominally replace the functionality of the existing M1/M2 Oasis mooring controller system.

2. increase the amount of non-volatile storage for system and 

driver code by at least a factor of 10 over existing Oasis 

Controller system. 

3. provide a storage medium that behaves as read-only memory when deployed, insensitive to sudden removal of system power. 

4. use existing hardware infrastructure.

5. utilize existing RF infrastructure.

6. be able to upgrade to a 2-3 times higher bandwidth RF infrastructure if necessary.

7. provide expanded instrument capability greater than 16 instruments.

8. re-use existing code for instrument drivers.

9. have and operational and maintenance life cycle of 3-5 years.

10. not require changes to shore side data system.

11. not have power consumption greater than Oasis.

12. provide a non-invasive configuration mechanism to enable 

the modification of system operating parameters and sampling 

behavior, remotely and in situ.
DAU  10/24/02

