CIMT Data Readiness Review

ECOFL 

QC Plots Raw Data

1. Contents: Simple line graphs with symbols.  Xaxis is time (last seven days), Yaxis is raw data output (Reference Light, ECOFL counts, Thermistor)

2. No special format for plots.  

Offline Processes

3. Access Interface: We are planning to use SSDS API 'GetOriginalDataServlet' with MatLab function urlread.m. Not yet implemented.
4. Process Runs On: Not yet determined.
5. Products Generated: Calibrated values in a comma delimited file.  Plot of calibrated and raw values.
6. Products Stored: Not yet determined.
7. Plot Saved: Not yet determined.  Probably not
8. Product Known to SSDS: File will be submitted to SSDS.
9. Process file in CVS: Not yet.
10. Information Available: Processing information will be available on web.
Calibration File Information
11. Calibration File: One cal file applicable.  Check with Paul Coenen.
12. Files Stored: Not yet determined.
13. SSDS Reference: Not yet determined.
XML
14. XML: code has not yet been reviewed for correctness.  Calibrated data XML code has not been generated as yet.
15. Instrument Information
· ID: WetLabs ECO Fluorometer

· Device Name: ECOFL

· Model: FLS

· Serial Number: FLS-023

· Device Owner: Francisco Chavez

16. Correct labels: On the SIAM raw data page there are no labels.

17. Plot existence: SIAM plots exist.  Confusing.

18. Offline Product: not yet determined

19. Calibration File: The calibration file is not yet associated with the processed data.  Need some discussion here on how to do this procedure.

20. Intended resource associations are not visible in SSDS.  Again some discussion is required. 

ECOBB 

QC Plots Raw Data

1. Contents: Simple line graph with symbols.  Xaxis is time (last seven days), Yaxis is raw data output (Reference Light, ECOBB counts, Thermistor)

2. No special format for plots.  

Offline Processes

3. Access Interface: We are planning to use SSDS API 'GetOriginalDataServlet' with MatLab function urlread.m.  Not yet implemented.
4. Process Runs On: Not yet determined.
5. Products Generated: Calibrated values in a comma delimited file.  Plot of calibrated and raw values.
6. Products Stored: Not yet determined.
7. Plot Saved: Not yet determined.  Probably not
8. Product Known to SSDS: File will be submitted to SSDS.
9. Process file in CVS: Not yet.
10. Information Available: Processing information will be available on web.
Calibration File Information
11. Calibration File: One cal file applicable.  Check with Paul Coenen.
12. Files Stored: Not yet determined.
13. SSDS Reference: Not yet determined.
XML
14. XML: code has not yet been reviewed for correctness.  Calibrated data XML code has not been generated as yet.
15. Instrument Information
· ID: WetLabs ECO Scattering Meter (Check with Paul Coenen)

· Device Name: ECOBB

· Model: BB

· Serial Number: BBSB-024R

· Device Owner: Francisco Chavez

16. Correct labels: On the SIAM raw data page there are no labels.

17. Plot existence: SIAM plots exist. 

18. Offline Product: not yet determined

19. Calibration File: The calibration file is not yet associated with the processed data.  Need some discussion here on how to do this procedure.

20. Intended resource associations are not visible in SSDS.  Again some discussion is required.

