## Cables
| Cable | Required Dep | Required Spare | Have | Order | hardcopy | Cut
Oasis3 Controller: | ~
battery | 1003117-1m | 1 | 1 | ** | #VALUE!
ground fault | ~
e-meter | ~
radio (teledesigns) | 1003117-2m | 1 | 1 | 4 | -2
GPS | ~
Metsys with Barometer, Windbird, AT/RH | 1002049 | 1 | 1 | 2 | 0
Sonic Wind speed/direction | **** | 1 | 1 |  | 2 |  | 0.6m
LongWave Radiation Asimet LWR | 1002009-2m | 1 | 1 | 0 | 2 | x | 2m
Air Temp. / Rel. Humidity Asimet HRH | 1002009-1.5m | 1 | 1 | 2 | 0 | x
ShortWave Radiation Asimet SWR | 1002009-2m | 1 | 1 | 0 | 2 | x | 2m
Ed HyperOCR | 1002859 | 1 | 1 | 1 | 1 |  | 2m, 0.5m, 0.5m
ISUS | 1002012 | 1 | 1 | 0 | 2 | x | 1m
MicroCAT - elevator 37-SM | 1003117-1m | 1 | 1 | ** | #VALUE! | x
10m Microcat 37-SM | 1003117-1m | 1 | 1 | ** | #VALUE!
20m Microcat 37-SM | 1003117-1m | 1 | 1 | ** | #VALUE!
ADCP - LR75 | 1003117-1m | 1 | 1 | ** | #VALUE!
HydroScat-2 | 1002013 | 1 | 1 | 1 | 1 | x | 1m,
pH - Durafet | 1002012 | 1 | 1 | 0 | 2 | x | 1.5m
Ed 10m HyperOCR-I | 1002858 | 1 | 1 | 1 | 1 |  | 1.5m, 2 x 0.4m, 2 x 0.3m
Lu 10m HyperOCR-R | ~
Ed 20m HyperOCR-I | 1002858 | 1 | 1 | 0 | 2 |  | 1.5m, 2 x 0.4m, 2 x 0.3m
Lu 20m HyperOCR-R | ~
OA Controller (Slave) | 2012M2HybridpCO2 cable/OA | 1 | 1 | 1 | 1 | x | 2m
*pCO2 Gashound | ~
*O2 Optode |  | 1 | 1 | 0 | 2
*pH | M2NDBC Hybrid Mooring OA A/D cable -2013 build | 1 | 1 | 1 | 1
*Fluorometer (WS3) | M2NDBC Hybrid Mooring OA A/D cable -2013 build
*pump (SBE-5T) | M2NDBC Hybrid Mooring OA A/D cable -2013 build
T-String: 40m, 60P, 80m, 100P, 150m, 200P, 250m, 300P. | 1002045 | 1 | 1 | 0 | 2 |  | 2m (Seabird)
Deep HydroScat-2 at 220m | 1003473 | 1 | 1 | 4 | -2
Deep FLNTUSB at 220m | ~
Deep O2 (37-IDO) at 220m | ~
Iridium - Xeos Melo | **** XEOS? |  |  |  | 2 | 5 pin to 5 pin | 2m
Release - Benthos 865-A | ~
EK60 transducer cable | Chris Wahl
EK-60 SimRad SplitBeam | Used one avail : Chris | 1 | 1 | 0 | 2 |  | 1.5m 4c
EK-60 Radio | EK60 Radio Cable | 1 | 1 | 1 | 1 | x | 3.5 m
Monster Cable |  | 1 | 1 | 0 | 2 |  | 14 m Black poly cable
Monster Extension 10-20 m Jumper | 1002549 | 1 | 1 | 1 | 1 |  | (1) 12m (24C)/ (8) 0.5m (4C)
Pigtails MCIL4M |  |  | 2 | 0 | 4 |  | 0.5
** = 1m Standard Cable |  | 5 | 5 | 11 | -1

## Instruments
| M1 2014 |  |  | 2014-04-23
| Nilspin: | 350m | Lat: | 36 45.068
| Nylon: | 1200m | Lon: | 122 01.752
| Polyolefin: | 350m | Depth: | 1220
| Subsurface cages | 10m, 20m
| Monster cable: | 14m
| 10m-20m Jumper Cable | 12m
| ReturnToIndex | Pre-deployment status.
| Sensor | Model |  | Serial no. | SSDS ID
| Buoy | Toroid |  | N/A | N/A
Oasis3 Controller:
1A | Controller | OASIS-3 |  | 3 | 1379
1F | battery
| ground fault |  |  | 2 | 1403?
| e-meter | Link-10 |  | 30832 | 1800
2A | radio | teledesigns |  | 197.168.101.1
2B | GPS |  |  | 80735792 | 1385
2C | Metsys with Barometer |  |  | 1 | 1397
| Wind speed/direction | Windbird |  | 7 | N/A
| Wind speed/direction | WAS425A |  | A2240007 | N/A
| Air Temp. / Rel. Humidity | Hygroclip-R |  | 70803 | N/A
2D | LongWave Radiation | Asimet LWR |  | 308 | 1289
2E | Air Temp. / Rel. Humidity | Asimet HRH |  | 355 | 1290
2F | ShortWave Radiation | Asimet SWR |  | 343 | 1557
3A | Ed | HyperOCR |  | 229 | 1450
3D | Echo Sounder | SimRad Split Beam |  | N/A | N/A
| Echo Sounder Transducer |  |  | 176 | N/A
3E | Spare
3F | Spare
4A | Nitrate | ISUS |  | Coletti | Virtual
4B | MicroCAT - elevator | 37SM |  | 2448 | 1418
4C | ADCP | LR75 |  | 1384 | 1352
| ADCP power | WH-ICPS |  | N/A | N/A
4D | Scattering | HydroScat-2 |  | H2010334 | 1389
| Scattering shutter | HS2 shutter |  | SS020813 | N/A
4F | Durafet pH |  |  | Coletti | Virtual
6A | Ed 10m | HyperOCR-I |  | 295 | 1625
| Ed shutter | BioShutter |  | 96 | N/A
6A | Lu 10m | HyperOCR-R |  | 254 | 1627
| Lu shutter | BioShutter |  | 63 | N/A
6B | Ed 20m | HyperOCR-I |  | 228 | 1451
| Ed shutter | BioShutter |  | 64 | N/A
6B | Lu 20m | HyperOCR-R |  | 203 | 1452
| Lu shutter | BioShutter |  | 94 | N/A
6C | T-String |  | ID
| Modem card (in OASIS) | S-MODEM |  | N/A | N/A
| Inductive Cable Coupler | ICCv4-8x |  | on order
| MicroCAT - 40m | 37IM | 2 | 823 | 1363
| MicroCAT - 60m pressure | 37IM | 3 | 416 | 1433
| MicroCAT - 80m | 37IM | 4 | 385 | 1430
| MicroCAT - 100m pressure | 37IM | 5 | 417 | 1435
| MicroCAT - 150m | 37IM | 6 | 470 | 1740
| MicroCAT - 200m pressure | 37IM | 7 | 818 | 1580
| MicroCAT - 250m | 37IM | 8 | 475 | 1369
| MicroCAT - 300m pressure | 37IM | 9 | 1251 | 1437
6C | Underwater modem | UIM44 |  | 67 | 1489
| Scattering/fluor | HydroScat-2 |  | H2061250 | 1604
| Fluometer/nephalometer | FLNTUSB |  | 287 | 1470
6E | MicroCAT - 10m cage | 37SMP |  | 3531 | 1314
6F | MicroCAT - 20m cage | 37SMP |  | 3777 | 1356
| Release: | 865-A |  | 991 | 9.0 kHz; A; B
| 2nd release 9.5 |  |  | 992 | 9.5 kHz; E; F
| MicroCat Spare | 37IM | 10 | 819 | 1581
| SBE 37IM w O2 |  | 11 | 9309 | 1798
| Iridium | Xeos Melo |  | 300034012092470
OA Controller:
1D | OA4 |  |  | OA4 | N/A
| pCO2 | Gashound |  | LI-820 CGA-940 | N/A
| Oxygen | Optode 4330 |  |  | N/A
Analog1 | Humidity |  |  | 1 | N/A
Analog2 | pH |  |  |  | N/A
Analog3 | Fluorometer | WETStar |  | 21 | N/A
| Pump | SBE-5T |  | 3003 | N/A