## Cables
| Cable | Required Dep | Required Spare | Have | Order | hardcopy | Cut
Oasis3 Controller: | ~
battery | 1003117-1m | 1 | 1 | ** | #VALUE! |  |  | x
ground fault | ~
e-meter | ~
radio (teledesigns) | 1003117-2m | 1 | 1 | 2 | 0 |  |  | x
GPS | ~
Metsys with Barometer, Windbird, AT/RH | 1002049 | 1 | 1 | 1 | 1 |  |  | x
Sonic Wind speed/direction | **** | 1 | 1 | 0 | 2 |  | 0.6m
LongWave Radiation Asimet LWR | 1002009-2m | 1 | 1 | 1 | 1 | x | 2m | x
Air Temp. / Rel. Humidity Asimet HRH | 1002009-1.5m | 1 | 1 | 0 | 2 | x |  | x
ShortWave Radiation Asimet SWR | 1002009-2m | 1 | 1 | 1 | 1 | x | 2m | x
Ed HyperOCR | 1002859 | 1 | 1 | 0 | 2 |  | 2m, 0.5m, 0.5m | x
ISUS | 1002012 | 1 | 1 | 1 | 1 | x | 1m | x
MicroCAT - elevator 37-SM | 1003117-1m | 1 | 1 | ** | #VALUE! | x
10m Microcat 37-SM | 1003117-1m | 1 | 1 | ** | #VALUE!
20m Microcat 37-SM | 1003117-1m | 1 | 1 | ** | #VALUE!
ADCP - LR75 | 1003117-1m | 1 | 1 | ** | #VALUE!
HydroScat-2 | 1002013 | 1 | 1 | 0 | 2 | x | 1m, | x
pH - Durafet | 1002012 | 1 | 1 | 2 | 0 | x | 1.5m
Ed 10m HyperOCR-I | 1002858 | 1 | 1 | 0 | 2 |  | 1.5m, 2 x 0.4m, 2 x 0.3m | x | Insist on NO POTTING close to connector
Lu 10m HyperOCR-R | ~
Ed 20m HyperOCR-I | 1002858 | 1 | 1 | 1 | 1 |  | 1.5m, 2 x 0.4m, 2 x 0.3m | x | Insist on NO POTTING close to connector
Lu 20m HyperOCR-R | ~
OA Controller (Slave) | 2012M2HybridpCO2 cable/OA | 1 | 1 | 1 | 1 | x | 2m | x
*pCO2 Gashound | ~
*O2 Optode | m1_2014_dio2_cable | 1 | 1 | 1 | 1 |  |  | x
*pH | M1_2014_OA_A_D cab-REV_C_6pinFL | 1 | 1 | 1 | 1 |  |  | x
*Fluorometer (WS3) | M1_2014_OA_A_D cab-REV_C_6pinFL
*pump (SBE-5T) | M1_2014_OA_A_D cab-REV_C_6pinFL
T-String: 40m, 60P, 80m, 100P, 150m, 200P, 250m, 300P. | 1002045 | 1 | 1 | 4 | -2 |  | 2m (Seabird)
Deep HydroScat-2 at 220m | 1003473 | 1 | 1 | 2 | 0
Deep FLNTUSB at 220m | ~
Deep O2 (37-IDO) at 220m | ~
Iridium - Xeos Melo | XeosMelo | 1 | 1 | 1 | 1 | 5 pin to 5 pin | 2m | x
Release - Benthos 865-A | ~
EK60 transducer cable | Chris Wahl has diagram | 1 | 1 | 1 | 1
EK-60 Sys B SimRad SplitBeam | 1003171A_EK60Cable | 1 | 1 | 2 | 0 |  | 1.5m 4c | x
EK-60 Radio | EK60 Radio Cable- Chris provide | 1 | 1 | 1 | 1 | x | 3.5 m
Monster Cable | 1002261A_BlackSSfcCable | 1 | 1 | 1 | 1 |  | 14 m Black poly cable | x
Monster Extension 10-20 m Jumper | 1002549G_20mExtensionCable | 1 | 1 | 1 | 1 |  | (1) 12m (24C)/ (8) 0.5m (4C) | x
Pigtails MCIL4M | 1002014B_ConnectorBlockPigtail |  |  |  | 2 |  | 0.5 | x
** = 1m Standard Cable |  | 5 | 5 | 4 | 6 |  |  | x

## Instruments
| M1 2015 |  |  | 2015-02-10
| Nilspin: | 350m | Lat: | 36 45.068
| Nylon: | 1200m | Lon: | 122 01.752
| Polyolefin: | 350m | Depth: | 1220
| Subsurface cages | 10m, 20m
| Monster cable: | 14m
| 10m-20m Jumper Cable | 12m
| ReturnToIndex | Pre-deployment status.
| Sensor | Model |  | Serial no. | SSDS ID
| Buoy | Toroid |  | N/A | N/A
Oasis3 Controller:
1A | Controller | OASIS-3 |  | 3 | 1379
1F | battery |  |  | N/A | N/A
| ground fault |  |  | 0 | 1466
| e-meter | Link-10 |  | 41338 | 1811 | Confirm Serial #
2A | radio | teledesigns |  | 30000 | 134.89.45.29
2B | GPS |  |  | 011-00478-00 | 1468
2C | Metsys with Barometer |  |  | 2 | 1453
| Wind speed/direction | Windbird |  | 5A | N/A
| Wind speed/direction | WAS425A |  | Z1940001 | N/A
| Air Temp. / Rel. Humidity | Hygroclip-R |  |  | N/A
2D | LongWave Radiation | Asimet LWR |  | 305 | 1251
2E | Air Temp. / Rel. Humidity | Asimet HRH |  | 348 | 1497
2F | ShortWave Radiation | Asimet SWR |  | 338 | 1394
3A | Ed | HyperOCR |  | 247 | 1575
3D | Echo Sounder | SimRad Split Beam |  | N/A | N/A
| Echo Sounder Transducer |  |  | 176 | n/a | Female Connector at Transducer (cable to be male)
3E | Spare (Metsys on M1_2014) |  |  | N/A | N/A
3F | Spare |  |  | N/A | N/A
4A | Nitrate | ISUS |  | Coletti | Vitual SSDS
4B | MicroCAT - elevator | 37SM |  | 3424 | 1358
4C | ADCP | LR75 |  | 14791 (was 4164) | 1294 | In bay
| ADCP power | WH-ICPS |  | N/A | N/A
4D | Scattering | HydroScat-2 |  | H2010336 | 1390
| Scattering shutter | HS2 shutter |  | SS031014 | N/A
4F | Durafet pH |  |  | Coletti | Vitual SSDS
6A | Ed 10m | HyperOCR-I |  | 248 | 1576
| Ed shutter | BioShutter |  | 70 | N/A
6A | Lu 10m | HyperOCR-R |  | 214 | 1577
| Lu shutter | BioShutter |  | 71 | N/A
6B | Ed 20m | HyperOCR-I |  | 294 | 1624
| Ed shutter | BioShutter |  | 93 | N/A
6B | Lu 20m | HyperOCR-R |  | 253 | 1626
| Lu shutter | BioShutter |  | 95 | N/A
6C | T-String |  | ID
| Modem card (in OASIS) | S-MODEM |  | N/A | N/A
| Inductive Cable Coupler | ICCv4-8x |  | N/A | N/A
| MicroCAT - 40m | 37IM | 2 | 811 | 1462
| MicroCAT - 60m pressure | 37IM | 3 | 817 | 1372
| MicroCAT - 80m | 37IM | 4 | 813 | 1464
| MicroCAT - 100m pressure | 37IM | 5 | 816 | 1567
| MicroCAT - 150m | 37IM | 6 | 812 | 1463
| MicroCAT - 200m pressure | 37IM | 7 | 826 | 1362
| MicroCAT - 250m | 37IM | 8 | 815 | 1568
| MicroCAT - 300m pressure | 37IM | 9 | 827 | 1365
6C | Underwater modem | UIM44 |  | 95 | 1618
| Scattering/fluor | HydroScat-2 |  | H2070752 | 1619
| Fluometer/nephalometer | FLNTUSB |  | 411 | 1488
6E | MicroCAT - 10m cage | 37SMP |  | 4254 | 1491
6F | MicroCAT - 20m cage | 37SMP |  | 3936 | 1454
| Release: | 865-A | En:A R:B | 1018 | N/A
| 2nd release 9.5 | 865-A | En:E R:F | 536 | N/A
| MicroCat Spare | 37IM | 10 | 823 | 1363
| SBE 37IM w O2 | 37IMP-IDO | 11 | 9016 | 1792
| SBE 37IM w O2 | 37IMP-ODO | 12 | 37-13247 | 1829
| Iridium | Xeos Melo
| Stella Spot Beacon | SPOT |  | 112
OA Controller:
1D | OA4 |  |  | Wahl | N/A
| pCO2 | Gashound |  | Wahl | N/A
| Oxygen | Optode 4330
Analog1 | Humidity
Analog2 | pH
Analog3 | Fluorometer | WETStar |  | 236 | 1425
| Pump | SBE-5T |  | 2440 | N/A